## Slide 1: Random Variable Configuration for Stochastic Analysis Resource Adequacy Forum Technical Committee Meeting October 1, 2010

## Slide 2: Minimum Number of Games to Converge

## Slide 3: Minimum Number of Games to Converge

## Slide 4: Minimum Number of Games to Converge

## Slide 5
LOLP Values at Convergence Point

## Slide 6: Recommendations
For sensitivity studies – run 210 games with sequential hydro and lockstep temperature (30 min/study)
For final studies – run 1,500 games with random hydro and random temperature (4 hrs/study)
Reevaluate when temperature-correlated wind data is ready