## Slide 1
Resource Adequacy
Steering Committee Meeting
October 4, 2011

## Slide 2: Key Assumptions

## Slide 3: Adequacy Assessment Assumptions

## Slide 4: Assumptions (cont.)

## Slide 5: Out of Region Market Supply

## Slide 6: Out of Region Market Supply
The 2008 Adequacy Standard has seasonal assessments of resource adequacy: summer and winter (3 months each)
The winter assessment assumes that 3,000 MW of out of region market is available on any hour (not the dispatch – just the capability)
The summer assessment assumes 0
Proposed new adequacy standard will be an annual assessment
Need to update out of region market assumptions for not just winter and summer, but also for the shoulder months
Update the assessment by analyzing:
  The California PUC Resource Adequacy Assessment to determine “surplus”
  The rolling 5 year actual Intertie (A.C. and D.C. South to North) to determine the minimum transfer capability

## Slide 7: CPUC RA Assessment (April 2011)
Assessment includes all IOUs and Community Choice Aggregators
Purpose of RA is mandatory LSE acquisition of capacity to meet load and reserve requirements
Results include unit-contingent, import contracts, DWR contracts, physical resources, and RMR capacity
Only net qualifying capacity is considered based on historical performance and other factors – designed to get the expected value of capacity (GADs data)

## Slide 8: CPUC RA Assessment (April 2011)
Normal demand (1:2) plus a 15 percent adequacy requirement is the load that has to be met
Modified the analysis by:
  Assume that demand response programs (1,000 to 2,300 MW) are not available for ‘export’
  The CPUC RA looks backward (2010); the PNW RA looks forward (2015) – so include gas-fired plants that are not in the CPUC RA, but are under construction (4,767 MW)
  Removed California imports as resources for exports

## Slide 9: Gas-Fired Plants Under Construction
The CPUC RA assessment does not include these plants in their analysis

## Slide 10: Modified RA Assessment + Transfer Capability

## Slide 12: Conclusion:
In 2015, there is enough surplus in the state of California and enough transfer capability to support 3,000 MW of imports October to April
From May to September, California relies heavily on imports to support their resource adequacy efforts and therefore no import capability should be assumed

## Slide 13: Demand-Side Management and Small Miscellaneous Resources (non-modeled resources)

## Slide 14: 2008 Adequacy Standard
The 2008 Adequacy Standard included 3,000 MW (capacity) and 28,800 MWhrs (energy) as a proxy for emergency generation and/or demand response that are not modeled in Genesys
These thresholds are applied post processing to games that have events; those that exceed these thresholds are counted as “Loss-of-Load”
Proposal for new standard is to count specific resources that are available to utilities and are not modeled in Genesys
Emergency generators not owned or under contract with utilities are not considered (they number in the thousands of megawatts)

## Slide 15: Demand-Side Management
Demand-side management (DSM) for irrigation pumps, A/C, and flexible load control (programs for use every year)
  Most of these resources are on AGC or prescheduled by utilities
  DSM geared towards summer peaking utilities
  By 2010, Idaho and PacifiCorp have developed over 600 MW of DSM
  However, the Genesys load forecast for 2015 incorporates these programs in the demand forecast
  Only incremental demand response programs beyond 2010 can be included (to avoid double counting)

## Slide 16: DSM

## Slide 17: Small Miscellaneous Resources
Includes resources and load management actions utilities have rights to
Not generally used on an annual basis, but rather used only during periods of stress

## Slide 18: Small Miscellaneous Resources

## Slide 19: Appendix

## Slide 20: Appendix - Power Plant Development in California 2001 - 2010
During the past 11 years there as been substantial resource development within the state of California – most of it gas-fired
Charts includes all resources built in state regardless of owner
Bar Chart “net addition” includes the impact of plant retirements in the state (but also including Mohave)

## Slide 21
Source: Ventyx
 | MW
Natural Gas | 21567
Wind | 1378
Geothermal | 211
Biogases | 219
Hydro | 275
PV | 157
Biomass | 87
Misc. | 21

## Slide 22
Net Additions = cumulative additions – cumulative retirements
California Cumulative and Net Resource Additions