# DRAFT January 24, 2012

# Final Assumptions for Adequacy Assessments

| Parameter | Assumption | Actions/Comments |
| --- | --- | --- |
| Out-of-region market | Winter = min of tie capacity and OTC adjusted surplus Summer = none | Only from the SW (i.e. no market from Canada) |
| In-region market | Winter = full capability Summer = 1,000 MW/hour |  |
| Model market “friction” | No | To address market inefficiencies |
| Purchase-ahead market | 1,000 MW/hour during light-load hours only | Action: Consider applying a monthly max |
| Sell-ahead market | No | To address uncertainties in day-ahead scheduling |
| Model more sub-regions | No | To address transmission bottlenecks |
| Borrowed hydro | 1,000 MW-months max | Only from Coulee (e.g. none from other fed, non-fed or Canadian projects) |
| Wind | Use 2008-10 historic BPA wind fleet data | Action: - Scenario using BPA synthetic data - Synthetic data w/reduced gen during extreme temps - BPA – continue to develop temp correlated data - Explore contractor-developed forecast ($) - Develop data for other sites |
| Standby resources | Aggregate capability of identified SB resources | SB resources must be contractually available |
| Yellow warning indicator | Use 5% for SB probability | Yellow status when LOLP is less than 5% and use of SB is greater than 5% Action: Investigate using other delineators |

________________________________________

q:\jf\ra forum\2012\12712 tech assumptions.docx