## Intro
The NW Power Council is gathering information from regional utilities to estimate energy efficiency's value in deferring T&D investment.
The numbers used here will be collated by the Power Council as a proxy estimate for a regional deferred T&D value to use for EE.
The methodology suggested is meant to represent an acceptable approach for the Council to create a region-wide value. This may differ from utility-specific approaches.
The data collected for the transmission and distribution systems are broken out into individual tabs.
Required inputs are highlighted in yellow, grey highlighted numbers are default assumptions and can be changed if utility has better data, blue highlights represented calculated values
Questions/comments on the methodology used, data availability, etc should be directed to:
Tina Jayaweera
tjayaweera@nwcouncil.org
503-222-5161

## Contact Info
Name:
Organization:
Email:
Phone:

## Transmission
For Transmission system investments
Item |  | Units | Notes
Capital Investment | 60000000 | Real $ (2016) | Preferably 5-10 years historical and forward looking, costs including anything significant enough to be incorporated into capital plan for T&D investment for any purpose (growth, reliability, etc.). Will be scaled in Row 6 to only represent deferrable investments.
Capacity Gained | 100 | MVA | Net additional new capacity gained (planned & historic, corresponding to capital investments in Row 4)
Capital Growth Investment Ratio | 26% |  | Placeholder assumption to account for not all T&D investment from Row 4 is for capacity growth (some is for reliability, some for non-deferrable capacity infrastructure for new housing subdivision or etc.)
Power Factor | 0.98 | # | Standard power factor to convert MVA to MW (usually 0.98 MW/MVA)
Discount rate | 5%
Asset lifetime | 35
T&D Carrying Charge | 6.107% | % per year | Annual value of investment, excluding O&M
Result | 9.7216 | $/kW-yr | Capital investment/(incremental capacity*power factor*1000)*Percent for growth*T&D carrying charge
Required Inputs
Default Values (Replaceable)
Calculated Value
Any comments on assumptions:

## Distribution
For Distribution system investments
Item |  | Units | Notes
Capital Investment | 20000000 | Real $ (2016) | Preferably 5-10 years historical and forward looking, costs including anything significant enough to be incorporated into capital plan for T&D investment for any purpose (growth, reliability, etc.). Will be scaled in Row 6 to only represent deferrable investments.
Capacity Gained | 15 | MVA | Net additional new capacity gained (planned & historic, corresponding to capital investments in Row 4)
Capital Growth Investment Ratio | 26% |  | Placeholder assumption to account for not all T&D investment from Row 4 is for capacity growth (some is for reliability, some for non-deferrable capacity infrastructure for new housing subdivision or etc.)
Power Factor | 0.98 | # | Standard power factor to convert MVA to MW (usually 0.98 MW/MVA)
Discount rate | 5%
Asset lifetime | 35
T&D Carrying Charge | 6.107% | % per year | Annual value of investment, excluding O&M
Utilization weighting | 60% |  | Locational proxy at substation level to "peanut butter" out value of EE. Differential between system peak and system carrying capacity, generally 40-70% over system
Result | 12.9622 | $/kW-yr | Capital investment/(incremental capacity*power factor*1000)*Percent for growth*T&D carrying charge*Utilization weighting
Required Inputs
Default Values (Replaceable)
Calculated Value
Any comments on assumptions: