{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["New Std Example"],"not_rendered":{"charts":7,"images":1,"macros":1,"external_links":0,"defined_names":2,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"New Std Example","index":0,"n_rows":164,"n_cols":36,"rows_kept":164,"cut":false,"hidden":false,"merged":[[4,12,4,15]]}
["Sample Illustration of Resource Adequacy Assessment",null,null,null,null,null,null,"2011-03-23"]
[null,null,null,null,null,null,null,"Curtailment Histogram",null,null,null,null,null,null,null,null,null,null,"Loads and Resources",null,null,null,null,null,null,null,"Use of Contingency Resources",null,null,null,null,null,null,null,null,"Study Results (over all games)"]
[null,null,null,null,null,null,null,0,"0-200","201-400","401-600","601-800","801-1000",null,null,"Game",null,null,"Load","Firm","Non-Firm","CR1","CR2","CR3","Curt",null,"CR1 ","CR 2","CR 3","LOLP"]
[null,null,null,null,null,null,null,{"$f":"LOOKUP($P$4,$A$58:$A$157,L58:L157)","v":1},0,0,0,0,0,null,null,1,null,null,{"$f":"LOOKUP($P$4,A58:A157,B58:B157)","v":21422},null,null,null,null,null,{"$f":"LOOKUP($P$4,$A58:$A157,K58:K157)","v":0},null,{"$f":"LOOKUP($P$4,A58:A157,U58:U157)","v":1},{"$f":"LOOKUP(P4,A58:A157,V58:V157)","v":1},{"$f":"LOOKUP(P4,A58:A157,W58:W157)","v":1},{"$f":"LOOKUP(P4,A58:A157,Y58:Y157)","v":0}]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"LOOKUP($P$4,A58:A157,E58:E157)","v":18250},{"$f":"LOOKUP($P$4,A58:A157,F58:F157)","v":2197},{"$f":"LOOKUP($P$4,$A58:$A157,H58:H157)","v":200},{"$f":"LOOKUP($P$4,$A58:$A157,I58:I157)","v":300},{"$f":"LOOKUP($P$4,$A58:$A157,J58:J157)","v":500}]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Cycle"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Thru"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null," ",null,null,null,null,null,"Games"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null," "]
[]
[]
[]
[null,null,null,null," "]
[]
[]
[null,null,null," ",null,null," "," "]
[null,null,null,null," "]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null," "]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null," "]
[]
[null,"Sig",500,null,"Resources ",null,null,null,null,null,null,"Curtailment Histogram Data",null,null,null,null,null,"Use of Cont Resources",null,null,"Probability of Use",null,null,null,null,null,"Sorted",null,"CVaR"]
["Game","Fix Load","Random Load","Dist Fac","Firm","Fix-NF","Non-firm","CR1","CR2","CR3","Curt",0,"1-200","201-400","401-600","601-800","801-1K","CR1","CR2","CR3","CR1","CR2","CR3","# Curt","LOLP","Prob","Curt",null,"(5%)"]
[1,21422,{"$f":"RANDBETWEEN(20000,22000)","v":20491},{"$f":"NORMDIST(C58,21000,$C$56,FALSE)","v":4.7523143945889961E-4},18250,2197,{"$f":"RANDBETWEEN(1500,2500)","v":2475},200,300,500,{"$f":"MAX(B58-E58-F58-H58-I58-J58,0)","v":0},1,0,0,0,0,0,{"$f":"IF((B58-E58-F58)>0,1,0)","v":1},{"$f":"IF(B58-E58-F58-H58>0,1,0)","v":1},{"$f":"IF(B58-E58-F58-H58-I58>0,1,0)","v":1},{"$f":"R58/A58","v":1},{"$f":"S58/A58","v":1},{"$f":"T58/A58","v":1},{"$f":"IF(K58>0,1,0)","v":0},{"$f":"X58/A58","v":0},{"$f":"1/100","v":0.01},961,null,{"$f":"SUM(AA58:AA62)/5","v":795}]
[{"$f":"A58+1","v":2},20705,{"$f":"RANDBETWEEN(20000,22000)","v":20923},{"$f":"NORMDIST(C59,21000,$C$56,FALSE)","v":7.8847912074465182E-4},18250,1882,{"$f":"RANDBETWEEN(1500,2500)","v":2296},200,300,500,{"$f":"MAX(B59-E59-F59-H59-I59-J59,0)","v":0},{"$f":"IF($K59<=0,1+L58,L58)","v":2},{"$f":"IF(AND($K59>0,K59<=200),M58+1,M58)","v":0},{"$f":"IF(AND($K59>200,$K59<=400),N58+1,N58)","v":0},{"$f":"IF(AND($K59>400,$K59<=600),O58+1,O58)","v":0},{"$f":"IF(AND($K59>600,$K59<=800),P58+1,P58)","v":0},{"$f":"IF(AND($K59>800,$K59<=1000),Q58+1,Q58)","v":0},{"$f":"IF((B59-E59-F59)>0,R58+1,R58)","v":2},{"$f":"IF(B59-E59-F59-H59>0,S58+1,S58)","v":2},{"$f":"IF(B59-E59-F59-H59-I59>0,T58+1,T58)","v":2},{"$f":"R59/A59","v":1},{"$f":"S59/A59","v":1},{"$f":"T59/A59","v":1},{"$f":"IF(K59>0,X58+1,X58)","v":0},{"$f":"X59/A59","v":0},{"$f":"Z58+1/100","v":0.02},952,null,null," "]
[{"$f":"A59+1","v":3},20150,21487,4.9652107332331127E-4,18250,1512,1874,200,300,500,0,{"$f":"IF($K60<=0,1+L59,L59)","v":3},{"$f":"IF(AND($K60>0,K60<=200),M59+1,M59)","v":0},{"$f":"IF(AND($K60>200,$K60<=400),N59+1,N59)","v":0},{"$f":"IF(AND($K60>400,$K60<=600),O59+1,O59)","v":0},{"$f":"IF(AND($K60>600,$K60<=800),P59+1,P59)","v":0},{"$f":"IF(AND($K60>800,$K60<=1000),Q59+1,Q59)","v":0},{"$f":"IF((B60-E60-F60)>0,R59+1,R59)","v":3},{"$f":"IF(B60-E60-F60-H60>0,S59+1,S59)","v":3},{"$f":"IF(B60-E60-F60-H60-I60>0,T59+1,T59)","v":2},{"$f":"R60/A60","v":1},{"$f":"S60/A60","v":1},{"$f":"T60/A60","v":0.66666666666666663},{"$f":"IF(K60>0,X59+1,X59)","v":0},0,{"$f":"Z59+1/100","v":0.03},747]
[4,20924,20263,2.692461256013962E-4,18250,2424,1766,200,300,500,{"$f":"MAX(B61-E61-F61-H61-I61-J61,0)","v":0},4,{"$f":"IF(AND($K61>0,K61<=200),M60+1,M60)","v":0},{"$f":"IF(AND($K61>200,$K61<=400),N60+1,N60)","v":0},{"$f":"IF(AND($K61>400,$K61<=600),O60+1,O60)","v":0},{"$f":"IF(AND($K61>600,$K61<=800),P60+1,P60)","v":0},{"$f":"IF(AND($K61>800,$K61<=1000),Q60+1,Q60)","v":0},4,4,2,1,1,0.5,0,0,0.04,737]
[5,21742,21015,7.9752559352419929E-4,18250,1540,2316,200,300,500,952,4,{"$f":"IF(AND($K62>0,K62<=200),M61+1,M61)","v":0},{"$f":"IF(AND($K62>200,$K62<=400),N61+1,N61)","v":0},{"$f":"IF(AND($K62>400,$K62<=600),O61+1,O61)","v":0},{"$f":"IF(AND($K62>600,$K62<=800),P61+1,P61)","v":0},{"$f":"IF(AND($K62>800,$K62<=1000),Q61+1,Q61)","v":1},5,5,3,1,1,0.6,1,0.2,0.05,578]
[6,21057,20912,7.8562213011153714E-4,18250,1756,1894,200,300,500,51,4,1,0,0,0,1,6,6,4,1,1,0.66666666666666663,2,0.33333333333333331,6.0000000000000005E-2,568]
[7,20799,21409,5.7100726127124856E-4,18250,2322,2298,200,300,500,0,5,1,0,0,0,1,7,7,4,1,1,0.5714285714285714,2,0.2857142857142857,7.0000000000000007E-2,486]
[8,21028,21758,2.5285998747171223E-4,18250,2295,1503,200,300,500,0,6,1,0,0,0,1,8,8,4,1,{"$f":"S65/A65","v":1},0.5,2,0.25,0.08,466]
[9,20018,20907,7.8420144016829395E-4,18250,2432,2421,200,300,500,0,7,1,0,0,0,1,8,8,4,0.88888888888888884,0.88888888888888884,0.44444444444444442,2,0.22222222222222221,0.09,431]
[10,20576,21982,1.1596818964922987E-4,18250,2342,2044,200,300,500,0,8,1,0,0,0,1,8,8,4,0.8,0.8,0.4,2,0.2,9.9999999999999992E-2,378]
[11,21218,20956,7.9480112516716389E-4,18250,1590,2019,200,300,500,378,8,1,1,0,0,1,9,9,5,0.81818181818181823,0.81818181818181823,0.45454545454545453,3,0.27272727272727271,0.10999999999999999,361]
[12,21017,20711,6.7514124871539884E-4,18250,2380,1943,200,300,500,0,9,1,1,0,0,1,10,10,5,0.83333333333333337,0.83333333333333337,0.41666666666666669,3,0.25,0.11999999999999998,328]
[13,21277,20278,2.8129274560328445E-4,18250,1699,1980,200,300,500,328,9,1,2,0,0,1,11,11,6,0.84615384615384615,0.84615384615384615,0.46153846153846156,4,0.30769230769230771,0.12999999999999998,297]
[14,21076,20219,2.3557796643669621E-4,18250,1797,2392,200,300,500,29,9,2,2,0,0,1,12,12,7,0.8571428571428571,0.8571428571428571,0.5,5,0.35714285714285715,0.13999999999999999,284]
[15,20131,21507,4.7716670983467211E-4,18250,1759,2024,200,300,500,0,10,2,2,0,0,1,13,12,7,0.8666666666666667,0.8,0.46666666666666667,5,0.33333333333333331,0.15,259]
[16,20321,21360,6.1570252093970574E-4,18250,2132,2386,200,300,500,0,11,2,2,0,0,1,13,12,7,0.8125,0.75,0.4375,5,0.3125,0.16,239]
[17,20875,21812,2.1342296040114959E-4,18250,2363,1864,200,300,500,0,12,2,2,0,0,1,14,13,7,0.82352941176470584,0.76470588235294112,0.41176470588235292,5,0.29411764705882354,0.17,227]
[18,20693,20774,7.2040382752102023E-4,18250,2293,1741,200,300,500,0,13,2,2,0,0,1,15,13,7,0.83333333333333337,0.72222222222222221,0.3888888888888889,5,0.27777777777777779,0.18000000000000002,219]
[19,21204,21808,2.1620692307964545E-4,18250,1853,1679,200,300,500,101,13,3,2,0,0,1,16,14,8,0.84210526315789469,0.73684210526315785,0.42105263157894735,6,0.31578947368421051,0.19000000000000003,213]
[20,21347,21560,4.2613829355143571E-4,18250,1611,1905,200,300,500,486,13,3,2,1,0,1,17,15,9,0.85,0.75,0.45,7,0.35,0.20000000000000004,207]
[21,20645,21316,6.5344079118639128E-4,18250,1653,2115,200,300,500,0,14,3,2,1,0,1,18,16,10,0.8571428571428571,0.76190476190476186,0.47619047619047616,7,0.33333333333333331,0.21000000000000005,148]
[22,21463,21729,2.7563621269063274E-4,18250,2211,2341,200,300,500,2,14,4,2,1,0,1,19,17,11,0.86363636363636365,0.77272727272727271,0.5,8,0.36363636363636365,0.22000000000000006,138]
[23,20468,20048,1.3023700765096941E-4,18250,1508,2339,200,300,500,0,15,4,2,1,0,1,20,18,12,0.86956521739130432,0.78260869565217395,0.52173913043478259,8,0.34782608695652173,0.23000000000000007,122]
[24,21350,20529,5.119781387312529E-4,18250,1893,1992,200,300,500,207,15,4,3,1,0,1,21,19,13,0.875,0.79166666666666663,0.54166666666666663,9,0.375,0.24000000000000007,101]
[25,21142,20814,7.4454398205092568E-4,18250,1744,1855,200,300,500,148,15,5,3,1,0,1,22,20,14,0.88,0.8,0.56000000000000005,10,0.4,0.25000000000000006,99]
[26,20663,21109,7.7914871007600203E-4,18250,2398,2216,200,300,500,0,16,5,3,1,0,1,23,20,14,0.88461538461538458,0.76923076923076927,0.53846153846153844,10,0.38461538461538464,0.26000000000000006,74]
[27,21758,20979,7.9718113687578989E-4,18250,2370,1833,200,300,500,138,16,6,3,1,0,1,24,21,15,0.88888888888888884,0.77777777777777779,0.55555555555555558,11,0.40740740740740738,0.27000000000000007,51]
[28,21387,21880,1.6955272261604445E-4,18250,1671,1541,200,300,500,466,16,6,3,2,0,1,25,22,16,0.8928571428571429,0.7857142857142857,0.5714285714285714,12,0.42857142857142855,0.28000000000000008,46]
[29,20107,20146,1.8555139883532829E-4,18250,2150,1718,200,300,500,0,17,6,3,2,0,1,25,22,16,0.86206896551724133,0.75862068965517238,0.55172413793103448,12,0.41379310344827586,0.29000000000000009,29]
[30,20195,20439,4.2518396170304628E-4,18250,1543,2056,200,300,500,0,18,6,3,2,0,1,26,23,16,0.8666666666666667,0.76666666666666672,0.53333333333333333,12,0.4,0.3000000000000001,25]
[31,20685,21516,4.6846056551243893E-4,18250,1777,1942,200,300,500,0,19,6,3,2,0,1,27,24,17,0.87096774193548387,0.77419354838709675,0.54838709677419351,12,0.38709677419354838,0.31000000000000011,17]
[32,20432,20063,1.3783067325034358E-4,18250,2311,1563,200,300,500,0,20,6,3,2,0,1,27,24,17,0.84375,0.75,0.53125,12,0.375,0.32000000000000012,8]
[33,20752,21527,4.5783365815255084E-4,18250,2284,1626,200,300,500,0,21,6,3,2,0,1,28,25,17,0.84848484848484851,0.75757575757575757,{"$f":"T90/A90","v":0.51515151515151514},12,0.36363636363636365,0.33000000000000013,2]
[34,20202,20780,7.2426976482618441E-4,18250,1512,1825,200,300,500,0,22,6,3,2,0,1,29,26,17,0.8529411764705882,0.76470588235294112,0.5,12,0.35294117647058826,0.34000000000000014,0]
[35,21327,21489,4.9458643392634731E-4,18250,2361,2161,200,300,500,0,23,6,3,2,0,1,30,27,18,0.8571428571428571,0.77142857142857146,0.51428571428571423,12,0.34285714285714286,0.35000000000000014,0]
[36,21359,21397,5.8216035063424611E-4,18250,2248,1703,200,300,500,0,24,6,3,2,0,1,31,28,19,0.86111111111111116,0.77777777777777779,0.52777777777777779,12,0.33333333333333331,0.36000000000000015,0]
[37,20921,21761,2.5056589162058857E-4,18250,2439,2282,200,300,500,0,25,6,3,2,0,1,32,29,19,0.86486486486486491,0.78378378378378377,0.51351351351351349,12,0.32432432432432434,0.37000000000000016,0]
[38,20738,21398,5.8123545116666754E-4,18250,1894,2303,200,300,500,0,26,6,3,2,0,1,33,30,20,0.86842105263157898,0.78947368421052633,0.52631578947368418,12,0.31578947368421051,0.38000000000000017,0]
[39,21241,21367,6.0946768359186013E-4,18250,1764,2326,200,300,500,227,26,6,4,2,0,1,34,31,21,0.87179487179487181,0.79487179487179482,0.53846153846153844,13,0.33333333333333331,0.39000000000000018,0]
[40,21059,20554,5.3599880218424003E-4,18250,1763,1848,200,300,500,46,26,7,4,2,0,1,35,32,22,0.875,0.8,0.55000000000000004,14,0.35,0.40000000000000019,0]
[41,21267,21212,7.2929325863518662E-4,18250,2076,2262,200,300,500,0,27,7,4,2,0,1,36,33,23,0.87804878048780488,0.80487804878048785,0.56097560975609762,14,0.34146341463414637,0.4100000000000002,0]
[42,20772,20741,6.9770887158555363E-4,18250,1842,1609,200,300,500,0,28,7,4,2,0,1,37,34,24,0.88095238095238093,0.80952380952380953,0.5714285714285714,14,0.33333333333333331,0.42000000000000021,0]
[43,20141,20700,6.664492057835992E-4,18250,2261,2441,200,300,500,0,29,7,4,2,0,1,37,34,24,0.86046511627906974,0.79069767441860461,0.55813953488372092,14,0.32558139534883723,0.43000000000000022,0]
[44,21858,20427,4.1376820525409856E-4,18250,1861,2061,200,300,500,747,29,7,4,2,1,1,38,35,25,0.86363636363636365,0.79545454545454541,0.56818181818181823,15,0.34090909090909088,0.44000000000000022,0]
[45,20669,20516,4.9942224801232727E-4,18250,2386,1549,200,300,500,0,30,7,4,2,1,1,39,35,25,0.8666666666666667,0.77777777777777779,0.55555555555555558,15,0.33333333333333331,0.45000000000000023,0]
[46,20182,21739,2.676611798396314E-4,18250,1871,1981,200,300,500,0,31,7,4,2,1,1,40,35,25,0.86956521739130432,0.76086956521739135,0.54347826086956519,15,0.32608695652173914,0.46000000000000024,0]
[47,20277,21296,6.6963442312056149E-4,18250,1606,1954,200,300,500,0,32,7,4,2,1,1,41,36,25,0.87234042553191493,0.76595744680851063,0.53191489361702127,15,0.31914893617021278,0.47000000000000025,0]
[48,20873,20375,3.6529817077804379E-4,18250,1661,2016,200,300,500,0,33,7,4,2,1,1,42,37,26,0.875,0.77083333333333337,0.54166666666666663,15,0.3125,0.48000000000000026,0]
[49,20415,20712,6.7592081143759408E-4,18250,1589,2353,200,300,500,0,34,7,4,2,1,1,43,38,27,0.87755102040816324,0.77551020408163263,0.55102040816326525,15,0.30612244897959184,0.49000000000000027,0]
[50,20791,20267,2.7243115128277576E-4,18250,1578,1542,200,300,500,0,35,7,4,2,1,1,44,39,28,0.88,0.78,0.56000000000000005,15,0.3,0.50000000000000022,0]
[51,21027,20439,4.2518396170304628E-4,18250,1518,2037,200,300,500,259,35,7,5,2,1,1,45,40,29,0.88235294117647056,0.78431372549019607,0.56862745098039214,16,0.31372549019607843,0.51000000000000023,0]
[52,20738,20652,6.2625392906620766E-4,18250,1939,2398,200,300,500,0,36,7,5,2,1,1,46,41,30,0.88461538461538458,0.78846153846153844,0.57692307692307687,16,0.30769230769230771,0.52000000000000024,0]
[53,21506,21400,5.7938310552296541E-4,18250,2445,2069,200,300,500,0,37,7,5,2,1,1,47,42,31,0.8867924528301887,0.79245283018867929,0.58490566037735847,16,0.30188679245283018,0.53000000000000025,0]
[54,20002,20692,6.5999742027422097E-4,18250,1875,1846,200,300,500,0,38,7,5,2,1,1,47,42,31,0.87037037037037035,0.77777777777777779,0.57407407407407407,16,0.29629629629629628,0.54000000000000026,0]
[55,21913,20806,7.4003088834764114E-4,18250,2085,1682,200,300,500,578,38,7,5,3,1,1,48,43,32,0.87272727272727268,0.78181818181818186,0.58181818181818179,17,0.30909090909090908,0.55000000000000027,0]
[56,21344,21086,7.8616911344221317E-4,18250,2285,2238,200,300,500,0,39,7,5,3,1,1,49,44,33,0.875,0.7857142857142857,0.5892857142857143,17,0.30357142857142855,0.56000000000000028,0]
[57,21945,20752,7.0553467973625856E-4,18250,2482,1895,200,300,500,213,39,7,6,3,1,1,50,45,34,0.8771929824561403,0.78947368421052633,0.59649122807017541,18,0.31578947368421051,0.57000000000000028,0]
[58,21732,21024,7.9696592702347086E-4,18250,2474,2362,200,300,500,8,39,8,6,3,1,1,51,46,35,0.87931034482758619,0.7931034482758621,0.60344827586206895,19,0.32758620689655171,0.58000000000000029,0]
[59,21134,21767,2.4601338040352102E-4,18250,2099,2222,200,300,500,0,40,8,6,3,1,1,52,47,36,0.88135593220338981,0.79661016949152541,0.61016949152542377,19,0.32203389830508472,0.5900000000000003,0]
[60,21050,21044,7.9480112516716389E-4,18250,2008,1934,200,300,500,0,41,8,6,3,1,1,53,48,37,0.8833333333333333,0.8,0.6166666666666667,19,0.31666666666666665,0.60000000000000031,0]
[61,20597,20542,5.2449501648748026E-4,18250,1992,2183,200,300,500,0,42,8,6,3,1,1,54,49,37,0.88524590163934425,0.80327868852459017,0.60655737704918034,19,0.31147540983606559,0.61000000000000032,0]
[62,20788,21953,1.2974174871918645E-4,18250,1955,2061,200,300,500,0,43,8,6,3,1,1,55,50,38,0.88709677419354838,0.80645161290322576,0.61290322580645162,19,0.30645161290322581,0.62000000000000033,0]
[63,21967,21970,1.2153033790912953E-4,18250,1756,2062,200,300,500,961,43,8,6,3,1,2,56,51,39,0.88888888888888884,0.80952380952380953,0.61904761904761907,20,0.31746031746031744,0.63000000000000034,0]
[64,20062,20630,6.0677856751260026E-4,18250,1914,2160,200,300,500,0,44,8,6,3,1,2,56,51,39,0.875,0.796875,0.609375,20,0.3125,0.64000000000000035,0]
[65,21137,21134,7.6973933097931164E-4,18250,1648,2120,200,300,500,239,44,8,7,3,1,2,57,52,40,0.87692307692307692,0.8,{"$f":"T122/A122","v":0.61538461538461542},21,0.32307692307692309,0.65000000000000036,0]
[66,21211,{"$f":"RANDBETWEEN(20000,22000)","v":21845},{"$f":"NORMDIST(C123,21000,$C$56,FALSE)","v":1.9131359232704795E-4},18250,1530,{"$f":"RANDBETWEEN(1500,2500)","v":1669},200,300,500,{"$f":"MAX(B123-E123-F123-H123-I123-J123,0)","v":431},44,8,7,4,1,2,58,53,41,{"$f":"R123/A123","v":0.87878787878787878},{"$f":"S123/A123","v":0.80303030303030298},0.62121212121212122,22,{"$f":"X123/A123","v":0.33333333333333331},0.66000000000000036,0]
[{"$f":"A123+1","v":67},20751,20139,1.8114936760578782E-4,18250,2463,1736,200,300,500,0,{"$f":"IF($K124<=0,1+L123,L123)","v":45},8,7,4,1,2,{"$f":"IF((B124-E124-F124)>0,R123+1,R123)","v":59},{"$f":"IF(B124-E124-F124-H124>0,S123+1,S123)","v":53},{"$f":"IF(B124-E124-F124-H124-I124>0,T123+1,T123)","v":41},0.88059701492537312,0.79104477611940294,0.61194029850746268,{"$f":"IF(K124>0,X123+1,X123)","v":22},0.32835820895522388,{"$f":"Z123+1/100","v":0.67000000000000037},0]
[68,20627,21966,1.2342725156314389E-4,18250,1855,1905,200,300,500,0,46,8,7,4,1,2,60,54,42,0.88235294117647056,0.79411764705882348,0.61764705882352944,22,0.3235294117647059,0.68000000000000038,0]
[69,21839,21901,1.5733258276386463E-4,18250,2021,2071,200,300,500,568,46,{"$f":"IF(AND($K126>0,K126<=200),M125+1,M125)","v":8},{"$f":"IF(AND($K126>200,$K126<=400),N125+1,N125)","v":7},{"$f":"IF(AND($K126>400,$K126<=600),O125+1,O125)","v":5},{"$f":"IF(AND($K126>600,$K126<=800),P125+1,P125)","v":1},{"$f":"IF(AND($K126>800,$K126<=1000),Q125+1,Q125)","v":2},61,55,43,0.88405797101449279,0.79710144927536231,0.62318840579710144,23,0.33333333333333331,0.69000000000000039,0]
[70,20894,21994,1.1059688524361902E-4,18250,1627,2149,200,300,500,17,46,9,7,5,1,2,62,56,44,0.88571428571428568,0.8,0.62857142857142856,24,0.34285714285714286,0.7000000000000004,0]
[71,20192,20553,5.3504236267825505E-4,18250,1895,1669,200,300,500,0,47,9,7,5,1,2,63,56,44,0.88732394366197187,0.78873239436619713,0.61971830985915488,24,0.3380281690140845,0.71000000000000041,0]
[72,21277,20535,5.1776109346229763E-4,18250,2002,2433,200,300,500,25,47,10,7,5,1,2,64,57,45,0.88888888888888884,0.79166666666666663,0.625,25,0.34722222222222221,0.72000000000000042,0]
[73,20439,20373,3.6347333075213603E-4,18250,2436,2233,200,300,500,0,48,10,7,5,1,2,64,57,45,0.87671232876712324,0.78082191780821919,0.61643835616438358,25,0.34246575342465752,0.73000000000000043,0]
[74,21774,21637,3.5439989637575295E-4,18250,2227,2070,200,300,500,297,48,10,8,5,1,2,65,58,46,0.8783783783783784,0.78378378378378377,0.6216216216216216,26,0.35135135135135137,0.74000000000000044,0]
[75,20290,20895,7.8048375514014855E-4,18250,1747,1890,200,300,500,0,49,10,8,5,1,2,66,59,46,0.88,0.78666666666666663,0.61333333333333329,26,0.34666666666666668,0.75000000000000044,0]
[76,20899,21911,1.517329285386849E-4,18250,1707,1898,200,300,500,0,50,10,8,5,1,2,67,60,47,0.88157894736842102,0.78947368421052633,0.61842105263157898,26,0.34210526315789475,0.76000000000000045,0]
[77,20710,20746,7.0129731458335582E-4,18250,1862,1743,200,300,500,0,51,10,8,5,1,2,68,61,48,0.88311688311688308,0.79220779220779225,0.62337662337662336,26,0.33766233766233766,0.77000000000000046,0]
[{"$f":"A134+1","v":78},21858,20391,3.8001165615321892E-4,18250,1871,1707,200,300,500,737,51,{"$f":"IF(AND($K135>0,K135<=200),M134+1,M134)","v":10},{"$f":"IF(AND($K135>200,$K135<=400),N134+1,N134)","v":8},{"$f":"IF(AND($K135>400,$K135<=600),O134+1,O134)","v":5},{"$f":"IF(AND($K135>600,$K135<=800),P134+1,P134)","v":2},{"$f":"IF(AND($K135>800,$K135<=1000),Q134+1,Q134)","v":2},69,62,49,0.88461538461538458,0.79487179487179482,0.62820512820512819,27,0.34615384615384615,0.78000000000000047,0]
[{"$f":"A135+1","v":79},20152,20990,7.9772499984733208E-4,18250,1626,2305,200,300,500,0,52,10,8,5,2,2,70,63,49,0.88607594936708856,0.79746835443037978,0.620253164556962,27,0.34177215189873417,0.79000000000000048,0]
[80,20414,20131,1.7620391394505497E-4,18250,2128,1638,200,300,500,0,53,10,8,5,2,2,71,63,49,0.88749999999999996,0.78749999999999998,0.61250000000000004,27,0.33750000000000002,0.80000000000000049,0]
[81,21351,20631,6.0767604931105494E-4,18250,1882,2273,200,300,500,219,53,10,9,5,2,2,72,64,50,0.88888888888888884,0.79012345679012341,0.61728395061728392,28,0.34567901234567899,0.8100000000000005,0]
[82,20614,21647,3.4541476983559815E-4,18250,2392,2424,200,300,500,0,54,10,9,5,2,2,72,64,50,0.87804878048780488,0.78048780487804881,0.6097560975609756,28,0.34146341463414637,0.82000000000000051,0]
[83,20108,20233,2.4601338040352102E-4,18250,2451,2215,200,300,500,0,55,10,9,5,2,2,72,64,50,0.86746987951807231,0.77108433734939763,0.60240963855421692,28,0.33734939759036142,0.83000000000000052,0]
[84,21248,20832,7.5409316873617613E-4,18250,2014,1892,200,300,500,0,56,10,9,5,2,2,73,65,51,0.86904761904761907,0.77380952380952384,0.6071428571428571,28,0.33333333333333331,0.84000000000000052,0]
[85,20852,21509,4.7523143945889961E-4,18250,1756,2060,200,300,500,0,57,10,9,5,2,2,74,66,52,0.87058823529411766,0.77647058823529413,0.61176470588235299,28,0.32941176470588235,0.85000000000000053,0]
[86,20846,21657,3.3652280781842588E-4,18250,2060,1570,200,300,500,0,58,10,9,5,2,2,75,67,53,0.87209302325581395,0.77906976744186052,0.61627906976744184,28,0.32558139534883723,0.86000000000000054,0]
[87,21478,20295,2.9527700812471145E-4,18250,2129,1791,200,300,500,99,58,11,9,5,2,2,76,68,54,0.87356321839080464,0.7816091954022989,0.62068965517241381,29,0.33333333333333331,0.87000000000000055,0]
[88,21575,21867,1.7743173197399615E-4,18250,2041,1849,200,300,500,284,58,11,10,5,2,2,77,69,55,0.875,0.78409090909090906,0.625,30,0.34090909090909088,0.88000000000000056,0]
[89,20491,21255,7.0058375717945158E-4,18250,1654,2181,200,300,500,0,59,11,10,5,2,2,78,70,56,0.8764044943820225,0.7865168539325843,0.6292134831460674,30,0.33707865168539325,0.89000000000000057,0]
[90,20530,20918,7.8722643509167149E-4,18250,2363,2278,200,300,500,0,60,11,10,5,2,2,78,70,56,0.8666666666666667,0.77777777777777779,0.62222222222222223,30,0.33333333333333331,0.90000000000000058,0]
[91,20701,21945,1.3374218127861431E-4,18250,2095,1740,200,300,500,0,61,11,10,5,2,2,79,71,56,0.86813186813186816,0.78021978021978022,0.61538461538461542,30,0.32967032967032966,0.91000000000000059,0]
[92,21631,20582,5.6257020002571309E-4,18250,2307,1919,200,300,500,74,61,12,10,5,2,2,80,72,57,0.86956521739130432,0.78260869565217395,0.61956521739130432,31,0.33695652173913043,0.9200000000000006,0]
[93,21282,20150,1.8809815475377383E-4,18250,2069,1931,200,300,500,0,62,12,10,5,2,2,81,73,58,0.87096774193548387,0.78494623655913975,0.62365591397849462,31,0.33333333333333331,0.9300000000000006,0]
[94,20280,20972,7.9663445814813537E-4,18250,1880,1822,200,300,500,0,63,12,10,5,2,2,82,73,58,0.87234042553191493,0.77659574468085102,0.61702127659574468,31,0.32978723404255317,0.94000000000000061,0]
[95,21526,20961,7.9546108394605889E-4,18250,2376,2403,200,300,500,0,64,12,10,5,2,2,83,74,59,0.87368421052631584,0.77894736842105261,0.62105263157894741,31,0.32631578947368423,0.95000000000000062,0]
[96,21052,21234,7.1512111956257912E-4,18250,2113,1587,200,300,500,0,65,12,10,5,2,2,84,75,60,0.875,0.78125,0.625,31,0.32291666666666669,0.96000000000000063,0]
[97,20327,20673,6.4426229034880939E-4,18250,2136,2274,200,300,500,0,66,12,10,5,2,2,84,75,60,0.865979381443299,0.77319587628865982,0.61855670103092786,31,0.31958762886597936,0.97000000000000064,0]
[98,21969,21094,7.8390820366831468E-4,18250,2358,2294,200,300,500,361,66,12,11,5,2,2,85,76,61,0.86734693877551017,0.77551020408163263,0.62244897959183676,32,0.32653061224489793,0.98000000000000065,0]
[99,21446,20161,1.9521898458349588E-4,18250,2074,1776,200,300,500,122,66,13,11,5,2,2,86,77,62,0.86868686868686873,0.77777777777777779,0.6262626262626263,33,0.33333333333333331,0.99000000000000066,0]
[100,21231,20843,7.5950425647897883E-4,18250,2483,2485,200,300,500,0,67,13,11,5,2,2,87,78,62,0.87,0.78,0.62,33,0.33,1.0000000000000007,0]
["Avg",{"$f":"AVERAGE(B58:B157)","v":20935.259999999998},{"$f":"AVERAGE(C58:C157)","v":21023.15},{"$f":"SUM(D58:D157)","v":4.9099528489587978E-2}]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null," "]
[null,null,null,null,null,null,null," "]
[null,null,null,null,null,null,null,null,null,null,null,null," "," ",null,null,null,null,null," "]
[null," "]