## Slide 1: 2010 Northwest Regional Forecast
Resource Adequacy Technical Committee
April 22, 2010

## Slide 2: The Forecast is… Sum-of-utilities integrated resource plans
10 year timeframe – updated annually
Load forecasts – normal weather
Conservation – utility estimates
Generating resources – expected firm
Hydro generation – firm (critical water)
Future resources – utility plans
Capacity need – utility estimates
Forecast = Needs Assessment

## Slide 3: Forecast ≠ Adequacy Assessment
Forecast
Deterministic
Answers 10 year questions:
How much power do we need to acquire?
What resources are planned to fill the need?
Adequacy Assessment
Loss of load probability
Answers 3-5 year question:
What is the probability that we will not meet demand?

## Slide 4: Needs are forecast to grow
Chart: Northwest Requirements & Resources
| 2010-11 | 2011-12 | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18 | 2018-19 | 2019-20
Existing Resources | 21806.8611 | 21846.3778 | 21296.6698 | 21273.6463 | 21236.443 | 21595.324 | 21351.2554 | 21566.7068 | 21319.6504 | 21399.8199
Requirements | 21721.2535 | 22076.1141 | 22544.0021 | 22978.7647 | 23240.4812 | 23493.6796 | 23809.5997 | 24095.3902 | 24381.6295 | 24687.0074
Requirements post Energy Eff. | 21462.8508 | 21644.313 | 21939.4421 | 22192.7262 | 22272.8386 | 22343.7971 | 22482.6929 | 22607.3824 | 22749.2722 | 22916.9271

## Slide 5: Plans in place
Chart: Planned Resources 3,990 MWa
| Natural Gas | Conservation | Wind | Other Renewables
 | 1343.5 | 1811.3803 | 501.0383 | 333.6884

## Slide 6: Grappling with capacity
Historic approach raises questions
  Hydro sustained peaking capability
  Accounting for reserves/planning margin
System Planning Committee’s interim approach used
  Survey of utilities’ capacity needs based on individual utility criteria
Notes: Added planning margin

## Slide 7: Capacity 2015 snapshot
Chart: Capacity Need
| Total | Idaho Power | PacifiCorp | Portland General Electric | Puget Sound Energy
Winter | 2765.8998 | 0 | 0 | 1723.6766 | 1042.2231
Summer | 2721.866 | 849.9132 | 403.593 | 1468.3598 | 0

## Slide 8: Future focus
Understanding conservation accounting
Refining regional capacity assessment
  How to include reserves
  What to use for planning margin