Resource Adequacy Status Report for July 2013

I. Data Updates

| Data | Status | Notes |
| --- | --- | --- |
| 2019 Loads | Draft done Final TBA | Preliminary 2019 loads under internal review Ready for committee review by August Final loads by early September |
| Generating resources | In progress | Preliminary by July |
| SW Market resources | In progress | New CEC data is available Will also use AURORAxmp runs |
| Wind | In progress | Asked members to provide non-BPA fleet data |
| Energy Efficiency | In progress | Council staff, working on hourly shapes Consider adding EE explicitly (instead of in loads) |
| Contracts | In progress | Will use BPA White Book data, need to format |
| New Peak vs. Energy Curves | By August | Update to 80-hydro years (McCoy contract) |
| Review INC/DEC | By August | BPA will provide any changes |
| Investigate BC market | TBA | New task needs assignment |
| Investigate non-NW wind and Entitlement as market supplies | TBA | New task needs assignment |
| Review transmission nomogram and capacities | TBA | Council staff |
| Identify policy assumptions for steering committee | TBA | John will send a draft list out to tech members See Appendix C |
| Identify key sensitivities for detailed study | TBA | See section IV below |
| Data for 3rd node | TBA | Has not yet been assigned |

II. Model Enhancements

| Enhancement | Status | Notes |
| --- | --- | --- |
| Canadian operation | Done | Undergoing testing, will allow random hydro |
| 14-Period years | Done | Tested and approved |
| Weekly hydro | In progress | Will not be used for next assessment |
| Transmission nodes | In progress | Add Idaho node, needs data, testing |
| User interface | In progress | ETA late 2013 |
| Hourly hydro review | TBA | Multiple issues, eliminate “false” curtailments |
| Utility-version of Genesys | TBA | Contractor, BPA, Council staff |
| Develop means to model distributed generation | TBA | New task needs assignment |
| Develop means to model DR not already in load record | TBA | New task needs assignment |
| Develop post-processor DR evaluation model | Done | Needs better curtailment record |

III. Proposed Meeting Schedule for 2013-14

IV. Policy Assumptions for Consideration by the Steering Committee

- Amount of SW market to include in the reference case

- Amount of market provided by non-NW wind

- Amount of market supply provided by BC

- Amount of market supply available from the Entitlement

- Amount of energy efficiency to include in the reference case (Council target or other)

- Amount of new wind to include in the reference case (licensed-and-sited or RPS)

- Shape for energy efficiency in the reference case

- Assumptions relating to DR or distributed generation (more specificity needed)

- Include sited-and-licensed resources in reference case or use different assumption?

- Amount of borrowed hydro to include in reference case

- Definition of standby resources (post processor adjustment of curtailment record to include the effects of standby resources not modeled in Genesys)

________________________________________

q:\jf\ra forum\2013\adequacy status july 2013.docx