## Slide 1: Emerging Energy Efficiency Technologies (E3T) Filling the Pipeline for Tomorrow’s Energy Efficiency Programs
Presented to:
Northwest Energy Efficiency Taskforce Work Group #2 - Emerging Solutions and Technologies April 26th, 2009
Notes: <number>

## Slide 2: EE Emerging Technology (E3T) Synopsis
Start-up year of a multi-year effort
Focus is on emerging technologies
Utilize BPA strengths
  Regional scale and coordination
  Utility relationships
  Technical expertise and objectivity
    Measurement & Verification (M&V)
    Technology Management
Vision:
A trusted source for emerging energy efficiency technologies and solutions, providing a steady stream of valued innovations to BPA, utilities, and end-users.
<number>
Emerging Energy Efficiency Technologies
Notes: <number>

## Slide 3: E3T Sources
Northwest Energy Efficiency Task Force – Emerging Technologies and Solutions Work Group # 2
  Regionally focused group
BPA Office of Technology Innovation
  Road mapping
  Portfolio Management
California Emerging Technologies Coordinating Council
  “Coordinating among its members to facilitate the assessment of promising energy efficient emerging technologies that will benefit California customers.”
Emerging Energy Efficiency Technologies
<number>
Notes: <number>

## Slide 4
Emerging Energy Efficiency Technologies
<number>
Takeaways
    Collaborative approach
    Regional role for R D & D for energy efficiency
    Dedicated funding and dedicated staff
    Focus on PNW needs
    Leverage work in the region and beyond
Northwest Energy Efficiency Taskforce Work Group #2 - Emerging Solutions and Technologies July – December 2008
How can we keep the pipeline full of energy efficiency innovations for use in the Pacific Northwest?
Notes: The majority (94%) of the respondents (46 responses representing 41 organizations) currently believe that there is a role for regional R D & D.
<number>

## Slide 5
In 2005, Bonneville re-started its R&D program.
Bonneville created a series of “technology roadmaps”
The group has developed a Portfolio Philosophy, as well as a Portfolio Decision Framework.
Emerging Energy Efficiency Technologies
<number>
The FY’09 portfolio includes 57 projects funded at about $7.5 million.
Takeaways
    Technology Roadmaps
    Portfolio Philosophy
    Learn quickly & cheaply
    Stage Gates

## Slide 6
Session 3: State-of-the-Art Lighting
Session 4: Moving Towards Zero Energy Homes
Session 17: Data Centers - The Next Frontier for Energy Efficiency
Emerging Energy Efficiency Technologies
<number>
Summit October 2008
Observations
Lots of Innovation
Large scale and scope of California utility and public efforts
Model(s) for how (and how not) to do emerging technology
Takeaways
Include end-user focus & feedback
Address “weak-link” between R&D and EE programs.
Make sure “screeners” have knowledge & understanding of specific technical and market issues.

## Slide 7: E3T Comprehensive Approach
Continuity: Energy Smart Innovations Center
Continuity: Ongoing TI activities (w/ typical 1 - 3 year ET projects)
<number>
Emerging Energy Efficiency Technologies
Notes: BPA leadership in Northwest EE innovation
New EE measures to deliver many avg. MW
Confidence in quality of new measures
Detailed supporting data
Fast, cost-effective, sustainable mechanism
Detailed, well-defined 5-year vision
<number>

## Slide 8: E3T Structure
BPA Technology Innovation Council – strategic oversight and review
E3T staff- select & manage portfolio, oversee all groups below
TI office + EE staff (as assigned) - project management and contracting – tactical management of assessments
EE Program, Planning, and Marketing Groups– oversee customer & market research, information transfer, assist in results transfer to utilities and to EE programs
Technical Advisory Groups (TAGs) – screening, review, ranking
Long Term
Energy Smart Innovation Center – perform and manage scanning, customer & market research, information transfer; oversee Web development and operations
  Web-Hosted Information Sharing
  Web-Hosted Collaboration Platform
Emerging Energy Efficiency Technologies
<number>
Notes: <number>

## Slide 9: E3T Framework: Process as of 3/02/09
Emerging Energy Efficiency Technologies
E3T Database
E3T Action Plan
E3T Portfolio
BPA Template
New EE Measures
Scan Screen Select Assess
E3T Solution Review Sheet
E3T Solution Summary
E3T Assessment Report
E3T People: EE & TI Staff, TAGs, Consultants

## Slide 10: Technical Advisory Groups
Computer/
Electronics
Commercial Buildings
Residential Buildings
Industrial/Ag/ Municipal
Consumer Products
Enabling Technologies
Lighting
HVAC
Energy Management
Crosscutting/
Collaborative
<number>
Emerging Energy Efficiency Technologies
Notes: <number>

## Slide 11: 2009 E3T Lighting Technical Advisory Members (partial)
Emerging Energy Efficiency Technologies
<number>
Larry Giardina | City of Ashland | Ashland, OR
Charlie Grist | Northwest Power and Conservation Council | Portland, OR
Michael Lane | Lighting Design Lab | Seattle, WA
Jonathan Livingston | Livingston Energy Innovations | San Francisco
Doug Oppedal | Energy Trust of Oregon | Portland, OR
Mark Rea | Lighting Research Center | Troy, NY
Peter Morante | Lighting Research Center | Troy, NY
Luís Fernandes | California Lighting Technology Center | Davis, CA
Joe Vaccher | Eugene Water & Electric Board | Eugene, OR
Jack Zeiger | Washington State University Energy Program | Olympia, WA
Rob Penney | WSU Energy Program | Olympia, WA
Ira Krepchin | E Source | Boulder, CO
Craig Ciranny | BPA Energy Efficiency | Portland, OR

## Slide 12: Solution Ranking Sheet (extract)
Emerging Energy Efficiency Technologies
<number>

## Slide 13: Solution Summary (extract)
Emerging Energy Efficiency Technologies
<number>

## Slide 14: Current BPA Technology Innovation and Emerging Technology Projects
Advanced Lighting Technologies for Energy Efficiency and Demand Response
Self-Correcting Building HVAC Controls Technology Development
High-Efficiency Low-Lift Vapor Compression System
Automatic Diagnostic for Package HVAC
Low Temp Heat Pump
Mini-Split Heat Pump Demo
Grocery store gasket, door closure and strip curtain lab tests
Packaged Rooftop Unit RD&D
  Ongoing RTF Rooftop Unit subcommittee lab and field tests
  2008 Spokane area AirCare Plus demonstration with pre/post metering
  2009 Premium Ventilation Package field tests
  2009 Expanded Rooftop Unit demonstration
Emerging Energy Efficiency Technologies
<number>

## Slide 15: E3T Potential FY 2009/2010 Projects
“Quick Start” - Residential Focus Area
  Heat Pump Water Heater Lab and Field Tests
  Ductless Heat Pumps – Special Applications
    Manufactured Home
    Cold Climate
“Quick Start” - Misc
  Smart Plug Strips - Pilot
  Motel/Hotel PTHP with Occupancy Controls – Field Test
  University Sustainability Initiative
    Monitoring based Cx
    Campus-wide sustainability tracking system
  Packaged rooftop unit energy savings diagnostics tools
Emerging Energy Efficiency Technologies
<number>

## Slide 16: E3T Potential FY 2009/2010 Projects
Lighting Focus Area
  Assessments:
    LEDs for commercial signs
    Bi-level occupancy sensors in offices
    Wireless controls
    Reduced ambient lighting w/task lighting: offices, schools, warehouses
  Fast track to programs:
    Mesopic Lighting for low light visibility
    Bi-level for parking, garages, stairwells
    Training installers
Emerging Energy Efficiency Technologies
<number>

## Slide 17: E3T FY 2009 Plan and Schedule
Emerging Energy Efficiency Technologies
<number>
Year | Quarter |  | Achievement Focus
2009 | 1st Quarter |      | Established E3T Program Contracted for Services Completed Detailed Work Plan Recruited Lighting & HVAC Tech Advisory Groups (TAGS)
 | 2nd Quarter |    | Develop Initial Lighting & HVAC Portfolios Start Lighting & HVAC Assessments
 | 3rd Quarter |    | Continue Initial Assessments Review and Expand Portfolios
 | 4th Quarter |     | Complete Initial Assessments EE Program Uptake Additional Tech Advisory Groups (TAGs)

## Slide 18
Emerging Energy Efficiency Technologies
<number>
Contact Information
Jack M. Callahan, P.E., CEM, CMVP
Senior Engineer
Energy Efficiency Engineering Services
Bonneville Power Administration
(503) 230-4496
A trusted source for emerging energy efficiency technologies and solutions, providing a steady stream of valued innovations to BPA, utilities, and end-users.