## Data Dictionary
Commercial Appliance Standards Impact Analysis Aggregation Workbook Terms and Definitions
| Terms | Definitions
1) | Annaul Incremental Savings Due to Standard Before Program Adjustment | The non-programmatic savings due to standards is defined as additional above-baseline units installed in a particular year. The baseline is described by the 6th Plan. This is analogous to newly ‘acquired’ savings. Incremental annual savings are positive in the model until the entire stock changes over to the post-case UEC, which is typically modeled as one lifetime after the standard takes effect.
2) | Annual Savings | In addition to the first year savings, "annual savings" include savings from all above-baseline measures installed in previous years, so long as those measure remain in operation in the year for which savings are being summed. Savings in this model occurs every year in perpetuity because they accrue against a frozen pre-case. Savings continue to accrue in perpetuity because they are compared against a frozen baseline. Whereas "annual incremental savings" become zero after the stock turns overs, "annual savings" merely stop growing when the stock turns overs.
3) | DOE Carbon Savings Proxy | DOE Carbon Savings Proxy refers to the sum of all annual savings from 2005-2034.
4) | One-time Adjustment | The one-time adjustment accounts for the difference between the 6P baseline starting point and the model’s starting point. Differences are due to updates of the baseline UEC and shipment unit based on best available data. By definition, this analysis had access to much more "ex-post" data than the 6th Plan had when it was constructed. -Negative adjustments: occur when the adjusted UEC (again, the UEC Navigant modeled based on best available data) was higher than the Council-projected UEC. In other words, the 6P projected potential was higher than actually was available. -Positive adjustments: occur when the adjusted UEC was lower than council projected UEC. In other words, the 6P projected potential was lower than was actually available.
5) | Non Programmatic Savings Due to Standard Before Program Adjustment | The annual incremental savings due to standard reported for the 6th Plan period (2010-2014) beofre program adjustment

## Commercial- Total Sector
Commercial/Industrial Sector Appliance Standards Impact Analysis Results
Regional First Year Non-Programmatic Savings Due to Standard before Program Adjustments (includes Busbar) | [23 empty] | Regional DOE Non-programmatic Carbon Savings due to Standards
Regional 6th Plan One-time Adjustments (includes Busbar)
[13 empty] | Commercial Clothes Washers | Illuminated Exit Signs | Pre-rinse Spray Valves | Commercial Refrigeration Equipments | Walk-in Cooler and Freezers | Electric Motors | Distribution Transformers | CAC Air-Cooled | CAC Water Evap Cooled | PTAC/HP
[13 empty] | 0 | 2.7267 | -0.091927 | 0.23761 | 0 | 0 | 0 | 0 | 0 | 0
[13 empty] | Commercial Sector Total | 2.8724
Regional First Year Non-Programmatic Savings Due to Standard before Program Adjustments (includes Busbar)
[13 empty] | Commercial Clothes Washers | Illuminated Exit Signs | Pre-rinse Spray Valves | Commercial Refrigeration Equipments | Walk-in Cooler and Freezers | Electric Motors | Distribution Transformers | CAC Air-Cooled | CAC Water Evap Cooled | PTAC/HP | Total
[12 empty] | 2010 | 0 | 0 | 0 | 0 | 0.15472 | 0 | 7.8649 | 0 | 0 | 0.01963 | 8.0392
[12 empty] | 2011 | 0 | 0 | 0 | 0 | 0.2647 | 0.13293 | 7.6768 | 0 | 0 | 0.01963 | 8.094
[12 empty] | 2012 | 0 | 0 | 0 | 0 | 0.37018 | 0.13293 | 7.3903 | 0 | 0 | 0.01963 | 7.9131
[12 empty] | 2013 | 0.52482 | 0 | 0 | 0 | 0.4457 | 0.13293 | 7.3023 | 0 | 0 | 0.01963 | 8.4254
[12 empty] | 2014 | 0.55013 | 0 | 0 | 0 | 0.48561 | 0.13293 | 7.3617 | 0 | 0.0043622 | 0.01963 | 8.5544
[12 empty] | 2015 | 0.63024 | 0 | 0 | 0 | 0.50657 | 0.13293 | 7.3317 | 0 | 0.0043622 | 0.01963 | 8.6255
[12 empty] | Total | 1.7052 | 0 | 0 | 0 | 2.2275 | 0.66467 | 44.9277 | 0 | 0.0087245 | 0.11778 | 49.6515
* WICF, PTAC/HP- product definition; DOE rulemaking website; excludes commercial refrigerations
[13 empty] | Commercial Sector Total (2010-2014) | 49.6515
[12 empty] | 2016-2034 | 8.2573 | 0 | 0 | 0 | 9.5609 | 2.5618 | 318.8493 | 0.1963 | 0.064343 | 0.35552 | 339.8455
[13 empty] | BPA Region Scalar | 0.42
[13 empty] | Busbar | 1.0906
Regional First Year Non-Programmatic Savings Due to Standard before Program Adjustments (with Busbar) | [12 empty] | BPA 6th Plan One-time Adjustments (includes Busbar) | [10 empty] | Regional DOE Non-programmatic Carbon Savings due to Standards
| Commercial Washer (MF Common Area) | Commercial Washer (Laundromat) | Illuminated Exit Signs | Pre-rinse Spray Valves | Commercial Refrigeration Equipments | Walk-in Cooler and Freezers | Electric Motors | Distribution Transformers | CAC Air-Cooled | CAC Water Evap Cooled | PTAC/HP |  | Commercial Clothes Washers | Illuminated Exit Signs | Pre-rinse Spray Valves | Commercial Refrigeration Equipments | Walk-in Cooler and Freezers | Electric Motors | Distribution Transformers | CAC Air-Cooled | CAC Water Evap Cooled | PTAC/HP |  |  | Commercial Washer (MF Common Area) | Commercial Washer (Laundromat) | Illuminated Exit Signs | Pre-rinse Spray Valve | Commercial Refrigeration Equipment | Walk-in Coller and Freezers | Electric Motors | Distribution Transformers | CAC Air-Cooled | CAC Water Evap Cooled | PTAC/HP
2005 | 0 | 0 | 0.60394 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01963 |  | 0 | 1.1452 | -0.038609 | 0.099796 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2005 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2006 | 0 | 0 | 0.80333 | 1.1138 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01963 | [12 empty] | 2006 | 0 | 0 | 2.4096 | 0 | 0 | 0.010142 | 0 | - | 0 | 0 | 0
2007 | 0 | 0 | 0.421 | 1.0986 | 0 | 0 | 0 | 4.6381 | 0 | 0 | 0.01963 |  | Commercial Sector Total | 1.2064 | [9 empty] | 2007 | 0 | 0 | 5.6168 | 1.2351 | 0 | 0.042974 | 0 | 4.4 | 0 | 0 | 0
2008 | 0 | 0 | 0.41917 | 1.0833 | 0 | 0 | 0 | 4.3065 | 0 | 0 | 0.01963 | [12 empty] | 2008 | 0 | 0 | 9.2393 | 3.6764 | 0 | 0.10133 | 0 | 12.4 | 0 | 0 | 0
2009 | 0 | 0 | 0.41624 | 1.0853 | 0 | 0.073298 | 0 | 2.844 | 0 | 0 | 0.01963 | [12 empty] | 2009 | 0 | 0 | 13.2733 | 7.3075 | 0 | 0.22547 | 0 | 22.8 | 0 | 0 | 0
2010 | 0 | 0 | 0 | 0 | 0 | 0.15472 | 0 | 7.8649 | 0 | 0 | 0.01963 |  | BPA First Year Non-Programmatic Savings Due to Standard before Program Adjustments (includes Busbar) | [10 empty] | 2010 | 0 | 0 | 17.6948 | 12.1378 | 0 | 0.49894 | 0 | 40.4 | 0 | 0 | 0
2011 | 0 | 0 | 0 | 0 | 0 | 0.2647 | 0.13293 | 7.6768 | 0 | 0 | 0.01963 |  | Commercial Clothes Washers | Illuminated Exit Signs | Pre-rinse Spray Valves | Commercial Refrigeration Equipments | Walk-in Cooler and Freezers | Electric Motors | Distribution Transformers | CAC Air-Cooled | CAC Water Evap Cooled | PTAC/HP | Total | 2011 | 0 | 0 | 22.1165 | 16.9688 | 0 | 1.0803 | 0.33616 | 65 | 0 | 0 | 0
2012 | 0 | 0 | 0 | 0 | 0 | 0.37018 | 0.13293 | 7.3903 | 0 | 0 | 0.01963 | 2010 | 0 | 0 | 0 | 0 | 0.064984 | 0 | 3.3032 | 0 | 0 | 0.0082446 | 3.3765 | 2012 | 0 | 0 | 26.5391 | 20.606 | 0 | 2.2365 | 1.0085 | 96.4 | 0 | 0 | 0
2013 | 0.36659 | 0.15824 | 0 | 0 | 0 | 0.4457 | 0.13293 | 7.3023 | 0 | 0 | 0.01963 | 2011 | 0 | 0 | 0 | 0 | 0.11117 | 0.055832 | 3.2242 | 0 | 0 | 0.0082446 | 3.3995 | 2013 | 0.36242 | 0.17271 | 30.873 | 23.009 | 0 | 4.3636 | 2.0169 | 134.8 | 0 | 0 | 0
2014 | 0.36742 | 0.1827 | 0 | 0 | 0 | 0.48561 | 0.13293 | 7.3617 | 0 | 0.0043622 | 0.01963 | 2012 | 0 | 0 | 0 | 0 | 0.15548 | 0.055832 | 3.1039 | 0 | 0 | 0.0082446 | 3.3235 | 2014 | 1.0917 | 0.51147 | 35.0322 | 24.2062 | 0 | 7.9998 | 3.3614 | 180.1 | 0 | 0 | 0
2015 | 0.37498 | 0.25526 | 0 | 0 | 0 | 0.50657 | 0.13293 | 7.3317 | 0 | 0.0043622 | 0.01963 | 2013 | 0.22043 | 0 | 0 | 0 | 0.18719 | 0.055832 | 3.067 | 0 | 0 | 0.0082446 | 3.5386 | 2015 | 2.1906 | 1.0653 | 38.9332 | 24.2062 | 0 | 13.8146 | 5.042 | 232.3 | 0 | 0 | 0
2016 | 0.42752 | 0.23541 | 0 | 0 | 0 | 0.52097 | 0.13293 | 16.2655 | 0.010906 | 0.0043622 | 0.01963 | 2014 | 0.23105 | 0 | 0 | 0 | 0.20395 | 0.055832 | 3.0919 | 0 | 0.0018321 | 0.0082446 | 3.5928 | 2016 | 3.6833 | 1.8831 | 42.4823 | 24.2062 | 0 | 22.5779 | 7.0587 | 301.1 | 0 | 0 | 0
2017 | 0.42919 | 0.20928 | 0 | 0 | 0 | 0.52843 | 0.13293 | 16.3556 | 0.010906 | 0.0043622 | 0.01963 | 2015 | 0.2647 | 0 | 0 | 0 | 0.21276 | 0.055832 | 3.0793 | 0 | 0.0018321 | 0.0082446 | 3.6227 | 2017 | 5.6085 | 2.9314 | 45.6119 | 24.2062 | 0 | 35.1095 | 9.4114 | 386.6 | 0 | 0 | 0
2018 | 0.46248 | 0.18743 | 0 | 0 | 0 | 0.52818 | 0.13293 | 16.3603 | 0.010906 | 0.0032717 | 0.01963 | Total | 0.71618 | 0 | 0 | 0 | 0.93554 | 0.27916 | 18.8696 | 0 | 0.0036643 | 0.049468 | 20.8536 | 2018 | 7.9857 | 4.1917 | 48.2385 | 24.2062 | 0 | 52.2095 | 12.1002 | 488.9 | 0 | 0.1 | 0
2019 | 0.42955 | 0.22363 | 0 | 0 | 0 | 0.51972 | 0.13293 | 16.2685 | 0.010906 | 0.0032717 | 0.01963 | [12 empty] | 2019 | 10.8088 | 5.6788 | 50.2713 | 24.2062 | 0 | 74.5734 | 15.125 | 608 | 0 | 0.1 | 0
2020 | 0.4134 | 0.21893 | 0 | 0 | 0 | 0.50515 | 0.12304 | 16.0386 | 0.010906 | 0.0032717 | 0.01963 | [12 empty] | 2020 | 14.0499 | 7.2109 | 51.5309 | 24.2062 | 0 | 102.7012 | 18.4842 | 743.5 | 0 | 0.1 | 0
2021 | 0.38063 | 0.20614 | 0 | 0 | 0 | 0.48963 | 0.12398 | 16.075 | 0.010906 | 0.0032717 | 0.01963 |  | Commercial Sector Total (2010-2015) | 20.8536 | [9 empty] | 2021 | 17.6749 | 8.787 | 52.3662 | 24.2062 | 0 | 136.8236 | 22.1768 | 895.7 | 0 | 0.1 | 0
2022 | 0.39518 | 0.2295 | 0 | 0 | 0 | 0.47846 | 0.13519 | 16.2102 | 0.010906 | 0.0032717 | 0.01854 | [12 empty] | 2022 | 21.6885 | 10.4059 | 52.7818 | 24.2062 | 0 | 176.8649 | 26.2049 | 1064.6 | 0 | 0.1 | 0
2023 | 0.4136 | 0.30215 | 0 | 0 | 0 | 0.47547 | 0.14751 | 16.356 | 0.010906 | 0.0032717 | 0.01854 | 2016-2034 | 3.4681 | 0 | 0 | 0 | 4.0156 | 1.076 | 133.9167 | 0.082446 | 0.027024 | 0.14932 | 142.7351 | 2023 | 26.111 | 12.0679 | 52.7818 | 24.2062 | 0 | 222.456 | 30.5724 | 1250.4 | 0 | 0.2 | 0
2024 | 0 | 0.2824 | 0 | 0 | 0 | 0.47905 | 0.13892 | 16.4971 | 0.010906 | 0.0032717 | 0.01854 | [12 empty] | 2024 | 30.585 | 13.7729 | 52.7818 | 24.2062 | 0 | 272.9965 | 35.2816 | 1453.1 | 0 | 0.2 | 0
2025 | 0 | 0.25632 | 0 | 0 | 0 | 0.4855 | 0.14337 | 16.6171 | 0.010906 | 0.0032717 | 0.01854 | [12 empty] | 2025 | 35.1091 | 15.5211 | 52.7818 | 24.2062 | 0 | 327.7464 | 40.3385 | 1672.8 | 0 | 0.2 | 0
2026 | 0 | 0.23393 | 0 | 0 | 0 | 0.48961 | 0.13502 | 16.7316 | 0.010906 | 0.0032717 | 0.01854 | [12 empty] | 2026 | 39.6818 | 17.3119 | 52.7818 | 24.2062 | 0 | 385.928 | 45.7351 | 1909.5 | 0 | 0.2 | 0
2027 | 0 | 0.2699 | 0 | 0 | 0 | 0.48982 | 0.13595 | 16.8757 | 0.010906 | 0.0032717 | 0.01854 | [12 empty] | 2027 | 44.3019 | 19.1452 | 52.7818 | 24.2062 | 0 | 446.8142 | 51.4712 | 2163.2 | 0 | 0.3 | 0
2028 | 0 | 0.26476 | 0 | 0 | 0 | 0.4909 | 0.13695 | 17.0683 | 0.010906 | 0.0032717 | 0.01854 | [12 empty] | 2028 | 48.9635 | 21.0204 | 52.7818 | 24.2062 | 0 | 509.7934 | 57.5258 | 2434.1 | 0 | 0.3 | 0
2029 | 0 | 0.25177 | 0 | 0 | 0 | 0.4963 | 0.13506 | 17.2414 | 0 | 0.0032717 | 0.01854 | [12 empty] | 2029 | 53.6661 | 22.9376 | 52.7818 | 24.2062 | 0 | 574.4089 | 63.8943 | 2722.1 | 0 | 0.3 | 0
2030 | 0 | 0.27549 | 0 | 0 | 0 | 0.50329 | 0.13506 | 17.4334 | 0.010906 | 0.0032717 | 0.01854 | [12 empty] | 2030 | 58.4049 | 24.8969 | 52.7818 | 24.2062 | 0 | 640.3514 | 70.5343 | 3027.2 | 0 | 0.3 | 0
2031 | 0 | 0.34815 | 0 | 0 | 0 | 0.50699 | 0.13495 | 17.5023 | 0.010906 | 0.0032717 | 0.01854 | [12 empty] | 2031 | 63.1838 | 26.8983 | 52.7818 | 24.2062 | 0 | 707.4445 | 77.4451 | 3349.5 | 0 | 0.3 | 0
2032 | 0 | 0.32839 | 0 | 0 | 0 | 0.51638 | 0.13468 | 17.5893 | 0.010906 | 0.0032717 | 0.017449 | [12 empty] | 2032 | 68.0043 | 28.942 | 52.7818 | 24.2062 | 0 | 775.5918 | 84.607 | 3688.8 | 0 | 0.4 | 0
2033 | 0 | 0.30231 | 0 | 0 | 0 | 0.52462 | 0.13511 | 17.6458 | 0.010906 | 0.0032717 | 0.017449 | [12 empty] | 2033 | 72.8702 | 31.0278 | 52.7818 | 24.2062 | 0 | 844.7604 | 91.9954 | 4045.2 | 0 | 0.4 | 0
2034 | 0 | 0.27992 | 0 | 0 | 0 | 0.53242 | 0.1353 | 17.7176 | 0.010906 | 0.0032717 | 0.017449 | [12 empty] | 2034 | 77.7799 | 33.1557 | 52.7818 | 24.2062 | 0 | 914.9441 | 99.6351 | 4418.5 | 0 | 0.4 | 0
Total | 4.4605 | 5.502 | 2.6637 | 4.3811 | 0 | 11.8617 | 3.2265 | 375.5656 | 0.1963 | 0.073068 | 0.57145 | [12 empty] | Total | 703.8058 | 309.5359 | 1178.3921 | 593.2705 | 0 | 7254.4695 | 871.3618 | 37411.4 | 0 | 4 | 0
BPA First Year Non Programmatic Savings Due to Standard before Program Adjustments (with Busbar)
| Commercial Washer (MF Common Area) | Commercial Washer (Laundromat) | Illuminated Exit Signs | Pre-rinse Spray Valves | Commercial Refrigeration Equipments | Walk-in Cooler and Freezers | Electric Motors | Distribution Transformers | CAC Air-Cooled | CAC Air-Cooled | CAC Air-Cooled
2005 | 0 | 0 | 0.25365 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0082446
2006 | 0 | 0 | 0.3374 | 0.46781 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0082446
2007 | 0 | 0 | 0.17682 | 0.46142 | 0 | 0 | 0 | 1.948 | 0 | 0 | 0.0082446
2008 | 0 | 0 | 0.17605 | 0.45499 | 0 | 0 | 0 | 1.8087 | 0 | 0 | 0.0082446
2009 | 0 | 0 | 0.17482 | 0.45582 | 0 | 0.030785 | 0 | 1.1945 | 0 | 0 | 0.0082446
2010 | 0 | 0 | 0 | 0 | 0 | 0.064984 | 0 | 3.3032 | 0 | 0 | 0.0082446
2011 | 0 | 0 | 0 | 0 | 0 | 0.11117 | 0.055832 | 3.2242 | 0 | 0 | 0.0082446
2012 | 0 | 0 | 0 | 0 | 0 | 0.15548 | 0.055832 | 3.1039 | 0 | 0 | 0.0082446
2013 | 0.15397 | 0.06646 | 0 | 0 | 0 | 0.18719 | 0.055832 | 3.067 | 0 | 0 | 0.0082446
2014 | 0.15432 | 0.076735 | 0 | 0 | 0 | 0.20395 | 0.055832 | 3.0919 | 0 | 0.0018321 | 0.0082446
2015 | 0.15749 | 0.10721 | 0 | 0 | 0 | 0.21276 | 0.055832 | 3.0793 | 0 | 0.0018321 | 0.0082446
2016 | 0.17956 | 0.098871 | 0 | 0 | 0 | 0.21881 | 0.055832 | 6.8315 | 0.0045804 | 0.0018321 | 0.0082446
2017 | 0.18026 | 0.087898 | 0 | 0 | 0 | 0.22194 | 0.055832 | 6.8693 | 0.0045804 | 0.0018321 | 0.0082446
2018 | 0.19424 | 0.07872 | 0 | 0 | 0 | 0.22184 | 0.055832 | 6.8713 | 0.0045804 | 0.0013741 | 0.0082446
2019 | 0.18041 | 0.093925 | 0 | 0 | 0 | 0.21828 | 0.055832 | 6.8328 | 0.0045804 | 0.0013741 | 0.0082446
2020 | 0.17363 | 0.091949 | 0 | 0 | 0 | 0.21216 | 0.051676 | 6.7362 | 0.0045804 | 0.0013741 | 0.0082446
2021 | 0.15987 | 0.086577 | 0 | 0 | 0 | 0.20564 | 0.052073 | 6.7515 | 0.0045804 | 0.0013741 | 0.0082446
2022 | 0.16598 | 0.09639 | 0 | 0 | 0 | 0.20095 | 0.056781 | 6.8083 | 0.0045804 | 0.0013741 | 0.0077866
2023 | 0.17371 | 0.1269 | 0 | 0 | 0 | 0.1997 | 0.061955 | 6.8695 | 0.0045804 | 0.0013741 | 0.0077866
2024 | 0 | 0.11861 | 0 | 0 | 0 | 0.2012 | 0.058345 | 6.9288 | 0.0045804 | 0.0013741 | 0.0077866
2025 | 0 | 0.10765 | 0 | 0 | 0 | 0.20391 | 0.060215 | 6.9792 | 0.0045804 | 0.0013741 | 0.0077866
2026 | 0 | 0.098252 | 0 | 0 | 0 | 0.20564 | 0.056709 | 7.0273 | 0.0045804 | 0.0013741 | 0.0077866
2027 | 0 | 0.11336 | 0 | 0 | 0 | 0.20572 | 0.057101 | 7.0878 | 0.0045804 | 0.0013741 | 0.0077866
2028 | 0 | 0.1112 | 0 | 0 | 0 | 0.20618 | 0.057519 | 7.1687 | 0.0045804 | 0.0013741 | 0.0077866
2029 | 0 | 0.10574 | 0 | 0 | 0 | 0.20845 | 0.056727 | 7.2414 | 0 | 0.0013741 | 0.0077866
2030 | 0 | 0.11571 | 0 | 0 | 0 | 0.21138 | 0.056727 | 7.322 | 0.0045804 | 0.0013741 | 0.0077866
2031 | 0 | 0.14622 | 0 | 0 | 0 | 0.21293 | 0.056678 | 7.351 | 0.0045804 | 0.0013741 | 0.0077866
2032 | 0 | 0.13793 | 0 | 0 | 0 | 0.21688 | 0.056566 | 7.3875 | 0.0045804 | 0.0013741 | 0.0073286
2033 | 0 | 0.12697 | 0 | 0 | 0 | 0.22034 | 0.056748 | 7.4112 | 0.0045804 | 0.0013741 | 0.0073286
2034 | 0 | 0.11757 | 0 | 0 | 0 | 0.22361 | 0.056825 | 7.4414 | 0.0045804 | 0.0013741 | 0.0073286
Total | 1.8734 | 2.3108 | 1.1187 | 1.84 | 0 | 4.9819 | 1.3551 | 157.7375 | 0.082446 | 0.030688 | 0.24001
BPA First Year Non Programmatic Savings Due to Standard before Program Adjustments (includes Busbar)

## Regional Results
Regional First Year Non-Programmatic Savings Due to Standard before Program Adjustments (without Busbar)
| Commercial Washer (MF Common Area) | Commercial Washer (Laundromat) | Illuminated Exit Signs | Pre-rinse Spray Valves | Commercial Refrigeration Equipments | Walk-in Cooler and Freezers | Electric Motors | Distribution Transformers | CAC Air-Cooled | CAC Water Evap Cooled | PTAC/HP
2005 | 0 | 0 | 0.55379 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.018
2006 | 0 | 0 | 0.73662 | 1.0213 | 0 | 0 | 0 | 0 | 0 | 0 | 0.018
2007 | 0 | 0 | 0.38604 | 1.0074 | 0 | 0 | 0 | 4.253 | 0 | 0 | 0.018
2008 | 0 | 0 | 0.38436 | 0.99336 | 0 | 0 | 0 | 3.9489 | 0 | 0 | 0.018
2009 | 0 | 0 | 0.38167 | 0.99516 | 0 | 0.067211 | 0 | 2.6078 | 0 | 0 | 0.018
2010 | 0 | 0 | 0 | 0 | 0 | 0.14188 | 0 | 7.2118 | 0 | 0 | 0.018
2011 | 0 | 0 | 0 | 0 | 0 | 0.24272 | 0.12189 | 7.0393 | 0 | 0 | 0.018
2012 | 0 | 0 | 0 | 0 | 0 | 0.33944 | 0.12189 | 6.7767 | 0 | 0 | 0.018
2013 | 0.33614 | 0.1451 | 0 | 0 | 0 | 0.40868 | 0.12189 | 6.6959 | 0 | 0 | 0.018
2014 | 0.33691 | 0.16753 | 0 | 0 | 0 | 0.44528 | 0.12189 | 6.7504 | 0 | 0.004 | 0.018
2015 | 0.34384 | 0.23406 | 0 | 0 | 0 | 0.46451 | 0.12189 | 6.7229 | 0 | 0.004 | 0.018
2016 | 0.39202 | 0.21586 | 0 | 0 | 0 | 0.4777 | 0.12189 | 14.9148 | 0.01 | 0.004 | 0.018
2017 | 0.39355 | 0.1919 | 0 | 0 | 0 | 0.48455 | 0.12189 | 14.9974 | 0.01 | 0.004 | 0.018
2018 | 0.42407 | 0.17186 | 0 | 0 | 0 | 0.48432 | 0.12189 | 15.0017 | 0.01 | 0.003 | 0.018
2019 | 0.39388 | 0.20506 | 0 | 0 | 0 | 0.47657 | 0.12189 | 14.9176 | 0.01 | 0.003 | 0.018
2020 | 0.37907 | 0.20075 | 0 | 0 | 0 | 0.46321 | 0.11282 | 14.7068 | 0.01 | 0.003 | 0.018
2021 | 0.34902 | 0.18902 | 0 | 0 | 0 | 0.44897 | 0.11369 | 14.7401 | 0.01 | 0.003 | 0.018
2022 | 0.36236 | 0.21044 | 0 | 0 | 0 | 0.43873 | 0.12397 | 14.8641 | 0.01 | 0.003 | 0.017
2023 | 0.37925 | 0.27706 | 0 | 0 | 0 | 0.43599 | 0.13526 | 14.9978 | 0.01 | 0.003 | 0.017
2024 | 0 | 0.25895 | 0 | 0 | 0 | 0.43927 | 0.12738 | 15.1272 | 0.01 | 0.003 | 0.017
2025 | 0 | 0.23503 | 0 | 0 | 0 | 0.44518 | 0.13146 | 15.2372 | 0.01 | 0.003 | 0.017
2026 | 0 | 0.21451 | 0 | 0 | 0 | 0.44895 | 0.12381 | 15.3422 | 0.01 | 0.003 | 0.017
2027 | 0 | 0.24749 | 0 | 0 | 0 | 0.44914 | 0.12466 | 15.4744 | 0.01 | 0.003 | 0.017
2028 | 0 | 0.24277 | 0 | 0 | 0 | 0.45014 | 0.12558 | 15.6509 | 0.01 | 0.003 | 0.017
2029 | 0 | 0.23086 | 0 | 0 | 0 | 0.45509 | 0.12385 | 15.8096 | 0 | 0.003 | 0.017
2030 | 0 | 0.25262 | 0 | 0 | 0 | 0.46149 | 0.12385 | 15.9857 | 0.01 | 0.003 | 0.017
2031 | 0 | 0.31924 | 0 | 0 | 0 | 0.46489 | 0.12374 | 16.0489 | 0.01 | 0.003 | 0.017
2032 | 0 | 0.30112 | 0 | 0 | 0 | 0.4735 | 0.1235 | 16.1287 | 0.01 | 0.003 | 0.016
2033 | 0 | 0.2772 | 0 | 0 | 0 | 0.48106 | 0.1239 | 16.1805 | 0.01 | 0.003 | 0.016
2034 | 0 | 0.25668 | 0 | 0 | 0 | 0.4882 | 0.12406 | 16.2464 | 0.01 | 0.003 | 0.016
Total | 4.0901 | 5.0451 | 2.4425 | 4.0173 | 0 | 10.8767 | 2.9586 | 344.3786 | 0.18 | 0.067 | 0.524