## Assessment Checklist
Important Resources
Regional
| Applicability | Resources | Notes | Data Source Review Notes for Residential Dishwashers | PNW Data Available? (1 = Yes, 0 = No)
| Device Efficiency from 6th Plan forecast model | DEE DSTD spreadsheet received from the council posted on sharepoint | note that there are residential and commercial tabs | included | 1
| Device Efficiency (units) | Forecast model code write up received from the council, information on which product is included in the model posted on sharepoint | do a search of the document for your specific product. Note that there is residential and commercial tabs. We are concerned about products implemented prior to 2010. | modeled as a percentage savi ngs; On June 16, 2008 Massoud Jourabchi added code for refrigeration efficiency * 0.3818 is the DEE from the model for grocery and minimart for refrigeration. * Commercial Refrigeration standards under EPACT 2005 were increased by 16% | 1
| Product Class, efficiency level, usage (possibly) | Council's Supply Curves. Www.nwcouncil.org/energy/powerplan -> conservation supply curve -> *select your product and dl workbook* | for example, commercial sector, check "engineering & economic data" tab for baseline product class and efficiency level. | available, uses DOE NOPR workbook | 1
| Drivers | Council's population or floor space forecast. Www.nwcouncil.org/energy/powerplan-> conservation supply curve -> PNWResSectorSupplyCurveUnits_6th_Fnl (Res) | check unit tabs for new construction and retrofit drivers. E.g. total res, existing construction, and new construction can be found in "DHW&Appliance Units" for dishwashers | availabe, 6P supply curve floor space forecast | 1
| Usage (multiple sources) | Regional Technical Forum Workbooks http://rtf.nwcouncil.org/measures/ | These workbooks specifically calculates the unit energy consumption of an equipment for the region and are reviewed periodically. Look here for usage data. | Commercial refrigerators and freezers workbooks available, proven and active. For commercial refrigerator products, product classes include: Solid Door Refrigerators, Glass door refrigerator, Solid Door Chest Refrigerators, and Glass door chest refrigerators. Freezer product classes: solid door and glass door freezers. | 1
| Usage (multiple sources) | Residential Building Stock Assessment (RBSA) and Commercial Building Stock Assessment (CBSA). Uploaded to sharepoint or Download at http://neea.org/resource-center/market-research-and-evaluation-reports. |  | limited data from the CBSA 2009 study | 1
| Market data (multiple sources) | NEEA research reports not limited to Residential Building Stock Assessment (RBSA) and Commercial Building Stock Assessment (CBSA). Uploaded to sharepoint or Download at http://neea.org/resource-center/market-research-and-evaluation-reports. |  | No NEEA report specific to commercial refrigeration products | 0
| Market data/Historical data (multiple sources) | Association of Home Appliances Manufacturers (AHAM). Sales by States data available. http://www.aham.org/ht/d/Store/name/INDRES/pid/ | Shipment data available for home appliances, discuss with Rob if we should make a purchase. $150 market report for distribution sales by states (2012); $150 for historical sales. | ARI has monthly shipment for commercial refrigeration up till 2007. The data was incorporated into the 6P supply curve analysis. | 1
National
| Applicability | Resources | Notes
| Standards | Task 1 Workbook | Standards effective dates and specific standards
| Market, historical, and usage data | National Impact Analysis | Standards and scenarios, national shipment data
| Standards and usage data | DOE TSD | Details on standards
Baseline
1 | Check Task 1 spreadsheet to see if product is included in forecast and if a supply curve is available. Verify using the code write-up and if supply curve is available, download measure workbook from nwcouncil.org/powerplan
2 | If product is included in forecast, document Device Efficiency (DEE) and Device Standard (DSTD) values from excel spreadsheet from 2005-2030. Check Code-write up for efficiency units (for example, kWh/unit for refrigerator). If not, default to DOE baseline.
3 | If available. Extract baseline product class and efficiency distribution from council measure workbook; market share/penetration from sector master workbook. Refer to analysis template UEC tab and make sure all the inputs are either available or will be requested.
4 | Check sharepoint regarding DOE baseline, product class, efficiency tier, and market share availability.
5 | Document differences between the council's baseline and the DOE baseline (this is necessary for calibration)
6 | Populate the product definition table in the UEC tab
7 | Document questions
Standard
1 | Check Task 1 workbook to understand standard effective dates and specifications
2 | If NIA is available, document how the standard cases are defined (work with Hayden on this)
Data requirement
1 | Define historical data necessary for analysis, pay attention to new construction, replacement, and retrofit proxies. Regional historical shipment data might be avaiable through AHAM, national historical shipment data available through Hayden. New construction drivers available through supply curve master workbook.
2 | If data is not available, document data gap and put in an external data request.
3 | Stock turnover- check supply curve Master Workbook "Turn" tab for commercial; "DHW&Appliance Units" for Res
4 | Check DOE NIA or TSD for measure lifetime, document if it is different from the council's assumption.
5 | Define usage data and market share data necessary for UEC analysis, document data gap and put in an external data request
Data Request
1 | After completing Part 1-3, send a consolidated external request to Angie for your batch of products. Use external data request template.
2 | Work with Hayden to complete Internal data input.
General Guidelines
1 | Prioritize regional data unless you are confident that the national data better reflects current status in the NW region
2 | Document everything- assumptions, decisions, data gaps, remaining challenges
3 | Check sharepoint for resources, post your workbook on sharepoint

## Proposed Data
= current value
Evaluating the 2010 and 2012 standards, four groups of products included in this analysis- Beverage Vending Machine, Icemakers, Comm Ref and Frz, and Non-hybrid Ref-frz. The council's supply curve has already incorporated the standards into the base line. This analysis updates the standard case according to the Final rule
Product: Commercial Refrigeration Products
| Input | Description | Regional Value Different from DOE NIA? | Regional Value | DOE Value | Notes | Data Source | Is this the best available data? If no, is there an alternative data source?
Usage | 6P Pre-case | Efficiency level in the 6P | Yes | The 6P Supply curve used the 2010 and 2012 standards as the baseline for the CRE products. However, the council assumed TSL 4 for Beverage Vending Machine products as the standard while the final rule is TSL 6 for Class A vending machines and TSL 3 for Class B machines. | N/A | See workbook for details | PC_Packaged_Refrig_Equipment.xls
| 5P pre-case device efficiency | Efficiency level at 2005 | No | TSL level 1 | TSL level 1 | No difference | DOE NIA Commercial Refrigeration Product workbook
| 2010 standard | minimum standard | No | See Standards tab; UEC weighted by shipment | See std tab; UEC weighted by shipment | No difference | DOE NIA Commercial Refrigeration Product workbook
| 2012 standard | minimum standard | Yes | Final beverage vending machine standard level is different; same otherwise | See std tab |  | DOE NIA Commercial Refrigeration Product workbook
| Refrigerator and Freezer Volume | Refrigerator and freezer volume in cu.ft. Affects 2010 refrigerator and freezer products | Yes | updated with RTF 2012 analysis data: 31.3 cu.ft | N/A |  | RTF 2012 ComFreezer_v3 workbook; ComRefrigerator_v3 workbook
Market | Number of product classes | Number of product classes | No | 4 groups of refrigeration products, (1) ref &frz- 6 product classes ; (2) non-hybrid ref-frez- 15 product classes (3) ice-maker- 3 product classes (4) beverage vending machine- 1 product class | Same | See product classes tab | PC_Packaged_Refrig_Equipment.xls; DOE NIA workbook
| Shipment for non-hybrid products | Shipment by year for replacement and new units | No | Shipment of refrigeration products by Freedonia, Uses ARI 2005 shipment data to break out market shares of each product class, shipment number scaled to 4% for regional value | Shipment of refrigeration products by Freedonia, Uses ARI 2005 shipment data to break out market shares of each product class, shipment number scaled to 4% for regional value. Shipment model includes lifetime of CRE stock, replacment and new shipments. The distribution of stock in year t is a function of age of the equipment to year t+1 |  | DOE TSD Chapter 10 shipment model; CRE_Final_Rule_NIA_Workbook
| Shipment for ref and frz products | Equipment shipment by year | N/A | No regional value, use 2008 appliance magazine value and scale to region with 4% | N/A |  | PC_Packaged_Refrig_Equipment.xls;
| Shipment for ice-maker and beverage machines | Equipment shipment by year | N/A | No regional value, use ACEEE 2002 data on approximate annual sales | N/A |  | PC_Packaged_Refrig_Equipment.xls;
Stock Model | Shipment Growth Rate | Shipment growth rate based on forecast | No | 6P uses NIA analysis, therefore all shipment assumptions are the same | New equipment is driven by construction of new floor space and replacement units are replaced on a one-for-one basis |  | DOE TSD Chapter 10 shipment model; CRE_Final_Rule_NIA_Workbook
| Lifetime | Product Lifetime | N/A | Since the shipment units used in the supply curve is the same as the numbers from the NIA, the lifetime is the same for the shipment model. The documented lifetime is 10years on average. | Average to be 10 years in large grocery chains, and 15 years in small stores; Using an average of 10 years to be consistent with the 6P. |  | DOE TSD Chapter 10 shipment model; CRE_Final_Rule_NIA_Workbook
Shipment forecast in the Plan is off by one row. No significant impact.

## Product Classes
Product Classes in the 6P
Group: Non-hybrid Ref and Frz, 2012 standard
Equipment Family Name | Equipment Family Code | Operating Mode Code | Temperature Code | Equipment Class Full Code | ARI Shipments [units/yr] | Results Link |  | Standards Proposed or Final
Covered in This Workbook?
Vertical Open | VOP | RC | M | VOP.RC.M | 38743 | VOP.RC.M | remote | p | VOP.SC.M
|  |  | L | VOP.RC.L | 0* | VOP.RC.L | zero shipment | p | SVO.SC.M
|  |  | I | VOP.RC.I | 0 | VOP.RC.I | zero shipment | p | Solid Door Fridge
|  | SC | M | VOP.SC.M | 6512 | VOP.SC.M | Yes | p | Solid Door Freezer
|  |  | L | VOP.SC.L | 0 | VOP.SC.L | zero shipment | p | Glass Door Fridge
|  |  | I | VOP.SC.I | 0 | VOP.SC.I | zero shipment | p | Glass Door Freezer
Semivertical Open | SVO | RC | M | SVO.RC.M | 29552 | SVO.RC.M | remote | p | Chest Fridge
|  |  | L | SVO.RC.L | 0 | SVO.RC.L | zero shipment | p | Chest Freezer
|  |  | I | SVO.RC.I | 0 | SVO.RC.I | zero shipment | p | ESTAR Ice-Maker - Self-Contained - < 200 lbs/day
|  | SC | M | SVO.SC.M | 9750 | SVO.SC.M | Yes | p | ESTAR Ice-Maker - Self-Contained - > 200 lbs/day
|  |  | L | SVO.SC.L | 0 | SVO.SC.L | zero shipment | p | ESTAR Ice-Maker - Not Self-Contained
|  |  | I | SVO.SC.I | 0 | SVO.SC.I | zero shipment | p | CEE Tier 3 Ice-Maker - Self-Contained - < 200 lbs/day
Horizontal Open | HZO | RC | M | HZO.RC.M | 4541 | HZO.RC.M | remote | p | CEE Tier 3 Ice-Maker - Self-Contained - > 200 lbs/day
|  |  | L | HZO.RC.L | 14278 | HZO.RC.L | remote | p | CEE Tier 3 Ice-Maker - Not Self-Contained
|  |  | I | HZO.RC.I | 0 | HZO.RC.I | zero shipment | p | Beverage Vending Machine
|  | SC | M | HZO.SC.M | 838 | HZO.SC.M | Yes | p
|  |  | L | HZO.SC.L | 1738 | HZO.SC.L | Yes | p
|  |  | I | HZO.SC.I | 0 | HZO.SC.I | zero shipment | p
Vertical Closed Transparent | VCT | RC | M | VCT.RC.M | 2767 | VCT.RC.M | remote | p
|  |  | L | VCT.RC.L | 38483 | VCT.RC.L | remote | p
|  |  | I | VCT.RC.I | 0 | VCT.RC.I | zero shipment | p
|  | SC | M |  |  |  | Yes | f
|  |  | L |  |  |  | Yes | f
|  |  | I | VCT.SC.I | 1898 | VCT.SC.I | Yes | p
Vertical Closed Solid | VCS | RC | M | VCS.RC.M | 49 | VCS.RC.M | remote | p
|  |  | L | VCS.RC.L | 2 | VCS.RC.L | remote | p
|  |  | I | VCS.RC.I | 43 | VCS.RC.I | remote | p
|  | SC | M |  |  |  | Yes | f
|  |  | L |  |  |  | Yes | f
|  |  | I | VCS.SC.I | 470 | VCS.SC.I | Yes | p
Horizontal Closed Transparent | HCT | RC | M | HCT.RC.M | 0 | HCT.RC.M | zero shipment | p
|  |  | L | HCT.RC.L | 15 | HCT.RC.L | remote | p
|  |  | I | HCT.RC.I | 0 | HCT.RC.I | zero shipment | p
|  | SC | M |  |  |  | Yes | f
|  |  | L |  |  |  | Yes | f
|  |  | I | HCT.SC.I | 9056 | HCT.SC.I | Yes | p
Horizontal Closed Solid | HCS | RC | M | HCS.RC.M | 37 | HCS.RC.M | remote | p
|  |  | L | HCS.RC.L | 0 | HCS.RC.L | zero shipment | p
|  |  | I | HCS.RC.I | 0 | HCS.RC.I | zero shipment | p
|  | SC | M |  |  |  | Yes | f
|  |  | L |  |  |  | Yes | f
|  |  | I | HCS.SC.I | 0 | HCS.SC.I | zero shipment | p
Service Over Counter | SOC | RC | M | SOC.RC.M | 9312 | SOC.RC.M | remote | p
|  |  | L | SOC.RC.L | 9 | SOC.RC.L | remote | p
|  |  | I | SOC.RC.I | 0 | SOC.RC.I | zero shipment | p
|  | SC | M |  |  |  | Yes | f
|  |  | L |  |  |  | Yes | f
|  |  | I | SOC.SC.I | 0 | SOC.SC.I | zero shipment | p
Group: Beverage Vending Machine; 2012 standard
| Class A machine |  |  | Class B machine
| Small | Medium | Large | Small | Medium | Large
Configuration | (ASIN) | (AMIN) | (ALIN) | (BSIO) | (BMIO) | (BLIO)
Vendible Capacity (number of cans) | 300 | 400 | 500 | 450 | 650 | 800
Refrigerated Volume (ft3) | 17 | 22 | 34 | 17 | 22 | 26
Group: Frz and Ref; 2010 Standard
Category
Refrigerators with solid doors
Refrigerators with transparent doors
Freezers with solid doors
Freezers with transparent doors
Any Chest Fridge
Any Chest Freezer
Group: Ice-Making Machine; 2010 Standard
Self-Contained <200 lb
Self-Contained >200lb
Not Self-Contained

## Standards
Federal Standards 2010
Refrigerators with solid doors | 2010-01-01 | 0.10V + 2.04.
Refrigerators with transparent doors | 2010-01-01 | 0.12V+ 3.34.
Freezers with Solid Doors | 2010-01-01 | 0.40V + 1.38.
Freezers with Transparent Doors | 2010-01-01 | 0.75V + 4.10.
Chest Freezers with Solid Doors | 2010-01-01 | 0.40V + 1.38.
Chest Freezers with Transparent Doors | 2010-01-01 | 0.75V + 4.10.
Equipment Type | Type of Cooling | Harvest Rate | Maximum Energy Use | Maximum Condenser Water Use*
|  | lb ice/24 hours | kWh/100 lb ice | gal/100 lb ice
Ice-Making Head | Water | <500 | 7.80 - 0.0055H | 200 - 0.022H
|  | 5500 | 5.58 - 0.0011H | 200 - 0.022H
and <1,436
|  | 1436 | 4 | 200 - 0.022H
| Air | <450 | 10.26 - 0.0086H | Not Applicable
|  | 450 | 6.89 - 0.0011H | Not Applicable
Remote Condensing (but not remote compressor) | Air | <1,000 | 8.85 - 0.0038H | Not Applicable
|  | 1000 | 5.1 | Not Applicable
Remote Condensing and Remote Compressor | Air | <934 | 8.85 - 0.0038H | Not Applicable
|  | 934 | 5.3 | Not Applicable
Self-Contained | Water | <200 | 11.40 - 0.019H | 191 - 0.0315H
|  | 200 | 7.6 | 191 - 0.0315H
| Air | <175 | 18.0 - 0.0469H | Not Applicable | Energy Use (kWh/100 lbs ice) |  | Energy Use (kWh/year | Energy Savings | Water Savings (Estar vs Fed min)
|  | 175 | 9.8 | Not Applicable
Federal Standards 2012
Equipment Class | Maximum daily energy consumption (kilowatt hours per day)* | Final Rule TSL
Class A – a refrigerated bottled or canned beverage vending machine that is fully cooled, and is not a combination vending machine | MDEC = 0.055 x V + 2.56 | TSL6
Class B – a refrigerated bottled or canned beverage vending machine not considered to be Class A, and is not a combination vending machine | MDEC = 0.073 x V = 3.16 | TSL3
Table 2. Standards Effective January 1, 2012
Equipment Category | Condensing Unit Configuration | Equipment Family | Rating Temp. (°F) | Operating Temp. | Equipment Class Designation* | Maximum Daily Energy Consumption (kWh/day)
(°F)
Remote Condensing Commercial Refrigerators and Commercial Freezers | Remote (RC) | Vertical Open (VOP) | 38 (M) | 32 | VOP.RC.M | 0.82 x TDA + 4.07
|  |  | 0 (L) | <32 | VOP.RC.L | 2.27 x TDA + 6.85
|  | Semivertical Open (SVO) | 38 (M) | 32 | SVO.RC.M | 0.83 x TDA + 3.18
|  |  | 0 (L) | <32 | SVO.RC.L | 2.27 x TDA + 6.85
|  | Horizontal Open (HZO) | 38 (M) | 32 | HZO.RC.M | 0.35 x TDA + 2.88
|  |  | 0 (L) | <32 | HZO.RC.L | 0.57 x TDA + 6.88
|  | Vertical Closed Transparent (VCT) | 38 (M) | 32 | VCT.RC.M | 0.22 x TDA + 1.95
|  |  | 0 (L) | <32 | VCT.RC.L | 0.56 x TDA + 2.61
|  | Horizontal Closed Transparent (HCT) | 38 (M) | 32 | HCT.RC.M | 0.16 x TDA + 0.13
|  |  | 0 (L) | <32 | HCT.RC.L | 0.34 x TDA + 0.26
|  | Vertical Closed Solid (VCS) | 38 (M) | 32 | VCS.RC.M | 0.11 x V + 0.26
|  |  | 0 (L) | <32 | VCS.RC.L | 0.23 x V + 0.54
|  | Horizontal Closed Solid (HCS) | 38 (M) | 32 | HCS.RC.M | 0.11 x V + 0.26
|  |  | 0 (L) | <32 | HCS.RC.L | 0.23 x V + 0.54
|  | Service Over Counter (SOC) | 38 (M) | 32 | SOC.RC.M | 0.51 x TDA + 0.11
|  |  | 0 (L) | <32 | SOC.RC.L | 1.08 x TDA + 0.22
Self-Contained Commercial Refrigerators and Commercial Freezers without Doors | Self-Contained (SC) | Vertical Open (VOP) | 38 (M) | 32 | VOP.SC.M | 1.74 x TDA + 4.71
|  |  | 0 (L) | <32 | VOP.SC.L | 4.37 x TDA + 11.82
|  | Semivertical Open (SVO) | 38 (M) | 32 | SVO.SC.M | 1.73 x TDA + 4.59
|  |  | 0 (L) | <32 | SVO.SC.L | 4.34 x TDA + 11.51
|  | Horizontal Open | 38 (M) | 32 | HZO.SC.M | 0.77 x TDA + 5.55
|  |  | 0 (L) | <32 | HZO.SC.L | 1.92 x TDA + 7.08
Commercial Ice-Cream Freezers | Remote (RC) | Vertical Open (VOP) | -15 (I) | -5** | VOP.RC.I | 2.89 x TDA + 8.7
|  | Semivertical Open (SVO) |  |  | SVO.RC.I | 2.89 x TDA + 8.7
|  | Horizontal Open (HZO) |  |  | HZO.RC.I | 0.72 x TDA + 8.74
|  | Vertical Closed Transparent (VCT) |  |  | VCT.RC.I | 0.66 x TDA + 3.05
|  | Horizontal Closed Transparent (HCT) |  |  | HCT.RC.I | 0.4 x TDA + 0.31
|  | Vertical Closed Solid (VCS) |  |  | VCS.RC.I | 0.27 x V + 0.63
|  | Horizontal Closed Solid (HCS) |  |  | HCS.RC.I | 0.27 x V + 0.63
|  | Service Over Counter (SVO) |  |  | SOC.RC.I | 1.26 x TDA + 0.26
| Self-Contained (SC) | Vertical Open (VOP) |  |  | VOP.SC.I | 5.55 x TDA + 15.02
|  | Semivertical Open (SVO) |  |  | SVO.SC.I | 5.52 x TDA + 14.63
|  | Horizontal Open (HZO) |  |  | HZO.SC.I | 2.44 x TDA + 9.
|  | Vertical Closed Transparent (VCT) |  |  | VCT.SC.I | 0.67 x TDA + 3.29
|  | Horizontal Closed Transparent (HCT) |  |  | HCT.SC.I | 0.56 x TDA + 0.43
|  | Vertical Closed Solid (VCS) |  |  | VCS.SC.I | 0.38 x V + 0.88
|  | Horizontal Closed Solid (HCS) |  |  | HCS.SC.I | 0.38 x V + 0.88
|  | Service Over Counter (SVO) |  |  | SOC.SC.I | 1.76 x TDA + 0.36