## Proposed Data
= current value
Electric Motors rewind was included in the industrial tool; ECM for VAV was included in commercial supply curve. However, there is no documentation on the baseline motor. Communication with Mr. Charlie Grist indicated that the 6P assumed the EPACT-92, 2010 standards as the baseline. Because there is no clear indication on the baseline efficiency level, current standard analysis assumed standard was not included in the baseline. If there is further supporting evidence, Navigant will change the baseline assumptions.
Product: Electric Motors
| Input | Description | Regional Value Different from DOE NIA? | Regional Value | Suggested Value | Notes | Data Source | Is this the best available data? If no, is there an alternative data source?
Usage | Standard Effective Year | Year when standard comes into effect | N/A | N/A | 2010 | In 2010, the EISA standards update became effective; there are two parts to the standards savings (1) For motors not regulated by EPAct-92 to go to EPAct-92; (2) For all motors to go to 2010 standard level | DOE 10 CFR 431.25
| Product Classes | Number and distribution of product classes | Yes | For the commercial analysis, motors classes were not explicit. In the industrial tool, motor rewinds are distributed by product classes used in this analysis. | 6 product classes in total; 1-5 HP; 6-20 HP; 21-50HP; 51-100 HP; 101-200 HP; 201-500 HP |  | Nadel, Steven. Energy-Efficient Motor Systems: A handbook on technology, program, and policy Opportunities. Second Edition
| Pre-case efficiency level | Pre-standard efficiency level | N/A | Values were not explicit | Pre-case efficiency developed for each product class, average pre case shipment weighted UEC is 16,845 kWh |  | Nadel, Steven. Energy-Efficient Motor Systems: A handbook on technology, program, and policy Opportunities. Second Edition
| Post-case efficiency level | Post-standard efficiency level | N/A | Values were not explicit | Post-case efficiency developed for each product class, average post case shipment weighted UEC is 16,486 kWh |  | Nadel, Steven. Energy-Efficient Motor Systems: A handbook on technology, program, and policy Opportunities. Second Edition
Market | Market Distribution by Sector | Electric Motors were shipped to commercial, industrial, and agricultural enduses | N/A | Values were not explicit | According to the DOE Electric Motors Rulemaking; the distribution of electric motors averages to be 72% to commercial use and 28% to industrial use (excluding agricultural use) |  | DOE Electric Motors Rulemaking; http://www1.eere.energy.gov/buildings/appliance_standards/pdfs/em_preanalysis_tsdch09.pdf
| Shipment by Product Class | Motor shipments by HP class | N/A | N/A | Shipment estimates developed using US Census data; MA 335H (03) and MA 335H (02); shipment data available from 2001-2003; shipment forcasted to 2005 using NEMA sales index |  | US Census, MA 335H(03) and MA 335H(02)
| Shipment Growth Rate | Sales Growth Estimate | N/A | N/A | 1.4% |  | http://www.nema.org/News/Pages/Motors-Shipments-Improved-in-Fourth-Quarter-of-2012.aspx
| % Sales Applicable to Standards | Percentage of motor sales affected by the standard | N/A | N/A | Not all motors are subjected to the 2010 standards; the expanded motor regulation applies to 25% of the motors and the efficiency upgrade component of the standard applies to 65% of motors | HP 200-500 HP not regulated by the EISA 2010 update | ACEEE: Impact of Proposed Increases to Motor Efficiency Performance Standards, October 2007
Stock Model | Lifetime | Product lifetime | Yes | 18 years for commercial ECM for VAV | Varies by motor classes; range from 17 years to 29 years | Since the different product classes have different lifetime values, each product class has its own stock model | Nadel, Steven. Energy-Efficient Motor Systems: A handbook on technology, program, and policy Opportunities. Second Edition
| Product Turnover Assumption | Stock Turnover Rate | Yes | N/A | 1/lifetime | 1/lifetime turnover assumption to be consistent with other products (and for the lack of data) | Engineering Assumption

## Assessment Checklist
Important Resources
Regional
| Applicability | Resources | Notes | Data Source Review Notes for Illuminated Exit Signs | PNW Data Available? (1 = Yes, 0 = No)
| Device Efficiency from 6th Plan forecast model | DEE DSTD spreadsheet received from the council posted on sharepoint | note that there are residential and commercial tabs | Product not included | 0
| Device Efficiency (units) | Forecast model code write up received from the council, information on which product is included in the model posted on sharepoint | do a search of the document for your specific product. Note that there is residential and commercial tabs. We are concerned about products implemented prior to 2010. | Product not included | 0
| Product Class, efficiency level, usage (possibly) | Council's Supply Curves. Www.nwcouncil.org/energy/powerplan -> conservation supply curve -> *select your product and dl workbook* | for example, commercial sector, check "engineering & economic data" tab for baseline product class and efficiency level. | Motor rewind is included in the industrial model, unclear what the baseline is. Though charlie indicated in Task1 that the 2010 EPACt is included . For commercial buildings, there is one measure on ECM on VAV HVAC motors. With an assessment of 1 motor box per 1000 sq ft. Baseline not documented. From Task 1 assessment, the EPACT 2010 standard is assumed to have been included in the baseline. | 1
| Drivers | Council's population or floor space forecast. Www.nwcouncil.org/energy/powerplan-> conservation supply curve -> PNWResSectorSupplyCurveUnits_6th_Fnl (Res) | check unit tabs for new construction and retrofit drivers. E.g. total res, existing construction, and new construction can be found in "DHW&Appliance Units" for dishwashers | 1.4% growth rate based on NEMA report
| Usage (multiple sources) | Regional Technical Forum Workbooks http://rtf.nwcouncil.org/measures/ | These workbooks specifically calculates the unit energy consumption of an equipment for the region and are reviewed periodically. Look here for usage data. | Motor rewind available, small saver | 1
| Usage (multiple sources) | Residential Building Stock Assessment (RBSA) and Commercial Building Stock Assessment (CBSA). Uploaded to sharepoint or Download at http://neea.org/resource-center/market-research-and-evaluation-reports. |  | No data avaialability on motors from CBSA | 0
| Market data (multiple sources) | NEEA research reports not limited to Residential Building Stock Assessment (RBSA) and Commercial Building Stock Assessment (CBSA). Uploaded to sharepoint or Download at http://neea.org/resource-center/market-research-and-evaluation-reports. |  | No data avaialble | 0
| Market data/Historical data (multiple sources) | NEMA
National
| Applicability | Resources | Notes
| Standards | Task 1 Workbook | Standards effective dates and specific standards
| Market, historical, and usage data | National Impact Analysis | Standards and scenarios, national shipment data
| Standards and usage data | DOE TSD | Details on standards
Baseline |  | Status
1 | Check Task 1 spreadsheet to see if product is included in forecast and if a supply curve is available. Verify using the code write-up and if supply curve is available, download measure workbook from nwcouncil.org/powerplan | Done-Only supply curve
2 | If product is included in forecast, document Device Efficiency (DEE) and Device Standard (DSTD) values from excel spreadsheet from 2005-2030. Check Code-write up for efficiency units (for example, kWh/unit for refrigerator). If not, default to DOE baseline. | N/A-no forecase
3 | If available. Extract baseline product class and efficiency distribution from council measure workbook; market share/penetration from sector master workbook. Refer to analysis template UEC tab and make sure all the inputs are either available or will be requested.
4 | Check-in with Hayden regarding DOE baseline, product class, efficiency tier, and market share availability.
5 | Document differences between the council's baseline and the DOE baseline (this is necessary for calibration)
6 | Populate the product definition table in the UEC tab
7 | Document questions
Standard
1 | Check Task 1 workbook to understand standard effective dates and specifications
2 | If NIA is available, document how the standard cases are defined (work with Hayden on this)
Data requirement
1 | Define historical data necessary for analysis, pay attention to new construction, replacement, and retrofit proxies. Regional historical shipment data might be avaiable through AHAM, national historical shipment data available through Hayden. New construction drivers available through supply curve master workbook.
2 | If data is not available, document data gap and put in an external data request.
3 | Stock turnover- check supply curve Master Workbook "Turn" tab for commercial; "DHW&Appliance Units" for Res
4 | Check DOE NIA or TSD for measure lifetime, document if it is different from the council's assumption.
5 | Define usage data and market share data necessary for UEC analysis, document data gap and put in an external data request
Data Request
1 | After completing Part 1-3, send a consolidated external request to Angie for your batch of products. Use external data request template.
2 | Work with Hayden to complete Internal data input.
General Guidelines
1 | Prioritize regional data unless you are confident that the national data better reflects current status in the NW region
2 | Document everything- assumptions, decisions, data gaps, remaining challenges
3 | Check sharepoint for resources, post your workbook on sharepoint