## Assessment Checklist
Important Resources
Regional
| Applicability | Resources | Notes | Data Source Review Notes for Commercial Walk in Cooler | PNW Data Available? (1 = Yes, 0 = No)
| Device Efficiency from 6th Plan forecast model | DEE DSTD spreadsheet received from the council posted on sharepoint | note that there are residential and commercial tabs | Not available | 0
| Device Efficiency (units) | Forecast model code write up received from the council, information on which product is included in the model posted on sharepoint | do a search of the document for your specific product. Note that there is residential and commercial tabs. We are concerned about products implemented prior to 2010. | Not available | 0
| Product Class, efficiency level, usage (possibly) | Council's Supply Curves. Www.nwcouncil.org/energy/powerplan -> conservation supply curve -> *select your product and dl workbook* | for example, commercial sector, check "engineering & economic data" tab for baseline product class and efficiency level. | Not available | 0
| Drivers | Council's population or floor space forecast. Www.nwcouncil.org/energy/powerplan-> conservation supply curve -> PNWResSectorSupplyCurveUnits_6th_Fnl (Res) | check unit tabs for new construction and retrofit drivers. E.g. total res, existing construction, and new construction can be found in "DHW&Appliance Units" for dishwashers | Not available | 0
| Usage (multiple sources) | Regional Technical Forum Workbooks http://rtf.nwcouncil.org/measures/ | These workbooks specifically calculates the unit energy consumption of an equipment for the region and are reviewed periodically. Look here for usage data. | RTF workbook is out of compliance | 1
| Usage (multiple sources) | Residential Building Stock Assessment (RBSA) and Commercial Building Stock Assessment (CBSA). Uploaded to sharepoint or Download at http://neea.org/resource-center/market-research-and-evaluation-reports. |  | Very minimal data, not enough for the analysis | 1
| Market data (multiple sources) | NEEA research reports not limited to Residential Building Stock Assessment (RBSA) and Commercial Building Stock Assessment (CBSA). Uploaded to sharepoint or Download at http://neea.org/resource-center/market-research-and-evaluation-reports. |  | RTF measures are all out of compliance | 1
| Market data/Historical data (multiple sources) | Association of Home Appliances Manufacturers (AHAM). Sales by States data available. http://www.aham.org/ht/d/Store/name/INDRES/pid/ | Shipment data available for home appliances, discuss with Rob if we should make a purchase. $150 market report for distribution sales by states (2012); $150 for historical sales. |  | 0
National
| Applicability | Resources | Notes
| Standards | Task 1 Workbook | Standards effective dates and specific standards
| Market, historical, and usage data | National Impact Analysis | Standards and scenarios, national shipment data
| Standards and usage data | DOE TSD | Details on standards
Baseline
1 | Check Task 1 spreadsheet to see if product is included in forecast and if a supply curve is available. Verify using the code write-up and if supply curve is available, download measure workbook from nwcouncil.org/powerplan
2 | If product is included in forecast, document Device Efficiency (DEE) and Device Standard (DSTD) values from excel spreadsheet from 2005-2030. Check Code-write up for efficiency units (for example, kWh/unit for refrigerator). If not, default to DOE baseline.
3 | If available. Extract baseline product class and efficiency distribution from council measure workbook; market share/penetration from sector master workbook. Refer to analysis template UEC tab and make sure all the inputs are either available or will be requested.
4 | Check sharepoint regarding DOE baseline, product class, efficiency tier, and market share availability.
5 | Document differences between the council's baseline and the DOE baseline (this is necessary for calibration)
6 | Populate the product definition table in the UEC tab
7 | Document questions
Standard
1 | Check Task 1 workbook to understand standard effective dates and specifications
2 | If NIA is available, document how the standard cases are defined (work with Hayden on this)
Data requirement
1 | Define historical data necessary for analysis, pay attention to new construction, replacement, and retrofit proxies. Regional historical shipment data might be avaiable through AHAM, national historical shipment data available through Hayden. New construction drivers available through supply curve master workbook.
2 | If data is not available, document data gap and put in an external data request.
3 | Stock turnover- check supply curve Master Workbook "Turn" tab for commercial; "DHW&Appliance Units" for Res
4 | Check DOE NIA or TSD for measure lifetime, document if it is different from the council's assumption.
5 | Define usage data and market share data necessary for UEC analysis, document data gap and put in an external data request
Data Request
1 | After completing Part 1-3, send a consolidated external request to Angie for your batch of products. Use external data request template.
2 | Work with Hayden to complete Internal data input.
General Guidelines
1 | Prioritize regional data unless you are confident that the national data better reflects current status in the NW region
2 | Document everything- assumptions, decisions, data gaps, remaining challenges
3 | Check sharepoint for resources, post your workbook on sharepoint

## Proposed Data
| = current value | NIA Analysis Source: http://www.regulations.gov/#!documentDetail;D=EERE-2011-BT-STD-0060-0005
This product was not included in the 5P and 6P supply curves; the EISA 2007 standard (effective year 2009) is being evaluated. The analysis also built in the capability to analyze impact of the upcoming 2015 standard.
Product: Residential Dishwashers (Single Family, Multi-Family, Manufactured Homes)
| Input | Description | Regional Value Different from DOE NIA? | Regional Value | DOE Value | Notes | Data Source | Is this the best available data? If no, is there an alternative data source?
Usage | Standard Effective Year | Year when standard comes into effect | N/A | N/A | 2009 (EISA); 2015 Standard Level built in but not executed
| Product Classes | There are a total of 36 product classes. Each WICF have two components- (1) refrigeration system (2) envelope which includes the panel and the display doors. For specific details, refer to product class tab. | N/A | N/A | A WICF includes a (1) refrigeration system and (2) the envelope. The refrigerator system could be classifed as multiplex/dedicated; low/med temperature; indoors/outdoors. Three size classes were evaluated (small, medium, and large) ; The evelope includes panels and doors. There is a total of 36 combinations between the refrigeration system and the envelope | See product class tab for details | DOE NIA Walk-in Coolers and Freezers NIA Preliminary Analysis Workbook
| Pre-case efficiency | Efficiency level at pre-EISA (TSL -1) level. | N/A | N/A | Annual electricity use for each ref/envelope combination according to specifications in the DOE TSD. |  | DOE NIA Walk-in Coolers and Freezers NIA Workbook; 2015 Standards Rulemaking
| Post-case efficiency | Efficiency level at EISA (TSL 0) | N/A | N/A | Annual electricity use for each ref/envelope combination according to specifications in the DOE TSD at EISA level. |  | DOE NIA Walk-in Coolers and Freezers NIA Workbook; 2015 Standards Rulemaking
Market | Shipment Data | Shipment data of each of the ref/box combination | N/A | CBSA has very sparse data on WICF, not sufficent for a robust analysis | Shipment data are collected from the WICF shipment model developed for the preliminary TSD. The refrigerator system and the boxes have different life times. Shipment models were developed for the following scenarios: (1) old ref system and old box; (2) new ref and old box (3) old ref and new box (4) new ref new box. Estimates were developed by the CBECS 2007 survey data and the U.S. Census Bureau Current Industrial Reports data, |  | DOE NIA Walk-in Coolers and Freezers preliminary analysis
| Pre-case efficiency distribution | Pre-standard efficiency distribution | N/A | N/A | 100% at pre-EISA efficiency level |  | Efficiency level sourced from DOE NIA Walk-in Coolers and Freezers Workbook; 2015 Rulemaking. Simplified assumptions for 100% pre-EISA level
| Post-case efficiency distribution | Post-standard efficiency distribution | N/A | N/A | 100% at EISA efficiency level | The 2015 standard (TSL 4 efficiency level) is built into the workbook but not executed | Efficiency level sourced from DOE NIA Walk-in Coolers and Freezers Workbook; 2015 Rulemaking. Simplified assumptions for 100% EISA level
| Shipment Growth Rate | Shipment growth rate of walk-in coolers distinguished by display and non-display coolers | N/A | N/A | Growth rate is estimated sourcing from CBECS data where market shares of display and non-display cooler was collected for five building types- grocery, food service, C-store, industry, and others. | Growth rate drives shipment in the model | DOE NIA Walk-in Coolers and Freezers preliminary analysis
Stock Model | HVAC Interaction Factor | Heat output from a walk-in interacts with the functioning of the HVAC systems in its building. Walk-ins of greater efficiency may produce slightly less heat, altering the interaction. | N/A | N/A | 1 (no significant impact) | Most walk-ins are cooled by outdoor compressors, which reject their waste heat outside the building rather than inside. The interaction has no measureable effect | DOE Preliminary TSD; Chapter 10 .3.1.3
| Scalar | Scale national analysis to regional analysis | N/A | N/A | Walk-in Cooler and Freezers- 6P Refrigeration end-use EUI is used as the baseline. Due to the lack of data granularity of the refrigeration end-use from CBSA 2009, the regional distribution of commercial refrigeration equipment type cannot be determined. The savings percentage from the walk-in Cooler and Freezer standard impact analysis is applied to the baseline refrigeration EUI based on 6P. Walk-in Cooler and Freezers are not included in the 6P supply curve, therefore there is no baseline adjustment. | Consistent with other workbooks | Engineering Assumption
| Lifetime | Lifetime is defined as when a refrigeration system or a component fails or needed replacement | N/A | N/A | Envelope: 15 years, Refrigeration System 12 years, Doors: 14 years | Lifetime of WICF averages to be 15 years. | DOE WICF NOPR_TSD Chapter 9
| Lifetime Turnover Assumptions | Rate of replacement | N/A | N/A | Weibull 3.5 scale, 14 shape, 3 delay; ref weibull 3.5 scale, 7 shape, 1 delay; door weibull scale 2; shape=5; delay 1 | See distribution parameter tab for details | DOE WICF NOPR_TSD Chapter 9

## Product Classes
| Walk-In Envelope Class Codes |  |  |  | Refrigeration System Class Codes |  |  |  | Components Code
[5 empty] | Condensing Type* | Operating Temperature | Condenser Location | Product Class Code | SP.M | WICF Panels, Medium Temp
| Equipment | Equipment | Walk in type | Equipment | Multiplex | Medium | - | MC.M | SP.L | WICF Panels, Low Temp
| Family Name | Family Code | Code | Class Full |  | Low | - | MC.L | FP.L | Floor Panels, Low Temp
|  |  |  | Code | Dedicated | Medium | Indoor | DC.M.I | DD.M | Display Door, Medium Temp
| Non-Display | S | C | S.C |  | Low |  | DC.L.I | DD.L | Display Door, Large
|  |  | F | S.F |  | Medium | Outdoor | Outdoor | PD.M | Passage Doors, Medium Temp
| Display | D | C | D.C |  | Low |  | DC.L.O | PD.L | Passage Doors, Low Temp
|  |  | F | D.F | *Note: For each of the six equipment classes, two analysis points have been used, corresponding to small and large representative units. |  |  |  | FD.M | Freight Door, Medium Temp
[9 empty] | FD.L | Freight Door, Low Temp
Classification of WICF Refrigeration System
1. Display/ Non-Display
2. Cooler/ Freezer
3. Multiplex/ Dedicated
4. Medium/ Low Temp
5. Indoors/Outdoors

## lifetime Distribution
WICF Component | Input Parameters |  |  | Output Values
| Scale | Shape | Delay | Maximum Age | Minimum Age of Failure | Average Age of Failure
|  |  |  | years | years | years
Envelope | 16.4 | 4.9 | 1 | 25 | 2 | 15.12
Refrigeration System | 12.8 | 3.5 | 1 | 25 | 2 | 11.62
Display Door | 15.1 | 3.4 | 5 | 25 | 6 | 14.07
Passage Door | 15.3 | 2.6 | 7.5 | 25 | 8 | 14.43
Freight Door | 15.3 | 2.6 | 7.5 | 25 | 8 | 14.43