## Proposed Data
= current value
Ceiling Fan Light Kits were not included in the 5P and 6P, data based on national studies and secondary research. Standard effective on 2007.
Product: Ceiling Fan Light Kits
| Input | Description | Regional Value Different from DOE NIA? | Regional Value | Suggested Value | Notes | Data Source | Is this the best available data? If no, is there an alternative data source?
Usage | Operating hours per year | Op hours of ceiling fan kit lights | N/A | 631 hrs/yr (SF); 485 hrs/yr (MF); 703 hrs/yr (MH) |  |  | Source: RBSA 2012
| 5P Baseline Device Efficiency | 5th Plan baseline device efficiency | N/A | N/A | 75kWh (SF); 58 kWh (MF);84 kWh(MH) |  | Source: RLW Analytics, 2007. Single-Family Residential Existing Construction Stock Assessment.
| 6P Baseline Device Efficiency | 6th Plan baseline device efficiency | N/A | N/A | 75kWh (SF); 58 kWh (MF);84 kWh(MH) | Standard came in 5P period. Since this measure was not included in the plans, the pre-case stays the same. | Source: RLW Analytics, 2007. Single-Family Residential Existing Construction Stock Assessment.
| 2007 Standard Device Efficiency | Device efficiency after standard took effect | N/A | N/A | 70 kWh(SF); 45 kWh (MF); 68 kWh (MH) |  | Source: RLW Analytics, 2007. Single-Family Residential Existing Construction Stock Assessment.
Market | Precase product class distribution | Number of product class(s) and distribution if standard did not exist | N/A | N/A | 1 product class
| Postcase case product class distribution | Number of product class(s) and distribution factoring in the effective standard | N/A | N/A | 1 product class
| Precase efficiency level distribution | Efficiency distribution of each product class if standard did not exist | N/A | N/A | 100% at pre-case efficacy |  | Engineering assumption consistent with other products
| Postcase efficiency level distribution | Efficiency distribution of each product class factoring in the effective standard | N/A | N/A | 100% at post-case efficacy |  | Engineering assumption consistent with other products
| Appliance Saturation | Saturation rate of CFLK in the NW region | N/A | N/A | 104% |  | RLW Analytics, 2007. Single-Family Residential Existing Constuction Stock Assessment
Stock Model | Historical Replacement Units Shipment in 2005 | Number of Torchieres shipped to region in 2005 | N/A | Housing projections for residential sector (6P Supply Curve) | Housing projections for residential sector (6P Supply Curve) |  | 6P Supply Curve; PNWResSectorSupplyCurveUnits_6th_Fnl
| New Construction forecast | New construction forecast from 2005-2030 | N/A | Housing projections for residential sector (6P Supply Curve) | Housing projections for residential sector (6P Supply Curve) |  | 6P Supply Curve; PNWResSectorSupplyCurveUnits_6th_Fnl
| Product Lifetime | Torchieres Product Lifetime | N/A | N/A | 13 years | Ceiling fans have a life expectancy of 7 to 18 years, 13 is the average value. Where the light might outlast the ceiling fan, the lifetime of the CFLK is assumed to be the same as the ceiling fan | Source: Codes and Standards Enhancement Initiative for PY2004: Title 20 Standards Development;http://www.energy.ca.gov/appliances/2003rulemaking/documents/case_studies/CASE_Ceiling_Fan.pdf
| Turnover assumption | Product retirement rate | N/A | N/A | 1/lifetime |  | Engineering assumption consistent with other products

## Assessment Checklist
Important Resources
Regional
| Applicability | Resources | Notes | Data Source Review Notes for Illuminated Exit Signs | PNW Data Available? (1 = Yes, 0 = No)
| Device Efficiency from 6th Plan forecast model | DEE DSTD spreadsheet received from the council posted on sharepoint | note that there are residential and commercial tabs | Product not included | 0
| Device Efficiency (units) | Forecast model code write up received from the council, information on which product is included in the model posted on sharepoint | do a search of the document for your specific product. Note that there is residential and commercial tabs. We are concerned about products implemented prior to 2010. | Product not included | 0
| Product Class, efficiency level, usage (possibly) | Council's Supply Curves. Www.nwcouncil.org/energy/powerplan -> conservation supply curve -> *select your product and dl workbook* | for example, commercial sector, check "engineering & economic data" tab for baseline product class and efficiency level. | Product not included | 0
| Drivers | Council's population or floor space forecast. Www.nwcouncil.org/energy/powerplan-> conservation supply curve -> PNWResSectorSupplyCurveUnits_6th_Fnl (Res) | check unit tabs for new construction and retrofit drivers. E.g. total res, existing construction, and new construction can be found in "DHW&Appliance Units" for dishwashers | Product not included, using supply curve residential units as the driver | 0
| Usage (multiple sources) | Regional Technical Forum Workbooks http://rtf.nwcouncil.org/measures/ | These workbooks specifically calculates the unit energy consumption of an equipment for the region and are reviewed periodically. Look here for usage data. | No data available | 0
| Usage (multiple sources) | Residential Building Stock Assessment (RBSA) and Commercial Building Stock Assessment (CBSA). Uploaded to sharepoint or Download at http://neea.org/resource-center/market-research-and-evaluation-reports. |  | DOE CFLK Rulemaking, Codes and Standards Enhancement Initiative for PY2004: Title 20 Standards; Home Performance Magazine (2001) Development;http://www.energy.ca.gov/appliances/2003rulemaking/documents/case_studies/CASE_Ceiling_Fan.pdf | 1
| Market data (multiple sources) | NEEA research reports not limited to Residential Building Stock Assessment (RBSA) and Commercial Building Stock Assessment (CBSA). Uploaded to sharepoint or Download at http://neea.org/resource-center/market-research-and-evaluation-reports. |  | DOE CFLK Rulemaking, Codes and Standards Enhancement Initiative for PY2004: Title 20 Standards; Home Performance Magazine (2001) Development;http://www.energy.ca.gov/appliances/2003rulemaking/documents/case_studies/CASE_Ceiling_Fan.pdf | 1
| Market data/Historical data (multiple sources) | NEMA |  | No relevant information | 0
National
| Applicability | Resources | Notes
| Standards | Task 1 Workbook | Standards effective dates and specific standards
| Market, historical, and usage data | National Impact Analysis | Standards and scenarios, national shipment data
| Standards and usage data | DOE TSD | Details on standards
Baseline |  | Status
1 | Check Task 1 spreadsheet to see if product is included in forecast and if a supply curve is available. Verify using the code write-up and if supply curve is available, download measure workbook from nwcouncil.org/powerplan | Done-Only supply curve
2 | If product is included in forecast, document Device Efficiency (DEE) and Device Standard (DSTD) values from excel spreadsheet from 2005-2030. Check Code-write up for efficiency units (for example, kWh/unit for refrigerator). If not, default to DOE baseline. | N/A-no forecase
3 | If available. Extract baseline product class and efficiency distribution from council measure workbook; market share/penetration from sector master workbook. Refer to analysis template UEC tab and make sure all the inputs are either available or will be requested.
4 | Check-in with Hayden regarding DOE baseline, product class, efficiency tier, and market share availability.
5 | Document differences between the council's baseline and the DOE baseline (this is necessary for calibration)
6 | Populate the product definition table in the UEC tab
7 | Document questions
Standard
1 | Check Task 1 workbook to understand standard effective dates and specifications
2 | If NIA is available, document how the standard cases are defined (work with Hayden on this)
Data requirement
1 | Define historical data necessary for analysis, pay attention to new construction, replacement, and retrofit proxies. Regional historical shipment data might be avaiable through AHAM, national historical shipment data available through Hayden. New construction drivers available through supply curve master workbook.
2 | If data is not available, document data gap and put in an external data request.
3 | Stock turnover- check supply curve Master Workbook "Turn" tab for commercial; "DHW&Appliance Units" for Res
4 | Check DOE NIA or TSD for measure lifetime, document if it is different from the council's assumption.
5 | Define usage data and market share data necessary for UEC analysis, document data gap and put in an external data request
Data Request
1 | After completing Part 1-3, send a consolidated external request to Angie for your batch of products. Use external data request template.
2 | Work with Hayden to complete Internal data input.
General Guidelines
1 | Prioritize regional data unless you are confident that the national data better reflects current status in the NW region
2 | Document everything- assumptions, decisions, data gaps, remaining challenges
3 | Check sharepoint for resources, post your workbook on sharepoint