## Interactions
Lighting Interaction Factors |  |  |  | Version 12-16-2003 |  | Original data of 09-11-2003 from Ecotope with 10/21/2003 addemdum from Kennedy on schools and 12-16-2003 hours addendum from Grist
INTERACTION factor is in the releative change in heating or cooling from one kWh of lighting savings. Gas interaction is in therms per kWh of lighting savings.
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Buildng Activity Tyape Category |  |  |  | 2: Heating Only; 6: Cooling; 7: Net Heating and Cooling; 11: Hours
Building Category | Building Sub-Category | RTF Deemed Savings Lookup Category (2001) | RTF Deemed Savings Lookup Category (2004) | Supply Curve Category | INTERACTION factor with ElecHt | INTERACTION factor with HtPmpHt | INTERACTION factor with GasHt (Watts Equivalent) | INTERACTION factor with GasHt (therms per lighting kWh saved) | Cooling Only | INTERACTION factor with ElecHt and Cooling | INTERACTION factor with HtPmpHt | INTERACTION factor with GasHt (Watts Equivalent) | Gas Interaction (therms per lighting kWh saved) | Default Annual Hours of Lighting Operation (2004) | Default Full Load Equivalent Factor
Assembly | Assembly |  | Other | Other | -0.18 | -0.09 | -0.24 | -0.0081888 | 0.11 | -0.07 | 0.02 | -0.13 | -0.0081888 | 4000 | 0.9
Assembly | Church, Religious, Civic |  |  |  | -0.18 | -0.09 | -0.24 | -0.0081888 | 0.11 | -0.07 | 0.02 | -0.13 | -0.0081888 | 1800 | 0.9
Assembly | Casino |  |  |  | -0.42 | -0.21 | -0.56 | -0.019107 | 0.19 | -0.23 | -0.02 | -0.37 | -0.019107 | 8760 | 0.9
Assembly | Expo Hall |  |  |  | -0.18 | -0.09 | -0.24 | -0.0081888 | 0.11 | -0.07 | 0.02 | -0.13 | -0.0081888 | 3000 | 0.9
Assembly | Fair Arena |  |  |  | -0.42 | -0.21 | -0.56 | -0.019107 | 0.19 | -0.23 | -0.02 | -0.37 | -0.019107 | 3000 | 0.9
Education | College or University |  | University | University | -0.47 | -0.235 | -0.62667 | -0.021382 | 0.19 | -0.28 | -0.045 | -0.43667 | -0.021382 | 3000 | 0.9
Education | Daycare / Preschool |  |  |  | -0.73 | -0.365 | -0.97333 | -0.03321 | 0.05 | -0.68 | -0.315 | -0.92333 | -0.03321 | 2800 | 0.9
Education | Elementary School | School |  | K-12 | -0.48 | -0.24 | -0.64 | -0.021837 | 0.1 | -0.38 | -0.14 | -0.54 | -0.021837 | 2400 | 0.9
Education | Middle School |  | K-12 |  | -0.48 | -0.24 | -0.64 | -0.021837 | 0.1 | -0.38 | -0.14 | -0.54 | -0.021837 | 2400 | 0.9
Education | High School |  |  |  | -0.48 | -0.24 | -0.64 | -0.021837 | 0.12 | -0.36 | -0.12 | -0.52 | -0.021837 | 2400 | 0.9
Education | University Dormitory |  |  |  | -0.4 | -0.2 | -0.53333 | -0.018197 | 0.1 | -0.3 | -0.1 | -0.43333 | -0.018197 | 3600 | 0.9
Education | Laboratory, Research |  |  |  | -0.72 | -0.36 | -0.96 | -0.032755 | 0.01 | -0.71 | -0.35 | -0.95 | -0.032755 | 5800 | 0.9
Grocery | Grocery or Food Retail | Grocery | Supermarket | Supermarket | -0.22 | -0.11 | -0.29333 | -0.010009 | 0.08 | -0.14 | -0.03 | -0.21333 | -0.010009 | 6500 | 0.9
Grocery | Convenience Retail Sales |  | MIniMart | MIniMart | -0.39 | -0.195 | -0.52 | -0.017742 | 0.14 | -0.25 | -0.055 | -0.38 | -0.017742 | 6500 | 0.9
Health | Birthing Center |  |  |  | -0.72 | -0.36 | -0.96 | -0.032755 | 0.01 | -0.71 | -0.35 | -0.95 | -0.032755 | 5800 | 0.9
Health | Hospital | Health | Hospital | Hospital | -0.72 | -0.36 | -0.96 | -0.032755 | 0.01 | -0.71 | -0.35 | -0.95 | -0.032755 | 5900 | 0.9
Health | Nursing Home |  |  |  | -0.4 | -0.2 | -0.53333 | -0.018197 | 0.1 | -0.3 | -0.1 | -0.43333 | -0.018197 | 4400 | 0.9
Health | Medical Office |  |  | Medium Off | -0.18 | -0.09 | -0.24 | -0.0081888 | 0.11 | -0.07 | 0.02 | -0.13 | -0.0081888 | 3600 | 0.9
Health | Other Medical |  | Other Health | OtherHealth | -0.18 | -0.09 | -0.24 | -0.0081888 | 0.11 | -0.07 | 0.02 | -0.13 | -0.0081888 | 3600 | 0.9
Health | Outpatient Care |  |  |  | -0.18 | -0.09 | -0.24 | -0.0081888 | 0.11 | -0.07 | 0.02 | -0.13 | -0.0081888 | 3400 | 0.9
Health | Medical Laboratory |  |  |  | -0.72 | -0.36 | -0.96 | -0.032755 | 0.01 | -0.71 | -0.35 | -0.95 | -0.032755 | 5800 | 0.9
Health | Retirement Center |  |  |  | -0.4 | -0.2 | -0.53333 | -0.018197 | 0.1 | -0.3 | -0.1 | -0.43333 | -0.018197 | 3600 | 0.9
Institution | Jail Facility |  |  |  | -0.4 | -0.2 | -0.53333 | -0.018197 | 0.1 | -0.3 | -0.1 | -0.43333 | -0.018197 | 5800 | 0.9
Institution | Police Station |  |  |  | -0.39 | -0.195 | -0.52 | -0.017742 | 0.14 | -0.25 | -0.055 | -0.38 | -0.017742 | 5800 | 0.9
Institution | Juvenile Corrections |  |  |  | -0.4 | -0.2 | -0.53333 | -0.018197 | 0.1 | -0.3 | -0.1 | -0.43333 | -0.018197 | 5800 | 0.9
Institution | Fire Station |  |  |  | -0.4 | -0.2 | -0.53333 | -0.018197 | 0.1 | -0.3 | -0.1 | -0.43333 | -0.018197 | 5800 | 0.9
Lodging | Hotel |  |  |  | -0.4 | -0.2 | -0.53333 | -0.018197 | 0.1 | -0.3 | -0.1 | -0.43333 | -0.018197 | 3600 | 0.9
Lodging | Retirement/Assisted |  |  |  | -0.4 | -0.2 | -0.53333 | -0.018197 | 0.1 | -0.3 | -0.1 | -0.43333 | -0.018197 | 3600 | 0.9
Lodging | Motel | Hospitality | Lodging | Lodging | -0.4 | -0.2 | -0.53333 | -0.018197 | 0.1 | -0.3 | -0.1 | -0.43333 | -0.018197 | 3600 | 0.9
Lodging | Lodge |  |  |  | -0.4 | -0.2 | -0.53333 | -0.018197 | 0.1 | -0.3 | -0.1 | -0.43333 | -0.018197 | 3600 | 0.9
Office | Large Office - VAV | Large (>20,000 ft2) Office | Large Office | Large Off | -0.18 | -0.09 | -0.24 | -0.0081888 | 0.11 | -0.07 | 0.02 | -0.13 | -0.0081888 | 4200 | 0.9
Office | Large Office - Water Loop |  |  |  | -0.13 | -0.065 | -0.17333 | -0.0059141 | 0.3 | 0.17 | 0.235 | 0.12667 | -0.0059141 | 3900 | 0.9
Office | Small Office - RTU | Small (<=20,000 ft2) Office | Small Office | Small Off | -0.47 | -0.235 | -0.62667 | -0.021382 | 0.19 | -0.28 | -0.045 | -0.43667 | -0.021382 | 3000 | 0.9
Other | Railroad Terminal |  |  |  | -0.13 | -0.065 | -0.17333 | -0.0059141 | 0.14 | 0.01 | 0.075 | -0.033333 | -0.0059141 | 8760 | 0.7
Other | Bus Terminal |  |  |  | -0.13 | -0.065 | -0.17333 | -0.0059141 | 0.14 | 0.01 | 0.075 | -0.033333 | -0.0059141 | 8760 | 0.7
Other | Airport Terminal |  |  |  | -0.13 | -0.065 | -0.17333 | -0.0059141 | 0.14 | 0.01 | 0.075 | -0.033333 | -0.0059141 | 8760 | 0.7
Other | Auto Repair Only |  |  |  | -0.39 | -0.195 | -0.52 | -0.017742 | 0 | -0.39 | -0.195 | -0.52 | -0.017742 | 3900 | 0.9
Other | Bakery |  |  |  | 0 | 0 | 0 | 0 | 0.12 | 0.12 | 0.12 | 0.12 | 0 | 3500 | 0.9
Other | Community Pool |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3000 | 0.9
Other | Green House |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3500 | 0.9
Other | Laundry |  |  |  | 0 | 0 | 0 | 0 | 0.12 | 0.12 | 0.12 | 0.12 | 0 | 3500 | 0.9
Other | Newspaper Office/Press |  |  |  | -0.4 | -0.2 | -0.53333 | -0.018197 | 0.12 | -0.28 | -0.08 | -0.41333 | -0.018197 | 3500 | 0.9
Other | Parking Garage |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8760 | 0.7
Other | Shop |  |  |  | -0.39 | -0.195 | -0.52 | -0.017742 | 0 | -0.39 | -0.195 | -0.52 | -0.017742 | 3000 | 0.9
Other | Miscellaneous |  |  |  | -0.39 | -0.195 | -0.52 | -0.017742 | 0 | -0.39 | -0.195 | -0.52 | -0.017742 | 3500 | 0.9
Other | Exterior |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4500 | 1
Restaurant | Fast Food | Restaurant | Restaurant | Restaurant | -0.59 | -0.295 | -0.78667 | -0.026841 | 0.02 | -0.57 | -0.275 | -0.76667 | -0.026841 | 5000 | 0.9
Restaurant | Full Restaurant |  |  |  | -0.59 | -0.295 | -0.78667 | -0.026841 | 0.02 | -0.57 | -0.275 | -0.76667 | -0.026841 | 5200 | 0.9
Retail | Auto Sales |  |  |  | -0.39 | -0.195 | -0.52 | -0.017742 | 0.12 | -0.27 | -0.075 | -0.4 | -0.017742 | 3900 | 0.9
Retail | Bank |  |  |  | -0.39 | -0.195 | -0.52 | -0.017742 | 0.12 | -0.27 | -0.075 | -0.4 | -0.017742 | 3900 | 0.9
Retail | Anchor Retail |  | Large Multi-Story Retail | Anchor | -0.43 | -0.215 | -0.57333 | -0.019562 | 0.18 | -0.25 | -0.035 | -0.39333 | -0.019562 | 4000 | 0.9
Retail | Big Box Retail | Large (>20,000 ft2) Retail | Big Box Retail | Big Box | -0.33 | -0.165 | -0.44 | -0.015013 | 0.19 | -0.14 | 0.025 | -0.25 | -0.015013 | 4800 | 0.9
Retail | Small Retail | Small (<=20,000 ft2) Retail | Small Retail | Small Box | -0.39 | -0.195 | -0.52 | -0.017742 | 0.12 | -0.27 | -0.075 | -0.4 | -0.017742 | 3900 | 0.9
Retail | Boutique Retail |  | Boutique Retail | High End | -0.31 | -0.155 | -0.41333 | -0.014103 | 0.13 | -0.18 | -0.025 | -0.28333 | -0.014103 | 3400 | 0.9
Retail | Post Office |  |  |  | -0.39 | -0.195 | -0.52 | -0.017742 | 0.12 | -0.27 | -0.075 | -0.4 | -0.017742 | 3900 | 0.9
Warehouse | Warehouse | Warehouse | Warehouse | Warehouse | -0.39 | -0.195 | -0.52 | -0.017742 | 0 | -0.39 | -0.195 | -0.52 | -0.017742 | 3500 | 0.9
Warehouse | Wholesale |  |  |  | -0.4 | -0.2 | -0.53333 | -0.018197 | 0.12 | -0.28 | -0.08 | -0.41333 | -0.018197 | 3500 | 0.9
Warehouse | Refrigerated Warehouse |  |  |  | 0 | 0 | 0 | 0 | 0.12 | 0.12 | 0.12 | 0.12 | 0 | 3500 | 0.9
Warehouse | Shop/Storage |  |  |  | -0.39 | -0.195 | -0.52 | -0.017742 | 0.08 | -0.31 | -0.115 | -0.44 | -0.017742 | 2000 | 0.9
Warehouse | Warehouse/Distribution |  |  |  | -0.39 | -0.195 | -0.52 | -0.017742 | 0.08 | -0.31 | -0.115 | -0.44 | -0.017742 | 5800 | 0.9
Manufacturing | Mfg - 1 Shift - No heating load |  | Mfg - 1 Shift - No HVAC |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2400 | 0.9
Manufacturing | Mfg - 2 Shift - No heating load |  | Mfg - 2 Shift - No HVAC |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4600 | 0.9
Manufacturing | Mfg - 3 Shift - No heating load |  | Mfg - 3 Shift - No HVAC |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7000 | 0.9
Note on A1: Charlie Grist: INTERACTION factor is in the releative change in heating or cooling from one kWh of lighting savings. Gas interaction is in therms per kWh of lighting savings.
Note on K6: David Baylon: All in teractions combined in watts equivlent
Note on M7: Charlie Grist: Caution. This is a net energy value and should not be used to calculate BC ratios.
Note on N7: Charlie Grist: These values are the same as for heating only. There is no net change in the gas impact because of cooling.

## Yeild
Lighting Savings Electric YIELD Factors |  |  |  | Version 12-16-2003
YIELD is the net electric savings from a lighting conservation measure due to electric HVAC interactions. Multiply lighting savings by YIELD to get net savings. Does not include gas interactions.
Version of 09-11-2003 from Ecotope with 10/21/2003 addemdum from Kennedy on schools and 12-16-2003 hours addendum from Grist
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Buildng Activity Tyape Category |  |  |  | 2: Heating Only; 6: Cooling; 7: Net Heating and Cooling; 11: Hours
Building Category | Building Sub-Category | RTF Deemed Savings Lookup Category (2001) | RTF Deemed Savings Lookup Category (2004) | Supply Curve Category | YIELD with ElecHt | YIELD with HtPmpHt | YIELD with GasHt | Gas Interaction (therms per lighting kWh saved) | Cooling Only | YIELD with ElecHt and Cooling | YIELD with HtPmpHt and Cooling | YIELD with GasHt and Cooling | Gas Interaction (therms per lighting kWh saved) | Default Annual Hours of Lighting Operation (2004) | Default Full Load Equivalent Factor
Assembly | Assembly |  | Other | Other | 0.82 | 0.91 | 0.9832 | -0.0081888 | 1.11 | 0.93 | 1.02 | 1.0932 | -0.0081888 | 4000 | 0.9
Assembly | Church, Religious, Civic |  |  |  | 0.82 | 0.91 | 0.9832 | -0.0081888 | 1.11 | 0.93 | 1.02 | 1.0932 | -0.0081888 | 1800 | 0.9
Assembly | Casino |  |  |  | 0.58 | 0.79 | 0.9608 | -0.019107 | 1.19 | 0.77 | 0.98 | 1.1508 | -0.019107 | 8760 | 0.9
Assembly | Expo Hall |  |  |  | 0.82 | 0.91 | 0.9832 | -0.0081888 | 1.11 | 0.93 | 1.02 | 1.0932 | -0.0081888 | 3000 | 0.9
Assembly | Fair Arena |  |  |  | 0.58 | 0.79 | 0.9608 | -0.019107 | 1.19 | 0.77 | 0.98 | 1.1508 | -0.019107 | 3000 | 0.9
Education | College or University |  | University | University | 0.53 | 0.765 | 0.95613 | -0.021382 | 1.19 | 0.72 | 0.955 | 1.1461 | -0.021382 | 3000 | 0.9
Education | Daycare / Preschool |  |  |  | 0.27 | 0.635 | 0.93187 | -0.03321 | 1.05 | 0.32 | 0.685 | 0.98187 | -0.03321 | 2800 | 0.9
Education | Elementary School | School |  | K-12 | 0.52 | 0.76 | 0.9552 | -0.021837 | 1.1 | 0.62 | 0.86 | 1.0552 | -0.021837 | 2400 | 0.9
Education | Middle School |  | K-12 |  | 0.52 | 0.76 | 0.9552 | -0.021837 | 1.1 | 0.62 | 0.86 | 1.0552 | -0.021837 | 2400 | 0.9
Education | High School |  |  |  | 0.52 | 0.76 | 0.9552 | -0.021837 | 1.12 | 0.64 | 0.88 | 1.0752 | -0.021837 | 2400 | 0.9
Education | University Dormitory |  |  |  | 0.6 | 0.8 | 0.96267 | -0.018197 | 1.1 | 0.7 | 0.9 | 1.0627 | -0.018197 | 3600 | 0.9
Education | Laboratory, Research |  |  |  | 0.28 | 0.64 | 0.9328 | -0.032755 | 1.01 | 0.29 | 0.65 | 0.9428 | -0.032755 | 5800 | 0.9
Grocery | Grocery or Food Retail | Grocery | Supermarket | Supermarket | 0.78 | 0.89 | 0.97947 | -0.010009 | 1.08 | 0.86 | 0.97 | 1.0595 | -0.010009 | 6500 | 0.9
Grocery | Convenience Retail Sales |  | MIniMart | MIniMart | 0.61 | 0.805 | 0.9636 | -0.017742 | 1.14 | 0.75 | 0.945 | 1.1036 | -0.017742 | 6500 | 0.9
Health | Birthing Center |  |  |  | 0.28 | 0.64 | 0.9328 | -0.032755 | 1.01 | 0.29 | 0.65 | 0.9428 | -0.032755 | 5800 | 0.9
Health | Hospital | Health | Hospital | Hospital | 0.28 | 0.64 | 0.9328 | -0.032755 | 1.01 | 0.29 | 0.65 | 0.9428 | -0.032755 | 5900 | 0.9
Health | Nursing Home |  |  |  | 0.6 | 0.8 | 0.96267 | -0.018197 | 1.1 | 0.7 | 0.9 | 1.0627 | -0.018197 | 4400 | 0.9
Health | Medical Office |  |  | Medium Off | 0.82 | 0.91 | 0.9832 | -0.0081888 | 1.11 | 0.93 | 1.02 | 1.0932 | -0.0081888 | 3600 | 0.9
Health | Other Medical |  | Other Health | OtherHealth | 0.82 | 0.91 | 0.9832 | -0.0081888 | 1.11 | 0.93 | 1.02 | 1.0932 | -0.0081888 | 3600 | 0.9
Health | Outpatient Care |  |  |  | 0.82 | 0.91 | 0.9832 | -0.0081888 | 1.11 | 0.93 | 1.02 | 1.0932 | -0.0081888 | 3400 | 0.9
Health | Medical Laboratory |  |  |  | 0.28 | 0.64 | 0.9328 | -0.032755 | 1.01 | 0.29 | 0.65 | 0.9428 | -0.032755 | 5800 | 0.9
Health | Retirement Center |  |  |  | 0.6 | 0.8 | 0.96267 | -0.018197 | 1.1 | 0.7 | 0.9 | 1.0627 | -0.018197 | 3600 | 0.9
Institution | Jail Facility |  |  |  | 0.6 | 0.8 | 0.96267 | -0.018197 | 1.1 | 0.7 | 0.9 | 1.0627 | -0.018197 | 5800 | 0.9
Institution | Police Station |  |  |  | 0.61 | 0.805 | 0.9636 | -0.017742 | 1.14 | 0.75 | 0.945 | 1.1036 | -0.017742 | 5800 | 0.9
Institution | Juvenile Corrections |  |  |  | 0.6 | 0.8 | 0.96267 | -0.018197 | 1.1 | 0.7 | 0.9 | 1.0627 | -0.018197 | 5800 | 0.9
Institution | Fire Station |  |  |  | 0.6 | 0.8 | 0.96267 | -0.018197 | 1.1 | 0.7 | 0.9 | 1.0627 | -0.018197 | 5800 | 0.9
Lodging | Hotel |  |  |  | 0.6 | 0.8 | 0.96267 | -0.018197 | 1.1 | 0.7 | 0.9 | 1.0627 | -0.018197 | 3600 | 0.9
Lodging | Retirement/Assisted |  |  |  | 0.6 | 0.8 | 0.96267 | -0.018197 | 1.1 | 0.7 | 0.9 | 1.0627 | -0.018197 | 3600 | 0.9
Lodging | Motel | Hospitality | Lodging | Lodging | 0.6 | 0.8 | 0.96267 | -0.018197 | 1.1 | 0.7 | 0.9 | 1.0627 | -0.018197 | 3600 | 0.9
Lodging | Lodge |  |  |  | 0.6 | 0.8 | 0.96267 | -0.018197 | 1.1 | 0.7 | 0.9 | 1.0627 | -0.018197 | 3600 | 0.9
Office | Large Office - VAV | Large (>20,000 ft2) Office | Large Office | Large Off | 0.82 | 0.91 | 0.9832 | -0.0081888 | 1.11 | 0.93 | 1.02 | 1.0932 | -0.0081888 | 4200 | 0.9
Office | Large Office - Water Loop |  |  |  | 0.87 | 0.935 | 0.98787 | -0.0059141 | 1.3 | 1.17 | 1.235 | 1.2879 | -0.0059141 | 3900 | 0.9
Office | Small Office - RTU | Small (<=20,000 ft2) Office | Small Office | Small Off | 0.53 | 0.765 | 0.95613 | -0.021382 | 1.19 | 0.72 | 0.955 | 1.1461 | -0.021382 | 3000 | 0.9
Other | Railroad Terminal |  |  |  | 0.87 | 0.935 | 0.98787 | -0.0059141 | 1.14 | 1.01 | 1.075 | 1.1279 | -0.0059141 | 8760 | 0.7
Other | Bus Terminal |  |  |  | 0.87 | 0.935 | 0.98787 | -0.0059141 | 1.14 | 1.01 | 1.075 | 1.1279 | -0.0059141 | 8760 | 0.7
Other | Airport Terminal |  |  |  | 0.87 | 0.935 | 0.98787 | -0.0059141 | 1.14 | 1.01 | 1.075 | 1.1279 | -0.0059141 | 8760 | 0.7
Other | Auto Repair Only |  |  |  | 0.61 | 0.805 | 0.9636 | -0.017742 | 1 | 0.61 | 0.805 | 0.9636 | -0.017742 | 3900 | 0.9
Other | Bakery |  |  |  | 1 | 1 | 1 | 0 | 1.12 | 1.12 | 1.12 | 1.12 | 0 | 3500 | 0.9
Other | Community Pool |  |  |  | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 3000 | 0.9
Other | Green House |  |  |  | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 3500 | 0.9
Other | Laundry |  |  |  | 1 | 1 | 1 | 0 | 1.12 | 1.12 | 1.12 | 1.12 | 0 | 3500 | 0.9
Other | Newspaper Office/Press |  |  |  | 0.6 | 0.8 | 0.96267 | -0.018197 | 1.12 | 0.72 | 0.92 | 1.0827 | -0.018197 | 3500 | 0.9
Other | Parking Garage |  |  |  | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 8760 | 0.7
Other | Shop |  |  |  | 0.61 | 0.805 | 0.9636 | -0.017742 | 1 | 0.61 | 0.805 | 0.9636 | -0.017742 | 3000 | 0.9
Other | Miscellaneous |  |  |  | 0.61 | 0.805 | 0.9636 | -0.017742 | 1 | 0.61 | 0.805 | 0.9636 | -0.017742 | 3500 | 0.9
Other | Exterior |  | Exterior |  | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 4500 | 1
Restaurant | Fast Food | Restaurant | Restaurant | Restaurant | 0.41 | 0.705 | 0.94493 | -0.026841 | 1.02 | 0.43 | 0.725 | 0.96493 | -0.026841 | 5000 | 0.9
Restaurant | Full Restaurant |  |  |  | 0.41 | 0.705 | 0.94493 | -0.026841 | 1.02 | 0.43 | 0.725 | 0.96493 | -0.026841 | 5200 | 0.9
Retail | Auto Sales |  |  |  | 0.61 | 0.805 | 0.9636 | -0.017742 | 1.12 | 0.73 | 0.925 | 1.0836 | -0.017742 | 3900 | 0.9
Retail | Bank |  |  |  | 0.61 | 0.805 | 0.9636 | -0.017742 | 1.12 | 0.73 | 0.925 | 1.0836 | -0.017742 | 3900 | 0.9
Retail | Anchor Retail |  | Large Multi-Story Retail | Anchor | 0.57 | 0.785 | 0.95987 | -0.019562 | 1.18 | 0.75 | 0.965 | 1.1399 | -0.019562 | 4000 | 0.9
Retail | Big Box Retail | Large (>20,000 ft2) Retail | Big Box Retail | Big Box | 0.67 | 0.835 | 0.9692 | -0.015013 | 1.19 | 0.86 | 1.025 | 1.1592 | -0.015013 | 4800 | 0.9
Retail | Small Retail | Small (<=20,000 ft2) Retail | Small Retail | Small Box | 0.61 | 0.805 | 0.9636 | -0.017742 | 1.12 | 0.73 | 0.925 | 1.0836 | -0.017742 | 3900 | 0.9
Retail | Boutique Retail |  | Boutique Retail | High End | 0.69 | 0.845 | 0.97107 | -0.014103 | 1.13 | 0.82 | 0.975 | 1.1011 | -0.014103 | 3400 | 0.9
Retail | Post Office |  |  |  | 0.61 | 0.805 | 0.9636 | -0.017742 | 1.12 | 0.73 | 0.925 | 1.0836 | -0.017742 | 3900 | 0.9
Warehouse | Warehouse | Warehouse | Warehouse | Warehouse | 0.61 | 0.805 | 0.9636 | -0.017742 | 1 | 0.61 | 0.805 | 0.9636 | -0.017742 | 3500 | 0.9
Warehouse | Wholesale |  |  |  | 0.6 | 0.8 | 0.96267 | -0.018197 | 1.12 | 0.72 | 0.92 | 1.0827 | -0.018197 | 3500 | 0.9
Warehouse | Refrigerated Warehouse |  |  |  | 1 | 1 | 1 | 0 | 1.12 | 1.12 | 1.12 | 1.12 | 0 | 3500 | 0.9
Warehouse | Shop/Storage |  |  |  | 0.61 | 0.805 | 0.9636 | -0.017742 | 1.08 | 0.69 | 0.885 | 1.0436 | -0.017742 | 2000 | 0.9
Warehouse | Warehouse/Distribution |  |  |  | 0.61 | 0.805 | 0.9636 | -0.017742 | 1.08 | 0.69 | 0.885 | 1.0436 | -0.017742 | 5800 | 0.9
Manufacturing | Mfg - 1 Shift - No heating load |  | Mfg - 1 Shift - No HVAC |  | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 2400 | 0.9
Manufacturing | Mfg - 2 Shift - No heating load |  | Mfg - 2 Shift - No HVAC |  | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 4600 | 0.9
Manufacturing | Mfg - 3 Shift - No heating load |  | Mfg - 3 Shift - No HVAC |  | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 7000 | 0.9
Note on H7: Charlie Grist: Includes fan impacts from change in heating loads.
Note on K6: David Baylon: All in teractions combined in watts equivlent
Note on K7: Charlie Grist: Assume 100% cooled area with electric cooling
Note on L7: Charlie Grist: Assume 100% cooled area with electric cooling
Note on M7: Charlie Grist: Assume 100% cooled area with electric cooling

## Notes
Notes
1 | Values are from a series of several hundred DOE 2 runs performed by Mike Kennedy in 2003 on several prototypes in several configurations of shell, lpd, ventilation rates, HVAC system configuration and climate
2 | Values are default estimates for common cases of building and system configuration and operating conditions thought to represent the population. Over 600 results were synthesized into the categories represented in the tables as a simplification for regional conservation analysis and for default values for the RTF calculators and deemed savings calculations. As a result the default values may not represent specific cases. Specific cases which are thought to have significantly different interactions than the defaults should be modeled under RTF protocols.
3 | Values represent whole-buildings
4 | Values for New and Existing Buildings were combined since differences were slight due to compensating shell and lpd characteristics.
5 | New building types were added to guide users to representative whole-building activity types
6 | YIELD is the net savings from a lighting conservation measure due to HVAC interactions. Multiply lighting savings by YIELD to get net savings.
7 | INTERACTION is in the change in savings from a lighting conservation measure due to HVAC interactions
8 | For thermal space heat systems INTERACTION is in therms per kWh of lighting savings.
9 | DEFAULT ANNUAL HOURS OF LIGHTING OPERATION are estimated from twelve sources.
10 | DEFAULT FULL LOAD EQUIVALENT HOURS FACTOR is used to estimate full load equivalent hours of shole building lighting operation in the deemed savings calculator.
Links | ..\..\Plan 5\Commercial\Data Sources\Kennedy\SchoolLightingInteractions.doc
..\..\Plan 5\Commercial\Data Sources\Kennedy\Lighting Savings Interactions.doc