## Summary
'file:///tmp/in/input.xls'#$Summary
Evaporative Assist Cooling |  | Run Date
MC File
CHAR File
Run Note
Evaporative Assist Cooling-New
Totals for Measures/Categories with Benefits Exceeding Costs
| Totals Basis | Busbar Savings | PV Cost | First Cost | Admin Cost | Program Cost | Program $/KWa | Levelized Cost | PV Benefits | B/C Ratio
Evaporative Assist Cooling-New
New |  |  | POST2002
|  | Annually |  | 20 Years
|  | kWh | MWa | kWh | MWa | lvl cost | B/C
Evaporative Assist Cooling-NR
Totals for Measures/Categories with Benefits Exceeding Costs
| Totals Basis | Busbar Savings | PV Cost | First Cost | Admin Cost | Program Cost | Program $/KWa | Levelized Cost | PV Benefits | B/C Ratio
Evaporative Assist Cooling-NR
NR | PRE2002 Stock Remaining in 2025 |  | PRE2002
Cumulative Replacement 2025
Annual Average Stock Replacement 2005-2025
|  | Annually |  | 20 Years
|  | kWh | MWa | kWh | MWa | lvl cost | B/C

## ProData
Program Parameters |  | Sponsor Parameters
Program Life (yrs) | 20 |  |  | Spon 1 | Spon 2 | Spon 3 | Cust
Program Start Date | 2005 | Real AT Cost of Cap |  | 7% | 5% | 4% | 5%
Present Value Time Zero | 2000 | Financial Life (yrs) |  | 10 | 10 | 15 | 1
Cost Reference Yr | 2000 | Weight |  | 0% | 0% | 100%
Real Discount Rate | 4%
Inflation Rate (Currently NA) | 0% | Run Tabs: |  | TRUE
Capital Real Escalation Rt | 0% | Summary | FALSE
Sponsor Share of First Cost | 100% | MData | TRUE
Sponsor Share of Replace Cost | 0% | MMap | FALSE
Sponsor Share of O&M | 0% | Notes and Sources | FALSE
Last Sponsor O&M Yr | 20
Bulk Power T&D Loss Factor | 2.5%
Bulk Power T&D Credit ($/kw-yr) | 3
Local Power T&D Loss Factor | 5%
Local Power T&D Credit ($/kw-yr) | 20
Externalities Credit (m/kwh) | 0
Regional Act C/E Credit (%) | 10%
Admin Cost (% of First Cost) | 20%
Cost Coeff of Variation | 25%
Marg Cost / Save Shape File | Q:\CG\Main\Plan 5\Commercial\Assessment\MC_AND_LOADSHAPE.XLS
Electric Marginal Cost Tab | MidC_DraftPlan_122903
Savings Shape Tab | Conservation Load Shapes
Note on B7: Currently not used, Hardwired in code to zero until chance to fully implement.

## MData
Data Set Name
Evaporative Assist Cooling
Input Data | [7 empty] | Periodic O&M | [5 empty] | Other Fuels
Category Name | Measure Name | Savings (kWh/yr.) | Phys Life (yr.) | Capital Cost ($) | Annual O&M ($) | Shape Pointer | Non-E Val ($/yr.) | Cost 1 ($) | Period 1 | Cost 2 ($) | Period 2 | Cost 3 ($) | Period 3 | Savings (mmBtu/yr) | Shape Pointer
Category Name | Measure Index Name | 1 | 20 | 0.3 | 0 | ExCOMM
ProCost Results, Version 1.70a: JPH 03/07/01, 04:50 PM 9/3/2003
Measure Results (2000 $) |  | Measure Input Data | [7 empty] | Savings |  |  | PV Capital |  |  |  | PV O&M |  | Total PV Costs |  |  |  |  | Levelized Cost (mills/kwh) |  |  |  |  | PV Bulk Power System Benefits | [5 empty] | PV Regional Benefits
Category | Measure | Measure Life | Site Savings (kWh) | Capital Cost ($/unit) | Annual O&M Cost ($/unit) | PV Per. Repl. Cost ($/unit) | Load Shape | Div. Load Factor | Bulk Pwr Coin. Factor | Bulk Energy (kWh) | Bulk Demand (kw) | Local Demand (kW) | Spon 1 | Spon 2 | Spon 3 | Cust | Utility | Cust | Spon 1 | Spon 2 | Spon 3 | Cust | Total | Spon 1 | Spon 2 | Spon 3 | Cust | Total | Energy | Bulk T&D Def. Cap. | Act C-E Credit | Total System Benefit | Total non-Consumer Cost | Bulk System B/C Ratio | Local T&D Def.Cap. | Non-E Value | Exter-nalities | Total Regional Benefit | Total Regional Cost | Total Regional B/C Ratio
Category Name | Measure Index Name | 20 | 1 | 0.3 | 0 | 0 | ExCOMM | 0.47693 | 0.46383 | 1.0762 | 0.00011949 | 0.00025761 |  |  | 0.3 | 0 | 0 | 0 | 0 | 0 | 0.3 | 0 | 0.3 | 0 | 0 | 21.8956 | 0 | 21.8956 | 0.55865 | 0.0045634 | 0.061428 | 0.6237 | 0.3 | 2.079 | 0.06559 | 0 | 0 | 0.68929 | 0.3 | 2.2976
Category Totals (2000 $) |  | Savings Weighted Measure Data | [7 empty] | Savings |  |  | PV Costs |  |  |  | Lvl Cst | PV Bulk Power System Benefits | [5 empty] | PV Regional Benefits
| Category | Weighted Measure Life | Site Savings (kWh) | Capital Cost ($/unit) | Annual O&M Cost ($/unit) | Per. Repl. Cost ($/unit) | Load Shape | Weighted Load Factor | Weighted Coinc. Factor | Bulk Energy (kWh) | Bulk Demand (kw) | Local Demand (kW) | PV Capital | PV Annual O&M | PV Period. Repl. | PV Total Costs | Levelized Cost mills/kWh | Energy | Bulk T&D Def. Cap. | Act C-E Credit | Total System Benefit | Total non-Consumer Cost | Bulk System B/C Ratio | Local T&D Def.Cap. | Non-E Value | Exter-nalities | Total Regional Benefit | Total Regional Cost | Total Regional B/C Ratio
| Category Name | 20 | 1 | 0.3 | 0 | 0 |  | 0.47693 | 0.46383 | 1.0762 | 0.00011949 | 0.00025761 | 0.3 | 0 | 0 | 0.3 | 21.8956 | 0.55865 | 0.0045634 | 0.061428 | 0.6237 | 0.3 | 2.079 | 0.06559 | 0 | 0 | 0.68929 | 0.3 | 2.2976
Totals for Measures/Categories with Benefits Exceeding Costs
| Totals Basis | Busbar Savings | PV Cost | First Cost | Admin Cost | Program Cost | Program $/KWa | Levelized Cost | PV Benefits | B/C Ratio
| Measures with B/C>1.00 | 1.0762 | 0.3 | 0.3 | 0.06 | 0.36 | 2930.1746 | 26.2747 | 0.55865 | 1.5518
| Categories with B/C>1.00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.55865 | 0
| % of Measures with B/C >1.00 | 1.0759 | 0.29992 | 0.29992 | 0.059984 | 0.35991 | 2930.2375 | 26.2753 | 0.55849 | 1.5518
| Block 1: x <=10 m/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 2: 10< x <=20 m/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 3: 20< x <=30 m/kWh | 1.0762 | 0.3 | 0.3 | 0.06 | 0.36 | 2930.1746 | 26.2747 | 0.55865 | 1.5518
| Block 4: 30< x <=40 m/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 5: 40< x <=50 m/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 6: 50< x <=60 m/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 7: 60m/kWh < x | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Note on F5: Charlie Grist Annual value of natural gas savings at wholesale avoided cost per therm.
Note on H5: Charlie Grist Annual avoided cost of end user's non-energy costs or savings.

## MMap
[7 empty] | weighted by %of regional floor space | weighted by %of regional floor space | raw | raw | FloorA%REG |  |  | ElecHt%TYP | GasHt%TYP | HtPmpHt%TYP | CoolSat%TYP | 0.3716 | weighted by %of regional floor space
Measure Index Name | Category Name | Spce Heat | End Use Savinsg | BType | MOPP | STOCK | Savings (kWh/yr.) | Capital Cost ($) | RAW Savings (kWh/yr.) | RAW Capital Cost ($) | REGIONAL WEIGHT (%of NR or New) | MEASURE APPLIC | MEASURE DENSITY | ELEC HEAT | GAS HEAT | HEAT PUMP HEAT | COOLING SATURATION | RAW ANNUAL GAS SAVINGS $ | O&M Savings
Measure Index Name | Category Name

## Ecotope
'file:///tmp/in/input.xls'#$Ecotope
Savings from evaporative assist cooling
Data from Ecotope 24 Feb 2004, now calibrated.
|  | EUI (kWh/sf) |  |  | Savings (kWh/sf) |  | Base case economizer
Seattle | cooling | economizers | indirect evap. | direct evap. | indirect evap. | direct evap. | max econ | min econ | base econ fract | max econ
office | 1.33 | 1.3039 | 0.79735 | 0.66445 | 0.50653 | 0.63942 | 49.1 | 0.04 | 1.964% | 0.68
retail 1 | 2.55 | 2.4604 | 1.5346 | 1.2789 | 0.92577 | 1.1815 | 50.2 | 0.07 | 3.514% | 0.66
retail 2 | 3.6 | 3.2726 | 2.0786 | 1.7322 | 1.194 | 1.5404 | 53.5 | 0.17 | 9.095% | 0.67
Boise | cooling | economizers | indirect evap. | direct evap.
office | 2.17 | 2.1044 | 1.6577 | 1.1051 | 0.44667 | 0.99924 | 25.2 | 0.12 | 3.024% | 0.6
retail 1 | 3.58 | 3.3033 | 2.6529 | 1.7686 | 0.65047 | 1.5348 | 27.6 | 0.28 | 7.728% | 0.64
retail 2 | 4.67 | 4.1584 | 3.2709 | 2.1806 | 0.88745 | 1.9777 | 33.1 | 33.1 | 10.96% | 0.67
Portland | cooling | economizers | indirect evap. | direct evap.
office | 1.78 | 1.7544 | 1.2098 | 1.0082 | 0.54454 | 0.74618 | 36 | 0.04 | 1.44% | 0.68
retail 1 | 3.02 | 2.9128 | 2.1101 | 1.7584 | 0.80267 | 1.1544 | 35.5 | 0.1 | 3.55% | 0.63
retail 2 | 4.2 | 3.749 | 2.734 | 2.2784 | 1.015 | 1.4706 | 41.3 | 0.26 | 0.10738 | 0.67
Note on C8: David Baylon: Base cooling load
Note on D8: David Baylon: use MDK load shape for economizer savings. Asssume minimally performing economizer.
Note on E8: David Baylon: use MDK estimate for Economizer load shape
Note on F8: David Baylon: use MDK loadshape for SmComCAC. Assumes that the impact of the economizer assist is 17% of the remainig load in Seattle and Portland and 33% in Boise.
Note on H6: David Baylon: assumes the economizer with 55 changeover is the basecase.
Note on H8: David Baylon: use MDK estimate for Economizer load shape
Note on I8: David Baylon: use MDK loadshape for SmComCAC
Note on K6: David Baylon: economizer assumed to be set up and operational in the base case: 55F change over, 20% minimum air.

## Notes and Sources
Notes and Sources
Note on K12: Charlie Grist: See Note on NEB
Note on L13: Charlie Grist: High Value but not yet part of this estimate.
Note on L14: Charlie Grist: High Value but not yet part of this estimate.
Note on L15: Charlie Grist: High Value but not yet part of this estimate.
Note on L16: Charlie Grist: High Value but not yet part of this estimate.
Note on L17: Charlie Grist: High Value but not yet part of this estimate.

## To Do
Item | Description | Date Done | Note
1 | Engineering analysis from Ecotope
2 | Revise engineering analysis to be consistent with Optimize Roof Top"
3 | Put MMap together
4 | Load shape developed
5 | Write up
6
7
8
9