## Summary
'file:///tmp/in/input.xls'#$Summary
See Notes and Sources
Note on C21: Charlie Grist: Use Pre 87 plus N87-04
Note on C53: Charlie Grist: Use Pre 87 plus N87-04

## ProData
Program Parameters |  | Sponsor Parameters
Program Life (yrs) | 20 |  |  | Spon 1 | Spon 2 | Spon 3 | Cust
Program Start Date | 2005 | Real AT Cost of Cap |  | 7% | 5% | 4% | 5%
Present Value Time Zero | 2000 | Financial Life (yrs) |  | 10 | 10 | 15 | 1
Cost Reference Yr | 2000 | Weight |  | 0% | 0% | 100%
Real Discount Rate | 4%
Inflation Rate (Currently NA) | 0% | Run Tabs: |  | TRUE
Capital Real Escalation Rt | 0% | Summary | FALSE
Sponsor Share of First Cost | 100% | MDataMeas | TRUE
Sponsor Share of Replace Cost | 0% | MMap | FALSE
Sponsor Share of O&M | 0% | Notes & Sources | FALSE
Last Sponsor O&M Yr | 20 |  | FALSE
Bulk Power T&D Loss Factor | 2.5% |  | FALSE
Bulk Power T&D Credit ($/kw-yr) | 3 |  | FALSE
Local Power T&D Loss Factor | 5% |  | FALSE
Local Power T&D Credit ($/kw-yr) | 20 |  | FALSE
Externalities Credit (m/kwh) | 0 |  | FALSE
Regional Act C/E Credit (%) | 10%
Admin Cost (% of First Cost) | 20%
Cost Coeff of Variation | 25%
Marg Cost / Save Shape File | Q:\CG\Main\Plan 5\Commercial\Assessment\HVAC\MC_AND_LOADSHAPE.XLS
Electric Marginal Cost Tab | MidC_DraftPlan_122903
Savings Shape Tab | Conservation Load Shapes
Note on B7: Currently not used, Hardwired in code to zero until chance to fully implement.

## MDataMeas
Data Set Name
Screening test set for VSD. Not Weighted.
Input Data | [7 empty] | Periodic O&M | [5 empty] | Other Fuels
Category Name | Measure Name | Savings (kWh/yr.) | Phys Life (yr.) | Capital Cost ($) | Annual O&M ($) | Shape Pointer | Non-E Val ($/yr.) | Cost 1 ($) | Period 1 | Cost 2 ($) | Period 2 | Cost 3 ($) | Period 3 | Savings (mmBtu/yr) | Shape Pointer
VSD Small Fan | VSD Small Fan | 0.27 | 15 | 0.34 |  | ExCOMM
VSD Medium fan | VSD Medium fan | 0.27 | 15 | 0.21 |  | ExCOMM
VSD Large Fan | VSD Large Fan | 0.27 | 15 | 0.14 |  | ExCOMM
VSD Pump | VSD Pump | 0.3 | 15 | 0.25 |  | ExCOMM
ProCost Results, Version 1.70a: JPH 03/07/01, 10:45 AM 4/12/2004
Measure Results (2000 $) |  | Measure Input Data | [7 empty] | Savings |  |  | PV Capital |  |  |  | PV O&M |  | Total PV Costs |  |  |  |  | Levelized Cost (mills/kwh) |  |  |  |  | PV Bulk Power System Benefits | [5 empty] | PV Regional Benefits
Category | Measure | Measure Life | Site Savings (kWh) | Capital Cost ($/unit) | Annual O&M Cost ($/unit) | PV Per. Repl. Cost ($/unit) | Load Shape | Div. Load Factor | Bulk Pwr Coin. Factor | Bulk Energy (kWh) | Bulk Demand (kw) | Local Demand (kW) | Spon 1 | Spon 2 | Spon 3 | Cust | Utility | Cust | Spon 1 | Spon 2 | Spon 3 | Cust | Total | Spon 1 | Spon 2 | Spon 3 | Cust | Total | Energy | Bulk T&D Def. Cap. | Act C-E Credit | Total System Benefit | Total non-Consumer Cost | Bulk System B/C Ratio | Local T&D Def.Cap. | Non-E Value | Exter-nalities | Total Regional Benefit | Total Regional Cost | Total Regional B/C Ratio
VSD Small Fan | VSD Small Fan | 15 | 0.27 | 0.34 |  | 0 | ExCOMM | 0.47693 | 0.46383 | 0.29059 | 3.2261e-05 | 6.9554e-05 |  |  | 0.34 | 0.076319 | 0 | 0 | 0 | 0 | 0.34 | 0.076319 | 0.41632 | 0 | 0 | 86.0938 | 19.3252 | 105.419 | 0.14976 | 0.0013153 | 0.016638 | 0.16747 | 0.34 | 0.49257 | 0.018905 | 0 | 0 | 0.18638 | 0.41632 | 0.44769
VSD Medium fan | VSD Medium fan | 15 | 0.27 | 0.21 |  | 0 | ExCOMM | 0.47693 | 0.46383 | 0.29059 | 3.2261e-05 | 6.9554e-05 |  |  | 0.21 | 0.047138 | 0 | 0 | 0 | 0 | 0.21 | 0.047138 | 0.25714 | 0 | 0 | 53.1756 | 11.9362 | 65.1117 | 0.14976 | 0.0013153 | 0.016638 | 0.16747 | 0.21 | 0.7975 | 0.018905 | 0 | 0 | 0.18638 | 0.25714 | 0.72482
VSD Large Fan | VSD Large Fan | 15 | 0.27 | 0.14 |  | 0 | ExCOMM | 0.47693 | 0.46383 | 0.29059 | 3.2261e-05 | 6.9554e-05 |  |  | 0.14 | 0.031425 | 0 | 0 | 0 | 0 | 0.14 | 0.031425 | 0.17143 | 0 | 0 | 35.4504 | 7.9574 | 43.4078 | 0.14976 | 0.0013153 | 0.016638 | 0.16747 | 0.14 | 1.1962 | 0.018905 | 0 | 0 | 0.18638 | 0.17143 | 1.0872
VSD Pump | VSD Pump | 15 | 0.3 | 0.25 |  | 0 | ExCOMM | 0.47693 | 0.46383 | 0.32288 | 3.5846e-05 | 7.7282e-05 |  |  | 0.25 | 0.056117 | 0 | 0 | 0 | 0 | 0.25 | 0.056117 | 0.30612 | 0 | 0 | 56.9738 | 12.7887 | 69.7626 | 0.1664 | 0.0014615 | 0.018486 | 0.18608 | 0.25 | 0.74433 | 0.021006 | 0 | 0 | 0.20709 | 0.30612 | 0.6765
Category Totals (2000 $) |  | Savings Weighted Measure Data | [7 empty] | Savings |  |  | PV Costs |  |  |  | Lvl Cst | PV Bulk Power System Benefits | [5 empty] | PV Regional Benefits
| Category | Weighted Measure Life | Site Savings (kWh) | Capital Cost ($/unit) | Annual O&M Cost ($/unit) | Per. Repl. Cost ($/unit) | Load Shape | Weighted Load Factor | Weighted Coinc. Factor | Bulk Energy (kWh) | Bulk Demand (kw) | Local Demand (kW) | PV Capital | PV Annual O&M | PV Period. Repl. | PV Total Costs | Levelized Cost mills/kWh | Energy | Bulk T&D Def. Cap. | Act C-E Credit | Total System Benefit | Total non-Consumer Cost | Bulk System B/C Ratio | Local T&D Def.Cap. | Non-E Value | Exter-nalities | Total Regional Benefit | Total Regional Cost | Total Regional B/C Ratio
| VSD Large Fan | 15 | 0.27 | 0.14 | 0 | 0 |  | 0.47693 | 0.46383 | 0.29059 | 3.2261e-05 | 6.9554e-05 | 0.17143 | 0 | 0 | 0.17143 | 43.4078 | 0.14976 | 0.0013153 | 0.016638 | 0.16747 | 0.14 | 1.1962 | 0.018905 | 0 | 0 | 0.18638 | 0.17143 | 1.0872
| VSD Medium fan | 15 | 0.27 | 0.21 | 0 | 0 |  | 0.47693 | 0.46383 | 0.29059 | 3.2261e-05 | 6.9554e-05 | 0.25714 | 0 | 0 | 0.25714 | 65.1117 | 0.14976 | 0.0013153 | 0.016638 | 0.16747 | 0.21 | 0.7975 | 0.018905 | 0 | 0 | 0.18638 | 0.25714 | 0.72482
| VSD Pump | 15 | 0.3 | 0.25 | 0 | 0 |  | 0.47693 | 0.46383 | 0.32288 | 3.5846e-05 | 7.7282e-05 | 0.30612 | 0 | 0 | 0.30612 | 69.7626 | 0.1664 | 0.0014615 | 0.018486 | 0.18608 | 0.25 | 0.74433 | 0.021006 | 0 | 0 | 0.20709 | 0.30612 | 0.6765
| VSD Small Fan | 15 | 0.27 | 0.34 | 0 | 0 |  | 0.47693 | 0.46383 | 0.29059 | 3.2261e-05 | 6.9554e-05 | 0.41632 | 0 | 0 | 0.41632 | 105.419 | 0.14976 | 0.0013153 | 0.016638 | 0.16747 | 0.34 | 0.49257 | 0.018905 | 0 | 0 | 0.18638 | 0.41632 | 0.44769
Totals for Measures/Categories with Benefits Exceeding Costs
| Totals Basis | Busbar Savings | PV Cost | First Cost | Admin Cost | Program Cost | Program $/KWa | Levelized Cost | PV Benefits | B/C Ratio
| Measures with B/C>1.00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Categories with B/C>1.00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.61566 | 0
| % of Measures with B/C >1.00 | 0.11534 | 0.49805 | 0.40675 | 0.08135 | 0.5794 | 44006.2617 | 369.6413 | 0.05944 | 0.10259
| Block 1: x <=10 m/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 2: 10< x <=20 m/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 3: 20< x <=30 m/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 4: 30< x <=40 m/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 5: 40< x <=50 m/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 6: 50< x <=60 m/kWh | 0.29059 | 0.17143 | 0.14 | 0.028 | 0.19943 | 6011.8398 | 50.4979 | 0.14976 | 0.75094
| Block 7: 60m/kWh < x | 0.90405 | 0.97957 | 0.8 | 0.16 | 1.1396 | 11042.1553 | 92.7513 | 0.46591 | 0.40884
Note on F5: Annual value of natural gas savings at an avoided cost of $0.37/Therm (2000$).

## MMap
Measure Map | [10 empty] | Adjustments
'file:///tmp/in/input.xls'#$MMap | [10 empty] | 0%
0%
[9 empty] | weighted by %of regional floor space | weighted by %of regional floor space | raw | raw | FloorA%REG |  |  | ElecHt%TYP | GasHt%TYP | HtPmpHt%TYP | CoolSat%TYP | 0.37218 | weighted by %of regional floor space
Measure Name | Category Name | Base Measure Name | Measure Index Name | VSD Type | End Use Savinsg | BType | MOPP | STOCK | Savings (kWh/yr.) | Capital Cost ($) | RAW Savings (kWh/yr.) | RAW Capital Cost ($) | REGIONAL WEIGHT (%of NR or New) | MEASURE APPLIC | MEASURE DENSITY | ELEC HEAT | GAS HEAT | HEAT PUMP HEAT | COOLING SATURATION | RAW ANNUAL GAS SAVINGS $ | O&M Savings

## Notes & Sources
Measure Screening
Floor Pre 1994 stock | 1714.9036
|  | Office | Anchor | University | Hospital |  |  | Costs | Size | Costs | Costs | Save % | Save kWh/sf | Save kWh/hp
| EUIVent (kWh/sf) | 3 | 4 | 3 | 2 |  |  | Xenergy VSD Fan | 40 hp | 0.14 | $/sf | 30% | 0.9
| %Central Fan | 30% | 30% | 30% | 30% |  |  | Xenergy VSD Fan | 15 hp | 0.21 | $/sf | 30% | 0.8
| Save Percent | 30% | 30% | 30% | 30% |  |  | Xenergy VSD Fan | 5 hp | 0.34 | $/sf | 30% | 0.9
| Saved kWh/sf Fan | 0.27 | 0.36 | 0.27 | 0.18 |  |  | Ecotope VSD Fan | 30 hp | 0.25 | $/sf | 30% | 0.5
| Applic | 22.66% | 12.5% | 17.83% | 20% |  |  | CAXPress VSD Fan |  | 0.34 | $/sf
| FloorA%TYP | 17.96% | 4.204% | 4.272% | 7.081% | 574.8341 | applicable floor | Xenergy VSD Pump |  | 0.2 | $/sf | 6% | 0.2
| kWh | 18850027.7113 | 3244067.9626 | 3526734.9462 | 4371827.0715 |  |  | Ecotope VSD Pump |  | 0.25 | $/sf |  | 0.4
| MWa Fans | 2.1518 | 0.37033 | 0.4026 | 0.49907 | 3.4238 |  | CAXPress VSD Pump | 75hp | 430 | $/hp |  |  | 900
[6 empty] | 120.7152 | $capital
| Saved kWh/sf Pump | 0.2 | 0.2 | 0.2 | 0.3
| Density | 50% | 50% | 50% | 50%
| Applic | 22.66% | 12.5% | 17.83% | 20%
|  | 6981491.7449 | 901129.9896 | 1306198.1282 | 3643189.2263
|  | 0.79697 | 0.10287 | 0.14911 | 0.41589 | 1.4648
[6 empty] | 143.7085 | $capital
Results

## To Do
Item | Description | Done | Note
1 | Measaure Screening | Spring 2003 | Small potential arout 5 MWa, Marginal cost-effectiveness
2 | Revise for CHAR and EUI from CBSA | 2004-03-01
3 | Revise for new avoided costs | 2004-04-04
4 | Review prices from Trust and CA programs, up date if necessary
5 | Develop regional weighted estimates conforming to other spread sheets

## Spring 2003
Data Set Name
Screening test set for VSD. Not Weighted. | [5 empty] | Output From Spring 2003
Input Data | [7 empty] | Periodic O&M | [5 empty] | Other Fuels
Category Name | Measure Name | Savings (kWh/yr.) | Phys Life (yr.) | Capital Cost ($) | Annual O&M ($) | Shape Pointer | Non-E Val ($/yr.) | Cost 1 ($) | Period 1 | Cost 2 ($) | Period 2 | Cost 3 ($) | Period 3 | Savings (mmBtu/yr) | Shape Pointer
VSD Small Fan | VSD Small Fan | 0.27 | 15 | 0.34 |  | ExCOMM
VSD Medium fan | VSD Medium fan | 0.27 | 15 | 0.21 |  | ExCOMM
VSD Large Fan | VSD Large Fan | 0.27 | 15 | 0.17 |  | ExCOMM
VSD Pump | VSD Pump | 0.3 | 15 | 0.25 |  | ExCOMM
ProCost Results, Version 1.70a: JPH 03/07/01, 05:48 PM 6/29/2003
Measure Results (2000 $) |  | Measure Input Data | [7 empty] | Savings |  |  | PV Capital |  |  |  | PV O&M |  | Total PV Costs |  |  |  |  | Levelized Cost (mills/kwh) |  |  |  |  | PV Bulk Power System Benefits | [5 empty] | PV Regional Benefits
Category | Measure | Measure Life | Site Savings (kWh) | Capital Cost ($/unit) | Annual O&M Cost ($/unit) | PV Per. Repl. Cost ($/unit) | Load Shape | Div. Load Factor | Bulk Pwr Coin. Factor | Bulk Energy (kWh) | Bulk Demand (kw) | Local Demand (kW) | Spon 1 | Spon 2 | Spon 3 | Cust | Utility | Cust | Spon 1 | Spon 2 | Spon 3 | Cust | Total | Spon 1 | Spon 2 | Spon 3 | Cust | Total | Energy | Bulk T&D Def. Cap. | Act C-E Credit | Total System Benefit | Total non-Consumer Cost | Bulk System B/C Ratio | Local T&D Def.Cap. | Non-E Value | Exter-nalities | Total Regional Benefit | Total Regional Cost | Total Regional B/C Ratio
VSD Small Fan | VSD Small Fan | 15 | 0.54 | 0.34 |  | 0 | ExCOMM | 0.47693 | 0.46383 | 0.58117 | 6.4522e-05 | 0.00013911 |  |  | 0.34 | 0.070161 | 0 | 0 | 0 | 0 | 0.34 | 0.070161 | 0.41016 | 0 | 0 | 45.9537 | 9.4828 | 55.4365 | 0.30167 | 0.0024642 | 0.033171 | 0.3368 | 0.34 | 0.99058 | 0.035419 | 0 | 0 | 0.37222 | 0.41016 | 0.90749
VSD Medium fan | VSD Medium fan | 15 | 0.54 | 0.21 |  | 0 | ExCOMM | 0.47693 | 0.46383 | 0.58117 | 6.4522e-05 | 0.00013911 |  |  | 0.21 | 0.043334 | 0 | 0 | 0 | 0 | 0.21 | 0.043334 | 0.25333 | 0 | 0 | 28.3832 | 5.857 | 34.2402 | 0.30167 | 0.0024642 | 0.033171 | 0.3368 | 0.21 | 1.6038 | 0.035419 | 0 | 0 | 0.37222 | 0.25333 | 1.4693
VSD Large Fan | VSD Large Fan | 15 | 0.54 | 0.17 |  | 0 | ExCOMM | 0.47693 | 0.46383 | 0.58117 | 6.4522e-05 | 0.00013911 |  |  | 0.17 | 0.03508 | 0 | 0 | 0 | 0 | 0.17 | 0.03508 | 0.20508 | 0 | 0 | 22.9769 | 4.7414 | 27.7183 | 0.30167 | 0.0024642 | 0.033171 | 0.3368 | 0.17 | 1.9812 | 0.035419 | 0 | 0 | 0.37222 | 0.20508 | 1.815
VSD Pump | VSD Pump | 15 | 0.3 | 0.2 |  | 0 | ExCOMM | 0.47693 | 0.46383 | 0.32288 | 3.5846e-05 | 7.7282e-05 |  |  | 0.2 | 0.041271 | 0 | 0 | 0 | 0 | 0.2 | 0.041271 | 0.24127 | 0 | 0 | 48.6569 | 10.0406 | 58.6975 | 0.1676 | 0.001369 | 0.018428 | 0.18711 | 0.2 | 0.93555 | 0.019677 | 0 | 0 | 0.20679 | 0.24127 | 0.85707
Category Totals (2000 $) |  | Savings Weighted Measure Data | [7 empty] | Savings |  |  | PV Costs |  |  |  | Lvl Cst | PV Bulk Power System Benefits | [5 empty] | PV Regional Benefits
| Category | Weighted Measure Life | Site Savings (kWh) | Capital Cost ($/unit) | Annual O&M Cost ($/unit) | Per. Repl. Cost ($/unit) | Load Shape | Weighted Load Factor | Weighted Coinc. Factor | Bulk Energy (kWh) | Bulk Demand (kw) | Local Demand (kW) | PV Capital | PV Annual O&M | PV Period. Repl. | PV Total Costs | Levelized Cost mills/kWh | Energy | Bulk T&D Def. Cap. | Act C-E Credit | Total System Benefit | Total non-Consumer Cost | Bulk System B/C Ratio | Local T&D Def.Cap. | Non-E Value | Exter-nalities | Total Regional Benefit | Total Regional Cost | Total Regional B/C Ratio
| VSD Large Fan | 15 | 0.54 | 0.17 | 0 | 0 |  | 0.47693 | 0.46383 | 0.58117 | 6.4522e-05 | 0.00013911 | 0.20508 | 0 | 0 | 0.20508 | 27.7183 | 0.30167 | 0.0024642 | 0.033171 | 0.3368 | 0.17 | 1.9812 | 0.035419 | 0 | 0 | 0.37222 | 0.20508 | 1.815
| VSD Medium fan | 15 | 0.54 | 0.21 | 0 | 0 |  | 0.47693 | 0.46383 | 0.58117 | 6.4522e-05 | 0.00013911 | 0.25333 | 0 | 0 | 0.25333 | 34.2402 | 0.30167 | 0.0024642 | 0.033171 | 0.3368 | 0.21 | 1.6038 | 0.035419 | 0 | 0 | 0.37222 | 0.25333 | 1.4693
| VSD Small Fan | 15 | 0.54 | 0.34 | 0 | 0 |  | 0.47693 | 0.46383 | 0.58117 | 6.4522e-05 | 0.00013911 | 0.41016 | 0 | 0 | 0.41016 | 55.4365 | 0.30167 | 0.0024642 | 0.033171 | 0.3368 | 0.34 | 0.99058 | 0.035419 | 0 | 0 | 0.37222 | 0.41016 | 0.90749
| VSD Pump | 15 | 0.3 | 0.2 | 0 | 0 |  | 0.47693 | 0.46383 | 0.32288 | 3.5846e-05 | 7.7282e-05 | 0.24127 | 0 | 0 | 0.24127 | 58.6975 | 0.1676 | 0.001369 | 0.018428 | 0.18711 | 0.2 | 0.93555 | 0.019677 | 0 | 0 | 0.20679 | 0.24127 | 0.85707
Totals for Measures/Categories with Benefits Exceeding Costs
| Totals Basis | Busbar Savings | PV Cost | First Cost | Admin Cost | Program Cost | Program $/KWa | Levelized Cost | PV Benefits | B/C Ratio
| Measures with B/C>1.00 | 1.1623 | 0.45841 | 0.38 | 0.076 | 0.53441 | 4027.594 | 36.1152 | 0.60334 | 1.129
| Categories with B/C>1.00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0726 | 0
| % of Measures with B/C >1.00 | 1.1357 | 0.81737 | 0.67755 | 0.13551 | 0.95288 | 7349.5903 | 65.9034 | 0.58953 | 0.61868
| Block 1: x <=10 m/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 2: 10< x <=20 m/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 3: 20< x <=30 m/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 4: 30< x <=40 m/kWh | 1.1623 | 0.45841 | 0.38 | 0.076 | 0.53441 | 4027.594 | 36.1152 | 0.60334 | 1.129
| Block 5: 40< x <=50 m/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 6: 50< x <=60 m/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 7: 60m/kWh < x | 0.90405 | 0.65143 | 0.54 | 0.108 | 0.75943 | 7358.687 | 65.985 | 0.46927 | 0.61792

## Nov2003
Data Set Name | [5 empty] | Run Details
Screening test set for VSD. Not Weighted. | [7 empty] | MidC_DraftPlan_122903
[6 empty] | 2004-04-12 | 10:37
Input Data | [7 empty] | Periodic O&M | [5 empty] | Other Fuels
Category Name | Measure Name | Savings (kWh/yr.) | Phys Life (yr.) | Capital Cost ($) | Annual O&M ($) | Shape Pointer | Non-E Val ($/yr.) | Cost 1 ($) | Period 1 | Cost 2 ($) | Period 2 | Cost 3 ($) | Period 3 | Savings (mmBtu/yr) | Shape Pointer
VSD Small Fan | VSD Small Fan | 0.27 | 15 | 0.34 |  | ExCOMM
VSD Medium fan | VSD Medium fan | 0.27 | 15 | 0.21 |  | ExCOMM
VSD Large Fan | VSD Large Fan | 0.27 | 15 | 0.14 |  | ExCOMM
VSD Pump | VSD Pump | 0.3 | 15 | 0.25 |  | ExCOMM
ProCost Results, Version 1.70a: JPH 03/07/01, 10:43 AM 4/12/2004
Measure Results (2000 $) |  | Measure Input Data | [7 empty] | Savings |  |  | PV Capital |  |  |  | PV O&M |  | Total PV Costs |  |  |  |  | Levelized Cost (mills/kwh) |  |  |  |  | PV Bulk Power System Benefits | [5 empty] | PV Regional Benefits
Category | Measure | Measure Life | Site Savings (kWh) | Capital Cost ($/unit) | Annual O&M Cost ($/unit) | PV Per. Repl. Cost ($/unit) | Load Shape | Div. Load Factor | Bulk Pwr Coin. Factor | Bulk Energy (kWh) | Bulk Demand (kw) | Local Demand (kW) | Spon 1 | Spon 2 | Spon 3 | Cust | Utility | Cust | Spon 1 | Spon 2 | Spon 3 | Cust | Total | Spon 1 | Spon 2 | Spon 3 | Cust | Total | Energy | Bulk T&D Def. Cap. | Act C-E Credit | Total System Benefit | Total non-Consumer Cost | Bulk System B/C Ratio | Local T&D Def.Cap. | Non-E Value | Exter-nalities | Total Regional Benefit | Total Regional Cost | Total Regional B/C Ratio
VSD Small Fan | VSD Small Fan | 15 | 0.27 | 0.34 |  | 0 | ExCOMM | 0.47693 | 0.46383 | 0.29059 | 3.2261e-05 | 6.9554e-05 |  |  | 0.34 | 0.076319 | 0 | 0 | 0 | 0 | 0.34 | 0.076319 | 0.41632 | 0 | 0 | 86.0938 | 19.3252 | 105.419 | 0.16148 | 0.0013153 | 0.01781 | 0.18037 | 0.34 | 0.53051 | 0.018905 | 0 | 0 | 0.19928 | 0.41632 | 0.47866
VSD Medium fan | VSD Medium fan | 15 | 0.27 | 0.21 |  | 0 | ExCOMM | 0.47693 | 0.46383 | 0.29059 | 3.2261e-05 | 6.9554e-05 |  |  | 0.21 | 0.047138 | 0 | 0 | 0 | 0 | 0.21 | 0.047138 | 0.25714 | 0 | 0 | 53.1756 | 11.9362 | 65.1117 | 0.16148 | 0.0013153 | 0.01781 | 0.18037 | 0.21 | 0.85891 | 0.018905 | 0 | 0 | 0.19928 | 0.25714 | 0.77498
VSD Large Fan | VSD Large Fan | 15 | 0.27 | 0.14 |  | 0 | ExCOMM | 0.47693 | 0.46383 | 0.29059 | 3.2261e-05 | 6.9554e-05 |  |  | 0.14 | 0.031425 | 0 | 0 | 0 | 0 | 0.14 | 0.031425 | 0.17143 | 0 | 0 | 35.4504 | 7.9574 | 43.4078 | 0.16148 | 0.0013153 | 0.01781 | 0.18037 | 0.14 | 1.2884 | 0.018905 | 0 | 0 | 0.19928 | 0.17143 | 1.1625
VSD Pump | VSD Pump | 15 | 0.3 | 0.25 |  | 0 | ExCOMM | 0.47693 | 0.46383 | 0.32288 | 3.5846e-05 | 7.7282e-05 |  |  | 0.25 | 0.056117 | 0 | 0 | 0 | 0 | 0.25 | 0.056117 | 0.30612 | 0 | 0 | 56.9738 | 12.7887 | 69.7626 | 0.17942 | 0.0014615 | 0.019789 | 0.20041 | 0.25 | 0.80165 | 0.021006 | 0 | 0 | 0.22142 | 0.30612 | 0.72332
Category Totals (2000 $) |  | Savings Weighted Measure Data | [7 empty] | Savings |  |  | PV Costs |  |  |  | Lvl Cst | PV Bulk Power System Benefits | [5 empty] | PV Regional Benefits
| Category | Weighted Measure Life | Site Savings (kWh) | Capital Cost ($/unit) | Annual O&M Cost ($/unit) | Per. Repl. Cost ($/unit) | Load Shape | Weighted Load Factor | Weighted Coinc. Factor | Bulk Energy (kWh) | Bulk Demand (kw) | Local Demand (kW) | PV Capital | PV Annual O&M | PV Period. Repl. | PV Total Costs | Levelized Cost mills/kWh | Energy | Bulk T&D Def. Cap. | Act C-E Credit | Total System Benefit | Total non-Consumer Cost | Bulk System B/C Ratio | Local T&D Def.Cap. | Non-E Value | Exter-nalities | Total Regional Benefit | Total Regional Cost | Total Regional B/C Ratio
| VSD Large Fan | 15 | 0.27 | 0.14 | 0 | 0 |  | 0.47693 | 0.46383 | 0.29059 | 3.2261e-05 | 6.9554e-05 | 0.17143 | 0 | 0 | 0.17143 | 43.4078 | 0.16148 | 0.0013153 | 0.01781 | 0.18037 | 0.14 | 1.2884 | 0.018905 | 0 | 0 | 0.19928 | 0.17143 | 1.1625
| VSD Medium fan | 15 | 0.27 | 0.21 | 0 | 0 |  | 0.47693 | 0.46383 | 0.29059 | 3.2261e-05 | 6.9554e-05 | 0.25714 | 0 | 0 | 0.25714 | 65.1117 | 0.16148 | 0.0013153 | 0.01781 | 0.18037 | 0.21 | 0.85891 | 0.018905 | 0 | 0 | 0.19928 | 0.25714 | 0.77498
| VSD Pump | 15 | 0.3 | 0.25 | 0 | 0 |  | 0.47693 | 0.46383 | 0.32288 | 3.5846e-05 | 7.7282e-05 | 0.30612 | 0 | 0 | 0.30612 | 69.7626 | 0.17942 | 0.0014615 | 0.019789 | 0.20041 | 0.25 | 0.80165 | 0.021006 | 0 | 0 | 0.22142 | 0.30612 | 0.72332
| VSD Small Fan | 15 | 0.27 | 0.34 | 0 | 0 |  | 0.47693 | 0.46383 | 0.29059 | 3.2261e-05 | 6.9554e-05 | 0.41632 | 0 | 0 | 0.41632 | 105.419 | 0.16148 | 0.0013153 | 0.01781 | 0.18037 | 0.34 | 0.53051 | 0.018905 | 0 | 0 | 0.19928 | 0.41632 | 0.47866
Totals for Measures/Categories with Benefits Exceeding Costs
| Totals Basis | Busbar Savings | PV Cost | First Cost | Admin Cost | Program Cost | Program $/KWa | Levelized Cost | PV Benefits | B/C Ratio
| Measures with B/C>1.00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Categories with B/C>1.00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.66386 | 0
| % of Measures with B/C >1.00 | 0.15638 | 0.53832 | 0.43964 | 0.087928 | 0.62625 | 35081.5742 | 294.6762 | 0.086899 | 0.13876
| Block 1: x <=10 m/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 2: 10< x <=20 m/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 3: 20< x <=30 m/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 4: 30< x <=40 m/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 5: 40< x <=50 m/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 6: 50< x <=60 m/kWh | 0.29059 | 0.17143 | 0.14 | 0.028 | 0.19943 | 6011.8398 | 50.4979 | 0.16148 | 0.80973
| Block 7: 60m/kWh < x | 0.90405 | 0.97957 | 0.8 | 0.16 | 1.1396 | 11042.1553 | 92.7513 | 0.50238 | 0.44085

## 12Mar2003
Data Set Name | [5 empty] | Run Details
Screening test set for VSD. Not Weighted. | [7 empty] | MidC_DraftPlan_122903
[6 empty] | 2004-04-12 | 10:37
Input Data | [7 empty] | Periodic O&M | [5 empty] | Other Fuels
Category Name | Measure Name | Savings (kWh/yr.) | Phys Life (yr.) | Capital Cost ($) | Annual O&M ($) | Shape Pointer | Non-E Val ($/yr.) | Cost 1 ($) | Period 1 | Cost 2 ($) | Period 2 | Cost 3 ($) | Period 3 | Savings (mmBtu/yr) | Shape Pointer
VSD Small Fan | VSD Small Fan | 0.27 | 15 | 0.34 |  | ExCOMM
VSD Medium fan | VSD Medium fan | 0.27 | 15 | 0.21 |  | ExCOMM
VSD Large Fan | VSD Large Fan | 0.27 | 15 | 0.14 |  | ExCOMM
VSD Pump | VSD Pump | 0.3 | 15 | 0.25 |  | ExCOMM
ProCost Results, Version 1.70a: JPH 03/07/01, 10:30 AM 4/12/2004
Measure Results (2000 $) |  | Measure Input Data | [7 empty] | Savings |  |  | PV Capital |  |  |  | PV O&M |  | Total PV Costs |  |  |  |  | Levelized Cost (mills/kwh) |  |  |  |  | PV Bulk Power System Benefits | [5 empty] | PV Regional Benefits
Category | Measure | Measure Life | Site Savings (kWh) | Capital Cost ($/unit) | Annual O&M Cost ($/unit) | PV Per. Repl. Cost ($/unit) | Load Shape | Div. Load Factor | Bulk Pwr Coin. Factor | Bulk Energy (kWh) | Bulk Demand (kw) | Local Demand (kW) | Spon 1 | Spon 2 | Spon 3 | Cust | Utility | Cust | Spon 1 | Spon 2 | Spon 3 | Cust | Total | Spon 1 | Spon 2 | Spon 3 | Cust | Total | Energy | Bulk T&D Def. Cap. | Act C-E Credit | Total System Benefit | Total non-Consumer Cost | Bulk System B/C Ratio | Local T&D Def.Cap. | Non-E Value | Exter-nalities | Total Regional Benefit | Total Regional Cost | Total Regional B/C Ratio
VSD Small Fan | VSD Small Fan | 15 | 0.27 | 0.34 |  | 0 | ExCOMM | 0.47693 | 0.46383 | 0.29059 | 3.2261e-05 | 6.9554e-05 |  |  | 0.34 | 0.076319 | 0 | 0 | 0 | 0 | 0.34 | 0.076319 | 0.41632 | 0 | 0 | 86.0938 | 19.3252 | 105.419 | 0.14976 | 0.0013153 | 0.016638 | 0.16747 | 0.34 | 0.49257 | 0.018905 | 0 | 0 | 0.18638 | 0.41632 | 0.44769
VSD Medium fan | VSD Medium fan | 15 | 0.27 | 0.21 |  | 0 | ExCOMM | 0.47693 | 0.46383 | 0.29059 | 3.2261e-05 | 6.9554e-05 |  |  | 0.21 | 0.047138 | 0 | 0 | 0 | 0 | 0.21 | 0.047138 | 0.25714 | 0 | 0 | 53.1756 | 11.9362 | 65.1117 | 0.14976 | 0.0013153 | 0.016638 | 0.16747 | 0.21 | 0.7975 | 0.018905 | 0 | 0 | 0.18638 | 0.25714 | 0.72482
VSD Large Fan | VSD Large Fan | 15 | 0.27 | 0.14 |  | 0 | ExCOMM | 0.47693 | 0.46383 | 0.29059 | 3.2261e-05 | 6.9554e-05 |  |  | 0.14 | 0.031425 | 0 | 0 | 0 | 0 | 0.14 | 0.031425 | 0.17143 | 0 | 0 | 35.4504 | 7.9574 | 43.4078 | 0.14976 | 0.0013153 | 0.016638 | 0.16747 | 0.14 | 1.1962 | 0.018905 | 0 | 0 | 0.18638 | 0.17143 | 1.0872
VSD Pump | VSD Pump | 15 | 0.3 | 0.25 |  | 0 | ExCOMM | 0.47693 | 0.46383 | 0.32288 | 3.5846e-05 | 7.7282e-05 |  |  | 0.25 | 0.056117 | 0 | 0 | 0 | 0 | 0.25 | 0.056117 | 0.30612 | 0 | 0 | 56.9738 | 12.7887 | 69.7626 | 0.1664 | 0.0014615 | 0.018486 | 0.18608 | 0.25 | 0.74433 | 0.021006 | 0 | 0 | 0.20709 | 0.30612 | 0.6765
Category Totals (2000 $) |  | Savings Weighted Measure Data | [7 empty] | Savings |  |  | PV Costs |  |  |  | Lvl Cst | PV Bulk Power System Benefits | [5 empty] | PV Regional Benefits
| Category | Weighted Measure Life | Site Savings (kWh) | Capital Cost ($/unit) | Annual O&M Cost ($/unit) | Per. Repl. Cost ($/unit) | Load Shape | Weighted Load Factor | Weighted Coinc. Factor | Bulk Energy (kWh) | Bulk Demand (kw) | Local Demand (kW) | PV Capital | PV Annual O&M | PV Period. Repl. | PV Total Costs | Levelized Cost mills/kWh | Energy | Bulk T&D Def. Cap. | Act C-E Credit | Total System Benefit | Total non-Consumer Cost | Bulk System B/C Ratio | Local T&D Def.Cap. | Non-E Value | Exter-nalities | Total Regional Benefit | Total Regional Cost | Total Regional B/C Ratio
| VSD Large Fan | 15 | 0.27 | 0.14 | 0 | 0 |  | 0.47693 | 0.46383 | 0.29059 | 3.2261e-05 | 6.9554e-05 | 0.17143 | 0 | 0 | 0.17143 | 43.4078 | 0.14976 | 0.0013153 | 0.016638 | 0.16747 | 0.14 | 1.1962 | 0.018905 | 0 | 0 | 0.18638 | 0.17143 | 1.0872
| VSD Medium fan | 15 | 0.27 | 0.21 | 0 | 0 |  | 0.47693 | 0.46383 | 0.29059 | 3.2261e-05 | 6.9554e-05 | 0.25714 | 0 | 0 | 0.25714 | 65.1117 | 0.14976 | 0.0013153 | 0.016638 | 0.16747 | 0.21 | 0.7975 | 0.018905 | 0 | 0 | 0.18638 | 0.25714 | 0.72482
| VSD Pump | 15 | 0.3 | 0.25 | 0 | 0 |  | 0.47693 | 0.46383 | 0.32288 | 3.5846e-05 | 7.7282e-05 | 0.30612 | 0 | 0 | 0.30612 | 69.7626 | 0.1664 | 0.0014615 | 0.018486 | 0.18608 | 0.25 | 0.74433 | 0.021006 | 0 | 0 | 0.20709 | 0.30612 | 0.6765
| VSD Small Fan | 15 | 0.27 | 0.34 | 0 | 0 |  | 0.47693 | 0.46383 | 0.29059 | 3.2261e-05 | 6.9554e-05 | 0.41632 | 0 | 0 | 0.41632 | 105.419 | 0.14976 | 0.0013153 | 0.016638 | 0.16747 | 0.34 | 0.49257 | 0.018905 | 0 | 0 | 0.18638 | 0.41632 | 0.44769
Totals for Measures/Categories with Benefits Exceeding Costs
| Totals Basis | Busbar Savings | PV Cost | First Cost | Admin Cost | Program Cost | Program $/KWa | Levelized Cost | PV Benefits | B/C Ratio
| Measures with B/C>1.00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Categories with B/C>1.00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.61566 | 0
| % of Measures with B/C >1.00 | 0.11534 | 0.49805 | 0.40675 | 0.08135 | 0.5794 | 44006.2617 | 369.6413 | 0.05944 | 0.10259
| Block 1: x <=10 m/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 2: 10< x <=20 m/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 3: 20< x <=30 m/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 4: 30< x <=40 m/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 5: 40< x <=50 m/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 6: 50< x <=60 m/kWh | 0.29059 | 0.17143 | 0.14 | 0.028 | 0.19943 | 6011.8398 | 50.4979 | 0.14976 | 0.75094
| Block 7: 60m/kWh < x | 0.90405 | 0.97957 | 0.8 | 0.16 | 1.1396 | 11042.1553 | 92.7513 | 0.46591 | 0.40884