## Summary
'file:///tmp/in/input.xls'#$Summary
Measure Index Name
Totals for Measures/Categories with Benefits Exceeding Costs
| Totals Basis | Busbar Savings | PV Cost | First Cost | Admin Cost | Program Cost | Program $/KWa | Levelized Cost | PV Benefits | B/C Ratio
Measures with B/C>1.00
Categories with B/C>1.00
% of Measures with B/C >1.00
Block 1: x <=10 m/kWh
Block 2: 10< x <=20 m/kWh
Block 3: 20< x <=30 m/kWh
Block 4: 30< x <=40 m/kWh
Block 5: 40< x <=50 m/kWh
Block 6: 50< x <=60 m/kWh
Block 7: 60m/kWh < x
Retro | 2002 Stock Remaining in 2025 | 1172464167.9952
|  | Annually |  | 20 Years
|  | kWh | MWa | kWh | MWa | lvl cost | B/C
Measures with B/C>1.00
Categories with B/C>1.00
% of Measures with B/C >1.00
Block 1: x <=10 m/kWh
Block 2: 10< x <=20 m/kWh
Block 3: 20< x <=30 m/kWh
Block 4: 30< x <=40 m/kWh
Block 5: 40< x <=50 m/kWh
Block 6: 50< x <=60 m/kWh
Block 7: 60m/kWh < x
Measure Index Name
Totals for Measures/Categories with Benefits Exceeding Costs
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Measures with B/C>1.00
Categories with B/C>1.00
% of Measures with B/C >1.00
Block 1: x <=10 m/kWh
Block 2: 10< x <=20 m/kWh
Block 3: 20< x <=30 m/kWh
Block 4: 30< x <=40 m/kWh
Block 5: 40< x <=50 m/kWh
Block 6: 50< x <=60 m/kWh
Block 7: 60m/kWh < x
New | Post 2002 Stock Remaining in 2025 | 2080896166.6455
| Annual Average Stock Additions 2005-2025 | 87848865.0784
|  | Annually |  | 20 Years
|  | kWh | MWa | kWh | MWa | lvl cost | TRC B/C
Measures with B/C>1.00
Categories with B/C>1.00
% of Measures with B/C >1.00
Block 1: x <=10 m/kWh
Block 2: 10< x <=20 m/kWh
Block 3: 20< x <=30 m/kWh
Block 4: 30< x <=40 m/kWh
Block 5: 40< x <=50 m/kWh
Block 6: 50< x <=60 m/kWh
Block 7: 60m/kWh < x

## ProData
Program Parameters |  | Sponsor Parameters
Program Life (yrs) | 20 |  |  | Spon 1 | Spon 2 | Spon 3 | Cust
Program Start Date | 2005 | Real AT Cost of Cap |  | 7% | 5% | 4.75% | 5%
Present Value Time Zero | 2000 | Financial Life (yrs) |  | 10 | 10 | 15 | 1
Cost Reference Yr | 2000 | Weight |  | 0% | 0% | 100%
Real Discount Rate | 4%
Inflation Rate (Currently NA) | 0% | Run Tabs: |  | TRUE
Capital Real Escalation Rt | 0% | Summary | FALSE
Sponsor Share of First Cost | 100% | MData | TRUE
Sponsor Share of Replace Cost | 0% | MMap | FALSE
Sponsor Share of O&M | 0% | Notes and Sources | FALSE
Last Sponsor O&M Yr | 20
Bulk Power T&D Loss Factor | 2.5%
Bulk Power T&D Credit ($/kw-yr) | 3
Local Power T&D Loss Factor | 5%
Local Power T&D Credit ($/kw-yr) | 20
Externalities Credit (m/kwh) | 0
Regional Act C/E Credit (%) | 10%
Admin Cost (% of First Cost) | 20%
Cost Coeff of Variation | 25%
Marg Cost / Save Shape File | Q:\CG\Main\Plan 5\Commercial\Assessment\HVAC\MC_AND_LOADSHAPE.XLS
Electric Marginal Cost Tab | MidC_DraftPlan_013103
Savings Shape Tab | Conservation Load Shapes
Note on B7: Currently not used, Hardwired in code to zero until chance to fully implement.

## MData
Data Set Name
Input Data | [7 empty] | Periodic O&M | [5 empty] | Other Fuels
Category Name | Measure Name | Savings (kWh/yr.) | Phys Life (yr.) | Capital Cost ($) | Annual O&M ($) | Shape Pointer | Non-E Val ($/yr.) | Cost 1 ($) | Period 1 | Cost 2 ($) | Period 2 | Cost 3 ($) | Period 3 | Savings (mmBtu/yr) | Shape Pointer
Category Name | Measure Index Name | 1 | 20 | 0.3 | 0 | ExCOMM
ProCost Results, Version 1.70a: JPH 03/07/01, 04:50 PM 9/3/2003
Measure Results (2000 $) |  | Measure Input Data | [7 empty] | Savings |  |  | PV Capital |  |  |  | PV O&M |  | Total PV Costs |  |  |  |  | Levelized Cost (mills/kwh) |  |  |  |  | PV Bulk Power System Benefits | [5 empty] | PV Regional Benefits
Category | Measure | Measure Life | Site Savings (kWh) | Capital Cost ($/unit) | Annual O&M Cost ($/unit) | PV Per. Repl. Cost ($/unit) | Load Shape | Div. Load Factor | Bulk Pwr Coin. Factor | Bulk Energy (kWh) | Bulk Demand (kw) | Local Demand (kW) | Spon 1 | Spon 2 | Spon 3 | Cust | Utility | Cust | Spon 1 | Spon 2 | Spon 3 | Cust | Total | Spon 1 | Spon 2 | Spon 3 | Cust | Total | Energy | Bulk T&D Def. Cap. | Act C-E Credit | Total System Benefit | Total non-Consumer Cost | Bulk System B/C Ratio | Local T&D Def.Cap. | Non-E Value | Exter-nalities | Total Regional Benefit | Total Regional Cost | Total Regional B/C Ratio
Category Name | Measure Index Name | 20 | 1 | 0.3 | 0 | 0 | ExCOMM | 0.47693 | 0.46383 | 1.0762 | 0.00011949 | 0.00025761 |  |  | 0.3 | 0 | 0 | 0 | 0 | 0 | 0.3 | 0 | 0.3 | 0 | 0 | 21.8956 | 0 | 21.8956 | 0.55865 | 0.0045634 | 0.061428 | 0.6237 | 0.3 | 2.079 | 0.06559 | 0 | 0 | 0.68929 | 0.3 | 2.2976
Category Totals (2000 $) |  | Savings Weighted Measure Data | [7 empty] | Savings |  |  | PV Costs |  |  |  | Lvl Cst | PV Bulk Power System Benefits | [5 empty] | PV Regional Benefits
| Category | Weighted Measure Life | Site Savings (kWh) | Capital Cost ($/unit) | Annual O&M Cost ($/unit) | Per. Repl. Cost ($/unit) | Load Shape | Weighted Load Factor | Weighted Coinc. Factor | Bulk Energy (kWh) | Bulk Demand (kw) | Local Demand (kW) | PV Capital | PV Annual O&M | PV Period. Repl. | PV Total Costs | Levelized Cost mills/kWh | Energy | Bulk T&D Def. Cap. | Act C-E Credit | Total System Benefit | Total non-Consumer Cost | Bulk System B/C Ratio | Local T&D Def.Cap. | Non-E Value | Exter-nalities | Total Regional Benefit | Total Regional Cost | Total Regional B/C Ratio
| Category Name | 20 | 1 | 0.3 | 0 | 0 |  | 0.47693 | 0.46383 | 1.0762 | 0.00011949 | 0.00025761 | 0.3 | 0 | 0 | 0.3 | 21.8956 | 0.55865 | 0.0045634 | 0.061428 | 0.6237 | 0.3 | 2.079 | 0.06559 | 0 | 0 | 0.68929 | 0.3 | 2.2976
Totals for Measures/Categories with Benefits Exceeding Costs
| Totals Basis | Busbar Savings | PV Cost | First Cost | Admin Cost | Program Cost | Program $/KWa | Levelized Cost | PV Benefits | B/C Ratio
| Measures with B/C>1.00 | 1.0762 | 0.3 | 0.3 | 0.06 | 0.36 | 2930.1746 | 26.2747 | 0.55865 | 1.5518
| Categories with B/C>1.00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.55865 | 0
| % of Measures with B/C >1.00 | 1.0759 | 0.29992 | 0.29992 | 0.059984 | 0.35991 | 2930.2375 | 26.2753 | 0.55849 | 1.5518
| Block 1: x <=10 m/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 2: 10< x <=20 m/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 3: 20< x <=30 m/kWh | 1.0762 | 0.3 | 0.3 | 0.06 | 0.36 | 2930.1746 | 26.2747 | 0.55865 | 1.5518
| Block 4: 30< x <=40 m/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 5: 40< x <=50 m/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 6: 50< x <=60 m/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 7: 60m/kWh < x | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Note on F5: Charlie Grist Annual value of natural gas savings at wholesale avoided cost per therm.
Note on H5: Charlie Grist Annual avoided cost of end user's non-energy costs or savings.

## MMap
[7 empty] | weighted by %of regional floor space | weighted by %of regional floor space | raw | raw | FloorA%REG |  |  | ElecHt%TYP | GasHt%TYP | HtPmpHt%TYP | CoolSat%TYP | 0.3716 | weighted by %of regional floor space
Measure Index Name | Category Name | Spce Heat | End Use Savinsg | BType | MOPP | STOCK | Savings (kWh/yr.) | Capital Cost ($) | RAW Savings (kWh/yr.) | RAW Capital Cost ($) | REGIONAL WEIGHT (%of NR or New) | MEASURE APPLIC | MEASURE DENSITY | ELEC HEAT | GAS HEAT | HEAT PUMP HEAT | COOLING SATURATION | RAW ANNUAL GAS SAVINGS $ | O&M Savings
Measure Index Name | Category Name

## Notes and Sources
Notes and Sources
1 | http://www.lrc.rpi.edu/library/pdf/dorene1.pdf | ..\..\Data Sources\LBL\occupany.pdf
2 | http://www.lrc.rpi.edu/library/pdf/dorene2.pdf | ..\..\Data Sources\LBL\occupancy lamp-life.pdf
3 | http://www.edcmag.com/CDA/ArticleInformation/features/BNP__Features__Item/0,4120,77293,00.html
Posted on: 05/08/2002
Saving Energy with High-Tech Lighting Systems
By Steve Campbell
Today's high-tech lighting systems are designed to eliminate wasted energy by using sophisticated controls, occupancy sensors, personal dimming, daylight dimming, load management and other intelligent features.
Staff members can control the light level directly overhead and adjust it to deliver the optimum illumination level.
In a typical office building, lighting consumes up to 30% of total electricity use. A large number of fixtures are often used in an attempt to provide ample light throughout the building, but a lot of this light is wasted on areas where it may not be needed. Additionally, lights are often left on in unoccupied spaces and during daylight hours, when natural lighting is available.
Today's high-tech lighting systems are designed to eliminate this wasted energy by using sophisticated controls, occupancy sensors, personal dimming, daylight dimming, load management and other intelligent features. One such system-Ergolight, from Ledalite Architectural Products-has been so successful that in many cases it has reduced energy use by over 80% compared to conventional lighting systems.
"The goal of the Ergolight technology is to focus on cutting electricity waste and delivering lighting only where and when it's needed," says Damon Wood, director of market development at Ledalite. "The result is an aggressive energy savings program that is embraced by employees."
Case in Point: BC Hydro
Demand-side management, through a program called Power Smart, is a top priority for BC Hydro, an electric utility serving more than 1.5 million customers in British Columbia, Canada. Aside from the paramount efficiency and environmental benefits for the customer and the province, helping local electricity customers conserve energy assists in delaying and, possibly, reducing the need for new generation resources.
BC Hydro's Power Smart division recently moved its marketing department to four floors in a new office building, providing a an opportunity for the utility to install, compare and evaluate a variety of different lighting solutions, including Ergolight. However, given the up-front costs of the technology, it was vital that the product deliver substantial savings over a reasonable payback period.
"We were looking for state-of-the-art technology to showcase in the building, with the additional benefit of saving energy," said Roy Hughes, energy management engineer in the technology solutions department of BC Hydro's Power Smart division. "We decided to conduct a case study on ourselves and do a complete cost-benefit analysis with Ergolight to see if the product could work economically."
The core of BC Hydro's evaluation was a comparison of Ergolight's costs and energy savings with three other typical office lighting setups: 1) a baseline, lowest-cost system with standard 2 x 4 recessed troffers and parabolic louvers; 2) the utility's higher office standard using better-quality parabolics; and 3) that same Hydro standard with daylight dimming for window areas. Over the four floors, where 525 two-lamp 2 x 4 troffers would normally be needed in the three other systems, 195 Ergolights were installed.
The findings were impressive. The new Ergolight system is delivering monthly savings ranging from 65-80% compared to the baseline system (i.e., the lighting system most often installed in office projects). The power density was reduced from 1.0 watt per square foot (W/ft2) to 0.5 W/ft2.
The savings came in well above the conservative estimate of 60%. The utility attributed the additional savings to the amount of extra flex-time that people take away from their offices, and the fact that the lights turn on and off automatically based on workspace occupancy. The estimated payback period of the new system's extra cost over and above the base system cost is only 1.8 years, in contrast to the three years projected before the installation. This is an excellent result for a market that charges only US$.035 per kilowatt-hour, making it one of the lowest-priced jurisdictions in North America.
The results would be even more impressive in markets where electricity charges are much higher than in British Columbia. For example, had this installation been built in the Northeast US, where the rates range between $0.12 and $0.16 per kilowatt-hour, the incremental payback period would have been about five months, while the full-cost payback would have taken around 17 months. Similar payback results would be obtained in the Midwest ($0.6-$0.10/kWh) and Western US ($0.8-$0.13 kWh), where electricity charges are more than double the BC rates.
"We received dramatic immediate reductions in lighting electricity consumption in the range of 77-83%, and we haven't even tried to bring the electricity usage down yet using the software-based load-shedding controls. This kind of result far surpasses what many in the energy conservation field thought was impossible in lighting," comments Hughes.
Case in Point: Raytheon Co.
When Raytheon Co. overhauled the lighting system of its Building 200 in Tewksbury, MA, last year, it also decided to install the Ergolight system. The new system delivers lighting electricity savings of more than 80% compared to the old lighting system. Completed Ergolight installations at other Raytheon sites are seeing similar savings levels.
"I'm really impressed with the return on investment of these new fixtures. It's about two years, including the utility rebate," says Brian Dunn, controller at Raytheon's Electronics Systems Air/Missile Defense Systems (A/MDS) and the manager in charge of reviewing the company's retrofit cost and financial returns.
Raytheon's Tewksbury facility is representative of the retrofit challenges faced by many facility management and design professionals. Prior to the retrofit, the lighting system had a baseline combination of two-lamp and four-lamp 34W T12 fluorescent lamps in lensed fixtures that operated about 5,000 hours per year with scheduling controls. For the retrofit, 697 of these fixtures were replaced with 503 Ergolights. Each 8 ft. by 10 ft. or 10 ft. by 10 ft. cubicle in open areas received one fixture containing three T8 fluorescent lamps, while 10 ft. by 15 ft. private offices received two.
Aside from replacing the older, energy-inefficient T12s, the new system is able to capture unrealized energy savings through the built-in occupancy sensors. At unoccupied desks in open areas, these sensors slowly dim the two downlights to off after an employee leaves a cubicle, but the uplight remains on to provide ambient light. Now if employees are away from the office, no electricity is wasted in lighting empty spaces.
After-hours lighting control has also been improved with the retrofit. Before the Ergolight system was installed, after-hours users would call an extension and request a lighting schedule override for their area. The Ergolight system is programmed to reset the occupancy sensors over cubicles to dim and turn off both the downlights and the uplight at 5:30 p.m. At 6:30 the next weekday morning, the occupancy sensors revert to only controlling the downlight. The overnight lighting override is 100% automatic based on occupancy; whenever a workspace is occupied, the system delivers the user's preferred brightness level, day or night.
A Workspace-Specific Design Strategy
Raytheon Co.'s Tewskbury, MA, facility has achieved lighting electricity savings of more than 80% with the Ergolight lighting system.
One of Ergolight's intriguing features is that it has been designed to put light primarily where it's needed. Termed workspace-specific, this design strategy sees a suspended fixture placed over each employee's cubicle or private-office desk. The energy-savings technologies then work according to the criteria set by the building manager and the occupant. For example, a few minutes after the fixture-integrated occupancy sensor detects no movement within the workspace, the downlight is automatically and gradually dimmed to off. One lamp in each fixture that projects light up to the ceiling is left on to maintain ambient illumination in the space. Outside regular office hours, the occupancy sensors in the open office are scheduled by the manager to control both the uplighting and the downlighting, thereby ensuring that uplights are not left on in vacant workspaces.
For most companies, with employees working on flex-time or taking sick days off, or with many inside meetings or outside sales calls that take people away from their desks, much energy is wasted lighting unoccupied workspaces. Occupancy sensors allow the organization to save the electricity that would normally be wasted for this purpose.
For Raytheon's Tewksbury facility, the ability to use fewer of these more efficient fixtures brought in half of the total 80% energy savings, while the occupancy sensors delivered about one-fourth of the savings.
In the Hydro case, an estimated 50% of all the savings from the technologies were generated directly by occupancy sensors. "Occupancy sensors contributed more savings than we had projected," notes Cristian Suvagau, the BC Hydro lighting engineer who managed the Ergolight implementation project. "This is due mainly to the fact that we don't really know how much time people spend away from their desks. This software tells us."
Enhanced Employee Visual Comfort
Each Ergolight is connected to the employee's computer through the corporate LAN system. Using an icon on their computer screen, staff members are able to control the light level directly overhead and adjust it (usually downward) to deliver the optimum illumination level. Hughes notes that during the summer most of the Hydro staff set their lighting at 50%, providing additional savings.
Although personal dimming delivers a smaller proportion of the overall energy savings, its importance should not be underestimated. A recent study conducted by the National Research Council in Canada found that every person has a personal preference for how they want their desktop to be illuminated. They also found that these preferences vary widely. Due to this variation, the study found that today's standard of fixing the illumination levels at one particular setting, no matter where it is, will leave at least half of the staff uncomfortable with light levels. The study concluded that "the best way to maximize the benefits would be to provide employees with individual control over their lighting."1
"Our employees have been quite happy with the controls and the new system. We found that personal dimming was a valuable benefit that they continue to appreciate," said Suvagau. "Normally, when you change the lighting it can be a big deal for people. That was the issue - would they like it? There have been only positive comments on the new system."
Raytheon's experience was also positive. "I've heard from many of our Tewksbury employees, and they like the ability to control lighting levels within their workspace," said Bob Filosa, the engineering director for Raytheon's Electronics Systems A/MDS business unit. "Regardless of whether we can quantify the productivity increases, we've achieved tremendous energy savings to date, which has helped improve morale and the bottom line."
Installed-Cost Comparison
In lighting, a major issue in new construction and retrofit budgets is the upfront or "first cost" of the lighting. This concern is especially true with Ergolight, which, due to its on-board technologies, can cost several times as much per fixture as the standard parabolic troffers.
However, due to Ergolight's ease of installation and the reduced number of fixtures to be installed, comparing the systems by purchase price per fixture results in an inaccurate comparison. Instead, labor installation costs must be considered with the purchase price (a lighting industry metric called the installed cost) to arrive at the most accurate comparative measure. BC Hydro evaluated all four systems on this basis and found some surprising results.
The standard office lighting system (2 x 4 recessed deep-cell parabolic louver fixtures with twelve three-inch-deep cells and two T8 lamps) was set as the baseline measurement, with its installed cost set at 100%. Surprisingly, Ergolight came next at 132%, followed by the Hydro standard (the same parabolic fixtures as above except each had 18 4.5-inch-deep cells) at 154%. The Hydro standard plus photocell dimming came in last, at 172% (see Table 2).
BC Hydro's prime finding is that, without even discussing energy savings, Ergolight is price-competitive with parabolic troffer systems on an installed-cost basis, while providing better lighting quality and, of course, enormous energy savings over the system's lifetime.
"People look at the sticker price but forget that with Ergolight's workspace-specific design, you need far fewer fixtures to deliver the same or better quality of illumination," notes Suvagau. "Our finding was that, in combination with the product's ease of installation, it's less expensive without even taking energy savings into account."
"Purchasers must look past the initial price to the installation costs. Those who purchase Ergolight end up getting far more features for their lighting budget, for a reasonable price. Also, the product is easier to install than standard suspended lighting systems and comes complete with T-bar hangers."
Reduced Environmental and Maintenance Costs
Suvagau observes that Ergolight is environmentally friendly in more ways than one. By reducing the quantity of fixtures, it decreases the number of fluorescent lamps required for re-lamping over the twenty-year lifetime of the system. This, in turn, reduces the amount of maintenance labor time needed for re-lamping and fixture cleaning work. In the Hydro installation, the utility estimates the cost savings in this area at 50%. At the manufacturing stage, the reduced quantity of fixtures means fewer materials are required for the lighting system. This means a significant reduction at the manufacturer level in materials required for any particular lighting system. And, of course, the aggressive energy conservation reduces demand, and so lessens the pressure on electrical producers to build new power plants.
Quality Luminous Environment
Ergolight is a direct/indirect fixture distributing light downwards (direct) to the desktop for task lighting, and upwards (indirect) to the ceiling to reflect off the ceiling and provide a balanced luminous environment. This contrasts greatly with parabolic recessed (in the ceiling) lighting, which sends all of its light downward, leaving the ceiling dark and creating harsh shadows. The result is that the Ergolight fixture delivers higher vertical foot-candles and more uniform lighting throughout the space. According to Suvagau's review, the contrast factor ensures there are fewer glaring reflections on the computer screen. Overall, it's a better visual environment for the office.
"With new technologies like Ergolight being proven out on successful projects, our lighting retrofits are on their way to managing the diverse needs of our human resources, minimizing energy use, and ensuring the wise use of our finances," says David Chamberlain a senior energy engineer for Raytheon Co. "And that's a lesson we think other companies will appreciate."
For more information about Ergolight and other energy saving lighting technologies, contact Ledalite Architectural Products at 604-888-6811 or info@ledalite.com, or visit www.ledalite.com.
References
1 "Lighting Quality Recommendations for VDT Offices: A New Method of Derivation." Dr. Guy Newsham, Dr. Jennifer Veitch, Research Officers, Institute for Research in Construction, National Research Council of Canada.
Steve Campbell is a writer and senior public relations consultant who writes for and about lighting and environmental companies and technologies. He can be reached at 604-888-5267 or scampbell@campbellpr.bc.ca.
Note on K16: Charlie Grist: See Note on NEB
Note on L17: Charlie Grist: High Value but not yet part of this estimate.
Note on L18: Charlie Grist: High Value but not yet part of this estimate.
Note on L19: Charlie Grist: High Value but not yet part of this estimate.
Note on L20: Charlie Grist: High Value but not yet part of this estimate.
Note on L21: Charlie Grist: High Value but not yet part of this estimate.

## To Do
Item | Description | Date Done
1 | Get Data from Damon Wood at Lightolier for iGen | 2003-11-14
2 | Get Productivity, performance, and cost data from Carol USDOE contacted at ESource
3 | Develop estimates of fraction of floor space in room types with occasional occupancy
4 | Parse to percent occupied measures/categories
5 | Get calc sheet from vendor
6 | Get Cost Estimates
7 | Code Baseline Calibration
8 | Develop savings shapes by application
9 | Develop interaction estimates
10 | Run Screening