## Summary
'file:///tmp/in/input.xls'#$Summary
Run Date
|  | MC File | MidC_DraftPlan_122903
CHAR File
Run Note
Water Supply Optimization
Totals for Measures/Categories with Benefits Exceeding Costs
| Totals Basis | Busbar Savings | PV Cost | First Cost | Admin Cost | Program Cost | Program $/KWa | Levelized Cost | PV Benefits | B/C Ratio
Retro
|  | Annually |  | 20 Years
|  | kWh | MWa | kWh | MWa | lvl cost | TRC B/C | Annual Capital $Million | 2025 Capital $Million | Weighted Measure Life
| Measures with B/C>1.00 | 0 | 0 | 0 | 29 | 33 | 1.2 |  | 20 | 10
| Categories with B/C>1.00 | 0 | 0 | 0 | 0
| % of Measures with B/C >1.00 | 0 | 0 | 0 | 0
| Block 1: x <=10 m/kWh | 0 | 0 | 0 | 0
| Block 2: 10< x <=20 m/kWh | 0 | 0 | 0 | 4
| Block 3: 20< x <=30 m/kWh | 0 | 0 | 0 | 8
| Block 4: 30< x <=40 m/kWh | 0 | 0 | 0 | 9
| Block 5: 40< x <=50 m/kWh | 0 | 0 | 0 | 8
| Block 6: 50< x <=60 m/kWh | 0 | 0 | 0 | 0
| Block 7: 60m/kWh < x | 0 | 0 | 0 | 0
Note on F26: Charlie Grist: Placeholder based on initial BacGen work
Note on G26: Charlie Grist: Placeholder based on initial BacGen work
Note on H26: Charlie Grist: Placeholder based on initial BacGen work
Note on J27: Charlie Grist: Placeholder

## ProData
Program Parameters |  | Sponsor Parameters
Program Life (yrs) | 20 |  |  | Spon 1 | Spon 2 | Spon 3 | Cust
Program Start Date | 2005 | Real AT Cost of Cap |  | 7% | 5% | 4% | 5%
Present Value Time Zero | 2000 | Financial Life (yrs) |  | 10 | 10 | 15 | 1
Cost Reference Yr | 2000 | Weight |  | 0% | 0% | 100%
Real Discount Rate | 4%
Inflation Rate (Currently NA) | 0% | Run Tabs: |  | TRUE
Capital Real Escalation Rt | 0% | Summary | FALSE
Sponsor Share of First Cost | 100% | MData | FALSE
Sponsor Share of Replace Cost | 0% | MMap | FALSE
Sponsor Share of O&M | 0% | Notes and Sources | FALSE
Last Sponsor O&M Yr | 20
Bulk Power T&D Loss Factor | 2.5%
Bulk Power T&D Credit ($/kw-yr) | 3
Local Power T&D Loss Factor | 5%
Local Power T&D Credit ($/kw-yr) | 20
Externalities Credit (m/kwh) | 0
Regional Act C/E Credit (%) | 10%
Admin Cost (% of First Cost) | 20%
Cost Coeff of Variation | 25%
Marg Cost / Save Shape File | Q:\CG\Main\Plan 5\Commercial\Assessment\MC_AND_LOADSHAPE.XLS
Electric Marginal Cost Tab | MidC_DraftPlan_122903
Savings Shape Tab | Conservation Load Shapes
Note on B7: Currently not used, Hardwired in code to zero until chance to fully implement.

## MData
Data Set Name | 'file:///tmp/in/input.xls'#$MData
Water Supply Optimization
Units Are
Weighted For
Input Data | [7 empty] | Periodic O&M | [5 empty] | Other Fuels
Category Name | Measure Name | Savings (kWh/yr.) | Phys Life (yr.) | Capital Cost ($) | Annual O&M ($) | Shape Pointer | Non-E Val ($/yr.) | Cost 1 ($) | Period 1 | Cost 2 ($) | Period 2 | Cost 3 ($) | Period 3 | Savings (mmBtu/yr) | Shape Pointer
Category Name | Measure Index Name
Note on F7: Charlie Grist Annual value of natural gas savings at wholesale avoided cost per therm.
Note on H7: Charlie Grist Annual avoided cost of end user's non-energy costs or savings.

## MMap
'file:///tmp/in/input.xls'#$MMap
[7 empty] | weighted by %of regional floor space | weighted by %of regional floor space | raw | raw | FloorA%REG |  |  | ElecHt%TYP | GasHt%TYP | HtPmpHt%TYP | CoolSat%TYP | 0.3716 | weighted by %of regional floor space
Measure Index Name | Category Name | Spce Heat | End Use Savinsg | BType | MOPP | STOCK | Savings (kWh/yr.) | Capital Cost ($) | RAW Savings (kWh/yr.) | RAW Capital Cost ($) | REGIONAL WEIGHT (%of NR or New) | MEASURE APPLIC | MEASURE DENSITY | ELEC HEAT | GAS HEAT | HEAT PUMP HEAT | COOLING SATURATION | RAW ANNUAL GAS SAVINGS $ | O&M Savings
Measure Index Name | Category Name

## Notes and Sources
Notes and Sources
..\..\Data Sources\BacGEn\WaterSupplyBacGen.doc
Note on K12: Charlie Grist: See Note on NEB
Note on L13: Charlie Grist: High Value but not yet part of this estimate.
Note on L14: Charlie Grist: High Value but not yet part of this estimate.
Note on L15: Charlie Grist: High Value but not yet part of this estimate.
Note on L16: Charlie Grist: High Value but not yet part of this estimate.
Note on L17: Charlie Grist: High Value but not yet part of this estimate.