## MeasureTable
Regional Costs and Bulk Power System Benefits | [22 empty] | Other Power System Benefits |  |  | Non-Electric Power Costs/Benefits |  |  |  | Total Regional Costs/Benefits (monetizable costs and benefits)
Technology, Measure or Practice | Delivery Mechanism or Program | Application | Location | Incremental Capital Cost ($/unit) | Incremental O&M Costs and Schedule ($/unit) | Present Value of Periodic Capital Replacement Cost ($/unit) | Measure Life (years) | Basis of Savings | Annual Savings @ Site (kwh/yr) | Annual Savings @ Busbar (kwh/yr) | Bulk Transmission System Coincident Factor | System Coincident Peak Reduction (KW) | Present Value Incremental Capital Cost ($/kWh) | Present Value O & M Cost ($/kWh) | Present Value of Periodic Capital Replacement Cost ($/kWh) | Total Present Value Cost ($/kWh) | Present Value Electric Energy Savings ($/kWh) | Present Value of Bulk Transmission System Benefits ($/kWh) | Present Value of Region Act's 10% Conservation Credit ($/kWh) | Total Present Value Regional Bulk Power System Benefits ($/kWh) | Net Present Value ($/kWh) | Benefit / Cost Ratio | Local Distribution System Load Factor | Local Distribution System Peak Load Reduction (kW) | Present Value of Local Transmission & Distribution System Benefits ($/kWh) | End-user Benefits | Societal Benefits | Present Value Non-Electric System Benefits ($/kWh) | Present Value Environmental Externalities Benefit ($/kWh) | Present Value Regional Costs ($/kWh) | Present Value Total Societal Benefits ($/kWh) | Net Present Value of Regional Costs & Benefits ($/kWh) | Benefit / Cost Ratio | Related Programs/Activities | Comments | Levelized Cost
Multifamily Weatherization - Heating Zone 3 | Measures must be installed in substantial compliance with WeatherWise specifications for site built dwellings | Existing multifamily buildings with five or more dwelling units with electric heat as defined by WeatherWise Specifications | Heating Zone 3 | 592.76 | 0 | 0 | 45 | Deemed | 1588.653 | 1709.7878 | 0.401 | 0.3727 | 0.34668 | 0 | 0 | 0.34668 | 0.63521 | 0.01355 | 0.08315 | 0.73191 | 0.38522 | 2.1112 | 0.21 | 0.92943 | 0.22527 | Increased comfort, reduced noise | Reduced environmental impacts from electricity generation | 0 | 0 | 0.34668 | 0.95476 | 0.60808 | 2.754 | The Northwest Energy Efficiency Alliance has sponsored a market transformation program to increase the use of Energy Star windows (Class 35 & below). In some areas of the region the use of class 35 windows (required to meet the Long Term SGC specifications and both the site built and manufactured home weatherization program specifications exceeds 50%. | Savings assume that program is operated in accordance with existing Bonneville Power Administration Weatherization program (Weatherwise) specifications, including home qualification and quality assurance process. | 16.7319
Multifamily Weatherization - Heating Zone 2 | Measures must be installed in substantial compliance with WeatherWise specifications for site built dwellings | Existing multifamily buildings with five or more dwelling units with electric heat as defined by WeatherWise Specifications | Heating Zone 2 | 592.76 | 0 | 0 | 45 | Deemed | 1340.7802 | 1443.0147 | 0.401 | 0.31455 | 0.41078 | 0 | 0 | 0.41078 | 0.63521 | 0.01355 | 0.08315 | 0.73191 | 0.32113 | 1.7818 | 0.21 | 0.78442 | 0.22527 | Increased comfort, reduced noise | Reduced environmental impacts from electricity generation | 0 | 0 | 0.41078 | 0.95476 | 0.54398 | 2.3243 | The Northwest Energy Efficiency Alliance has sponsored a market transformation program to increase the use of Energy Star windows (Class 35 & below). In some areas of the region the use of class 35 windows (required to meet the Long Term SGC specifications and both the site built and manufactured home weatherization program specifications exceeds 50%. | Savings assume that program is operated in accordance with existing Bonneville Power Administration Weatherization program (Weatherwise) specifications, including home qualification and quality assurance process. | 19.8251
Multifamily Weatherization - PNW Average Climate | Measures must be installed in substantial compliance with WeatherWise specifications for site built dwellings | Existing multifamily buildings with five or more dwelling units with electric heat as defined by WeatherWise Specifications | PNW Average Climate | 592.76 | 0 | 0 | 45 | Deemed | 1104.1586 | 1188.3507 | 0.401 | 0.25904 | 0.49881 | 0 | 0 | 0.49881 | 0.63521 | 0.01355 | 0.08315 | 0.73191 | 0.2331 | 1.4673 | 0.21 | 0.64598 | 0.22527 | Increased comfort, reduced noise | Reduced environmental impacts from electricity generation | 0 | 0 | 0.49881 | 0.95476 | 0.45595 | 1.9141 | The Northwest Energy Efficiency Alliance has sponsored a market transformation program to increase the use of Energy Star windows (Class 35 & below). In some areas of the region the use of class 35 windows (required to meet the Long Term SGC specifications and both the site built and manufactured home weatherization program specifications exceeds 50%. | Savings assume that program is operated in accordance with existing Bonneville Power Administration Weatherization program (Weatherwise) specifications, including home qualification and quality assurance process. | 24.0737
Multifamily Weatherization - Heating Zone 1 | Measures must be installed in substantial compliance with WeatherWise specifications for site built dwellings | Existing multifamily buildings with five or more dwelling units with electric heat as defined by WeatherWise Specifications | Heating Zone 1 | 592.76 | 0 | 0 | 45 | Deemed | 1019.8034 | 1097.5634 | 0.401 | 0.23925 | 0.54007 | 0 | 0 | 0.54007 | 0.63521 | 0.01355 | 0.08315 | 0.73191 | 0.19184 | 1.3552 | 0.21 | 0.59663 | 0.22527 | Increased comfort, reduced noise | Reduced environmental impacts from electricity generation | 0 | 0 | 0.54007 | 0.95476 | 0.41469 | 1.7679 | The Northwest Energy Efficiency Alliance has sponsored a market transformation program to increase the use of Energy Star windows (Class 35 & below). In some areas of the region the use of class 35 windows (required to meet the Long Term SGC specifications and both the site built and manufactured home weatherization program specifications exceeds 50%. | Savings assume that program is operated in accordance with existing Bonneville Power Administration Weatherization program (Weatherwise) specifications, including home qualification and quality assurance process. | 26.065
Note on A3: Tom Eckman: Description of conservation or renewable resource technology, measure or practice.
Note on B3: Tom Eckman: Description of program through which technology, measure or practice will be delivered, including reference to relevant quality assurance specifications
Note on C3: Tom Eckman: Sector, sub-sector and end-use affected (e.g. single family homes with electric heat
Note on D3: Tom Eckman: Climate zone or geographic area in the PNW
Note on E3: Tom Eckman: Total capital cost of technology, measure or practice. For conservation this cost is usually the incremental cost of the technology, measure or practice over the less efficient alternative.
Note on F3: Tom Eckman: Additional cost over the normal cost of operation and maintenance.
Note on G3: Tom Eckman: Present value of the incremental cost of periodic capital replacements needed to maintain technology, measure or practice, e.g. heat pump compressor replacements.
Note on H3: Tom Eckman: Expected service life of the technology, measure or practice
Note on I3: Tom Eckman: If savings are deemed, they can be claimed without further analysis or data. If savings are not deemed they must be estimated using either one of the RTF's "deemed" calculation methods and/or evaluation protocols.
Note on J3: Tom Eckman: Does not include transmission and distribution system line losses.
Note on K3: Tom Eckman: Includes transmission and distribution system line losses.
Note on L3: Tom Eckman: This is the ratio of the peak demand of individual or groups of end uses of electricity at the regional bulk power transmission system's time of peak demand to the end uses non-coincident peak demand. The Northwest's bulk power transmission system's peak usage occurs during the winter. Conservation measures and renewable resources that reduce demand on the bulk power transmission system during its time of maximum demand (e.g. space heating conservation savings) are more value than those that those that reduce demand during the summer (e.g. air conditioning conservation savings).
Note on M3: Tom Eckman: Bulk transmission peak KW reduction associated with technology, measure or practice
Note on N3: Tom Eckman: Present value of incremental cost when financed and amortized based on assumptions on ProData Tab
Note on O3: Tom Eckman: Present value of annual O&M when discounted at rate assumed on ProData Tab over Program Life. Includes PV of Periodic O&M.
Note on Q3: Tom Eckman: Sum of PV Incremental cost and incremental O&M cost.
Note on R3: Tom Eckman: Present value of avoided wholesale electricity supplies over the expected life of the technology, measure or practice.
Note on S3: Tom Eckman: Benefit assumes an avoided cost of $3.00 kW year for regional bulk transmission system captial cost deferral due to reduced peak kW demand.
Note on U3: Tom Eckman: Sum of the present value of all bulk power system benefits, plus Power Act's Conservation Credit, if appliable.
Note on V3: Tom Eckman: Present value of all bulk power system benefits minus present value of all costs associated with technology, measure or practice.
Note on W3: Tom Eckman: Ratio of all present value bulk power system benefits to the present value of all costs associated with technology, measure or practice. Ratio's less than one indicate that the technology, measure or practice is not cost-effective from the bulk power system's perspective.
Note on X3: Tom Eckman: This is the ratio of the average energy use per hour to the peak energy use per hour of individual or groups of end uses of electricity. End uses that have low load factors (e.g. air conditioning) require larger capital investments in distribution systems per unit of energy sold, because these end uses only operate during short periods of the year compared to end uses that have high load factors (e.g., refrigerators) which operating all year long.
Note on Y3: Tom Eckman: Reduction in local distribution system peak load resulting from installation of technology, measure or practice
Note on Z3: Tom Eckman: Present value cost of deferred capital expenditures for local distribution system
Note on AA3: Tom Eckman: Qualitative or quantitative estimate of end-user benefits, excluding electricity savings, e.g. gallons of water saved.
Note on AB3: Tom Eckman: Qualitative or quantitative estimate of any non-electric power system benefits associated with the technology, measure or practice, e.g. reduced wastewater treatment costs.
Note on AC3: Tom Eckman: Present value of any monetized non-electric power system benefits, e.g. reduced detergent costs.
Note on AD3: Tom Eckman: Present value of cost of carbon emissions, based on $15/ton.
Note on AE3: Tom Eckman: Total present value of all cost associated with the installation and maintenance of the technology, measure or practice over its expected life.
Note on AG3: Tom Eckman: Present value of all benefits associated with a technology, measure or practice, including non-power system benefits and environmental externalities benefits.
Note on AH3: Tom Eckman: Ratio of present value of total societal benefits to total societal costs of technology, measure or practice.
Note on AI3: Tom Eckman: Description of program and or activities that are associated with the technology, measure or practice, such as tax credits, Northwest Energy Efficiency Alliance market transformation programs.
Note on AJ3: Tom Eckman: Special notes regarding factors that might impact a particular technology, measure or practices cost, savings or use. For example, potential changes in federal standards or local codes or anticipated improvements in technology.

## ProData
Program Parameters |  | Sponsor Parameters
Program Life (yrs) | 45 |  |  | Spon 1 | Spon 2 | Spon 3 | Cust
Program Start Date | 2005 | Real AT Cost of Cap |  | 7% | 5% | 4% | 5%
Present Value Time Zero | 2000 | Financial Life (yrs) |  | 10 | 10 | 15 | 1
Cost Reference Yr | 2000 | Weight |  | 0% | 0% | 100%
Real Discount Rate | 4%
Inflation Rate (Currently NA) | 0% | Run Tabs: |  | TRUE
Capital Real Escalation Rt | 0% | MeasureTable | FALSE
Sponsor Share of First Cost | 100% | MFResWX | TRUE
Sponsor Share of Replace Cost | 0% | 10920 SF | TRUE
Sponsor Share of O&M | 0% | 12492 SF | TRUE
Last Sponsor O&M Yr | 45 | UA Optimizer | FALSE
Bulk Power T&D Loss Factor | 2.5% | Cost-Effectiveness Level | FALSE
Bulk Power T&D Credit ($/kw-yr) | 3 | LookupTable | FALSE
Local Power T&D Loss Factor | 5% |  | FALSE
Local Power T&D Credit ($/kw-yr) | 20 |  | FALSE
Externalities Credit (m/kwh) | 0 |  | FALSE
Regional Act C/E Credit (%) | 10%
Admin Cost (% of First Cost) | 20%
Cost Coeff of Variation | 25%
Marg Cost / Save Shape File | q:\te\New Plan\Residential Resource Assessment\MC_AND_LOADSHAPE.XLS
Electric Marginal Cost Tab | MidC_DraftPlan_122903
Savings Shape Tab | Conservation Load Shapes
Note on B7: Currently not used, Hardwired in code to zero until chance to fully implement.

## MFResWX
Data Set Name
Regional Average Multifamily Unit
Input Data | [7 empty] | Periodic O&M
Category Name | Measure Name | Savings (kwh/yr) | Phys Life (yrs) | Capital Cost ($) | Annual O&M ($) | Shape Pointer | Non-E Val ($/yr) | Cost 1 ($) | Period 1 | Cost 2 ($) | Period 2 | Cost 3 ($) | Period 3
Multifamily Weatherization - Heating Zone 1 | Multifamily Weatherization - Heating Zone 1 | 1019.8034 | 45 | 592.7579 | 0 | ResSHWX
Multifamily Weatherization - Heating Zone 2 | Multifamily Weatherization - Heating Zone 2 | 1340.7802 | 45 | 592.7579 | 0 | ResSHWX
Multifamily Weatherization - Heating Zone 3 | Multifamily Weatherization - Heating Zone 3 | 1588.653 | 45 | 592.7579 | 0 | ResSHWX
Multifamily Weatherization - PNW Average Climate | Multifamily Weatherization - PNW Average Climate | 1104.1586 | 45 | 592.7579 | 0 | ResSHWX
ProCost Results, Version 1.70a: JPH 03/07/01, 02:35 PM 2/29/2004
Measure Results (2000 $) |  | Measure Input Data | [7 empty] | Savings |  |  | PV Capital |  |  |  | PV O&M |  | Total PV Costs |  |  |  |  | Levelized Cost (mills/kwh) |  |  |  |  | PV Bulk Power System Benefits | [5 empty] | PV Regional Benefits
Category | Measure | Measure Life | Site Savings (kWh) | Capital Cost ($/unit) | Annual O&M Cost ($/unit) | PV Per. Repl. Cost ($/unit) | Load Shape | Div. Load Factor | Bulk Pwr Coin. Factor | Bulk Energy (kWh) | Bulk Demand (kw) | Local Demand (kW) | Spon 1 | Spon 2 | Spon 3 | Cust | Utility | Cust | Spon 1 | Spon 2 | Spon 3 | Cust | Total | Spon 1 | Spon 2 | Spon 3 | Cust | Total | Energy | Bulk T&D Def. Cap. | Act C-E Credit | Total System Benefit | Total non-Consumer Cost | Bulk System B/C Ratio | Local T&D Def.Cap. | Non-E Value | Exter-nalities | Total Regional Benefit | Total Regional Cost | Total Regional B/C Ratio
Multifamily Weatherization - Heating Zone 1 | Multifamily Weatherization - Heating Zone 1 | 45 | 1019.8034 | 592.76 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 1097.5634 | 0.23925 | 0.59663 |  |  | 592.7577 | 0 | 0 | 0 | 0 | 0 | 592.7577 | 0 | 592.7577 | 0 | 0 | 26.065 | 0 | 26.065 | 697.1806 | 14.8718 | 91.2621 | 800.6662 | 592.7577 | 1.3507 | 247.2446 | 0 | 0 | 1047.9108 | 592.7577 | 1.7679
Multifamily Weatherization - Heating Zone 2 | Multifamily Weatherization - Heating Zone 2 | 45 | 1340.7802 | 592.76 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 1443.0147 | 0.31455 | 0.78442 |  |  | 592.7577 | 0 | 0 | 0 | 0 | 0 | 592.7577 | 0 | 592.7577 | 0 | 0 | 19.8251 | 0 | 19.8251 | 916.6138 | 19.5526 | 119.9863 | 1052.6708 | 592.7577 | 1.7759 | 325.0632 | 0 | 0 | 1377.734 | 592.7577 | 2.3243
Multifamily Weatherization - Heating Zone 3 | Multifamily Weatherization - Heating Zone 3 | 45 | 1588.653 | 592.76 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 1709.7878 | 0.3727 | 0.92943 |  |  | 592.7577 | 0 | 0 | 0 | 0 | 0 | 592.7577 | 0 | 592.7577 | 0 | 0 | 16.7319 | 0 | 16.7319 | 1086.0701 | 23.1673 | 142.1684 | 1247.2803 | 592.7577 | 2.1042 | 385.1585 | 0 | 0 | 1632.4387 | 592.7577 | 2.754
Multifamily Weatherization - PNW Average Climate | Multifamily Weatherization - PNW Average Climate | 45 | 1104.1586 | 592.76 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 1188.3507 | 0.25904 | 0.64598 |  |  | 592.7577 | 0 | 0 | 0 | 0 | 0 | 592.7577 | 0 | 592.7577 | 0 | 0 | 24.0737 | 0 | 24.0737 | 754.8493 | 16.1019 | 98.811 | 866.8949 | 592.7577 | 1.4625 | 267.6959 | 0 | 0 | 1134.5908 | 592.7577 | 1.9141
Category Totals (2000 $) |  | Savings Weighted Measure Data | [7 empty] | Savings |  |  | PV Costs |  |  |  | Lvl Cst | PV Bulk Power System Benefits | [5 empty] | PV Regional Benefits
| Category | Weighted Measure Life | Site Savings (kWh) | Capital Cost ($/unit) | Annual O&M Cost ($/unit) | Per. Repl. Cost ($/unit) | Load Shape | Weighted Load Factor | Weighted Coinc. Factor | Bulk Energy (kWh) | Bulk Demand (kw) | Local Demand (kW) | PV Capital | PV Annual O&M | PV Period. Repl. | PV Total Costs | Levelized Cost mills/kWh | Energy | Bulk T&D Def. Cap. | Act C-E Credit | Total System Benefit | Total non-Consumer Cost | Bulk System B/C Ratio | Local T&D Def.Cap. | Non-E Value | Exter-nalities | Total Regional Benefit | Total Regional Cost | Total Regional B/C Ratio
| Multifamily Weatherization - Heating Zone 3 | 45 | 1588.653 | 592.76 | 0 | 0 |  | 0.21 | 0.401 | 1709.7878 | 0.3727 | 0.92943 | 592.7577 | 0 | 0 | 592.7577 | 16.7319 | 1086.0701 | 23.1673 | 142.1684 | 1247.2803 | 592.7577 | 2.1042 | 385.1585 | 0 | 0 | 1632.4387 | 592.7577 | 2.754
| Multifamily Weatherization - Heating Zone 2 | 45 | 1340.7802 | 592.76 | 0 | 0 |  | 0.21 | 0.401 | 1443.0147 | 0.31455 | 0.78442 | 592.7577 | 0 | 0 | 592.7577 | 19.8251 | 916.6138 | 19.5526 | 119.9863 | 1052.6708 | 592.7577 | 1.7759 | 325.0632 | 0 | 0 | 1377.734 | 592.7577 | 2.3243
| Multifamily Weatherization - PNW Average Climate | 45 | 1104.1586 | 592.76 | 0 | 0 |  | 0.21 | 0.401 | 1188.3507 | 0.25904 | 0.64598 | 592.7577 | 0 | 0 | 592.7577 | 24.0737 | 754.8493 | 16.1019 | 98.811 | 866.8949 | 592.7577 | 1.4625 | 267.6959 | 0 | 0 | 1134.5908 | 592.7577 | 1.9141
| Multifamily Weatherization - Heating Zone 1 | 45 | 1019.8034 | 592.76 | 0 | 0 |  | 0.21 | 0.401 | 1097.5634 | 0.23925 | 0.59663 | 592.7577 | 0 | 0 | 592.7577 | 26.065 | 697.1806 | 14.8718 | 91.2621 | 800.6662 | 592.7577 | 1.3507 | 247.2446 | 0 | 0 | 1047.9108 | 592.7577 | 1.7679
Totals for Measures/Categories with Benefits Exceeding Costs
| Totals Basis | Busbar Savings | PV Cost | First Cost | Admin Cost | Program Cost | Program $/KWa | Levelized Cost | PV Benefits | B/C Ratio
| Measures with B/C>1.00 | 5438.7166 | 2371.0307 | 2371.03 | 474.2063 | 2845.237 | 4582.7495 | 25.2483 | 3454.7137 | 1.2142
| Categories with B/C>1.00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3454.7137 | 0
| % of Measures with B/C >1.00 | 4990.3476 | 2266.3789 | 2266.3798 | 453.276 | 2719.6549 | 4774.0518 | 26.3022 | 3169.9063 | 1.1656
| Block 1: x <=10 m/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 2: 10< x <=20 m/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 3: 20< x <=30 m/kWh | 4341.1532 | 1778.273 | 1778.27 | 355.6547 | 2133.9278 | 4306.0464 | 23.7238 | 2757.5332 | 1.2922
| Block 4: 30< x <=40 m/kWh | 1097.5634 | 592.7577 | 592.76 | 118.5516 | 711.3093 | 5677.1836 | 31.2779 | 697.1806 | 0.98014
| Block 5: 40< x <=50 m/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 6: 50< x <=60 m/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 7: 60m/kWh < x | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## 10920 SF
Data Set Name
10920 SQFT 12 Unit Existing Multifamily (910 sq ft/unit)
Input Data | [7 empty] | Periodic O&M
Category Name | Measure Name | Savings (kwh/yr) | Phys Life (yrs) | Capital Cost ($) | Annual O&M ($) | Shape Pointer | Non-E Val ($/yr) | Cost 1 ($) | Period 1 | Cost 2 ($) | Period 2 | Cost 3 ($) | Period 3
ATTIC R19 | ATTIC R19 | 1626.6983 | 45 | 260.8667 | 0 | ResSHWX
FLOOR R19 | FLOOR R19 | 1015.8406 | 45 | 242.6667 | 0 | ResSHWX
WALL R11 | WALL R11 | 1300.0345 | 45 | 343.17 | 0 | ResSHWX
ATTIC R38 | ATTIC R38 | 320.6527 | 45 | 100.1 | 0 | ResSHWX
FLOOR R30 | FLOOR R30 | 182.8821 | 45 | 60.6667 | 0 | ResSHWX
CLASS 35 PRIME WINDOW (Energy Star) | CLASS 35 PRIME WINDOW (Energy Star) | 3450.2855 | 45 | 1520.95 | 0 | ResSHWX
FLOOR R38 | FLOOR R38 | 55.4777 | 45 | 39.4333 | 0 | ResSHWX
ATTIC R49 | ATTIC R49 | 69.3472 | 45 | 54.6 | 0 | ResSHWX
INFILTRATION @ 0.35 ACH | INFILTRATION @ 0.35 ACH | 640.8809 | 45 | 550 | 0 | ResSHWX
CLASS 25 PRIME WINDOW | CLASS 25 PRIME WINDOW | 400.2977 | 45 | 456 | 0 | ResSHWX
DOOR R5 | DOOR R5 | 122.6075 | 45 | 150.1 | 0 | ResSHWX
ProCost Results, Version 1.70a: JPH 03/07/01, 02:35 PM 2/29/2004
Measure Results (2000 $) |  | Measure Input Data | [7 empty] | Savings |  |  | PV Capital |  |  |  | PV O&M |  | Total PV Costs |  |  |  |  | Levelized Cost (mills/kwh) |  |  |  |  | PV Bulk Power System Benefits | [5 empty] | PV Regional Benefits
Category | Measure | Measure Life | Site Savings (kWh) | Capital Cost ($/unit) | Annual O&M Cost ($/unit) | PV Per. Repl. Cost ($/unit) | Load Shape | Div. Load Factor | Bulk Pwr Coin. Factor | Bulk Energy (kWh) | Bulk Demand (kw) | Local Demand (kW) | Spon 1 | Spon 2 | Spon 3 | Cust | Utility | Cust | Spon 1 | Spon 2 | Spon 3 | Cust | Total | Spon 1 | Spon 2 | Spon 3 | Cust | Total | Energy | Bulk T&D Def. Cap. | Act C-E Credit | Total System Benefit | Total non-Consumer Cost | Bulk System B/C Ratio | Local T&D Def.Cap. | Non-E Value | Exter-nalities | Total Regional Benefit | Total Regional Cost | Total Regional B/C Ratio
ATTIC R19 | ATTIC R19 | 45 | 1626.6983 | 260.87 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 1750.7341 | 0.38163 | 0.95169 |  |  | 260.8666 | 0 | 0 | 0 | 0 | 0 | 260.8666 | 0 | 260.8666 | 0 | 0 | 7.1913 | 0 | 7.1913 | 1112.0794 | 23.7221 | 145.5731 | 1277.1504 | 260.8666 | 4.8958 | 394.3823 | 0 | 0 | 1671.5327 | 260.8666 | 6.4076
FLOOR R19 | FLOOR R19 | 45 | 1015.8406 | 242.67 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 1093.2985 | 0.23832 | 0.59431 |  |  | 242.6666 | 0 | 0 | 0 | 0 | 0 | 242.6666 | 0 | 242.6666 | 0 | 0 | 10.7122 | 0 | 10.7122 | 694.4714 | 14.814 | 90.9075 | 797.5549 | 242.6666 | 3.2866 | 246.2839 | 0 | 0 | 1043.8387 | 242.6666 | 4.3015
WALL R11 | WALL R11 | 45 | 1300.0345 | 343.17 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 1399.1621 | 0.30499 | 0.76058 |  |  | 343.1699 | 0 | 0 | 0 | 0 | 0 | 343.1699 | 0 | 343.1699 | 0 | 0 | 11.8372 | 0 | 11.8372 | 888.7583 | 18.9584 | 116.34 | 1020.6806 | 343.1699 | 2.9743 | 315.1848 | 0 | 0 | 1335.8655 | 343.1699 | 3.8927
ATTIC R38 | ATTIC R38 | 45 | 320.6527 | 100.1 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 345.1025 | 0.075226 | 0.1876 |  |  | 100.1 | 0 | 0 | 0 | 0 | 0 | 100.1 | 0 | 100.1 | 0 | 0 | 13.9989 | 0 | 13.9989 | 219.2117 | 4.6761 | 28.6952 | 251.7502 | 100.1 | 2.515 | 77.7401 | 0 | 0 | 329.4904 | 100.1 | 3.2916
FLOOR R30 | FLOOR R30 | 45 | 182.8821 | 60.67 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 196.8268 | 0.042905 | 0.10699 |  |  | 60.6667 | 0 | 0 | 0 | 0 | 0 | 60.6667 | 0 | 60.6667 | 0 | 0 | 14.8756 | 0 | 14.8756 | 125.0259 | 2.667 | 16.3661 | 143.584 | 60.6667 | 2.3668 | 44.3386 | 0 | 0 | 187.9226 | 60.6667 | 3.0976
CLASS 35 PRIME WINDOW (Energy Star) | CLASS 35 PRIME WINDOW (Energy Star) | 45 | 3450.2855 | 1520.95 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 3713.3697 | 0.80945 | 2.0186 |  |  | 1520.9494 | 0 | 0 | 0 | 0 | 0 | 1520.9494 | 0 | 1520.9494 | 0 | 0 | 19.7677 | 0 | 19.7677 | 2358.7604 | 50.3154 | 308.7657 | 2708.8817 | 1520.9494 | 1.781 | 836.499 | 0 | 0 | 3545.3806 | 1520.9494 | 2.331
FLOOR R38 | FLOOR R38 | 45 | 55.4777 | 39.43 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 59.7079 | 0.013015 | 0.032457 |  |  | 39.4333 | 0 | 0 | 0 | 0 | 0 | 39.4333 | 0 | 39.4333 | 0 | 0 | 31.8743 | 0 | 31.8743 | 37.9269 | 0.80903 | 4.9647 | 43.5566 | 39.4333 | 1.1046 | 13.4502 | 0 | 0 | 57.0068 | 39.4333 | 1.4457
ATTIC R49 | ATTIC R49 | 45 | 69.3472 | 54.6 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 74.6349 | 0.016269 | 0.040571 |  |  | 54.6 | 0 | 0 | 0 | 0 | 0 | 54.6 | 0 | 54.6 | 0 | 0 | 35.3069 | 0 | 35.3069 | 47.4086 | 1.0113 | 6.2059 | 54.4457 | 54.6 | 0.99717 | 16.8128 | 0 | 0 | 71.2585 | 54.6 | 1.3051
INFILTRATION @ 0.35 ACH | INFILTRATION @ 0.35 ACH | 45 | 640.8809 | 550 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 689.7481 | 0.15035 | 0.37494 |  |  | 549.9998 | 0 | 0 | 0 | 0 | 0 | 549.9998 | 0 | 549.9998 | 0 | 0 | 38.4841 | 0 | 38.4841 | 438.1332 | 9.3459 | 57.3524 | 503.1672 | 549.9998 | 0.91485 | 155.3773 | 0 | 0 | 658.5446 | 549.9998 | 1.1974
CLASS 25 PRIME WINDOW | CLASS 25 PRIME WINDOW | 45 | 400.2977 | 456 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 430.8204 | 0.093911 | 0.23419 |  |  | 455.9998 | 0 | 0 | 0 | 0 | 0 | 455.9998 | 0 | 455.9998 | 0 | 0 | 51.0832 | 0 | 51.0832 | 273.6603 | 5.8375 | 35.8226 | 314.281 | 455.9998 | 0.68921 | 97.0495 | 0 | 0 | 411.3305 | 455.9998 | 0.90204
DOOR R5 | DOOR R5 | 45 | 122.6075 | 150.1 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 131.9563 | 0.028764 | 0.071731 |  |  | 150.0999 | 0 | 0 | 0 | 0 | 0 | 150.0999 | 0 | 150.0999 | 0 | 0 | 54.8984 | 0 | 54.8984 | 83.8196 | 1.788 | 10.9721 | 96.2613 | 150.0999 | 0.64131 | 29.7254 | 0 | 0 | 125.9867 | 150.0999 | 0.83935
Category Totals (2000 $) |  | Savings Weighted Measure Data | [7 empty] | Savings |  |  | PV Costs |  |  |  | Lvl Cst | PV Bulk Power System Benefits | [5 empty] | PV Regional Benefits
| Category | Weighted Measure Life | Site Savings (kWh) | Capital Cost ($/unit) | Annual O&M Cost ($/unit) | Per. Repl. Cost ($/unit) | Load Shape | Weighted Load Factor | Weighted Coinc. Factor | Bulk Energy (kWh) | Bulk Demand (kw) | Local Demand (kW) | PV Capital | PV Annual O&M | PV Period. Repl. | PV Total Costs | Levelized Cost mills/kWh | Energy | Bulk T&D Def. Cap. | Act C-E Credit | Total System Benefit | Total non-Consumer Cost | Bulk System B/C Ratio | Local T&D Def.Cap. | Non-E Value | Exter-nalities | Total Regional Benefit | Total Regional Cost | Total Regional B/C Ratio
| ATTIC R19 | 45 | 1626.6983 | 260.87 | 0 | 0 |  | 0.21 | 0.401 | 1750.7341 | 0.38163 | 0.95169 | 260.8666 | 0 | 0 | 260.8666 | 7.1913 | 1112.0794 | 23.7221 | 145.5731 | 1277.1504 | 260.8666 | 4.8958 | 394.3823 | 0 | 0 | 1671.5327 | 260.8666 | 6.4076
| FLOOR R19 | 45 | 1015.8406 | 242.67 | 0 | 0 |  | 0.21 | 0.401 | 1093.2985 | 0.23832 | 0.59431 | 242.6666 | 0 | 0 | 242.6666 | 10.7122 | 694.4714 | 14.814 | 90.9075 | 797.5549 | 242.6666 | 3.2866 | 246.2839 | 0 | 0 | 1043.8387 | 242.6666 | 4.3015
| WALL R11 | 45 | 1300.0345 | 343.17 | 0 | 0 |  | 0.21 | 0.401 | 1399.1621 | 0.30499 | 0.76058 | 343.1699 | 0 | 0 | 343.1699 | 11.8372 | 888.7583 | 18.9584 | 116.34 | 1020.6806 | 343.1699 | 2.9743 | 315.1848 | 0 | 0 | 1335.8655 | 343.1699 | 3.8927
| ATTIC R38 | 45 | 320.6527 | 100.1 | 0 | 0 |  | 0.21 | 0.401 | 345.1025 | 0.075226 | 0.1876 | 100.1 | 0 | 0 | 100.1 | 13.9989 | 219.2117 | 4.6761 | 28.6952 | 251.7502 | 100.1 | 2.515 | 77.7401 | 0 | 0 | 329.4904 | 100.1 | 3.2916
| FLOOR R30 | 45 | 182.8821 | 60.67 | 0 | 0 |  | 0.21 | 0.401 | 196.8268 | 0.042905 | 0.10699 | 60.6667 | 0 | 0 | 60.6667 | 14.8756 | 125.0259 | 2.667 | 16.3661 | 143.584 | 60.6667 | 2.3668 | 44.3386 | 0 | 0 | 187.9226 | 60.6667 | 3.0976
| CLASS 35 PRIME WINDOW (Energy Star) | 45 | 3450.2855 | 1520.95 | 0 | 0 |  | 0.21 | 0.401 | 3713.3697 | 0.80945 | 2.0186 | 1520.9494 | 0 | 0 | 1520.9495 | 19.7677 | 2358.7604 | 50.3154 | 308.7657 | 2708.8817 | 1520.9494 | 1.781 | 836.499 | 0 | 0 | 3545.3806 | 1520.9495 | 2.331
| FLOOR R38 | 45 | 55.4777 | 39.43 | 0 | 0 |  | 0.21 | 0.401 | 59.7079 | 0.013015 | 0.032457 | 39.4333 | 0 | 0 | 39.4333 | 31.8743 | 37.9269 | 0.80903 | 4.9647 | 43.5566 | 39.4333 | 1.1046 | 13.4502 | 0 | 0 | 57.0068 | 39.4333 | 1.4457
| ATTIC R49 | 45 | 69.3472 | 54.6 | 0 | 0 |  | 0.21 | 0.401 | 74.6349 | 0.016269 | 0.040571 | 54.6 | 0 | 0 | 54.6 | 35.3069 | 47.4086 | 1.0113 | 6.2059 | 54.4457 | 54.6 | 0.99717 | 16.8128 | 0 | 0 | 71.2585 | 54.6 | 1.3051
| INFILTRATION @ 0.35 ACH | 45 | 640.8809 | 550 | 0 | 0 |  | 0.21 | 0.401 | 689.7481 | 0.15035 | 0.37494 | 549.9998 | 0 | 0 | 549.9998 | 38.4841 | 438.1332 | 9.3459 | 57.3524 | 503.1672 | 549.9998 | 0.91485 | 155.3773 | 0 | 0 | 658.5446 | 549.9998 | 1.1974
| CLASS 25 PRIME WINDOW | 45 | 400.2977 | 456 | 0 | 0 |  | 0.21 | 0.401 | 430.8204 | 0.093911 | 0.23419 | 455.9998 | 0 | 0 | 455.9998 | 51.0832 | 273.6603 | 5.8375 | 35.8226 | 314.281 | 455.9998 | 0.68921 | 97.0495 | 0 | 0 | 411.3305 | 455.9998 | 0.90204
| DOOR R5 | 45 | 122.6075 | 150.1 | 0 | 0 |  | 0.21 | 0.401 | 131.9563 | 0.028764 | 0.071731 | 150.0999 | 0 | 0 | 150.0999 | 54.8984 | 83.8196 | 1.788 | 10.9721 | 96.2613 | 150.0999 | 0.64131 | 29.7254 | 0 | 0 | 125.9867 | 150.0999 | 0.83935
Totals for Measures/Categories with Benefits Exceeding Costs
| Totals Basis | Busbar Savings | PV Cost | First Cost | Admin Cost | Program Cost | Program $/KWa | Levelized Cost | PV Benefits | B/C Ratio
| Measures with B/C>1.00 | 8498.4937 | 2528.4191 | 2528.42 | 505.684 | 3034.1032 | 3127.4653 | 17.2305 | 5398.3071 | 1.7792
| Categories with B/C>1.00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6279.2558 | 0
| % of Measures with B/C >1.00 | 8668.0292 | 3237.8713 | 3237.8727 | 647.5745 | 3885.4459 | 3926.6719 | 21.6337 | 5505.9974 | 1.4171
| Block 1: x <=10 m/kWh | 1750.7341 | 260.8666 | 260.87 | 52.1733 | 313.0399 | 1566.3315 | 8.6296 | 1112.0794 | 3.5525
| Block 2: 10< x <=20 m/kWh | 3034.3899 | 746.6031 | 746.6 | 149.3207 | 895.9238 | 2586.4482 | 14.2498 | 1927.4673 | 2.1514
| Block 3: 20< x <=30 m/kWh | 3713.3697 | 1520.9494 | 1520.95 | 304.19 | 1825.1394 | 4305.583 | 23.7212 | 2358.7604 | 1.2924
| Block 4: 30< x <=40 m/kWh | 59.7079 | 39.4333 | 39.43 | 7.8867 | 47.3199 | 6942.5088 | 38.2491 | 37.9269 | 0.8015
| Block 5: 40< x <=50 m/kWh | 764.383 | 604.5998 | 604.6 | 120.92 | 725.5198 | 8314.6191 | 45.8087 | 485.5418 | 0.66923
| Block 6: 50< x <=60 m/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 7: 60m/kWh < x | 562.7767 | 606.0998 | 606.1 | 121.22 | 727.3198 | 11321.2256 | 62.3733 | 357.48 | 0.4915

## 12492 SF
Data Set Name
12492 SQFT 12 Unit Existing Multifamily (1041 sq ft/unit)
Input Data | [7 empty] | Periodic O&M
Category Name | Measure Name | Savings (kwh/yr) | Phys Life (yrs) | Capital Cost ($) | Annual O&M ($) | Shape Pointer | Non-E Val ($/yr) | Cost 1 ($) | Period 1 | Cost 2 ($) | Period 2 | Cost 3 ($) | Period 3
VAULT R19 | VAULT R19 | 1053.4756 | 45 | 132.655 | 0 | ResSHWX
ATTIC R19 | ATTIC R19 | 970.939 | 45 | 153.94 | 0 | ResSHWX
FLOOR R19 | FLOOR R19 | 1077.9137 | 45 | 253.3333 | 0 | ResSHWX
WALL R11 | WALL R11 | 2200.0496 | 45 | 569.16 | 0 | ResSHWX
ATTIC R38 | ATTIC R38 | 192.8996 | 45 | 59.07 | 0 | ResSHWX
FLOOR R30 | FLOOR R30 | 194.7509 | 45 | 63.3333 | 0 | ResSHWX
CLASS 35 PRIME WINDOW (Energy Star) | CLASS 35 PRIME WINDOW (Energy Star) | 3901.1241 | 45 | 1663.7058 | 0 | ResSHWX
FLOOR R38 | FLOOR R38 | 60.5224 | 45 | 41.1667 | 0 | ResSHWX
ATTIC R49 | ATTIC R49 | 42.6761 | 45 | 32.22 | 0 | ResSHWX
INFILTRATION @ 0.35 ACH | INFILTRATION @ 0.35 ACH | 706.3688 | 45 | 550 | 0 | ResSHWX
CLASS 25 PRIME WINDOW | CLASS 25 PRIME WINDOW | 457.3833 | 45 | 498.8 | 0 | ResSHWX
DOOR R5 | DOOR R5 | 257.3872 | 45 | 300.2 | 0 | ResSHWX
VAULT R38 | VAULT R38 | 35.285 | 45 | 50.9025 | 0 | ResSHWX
VAULT R49 | VAULT R49 | 21.171 | 45 | 33.935 | 0 | ResSHWX
ProCost Results, Version 1.70a: JPH 03/07/01, 02:35 PM 2/29/2004
Measure Results (2000 $) |  | Measure Input Data | [7 empty] | Savings |  |  | PV Capital |  |  |  | PV O&M |  | Total PV Costs |  |  |  |  | Levelized Cost (mills/kwh) |  |  |  |  | PV Bulk Power System Benefits | [5 empty] | PV Regional Benefits
Category | Measure | Measure Life | Site Savings (kWh) | Capital Cost ($/unit) | Annual O&M Cost ($/unit) | PV Per. Repl. Cost ($/unit) | Load Shape | Div. Load Factor | Bulk Pwr Coin. Factor | Bulk Energy (kWh) | Bulk Demand (kw) | Local Demand (kW) | Spon 1 | Spon 2 | Spon 3 | Cust | Utility | Cust | Spon 1 | Spon 2 | Spon 3 | Cust | Total | Spon 1 | Spon 2 | Spon 3 | Cust | Total | Energy | Bulk T&D Def. Cap. | Act C-E Credit | Total System Benefit | Total non-Consumer Cost | Bulk System B/C Ratio | Local T&D Def.Cap. | Non-E Value | Exter-nalities | Total Regional Benefit | Total Regional Cost | Total Regional B/C Ratio
VAULT R19 | VAULT R19 | 45 | 1053.4756 | 132.66 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 1133.8031 | 0.24715 | 0.61633 |  |  | 132.6549 | 0 | 0 | 0 | 0 | 0 | 132.6549 | 0 | 132.6549 | 0 | 0 | 5.6467 | 0 | 5.6467 | 720.2003 | 15.3628 | 94.2754 | 827.1028 | 132.6549 | 6.235 | 255.4082 | 0 | 0 | 1082.511 | 132.6549 | 8.1604
ATTIC R19 | ATTIC R19 | 45 | 970.939 | 153.94 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 1044.9731 | 0.22779 | 0.56804 |  |  | 153.9399 | 0 | 0 | 0 | 0 | 0 | 153.9399 | 0 | 153.9399 | 0 | 0 | 7.1098 | 0 | 7.1098 | 663.7748 | 14.1592 | 86.8892 | 762.3018 | 153.9399 | 4.9519 | 235.3978 | 0 | 0 | 997.6996 | 153.9399 | 6.4811
FLOOR R19 | FLOOR R19 | 45 | 1077.9137 | 253.33 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 1160.1047 | 0.25288 | 0.63063 |  |  | 253.3332 | 0 | 0 | 0 | 0 | 0 | 253.3332 | 0 | 253.3332 | 0 | 0 | 10.5391 | 0 | 10.5391 | 736.9072 | 15.7192 | 96.4624 | 846.2896 | 253.3332 | 3.3406 | 261.3331 | 0 | 0 | 1107.6227 | 253.3332 | 4.3722
WALL R11 | WALL R11 | 45 | 2200.0496 | 569.16 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 2367.8034 | 0.51614 | 1.2871 |  |  | 569.1598 | 0 | 0 | 0 | 0 | 0 | 569.1598 | 0 | 569.1598 | 0 | 0 | 11.6011 | 0 | 11.6011 | 1504.0465 | 32.0833 | 196.8822 | 1727.2989 | 569.1598 | 3.0348 | 533.3875 | 0 | 0 | 2260.6863 | 569.1598 | 3.972
ATTIC R38 | ATTIC R38 | 45 | 192.8996 | 59.07 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 207.6082 | 0.045255 | 0.11286 |  |  | 59.07 | 0 | 0 | 0 | 0 | 0 | 59.07 | 0 | 59.07 | 0 | 0 | 13.7319 | 0 | 13.7319 | 131.8743 | 2.813 | 17.2626 | 151.449 | 59.07 | 2.5639 | 46.7672 | 0 | 0 | 198.2162 | 59.07 | 3.3556
FLOOR R30 | FLOOR R30 | 45 | 194.7509 | 63.33 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 209.6007 | 0.045689 | 0.11394 |  |  | 63.3333 | 0 | 0 | 0 | 0 | 0 | 63.3333 | 0 | 63.3333 | 0 | 0 | 14.5831 | 0 | 14.5831 | 133.1399 | 2.84 | 17.4282 | 152.9025 | 63.3333 | 2.4143 | 47.2161 | 0 | 0 | 200.1186 | 63.3333 | 3.1598
CLASS 35 PRIME WINDOW (Energy Star) | CLASS 35 PRIME WINDOW (Energy Star) | 45 | 3901.1241 | 1663.71 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 4198.5848 | 0.91522 | 2.2823 |  |  | 1663.7052 | 0 | 0 | 0 | 0 | 0 | 1663.7052 | 0 | 1663.7052 | 0 | 0 | 19.1242 | 0 | 19.1242 | 2666.9727 | 56.89 | 349.1112 | 3062.8433 | 1663.7052 | 1.841 | 945.8018 | 0 | 0 | 4008.645 | 1663.7052 | 2.4095
FLOOR R38 | FLOOR R38 | 45 | 60.5224 | 41.17 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 65.1372 | 0.014199 | 0.035408 |  |  | 41.1667 | 0 | 0 | 0 | 0 | 0 | 41.1667 | 0 | 41.1667 | 0 | 0 | 30.5018 | 0 | 30.5018 | 41.3757 | 0.8826 | 5.4161 | 47.5172 | 41.1667 | 1.1543 | 14.6733 | 0 | 0 | 62.1905 | 41.1667 | 1.5107
ATTIC R49 | ATTIC R49 | 45 | 42.6761 | 32.22 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 45.9301 | 0.010012 | 0.024967 |  |  | 32.22 | 0 | 0 | 0 | 0 | 0 | 32.22 | 0 | 32.22 | 0 | 0 | 33.8561 | 0 | 33.8561 | 29.1751 | 0.62234 | 3.8191 | 33.5057 | 32.22 | 1.0399 | 10.3465 | 0 | 0 | 43.8523 | 32.22 | 1.361
INFILTRATION @ 0.35 ACH | INFILTRATION @ 0.35 ACH | 45 | 706.3688 | 550 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 760.2295 | 0.16572 | 0.41326 |  |  | 549.9998 | 0 | 0 | 0 | 0 | 0 | 549.9998 | 0 | 549.9998 | 0 | 0 | 34.9162 | 0 | 34.9162 | 482.9035 | 10.301 | 63.2129 | 554.583 | 549.9998 | 1.0083 | 171.2545 | 0 | 0 | 725.8375 | 549.9998 | 1.3197
CLASS 25 PRIME WINDOW | CLASS 25 PRIME WINDOW | 45 | 457.3833 | 498.8 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 492.2587 | 0.1073 | 0.26759 |  |  | 498.7998 | 0 | 0 | 0 | 0 | 0 | 498.7998 | 0 | 498.7998 | 0 | 0 | 48.9038 | 0 | 48.9038 | 312.6865 | 6.67 | 40.9312 | 359.0999 | 498.7998 | 0.71993 | 110.8895 | 0 | 0 | 469.9894 | 498.7998 | 0.94224
DOOR R5 | DOOR R5 | 45 | 257.3872 | 300.2 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 277.0129 | 0.060384 | 0.15058 |  |  | 300.1999 | 0 | 0 | 0 | 0 | 0 | 300.1999 | 0 | 300.1999 | 0 | 0 | 52.3022 | 0 | 52.3022 | 175.9607 | 3.7535 | 23.0336 | 202.0793 | 300.1999 | 0.67315 | 62.4018 | 0 | 0 | 264.4811 | 300.1999 | 0.88102
VAULT R38 | VAULT R38 | 45 | 35.285 | 50.9 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 37.9754 | 0.008278 | 0.020643 |  |  | 50.9025 | 0 | 0 | 0 | 0 | 0 | 50.9025 | 0 | 50.9025 | 0 | 0 | 64.6912 | 0 | 64.6912 | 24.1223 | 0.51456 | 3.1576 | 27.7029 | 50.9025 | 0.54423 | 8.5546 | 0 | 0 | 36.2575 | 50.9025 | 0.71229
VAULT R49 | VAULT R49 | 45 | 21.171 | 33.94 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 22.7853 | 0.0049668 | 0.012386 |  |  | 33.935 | 0 | 0 | 0 | 0 | 0 | 33.935 | 0 | 33.935 | 0 | 0 | 71.8792 | 0 | 71.8791 | 14.4734 | 0.30874 | 1.8946 | 16.6217 | 33.935 | 0.48981 | 5.1328 | 0 | 0 | 21.7545 | 33.935 | 0.64106
Category Totals (2000 $) |  | Savings Weighted Measure Data | [7 empty] | Savings |  |  | PV Costs |  |  |  | Lvl Cst | PV Bulk Power System Benefits | [5 empty] | PV Regional Benefits
| Category | Weighted Measure Life | Site Savings (kWh) | Capital Cost ($/unit) | Annual O&M Cost ($/unit) | Per. Repl. Cost ($/unit) | Load Shape | Weighted Load Factor | Weighted Coinc. Factor | Bulk Energy (kWh) | Bulk Demand (kw) | Local Demand (kW) | PV Capital | PV Annual O&M | PV Period. Repl. | PV Total Costs | Levelized Cost mills/kWh | Energy | Bulk T&D Def. Cap. | Act C-E Credit | Total System Benefit | Total non-Consumer Cost | Bulk System B/C Ratio | Local T&D Def.Cap. | Non-E Value | Exter-nalities | Total Regional Benefit | Total Regional Cost | Total Regional B/C Ratio
| VAULT R19 | 45 | 1053.4756 | 132.66 | 0 | 0 |  | 0.21 | 0.401 | 1133.8031 | 0.24715 | 0.61633 | 132.6549 | 0 | 0 | 132.655 | 5.6467 | 720.2003 | 15.3628 | 94.2754 | 827.1028 | 132.6549 | 6.235 | 255.4082 | 0 | 0 | 1082.511 | 132.655 | 8.1604
| ATTIC R19 | 45 | 970.939 | 153.94 | 0 | 0 |  | 0.21 | 0.401 | 1044.9731 | 0.22779 | 0.56804 | 153.9399 | 0 | 0 | 153.9399 | 7.1098 | 663.7748 | 14.1592 | 86.8892 | 762.3018 | 153.9399 | 4.9519 | 235.3978 | 0 | 0 | 997.6996 | 153.9399 | 6.4811
| FLOOR R19 | 45 | 1077.9137 | 253.33 | 0 | 0 |  | 0.21 | 0.401 | 1160.1047 | 0.25288 | 0.63063 | 253.3332 | 0 | 0 | 253.3332 | 10.5391 | 736.9072 | 15.7192 | 96.4624 | 846.2896 | 253.3332 | 3.3406 | 261.3331 | 0 | 0 | 1107.6227 | 253.3332 | 4.3722
| WALL R11 | 45 | 2200.0496 | 569.16 | 0 | 0 |  | 0.21 | 0.401 | 2367.8034 | 0.51614 | 1.2871 | 569.1598 | 0 | 0 | 569.1598 | 11.6011 | 1504.0465 | 32.0833 | 196.8822 | 1727.2989 | 569.1598 | 3.0348 | 533.3875 | 0 | 0 | 2260.6863 | 569.1598 | 3.972
| ATTIC R38 | 45 | 192.8996 | 59.07 | 0 | 0 |  | 0.21 | 0.401 | 207.6082 | 0.045255 | 0.11286 | 59.07 | 0 | 0 | 59.07 | 13.7319 | 131.8743 | 2.813 | 17.2626 | 151.449 | 59.07 | 2.5639 | 46.7672 | 0 | 0 | 198.2162 | 59.07 | 3.3556
| FLOOR R30 | 45 | 194.7509 | 63.33 | 0 | 0 |  | 0.21 | 0.401 | 209.6007 | 0.045689 | 0.11394 | 63.3333 | 0 | 0 | 63.3333 | 14.5831 | 133.1399 | 2.84 | 17.4282 | 152.9025 | 63.3333 | 2.4143 | 47.2161 | 0 | 0 | 200.1186 | 63.3333 | 3.1598
| CLASS 35 PRIME WINDOW (Energy Star) | 45 | 3901.1241 | 1663.71 | 0 | 0 |  | 0.21 | 0.401 | 4198.5848 | 0.91522 | 2.2823 | 1663.7052 | 0 | 0 | 1663.7052 | 19.1242 | 2666.9727 | 56.89 | 349.1112 | 3062.8433 | 1663.7052 | 1.841 | 945.8018 | 0 | 0 | 4008.645 | 1663.7052 | 2.4095
| FLOOR R38 | 45 | 60.5224 | 41.17 | 0 | 0 |  | 0.21 | 0.401 | 65.1372 | 0.014199 | 0.035408 | 41.1667 | 0 | 0 | 41.1667 | 30.5018 | 41.3757 | 0.8826 | 5.4161 | 47.5172 | 41.1667 | 1.1543 | 14.6733 | 0 | 0 | 62.1905 | 41.1667 | 1.5107
| ATTIC R49 | 45 | 42.6761 | 32.22 | 0 | 0 |  | 0.21 | 0.401 | 45.9301 | 0.010012 | 0.024967 | 32.22 | 0 | 0 | 32.22 | 33.8561 | 29.1751 | 0.62234 | 3.8191 | 33.5057 | 32.22 | 1.0399 | 10.3465 | 0 | 0 | 43.8523 | 32.22 | 1.361
| INFILTRATION @ 0.35 ACH | 45 | 706.3688 | 550 | 0 | 0 |  | 0.21 | 0.401 | 760.2295 | 0.16572 | 0.41326 | 549.9998 | 0 | 0 | 549.9998 | 34.9162 | 482.9035 | 10.301 | 63.2129 | 554.583 | 549.9998 | 1.0083 | 171.2545 | 0 | 0 | 725.8375 | 549.9998 | 1.3197
| CLASS 25 PRIME WINDOW | 45 | 457.3833 | 498.8 | 0 | 0 |  | 0.21 | 0.401 | 492.2587 | 0.1073 | 0.26759 | 498.7998 | 0 | 0 | 498.7998 | 48.9038 | 312.6865 | 6.67 | 40.9312 | 359.0999 | 498.7998 | 0.71993 | 110.8895 | 0 | 0 | 469.9894 | 498.7998 | 0.94224
| DOOR R5 | 45 | 257.3872 | 300.2 | 0 | 0 |  | 0.21 | 0.401 | 277.0129 | 0.060384 | 0.15058 | 300.1999 | 0 | 0 | 300.1999 | 52.3022 | 175.9607 | 3.7535 | 23.0336 | 202.0793 | 300.1999 | 0.67315 | 62.4018 | 0 | 0 | 264.4811 | 300.1999 | 0.88102
| VAULT R38 | 45 | 35.285 | 50.9 | 0 | 0 |  | 0.21 | 0.401 | 37.9754 | 0.008278 | 0.020643 | 50.9025 | 0 | 0 | 50.9025 | 64.6912 | 24.1223 | 0.51456 | 3.1576 | 27.7029 | 50.9025 | 0.54423 | 8.5546 | 0 | 0 | 36.2575 | 50.9025 | 0.71229
| VAULT R49 | 45 | 21.171 | 33.94 | 0 | 0 |  | 0.21 | 0.401 | 22.7853 | 0.0049668 | 0.012386 | 33.935 | 0 | 0 | 33.935 | 71.8791 | 14.4734 | 0.30874 | 1.8946 | 16.6217 | 33.935 | 0.48981 | 5.1328 | 0 | 0 | 21.7545 | 33.935 | 0.64106
Totals for Measures/Categories with Benefits Exceeding Costs
| Totals Basis | Busbar Savings | PV Cost | First Cost | Admin Cost | Program Cost | Program $/KWa | Levelized Cost | PV Benefits | B/C Ratio
| Measures with B/C>1.00 | 10387.6154 | 2936.363 | 2936.36 | 587.2728 | 3523.6358 | 2971.5242 | 16.3714 | 6598.2914 | 1.8726
| Categories with B/C>1.00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7637.6128 | 0
| % of Measures with B/C >1.00 | 10624.1057 | 3769.8596 | 3769.8607 | 753.9721 | 4523.8318 | 3730.0801 | 20.5506 | 6748.5119 | 1.4918
| Block 1: x <=10 m/kWh | 2178.7763 | 286.5949 | 286.6 | 57.319 | 343.9139 | 1382.7421 | 7.6181 | 1383.9751 | 4.0242
| Block 2: 10< x <=20 m/kWh | 3945.117 | 944.8962 | 944.9 | 188.9793 | 1133.8756 | 2517.7327 | 13.8712 | 2505.968 | 2.2101
| Block 3: 20< x <=30 m/kWh | 4198.5848 | 1663.7052 | 1663.71 | 332.7412 | 1996.4463 | 4165.4199 | 22.949 | 2666.9727 | 1.3359
| Block 4: 30< x <=40 m/kWh | 65.1372 | 41.1667 | 41.17 | 8.2333 | 49.4 | 6643.5776 | 36.6022 | 41.3757 | 0.83756
| Block 5: 40< x <=50 m/kWh | 806.1596 | 582.2198 | 582.22 | 116.444 | 698.6638 | 7591.9146 | 41.827 | 512.0786 | 0.73294
| Block 6: 50< x <=60 m/kWh | 492.2587 | 498.7998 | 498.8 | 99.76 | 598.5598 | 10651.6826 | 58.6845 | 312.6865 | 0.5224
| Block 7: 60m/kWh < x | 337.7737 | 385.0374 | 385.04 | 77.0075 | 462.0449 | 11982.915 | 66.0188 | 214.5564 | 0.46436

## UA Optimizer
[29 empty] | 10920 SF | [6 empty] | 12492 SF
Formulas used by Measure Optimizer - Do not delete
[13 empty] | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 |  |  |  |  | Portland | Seattle | Boise | Spokane | Missoula | UA | Use | Portland | Seattle | Boise | Spokane | Missoula | UA | Use
|  | Component Areas |  | Component UA |  | Delta UA |  | Installed Cost (2000$/sf) | Installed Cost Total |  |  |  | Prototype | 10920 | [6 empty] | Prototype | 10920 | [6 empty] | 109079.4902 | 125174.685 | 140181.8635 | 174370.9933 | 204061.295 | 5000 | 204061.295 | 107189.5107 | 122915.3824 | 137405.4791 | 171867.9754 | 201233.9291 | 5000 | 201233.9291
Conservation Measure | Uo | 10920 | 12492 | 10920 | 12492 | 10920 | 12492 |  | 10920 | 12492 |  |  | Measure | $/Delta UA | Delta UA | Delta Cost |  |  |  |  | Measure | $/Delta UA | Delta UA | Delta Cost |  |  |  |  | 107508.116 | 123352.9739 | 138222.678 | 172064.6059 | 201392.9095 | 4950 | 201392.9095 | 105620.5977 | 121110.2549 | 135458.8632 | 169570.4366 | 198572.2824 | 4950 | 198572.2824
WALL R0 | 0.15437 | 5084 | 8432 | 784.8254 | 1301.6616 | 0 | 0 |  | 0 | 0 |  |  | WALL R0 | 0 | 0 | 0 |  |  |  |  | WALL R0 | 0 | 0 | 0 |  |  |  |  | 105936.5368 | 121536.2145 | 136263.8148 | 169759.918 | 198725.8717 | 4900 | 198725.8717 | 104051.4796 | 119310.6651 | 133515.4117 | 167273.3079 | 195914.3569 | 4900 | 195914.3569
WALL R11 | 0.094 | 5084 | 8432 | 477.896 | 792.608 | 306.9294 | 509.0536 | 0.81 | 4118.04 | 6829.92 |  |  | ATTIC R0 | 0 | 0 | 0 |  |  |  |  | ATTIC R0 | 0 | 0 | 0 |  |  |  |  | 104366.1295 | 119720.3926 | 134308.7606 | 167457.0173 | 196061.1778 | 4850 | 196061.1778 | 102483.2699 | 117514.5034 | 131577.8494 | 164979.3437 | 193258.8632 | 4850 | 193258.8632
ATTIC R0 | 0.163 | 3640 | 2148 | 593.32 | 350.124 | 0 | 0 | 0 | 0 | 0 |  |  | ATTIC R11 | 0 | 0 | 0 |  |  |  |  | ATTIC R11 | 0 | 0 | 0 |  |  |  |  | 102796.9528 | 117906.4752 | 132354.9077 | 165154.5561 | 193397.8904 | 4800 | 193397.8904 | 100916.9645 | 115719.162 | 129644.3598 | 162689.54 | 190605.5962 | 4800 | 190605.5962
ATTIC R11 | 0.08 | 3640 | 2148 | 291.2 | 171.84 | 0 | 0 | 0 | 0 | 0 |  |  | ATTIC R30 | 0 | 0 | 0 |  |  |  |  | ATTIC R30 | 0 | 0 | 0 |  |  |  |  | 101230.9698 | 116098.9159 | 130403.0179 | 162851.8898 | 190736.5954 | 4750 | 190736.5954 | 99354.5854 | 113922.5608 | 127715.1773 | 160400.4688 | 187952.7688 | 4750 | 187952.7688
ATTIC R19 | 0.06 | 3640 | 2148 | 218.4 | 128.88 | 374.92 | 221.244 | 0.64649 | 2353.2398 | 1388.6701 |  |  | VAULT R0 | 0 | 0 | 0 |  |  |  |  | VAULT R0 | 0 | 0 | 0 |  |  |  |  | 99664.8696 | 114295.0776 | 128453.8529 | 160551.9484 | 188077.9373 | 4700 | 188077.9373 | 97796.9528 | 112127.3074 | 125785.2329 | 158113.5658 | 185300.2051 | 4700 | 185300.2051
ATTIC R30 | 0.043 | 3640 | 2148 | 156.52 | 92.364 | 0 | 0 | 0 | 0 | 0 |  |  | VAULT R11 | 0 | 0 | 0 |  |  |  |  | VAULT R11 | 0 | 0 | 0 |  |  |  |  | 98100.1172 | 112493.5834 | 126507.4128 | 158256.0211 | 185419.4843 | 4650 | 185419.4843 | 96241.3712 | 110334.0463 | 123858.8339 | 155827.1316 | 182647.993 | 4650 | 182647.993
ATTIC R38 | 0.039 | 3640 | 2148 | 141.96 | 83.772 | 76.44 | 45.108 | 0.33 | 1201.2 | 708.84 |  |  | VAULT R19 | 0 | 0 | 0 |  |  |  |  | VAULT R30 | 0 | 24.063 | 0 |  |  |  |  | 96535.2476 | 110695.8394 | 124564.7524 | 155962.174 | 182761.7052 | 4600 | 182761.7052 | 94687.4011 | 108542.9534 | 121937.3572 | 153541.9865 | 179994.4916 | 4600 | 179994.4916
ATTIC R49 | 0.034 | 3640 | 2148 | 123.76 | 73.032 | 18.2 | 10.74 | 0.18 | 655.2 | 386.64 |  |  | VAULT R30 | 0 | 0 | 0 |  |  |  |  | FLOOR R0 | 0 | 0 | 0 |  |  |  |  | 94971.6965 | 108901.3771 | 122626.4284 | 153669.8799 | 180105.8599 | 4550 | 180105.8599 | 93133.6361 | 106754.0873 | 120015.9977 | 151263.3167 | 177344.5063 | 4550 | 177344.5063
VAULT R0 | 0.177 | 0 | 1851 | 0 | 327.627 | 0 | 0 | 0 | 0 | 0 |  |  | VAULT R38 | 0 | 0 | 0 |  |  |  |  | FLOOR R11 | 0 | 0 | 0 |  |  |  |  | 93409.9033 | 107109.0829 | 120688.2801 | 151380.4864 | 177453.5306 | 4500 | 177453.5306 | 91580.6915 | 104967.0964 | 118095.8687 | 148989.1591 | 174698.8573 | 4500 | 174698.8573
VAULT R11 | 0.073 | 0 | 1851 | 0 | 135.123 | 0 | 0 | 0 | 0 | 0 |  |  | VAULT R49 | 0 | 0 | 0 |  |  |  |  | CLASS 120 WINDOW | 0 | 0 | 0 |  |  |  |  | 91852.7688 | 105316.9352 | 118757.3103 | 149095.6636 | 174803.6039 | 4450 | 174803.6039 | 90030.1787 | 103183.5042 | 116177.4685 | 146714.4448 | 172057.4861 | 4450 | 172057.4861
VAULT R19 | 0.048 | 0 | 1851 | 0 | 88.848 | 0 | 238.779 | 0.64649 | 0 | 1196.6612 |  |  | FLOOR R0 | 0 | 0 | 0 |  |  |  |  | DOOR R2.5 | 0 | 0 | 0 |  |  |  |  | 90299.2089 | 103525.0806 | 116828.5086 | 146811.339 | 172153.7357 | 4400 | 172153.7357 | 88481.717 | 101401.4943 | 114266.5397 | 144440.5508 | 169420.4805 | 4400 | 169420.4805
VAULT R30 | 0.035 | 0 | 1851 | 0 | 64.785 | 0 | 24.063 | 0 | 0 | 0 |  |  | FLOOR R11 | 0 | 0 | 0 |  |  |  |  | INFILTRATION @ 0.45 ACH | 0 | 0 | 0 |  |  |  |  | 88745.8248 | 101735.3355 | 114903.1058 | 144528.6844 | 169504.395 | 4350 | 169504.395 | 86934.4565 | 99622.1799 | 112359.3906 | 142168.4442 | 166787.3718 | 4350 | 166787.3718
VAULT R38 | 0.03 | 0 | 1851 | 0 | 55.53 | 0 | 9.255 | 0.33 | 0 | 610.83 |  |  | CLASS 120 WINDOW | 0 | 0 | 0 |  |  |  |  | BASE CASE WINDOW - CLASS 54 | 0.00017187 | 725.5653 | 0.1247 |  |  |  |  | 87194.4623 | 99948.286 | 112984.3539 | 142246.9675 | 166855.5816 | 4300 | 166855.5816 | 85390.2432 | 97843.4515 | 110455.23 | 139899.3847 | 164154.2045 | 4300 | 164154.2045
VAULT R49 | 0.027 | 0 | 1851 | 0 | 49.977 | 0 | 5.553 | 0.22 | 0 | 407.22 |  |  | DOOR R2.5 | 0 | 0 | 0 |  |  |  |  | VAULT R19 | 6.6667 | 238.779 | 1591.86 |  |  |  |  | 85644.77 | 98163.5511 | 111066.6569 | 139968.2684 | 164205.5377 | 4250 | 164205.5377 | 83850.9229 | 96068.5028 | 108554.0287 | 137636.7712 | 161520.627 | 4250 | 161520.627
FLOOR R0 | 0.10597 | 3640 | 3800 | 385.7237 | 402.6786 | 0 | 0 | 0 | 0 | 0 |  |  | INFILTRATION @ 0.45 ACH | 0 | 0 | 0 |  |  |  |  | ATTIC R19 | 8.3495 | 221.244 | 1847.28 |  |  |  |  | 84095.8394 | 96383.0355 | 109150.3076 | 137696.0152 | 161560.3282 | 4200 | 161560.3282 | 82312.6575 | 94296.6598 | 106655.23 | 135377.2634 | 158891.0636 | 4200 | 158891.0636
FLOOR R11 | 0.055 | 3640 | 3800 | 200.2 | 209 | 0 | 0 | 0 | 0 | 0 |  |  | BASE CASE WINDOW - CLASS 54 | 0.00017187 | 663.3075 | 0.114 |  |  |  |  | FLOOR R19 | 12.3137 | 246.8786 | 3040 |  |  |  |  | 82552.0656 | 94605.1275 | 107236.2731 | 135424.4653 | 158921.213 | 4150 | 158921.213 | 80778.5819 | 92529.0946 | 104759.0097 | 133118.4588 | 156263.2874 | 4150 | 156263.2874
FLOOR R19 | 0.041 | 3640 | 3800 | 149.24 | 155.8 | 236.4837 | 246.8786 | 0.8 | 2912 | 3040 |  |  | ATTIC R19 | 8.3495 | 374.92 | 3130.4 |  |  |  |  | WALL R11 | 13.4169 | 509.0536 | 6829.92 |  |  |  |  | 81010.167 | 92829.036 | 105328.157 | 133155.1714 | 156287.4011 | 4100 | 156287.4011 | 79248.8427 | 90767.6824 | 102863.8734 | 130861.9396 | 153638.7929 | 4100 | 153638.7929
FLOOR R30 | 0.029 | 3640 | 3800 | 105.56 | 110.2 | 43.68 | 45.6 | 0.2 | 728 | 760 |  |  | FLOOR R19 | 12.3137 | 236.4837 | 2912 |  |  |  |  | ATTIC R38 | 15.7143 | 45.108 | 708.84 |  |  |  |  | 79470.4659 | 91054.5268 | 103423.4398 | 130886.8737 | 153656.4899 | 4050 | 153656.4899 | 77722.7952 | 89009.581 | 100968.5907 | 128607.1784 | 151020.8907 | 4050 | 151020.8907
FLOOR R38 | 0.025 | 3640 | 3800 | 91 | 95 | 14.56 | 15.2 | 0.13 | 473.2 | 494 |  |  | WALL R11 | 13.4169 | 306.9294 | 4118.04 |  |  |  |  | FLOOR R30 | 16.6667 | 45.6 | 760 |  |  |  |  | 77932.9915 | 89281.9221 | 101521.9455 | 128622.6487 | 151026.8386 | 4000 | 151026.8386 | 76200.5567 | 87258.5995 | 99077.3513 | 126354.4389 | 148405.5669 | 4000 | 148405.5669
CLASS 120 WINDOW | 1.0949 | 1140 | 1247 | 1248.1752 | 1365.3285 | 0 | 0 | 0 | 0 | 0 |  |  | ATTIC R38 | 15.7143 | 76.44 | 1201.2 |  |  |  |  | CLASS 35 PRIME WINDOW (Energy Star) | 21.2084 | 941.3485 | 19964.47 |  |  |  |  | 76399.4726 | 87513.4486 | 99624.8169 | 126366.2467 | 148397.8904 | 3950 | 148397.8904 | 74686.5807 | 85516.7887 | 97190.0967 | 124103.4574 | 145797.4216 | 3950 | 145797.4216
BASE CASE WINDOW - CLASS 120 | 1.0949 | 1140 | 1247 | 1248.1752 | 1365.3285 | 0 | 0 | 0.0001 | 0.114 | 0.1247 |  |  | FLOOR R30 | 16.6667 | 43.68 | 728 |  |  |  |  | FLOOR R38 | 32.5 | 15.2 | 494 |  |  |  |  | 74866.6569 | 85748.0809 | 97729.6513 | 124113.1556 | 145774.1283 | 3900 | 145774.1283 | 73180.9259 | 83779.9883 | 95306.8854 | 121854.1752 | 143190.6241 | 3900 | 143190.6241
CLASS 35 PRIME WINDOW (Energy Star) | 0.34 | 1140 | 1247 | 387.6 | 423.98 | 860.5752 | 941.3485 | 16.01 | 18251.4 | 19964.47 |  |  | CLASS 35 PRIME WINDOW (Energy Star) | 21.2084 | 860.5752 | 18251.4 |  |  |  |  | ATTIC R49 | 36 | 10.74 | 386.64 |  |  |  |  | 73336.654 | 83989.3935 | 95837.7967 | 121859.8301 | 143152.3879 | 3850 | 143152.3879 | 71678.2596 | 82045.0044 | 93424.9048 | 119610.5772 | 140583.2699 | 3850 | 140583.2699
CLASS 25 PRIME WINDOW | 0.245 | 1140 | 1247 | 279.3 | 305.515 | 108.3 | 118.465 | 4.8 | 5472 | 5985.6 |  |  | FLOOR R38 | 32.5 | 14.56 | 473.2 |  |  |  |  | INFILTRATION @ 0.35 ACH | 36.6901 | 179.8848 | 6600 |  |  |  |  | 71810.4014 | 82236.4489 | 93947.0554 | 119609.4052 | 140533.8705 | 3800 | 140533.8705 | 70177.0876 | 80316.027 | 91547.407 | 117368.1219 | 137981.3947 | 3800 | 137981.3947
DOOR R2.5 | 0.47 | 120 | 240 | 56.4 | 112.8 | 0 | 0 |  | 0 | 0 |  |  | ATTIC R49 | 36 | 18.2 | 655.2 |  |  |  |  | CLASS 25 PRIME WINDOW | 50.5263 | 118.465 | 5985.6 |  |  |  |  | 70290.419 | 80491.591 | 92059.0097 | 117358.5116 | 137919.5429 | 3750 | 137919.5429 | 68680.3985 | 78595.1655 | 89670.378 | 115130.7647 | 135384.0023 | 3750 | 135384.0023
DOOR R5 | 0.19 | 120 | 240 | 22.8 | 45.6 | 33.6 | 67.2 | 15.01 | 1801.2 | 3602.4 |  |  | INFILTRATION @ 0.35 ACH | 38.7433 | 170.352 | 6600 |  |  |  |  | DOOR R5 | 53.6071 | 67.2 | 3602.4 |  |  |  |  | 68783.9437 | 78756.7243 | 90174.5092 | 115110.46 | 135311.4562 | 3700 | 135311.4562 | 67183.7386 | 76876.7067 | 87798.1541 | 112899.0038 | 132786.8444 | 3700 | 132786.8444
INFILTRATION @ 0.45 ACH | 0.0081 | 94640 | 99936 | 766.584 | 809.4816 | 0 | 0 |  | 0 | 0 |  |  | CLASS 25 PRIME WINDOW | 50.5263 | 108.3 | 5472 |  |  |  |  | VAULT R38 | 66 | 9.255 | 610.83 |  |  |  |  | 67284.0609 | 77025.2857 | 88297.0114 | 112866.5397 | 132709.4345 | 3650 | 132709.4345 | 65689.7158 | 75164.3422 | 85927.0437 | 110671.0519 | 130193.0267 | 3650 | 130193.0267
INFILTRATION @ 0.35 ACH | 0.0063 | 94640 | 99936 | 596.232 | 629.5968 | 170.352 | 179.8848 | 550 | 6600 | 6600 |  |  | DOOR R5 | 53.6071 | 33.6 | 1801.2 |  |  |  |  | VAULT R49 | 73.3333 | 5.553 | 407.22 |  |  |  |  | 65785.6724 | 75298.0369 | 86421.6525 | 110630.7354 | 130107.9402 | 3600 | 130107.9402 | 64199.2968 | 73455.7574 | 84056.695 | 108446.7331 | 127603.4867 | 3600 | 127603.4867
[9 empty] | 0 | [19 empty] | 64289.0712 | 73577.4392 | 84547.0261 | 108397.5095 | 127509.2587 | 3550 | 127509.2587 | 62710.7823 | 71754.1459 | 82191.298 | 106224.9927 | 125019.3085 | 3550 | 125019.3085
[29 empty] | 62796.8649 | 71864.4301 | 82675.2417 | 106166.4811 | 124915.9684 | 3500 | 124915.9684 | 61223.9965 | 70063.9613 | 80329.622 | 104006.5338 | 122443.1878 | 3500 | 122443.1878
[13 empty] | Macro to update measure list=> "Ctl O" | [15 empty] | 61305.6548 | 70155.8746 | 80808.6141 | 103941.0782 | 122323.9086 | 3450 | 122323.9086 | 59744.2426 | 68380.9259 | 78467.3894 | 101797.3923 | 119871.843 | 3450 | 119871.843
[29 empty] | 59820.1875 | 68452.3293 | 78943.598 | 101718.2537 | 119736.5661 | 3400 | 119736.5661 | 58268.6786 | 66701.2306 | 76608.2039 | 99596.3961 | 117306.5045 | 3400 | 117306.5045
[29 empty] | 58334.6909 | 66755.3179 | 77080.838 | 99498.1248 | 117153.5892 | 3350 | 117153.5892 | 56796.1617 | 65020.8907 | 74753.3255 | 97394.3745 | 114744.6528 | 3350 | 114744.6528
[29 empty] | 56851.714 | 65064.3422 | 75220.5391 | 97280.6329 | 114577.2048 | 3300 | 114577.2048 | 55329.5341 | 63347.5242 | 72906.9733 | 95196.3375 | 112188.7489 | 3300 | 112188.7489
[13 empty] | Optimized Measure Order | [15 empty] | 55371.4035 | 63382.2737 | 73362.9651 | 95068.327 | 112008.409 | 3250 | 112008.409 | 53877.5857 | 61682.4202 | 71065.8365 | 93000.586 | 109641.1661 | 3250 | 109641.1661
UA Change - Based on C&R Discount Program FY02 ResWX Measure Reports |  |  |  | Pre-ResWX UA |  |  | Post-ResWX UA |  |  | Change in UA | [18 empty] | 53899.3847 | 61707.7058 | 71507.5007 | 92865.0747 | 109448.1395 | 3200 | 109448.1395 | 52434.896 | 60022.1799 | 69226.4577 | 90806.1236 | 107102.7542 | 3200 | 107102.7542
Component | Share of ResWx Measures Installed | Pre-ResWX U-Value | Post-ResWX U-Value | 10920 | 12492 | 11399.46 | 10920 | 12492 | 11399.46 | 10920 | 12492 | 11399.46 | Measure | UA | Delta UA | Installed Cost | Cumulative Installed Cost | Bldg Use | Unit Use | Bldg Savings | Measure | UA | Delta UA | Installed Cost | Cumulative Installed Cost | Bldg Use | Unit Use | Bldg Savings | 52433.8705 | 60033.6361 | 69655.4351 | 90669.0595 | 106893.8471 | 3150 | 106893.8471 | 50993.2611 | 58368.6786 | 67390.5069 | 88611.8371 | 104571.4914 | 3150 | 104571.4914
Attic R19 to R38 | 24.51% | 0.06 | 0.039 | 53.5298 | 31.5885 | 46.8377 | 34.7944 | 20.5325 | 30.4445 | 18.7354 | 11.056 | 16.3932 | Uninsulated Base | 3835.0282 | 0 |  |  | 142368.3105 | 11864.0259 |  | Uninsulated Base | 4669.7012 |  |  |  | 183693.028 | 15307.7523 | 0 | 50973.5716 | 58365.8365 | 67807.9402 | 88475.7691 | 104342.9534 | 3100 | 104342.9534 | 49551.8898 | 56724.2602 | 65563.9027 | 86418.4588 | 102045.1509 | 3100 | 102045.1509
Floor R0 to R19 | 13.8% | 0.10597 | 0.041 | 53.2234 | 55.5629 | 53.937 | 20.5926 | 21.4978 | 20.8687 | 32.6308 | 34.0651 | 33.0683 | ATTIC R19 | 3460.1082 | 374.92 | 3130.4 | 3130.4 | 122847.9307 | 10237.3276 | 19520.3798 | VAULT R19 | 4430.9222 | 238.779 | 1591.86 | 1591.86 | 171051.3206 | 14254.2767 | 12641.7074 | 49525.2271 | 56702.8128 | 65971.2863 | 86284.2953 | 101800.2051 | 3050 | 101800.2051 | 48114.0053 | 55084.2953 | 63741.5177 | 84229.8271 | 99522.2678 | 3050 | 99522.2678
Floor R19 to R30 | 12.5% | 0.041 | 0.029 | 18.654 | 19.4739 | 18.904 | 13.1943 | 13.7742 | 13.3712 | 5.4597 | 5.6997 | 5.5329 | FLOOR R19 | 3223.6245 | 236.4837 | 2912 | 6042.4 | 110657.8429 | 9221.4869 | 12190.0877 | ATTIC R19 | 4209.6782 | 221.244 | 1847.28 | 3439.14 | 159400.0522 | 13283.3377 | 11651.2684 | 48086.61 | 55050.6299 | 64137.24 | 84094.1694 | 99263.9027 | 3000 | 99263.9027 | 46679.3144 | 53448.4911 | 61920.5098 | 82046.9089 | 97004.0434 | 3000 | 97004.0434
Wall R0 to R11 | 21.15% | 0.15437 | 0.094 | 165.9981 | 275.314 | 199.3395 | 101.0796 | 167.6442 | 121.3818 | 64.9185 | 107.6697 | 77.9576 | WALL R11 | 2916.6952 | 306.9294 | 4118.04 | 10160.44 | 95057.4292 | 7921.4524 | 15600.4138 | FLOOR R19 | 3962.7996 | 246.8786 | 3040 | 6479.14 | 146465.0872 | 12205.4239 | 12934.9649 | 46650.5713 | 53405.5669 | 62306.5924 | 81903.8969 | 96736.2145 | 2950 | 96736.2145 | 45249.9561 | 51822.8538 | 60103.4574 | 79870.6124 | 94496.6598 | 2950 | 94496.6598
Energy Star Prime Window Replacements | 28.04% | 1.0949 | 0.34 | 350.0062 | 382.8576 | 360.0259 | 108.6886 | 118.8901 | 111.8 | 241.3176 | 263.9676 | 248.2258 | ATTIC R38 | 2840.2552 | 76.44 | 1201.2 | 11361.64 | 91209.597 | 7600.7997 | 3847.8322 | WALL R11 | 3453.7461 | 509.0536 | 6829.92 | 13309.06 | 120064.4916 | 10005.3743 | 26400.5957 | 45216.1735 | 51773.0149 | 60483.2406 | 79713.8588 | 94215.8805 | 2900 | 94215.8805 | 43825.1978 | 50199.8242 | 58298.3299 | 77699.7949 | 92001.4064 | 2900 | 92001.4064
UA of Retrofitted Components | 100% |  |  | 641.4115 | 764.7969 | 679.044 | 278.3495 | 342.3388 | 297.8662 | 363.062 | 422.4581 | 381.1778 | FLOOR R30 | 2796.5752 | 43.68 | 728 | 12089.64 | 89015.0119 | 7417.9177 | 2194.5851 | ATTIC R38 | 3408.6381 | 45.108 | 708.84 | 14017.9 | 117749.6959 | 9812.4747 | 2314.7957 | 43786.1412 | 50143.6859 | 58663.932 | 77529.7099 | 91699.3847 | 2850 | 91699.3847 | 42399.0038 | 48583.4749 | 56507.3542 | 75537.9139 | 89515.3824 | 2850 | 89515.3824
[13 empty] | CLASS 35 PRIME WINDOW (Energy Star) | 1936 | 860.5752 | 18251.4 | 30341.04 | 47611.5863 | 3967.6322 | 41403.4256 | FLOOR R30 | 3363.0381 | 45.6 | 760 | 14777.9 | 115412.6847 | 9617.7237 | 2337.0112 | 42358.8046 | 48520.2168 | 56849.5459 | 75354.7905 | 89186.317 | 2800 | 89186.317 | 40979.6953 | 46984.1488 | 54724.0551 | 73388.3094 | 87033.8705 | 2800 | 87033.8705
[13 empty] | FLOOR R38 | 1921.44 | 14.56 | 473.2 | 30814.24 | 46945.8534 | 3912.1545 | 665.7329 | CLASS 35 PRIME WINDOW (Energy Star) | 2421.6896 | 941.3485 | 19964.47 | 34742.37 | 68599.1952 | 5716.5996 | 46813.4895 | 40939.5839 | 46905.1861 | 55040.1992 | 73186.1412 | 86685.3794 | 2750 | 86685.3794 | 39566.5397 | 45393.9643 | 52944.8579 | 71250.7471 | 84558.0428 | 2750 | 84558.0428
[13 empty] | ATTIC R49 | 1903.24 | 18.2 | 655.2 | 31469.44 | 46113.6874 | 3842.8073 | 832.1661 | FLOOR R38 | 2406.4896 | 15.2 | 494 | 35236.37 | 67872.9265 | 5656.0772 | 726.2687 | 39520.2754 | 45292.0012 | 53243.2171 | 71025.8131 | 84194.6967 | 2700 | 84194.6967 | 38158.6288 | 43818.869 | 51174.8608 | 69119.7187 | 82099.0917 | 2700 | 82099.0917
Average Use of UnInsulated Pre-1979 Stock in 2025 | [12 empty] | INFILTRATION @ 0.35 ACH | 1732.888 | 170.352 | 6600 | 38069.44 | 38423.1166 | 3201.9264 | 7690.5708 | ATTIC R49 | 2395.7496 | 10.74 | 386.64 | 35623.01 | 67360.8138 | 5613.4012 | 512.1126 | 38103.4867 | 43699.3847 | 51462.5256 | 68873.5423 | 81713.8881 | 2650 | 81713.8881 | 36760.7091 | 42250.9522 | 49416.613 | 66999.8828 | 79655.523 | 2650 | 79655.523
Component | 10920 | 12492 | 11399.46 | 949.955 | [8 empty] | CLASS 25 PRIME WINDOW | 1624.588 | 108.3 | 5472 | 43541.44 | 33619.5445 | 2801.6287 | 4803.5722 | INFILTRATION @ 0.35 ACH | 2215.8648 | 179.8848 | 6600 | 42223.01 | 58884.3878 | 4907.0323 | 8476.4261 | 36696.5426 | 42115.5582 | 49689.7744 | 66731.673 | 79244.5942 | 2600 | 79244.5942 | 35364.6938 | 40694.1987 | 47665.3677 | 64892.9974 | 77219.7187 | 2600 | 77219.7187
WALL R0 | 784.8254 | 1301.6616 | 942.4604 | [9 empty] | DOOR R5 | 1590.988 | 33.6 | 1801.2 | 45342.64 | 32148.255 | 2679.0212 | 1471.2895 | CLASS 25 PRIME WINDOW | 2097.3998 | 118.465 | 5985.6 | 48208.61 | 53395.7886 | 4449.6491 | 5488.5991 | 35292.3528 | 40538.3241 | 47921.2716 | 64604.4243 | 76782.3909 | 2550 | 76782.3909 | 33979.6074 | 39156.7243 | 45918.5174 | 62791.4738 | 74786.9616 | 2550 | 74786.9616
ATTIC R0 | 593.32 | 350.124 | 519.1452 | [17 empty] | DOOR R5 | 2030.1998 | 67.2 | 3602.4 | 51811.01 | 50307.1427 | 4192.2619 | 3088.6459 | 33897.656 | 38969.499 | 46166.8327 | 62485.0278 | 74332.9329 | 2500 | 74332.9329 | 32608.2625 | 37627.2195 | 44183.4163 | 60695.7515 | 72363.6976 | 2500 | 72363.6976
VAULT R0 | 0 | 327.627 | 99.9262 | [17 empty] | VAULT R38 | 2020.9448 | 9.255 | 610.83 | 52421.84 | 49883.723 | 4156.9769 | 423.4196 | 32510.4307 | 37421.1544 | 44420.9493 | 60378.4354 | 71900.2637 | 2450 | 71900.2637 | 31246.2643 | 36104.395 | 42461.4415 | 58607.3835 | 69951.8898 | 2450 | 69951.8898
FLOOR R0 | 385.7237 | 402.6786 | 390.8949 | [17 empty] | VAULT R49 | 2015.3918 | 5.553 | 407.22 | 52829.06 | 49629.6713 | 4135.8059 | 254.0518 | 31133.9877 | 35889.8037 | 42679.5781 | 58281.8635 | 69474.2748 | 2400 | 69474.2748 | 29900.6153 | 34587.0788 | 40744.7993 | 56533.9877 | 67562.8479 | 2400 | 67562.8479
CLASS 120 WINDOW | 1248.1752 | 1365.3285 | 1283.9069 | [25 empty] | 29769.5576 | 34367.6238 | 40947.2898 | 56195.3706 | 67059.5957 | 2350 | 67059.5957 | 28572.2238 | 33081.1896 | 39031.8781 | 54469.5283 | 65186.1998 | 2350 | 65186.1998
DOOR R2.5 | 56.4 | 112.8 | 73.602 | [25 empty] | 28415.8512 | 32852.9153 | 39227.4246 | 54115.3238 | 64649.1943 | 2300 | 64649.1943 | 27257.3103 | 31590.6827 | 37339.6718 | 52404.8052 | 62826.7507 | 2300 | 62826.7507
INFILTRATION @ 0.45 ACH | 766.584 | 809.4816 | 779.6678 | [25 empty] | 27078.7577 | 31344.8579 | 37518.6346 | 52045.7662 | 62258.5995 | 2250 | 62258.5995 | 25947.9344 | 30109.3173 | 35658.5409 | 50349.1943 | 60479.0507 | 2250 | 60479.0507
Total UA | 3835.0282 | 4669.7012 | 4089.6035 | [25 empty] | 25759.1855 | 29851.8019 | 35811.925 | 49987.8113 | 59882.1272 | 2200 | 59882.1272 | 24659.7422 | 28641.84 | 33990.8292 | 48298.0662 | 58143.2464 | 2200 | 58143.2464
Mean Use (kwh/yr) | 142368.3105 | 183693.028 | 154972.3493 | [25 empty] | 24451.5382 | 28375.0659 | 34123.0296 | 47928.8016 | 57527.2781 | 2150 | 57527.2781 | 23390.6534 | 27178.8456 | 32333.6361 | 46249.8682 | 55822.7073 | 2150 | 55822.7073
Mean Use/Unit | 11864.0259 | 15307.7523 | 12914.3624 | [25 empty] | 23157.0173 | 26903.9555 | 32450.0732 | 45878.6112 | 55185.8775 | 2100 | 55185.8775 | 22122.6194 | 25714.5327 | 30684.5004 | 44212.9505 | 53515.5289 | 2100 | 53515.5289
[29 empty] | 21889.3642 | 25449.8682 | 30796.3082 | 43831.7316 | 52862.6721 | 2050 | 52862.6721 | 20860.7384 | 24264.1371 | 29044.3891 | 42191.4738 | 51213.0091 | 2050 | 51213.0091
Average Use of Unweatherized Pre-1979 Stock in 2025 |  |  | Weighted | [25 empty] | 20631.6144 | 23995.1069 | 29151.0694 | 41795.3706 | 50552.593 | 2000 | 50552.593 | 19605.9185 | 22833.1087 | 27429.8271 | 40196.5719 | 48925.4908 | 2000 | 48925.4908
Component | 10920 | 12492 | 11399.46 | 949.955 | [24 empty] | 19377.7615 | 22549.6338 | 27517.5798 | 39773.9818 | 48251.714 | 1950 | 48251.714 | 18358.3358 | 21418.8983 | 25848.1688 | 38227.9519 | 46650.6885 | 1950 | 46650.6885
WALL R11 | 477.896 | 792.608 | 573.8832 | [25 empty] | 18131.7902 | 21119.8945 | 25895.019 | 37769.206 | 45965.5435 | 1900 | 45965.5435 | 17124.5532 | 20026.8972 | 24294.8139 | 36266.8913 | 44382.596 | 1900 | 44382.596
ATTIC R38 | 141.96 | 83.772 | 124.2127 | [25 empty] | 16889.8623 | 19710.5772 | 24311.2511 | 35801.5529 | 43694.726 | 1850 | 43694.726 | 15910.2842 | 18672.4582 | 22754.8198 | 34318.1365 | 42129.5634 | 1850 | 42129.5634
VAULT R19 | 0 | 88.848 | 27.0986 | [25 empty] | 15665.3091 | 18321.2716 | 22757.0466 | 33849.0771 | 41433.2259 | 1800 | 41433.2259 | 14718.6346 | 17339.6132 | 21234.2221 | 32384.4418 | 39887.2253 | 1800 | 39887.2253
FLOOR R19 | 149.24 | 155.8 | 151.2408 | [25 empty] | 14460.3282 | 16970.964 | 21219.7187 | 31908.0281 | 39187.2253 | 1750 | 39187.2253 | 13552.2707 | 16026.8386 | 19723.2933 | 30472.8977 | 37661.5294 | 1750 | 37661.5294
BASE CASE WINDOW - CLASS 120 | 1248.1752 | 1365.3285 | 1283.9069 | [25 empty] | 13282.9476 | 15654.351 | 19701.9924 | 29981.0724 | 36954.5561 | 1700 | 36954.5561 | 12426.2233 | 14732.9329 | 18254.2045 | 28578.787 | 35463.0823 | 1700 | 35463.0823
DOOR R2.5 | 56.4 | 112.8 | 73.602 | [25 empty] | 12135.189 | 14354.5561 | 18197.3044 | 28075.7984 | 34735.3941 | 1650 | 34735.3941 | 11339.0858 | 13468.1805 | 16817.8728 | 26716.7594 | 33281.9514 | 1650 | 33281.9514
INFILTRATION @ 0.45 ACH | 766.584 | 809.4816 | 779.6678 | [25 empty] | 11024.4946 | 13079.9883 | 16729.1239 | 26192.8802 | 32539.8769 | 1600 | 32539.8769 | 10278.5526 | 12240.8731 | 15436.2731 | 24896.191 | 31133.4017 | 1600 | 31133.4017
Total UA | 2840.2552 | 3408.6381 | 3013.612 | [25 empty] | 9955.816 | 11841.4884 | 15307.5593 | 24336.947 | 30367.0964 | 1550 | 30367.0964 | 9277.1462 | 11047.8758 | 14102.2561 | 23119.3085 | 29011.2218 | 1550 | 29011.2218
Mean Use (kwh/yr) | 91209.597 | 117749.6959 | 99304.3271 | [25 empty] | 8926.5163 | 10638.8808 | 13933.724 | 22527.0437 | 28233.5482 | 1500 | 28233.5482 | 8317.5798 | 9901.2013 | 12800.1172 | 21365.8951 | 26909.1122 | 1500 | 26909.1122
Mean Use/Unit | 7600.7997 | 9812.4747 | 8275.3606
Average Use @ Cost Effective UA in 2025 |  | Cost | Weighted
Component | 10920 | 12492 | 11399.46
Wall R11 | 477.896 | 792.608 | 573.8832
ATTIC R38 | 141.96 | 83.772 | 124.2127
VAULT R19 | 0 | 88.848 | 27.0986
FLOOR R30 | 105.56 | 110.2 | 106.9752
CLASS 35 PRIME WINDOW (Energy Star) | 387.6 | 423.98 | 398.6959
DOOR R2.5 | 56.4 | 112.8 | 73.602
INFILTRATION @ 0.45 ACH | 766.584 | 809.4816 | 779.6678
Total UA | 1936 | 2421.6896 | 2084.1353
Mean Use (kwh/yr) | 47611.5863 | 68599.1952 | 54012.807
Mean Use/Unit | 3967.6322 | 5716.5996 | 4501.0673 | 3774.2933
Cost-Effective UA | 1732.888 | 2215.8648 | 1880.1959
Change in UA | 363.062 | 422.4581 | 381.1778
Pre-Retrofit UA | 2095.95 | 2638.3229 | 2261.3738
Incremental Cost
Component | Share of ResWx Measures Installed | 10920 | 12492 | 11399.46 | Weighted Avg. Cost/Unit
ATTIC R38 | 24.51% | 1201.2 | 1319.67 | 1237.3334 | 103.1111
FLOOR R19 | 13.8% | 2912 | 3040 | 2951.04 | 245.92
FLOOR R30 | 12.5% | 728 | 760 | 737.76 | 61.48
WALL R11 | 21.15% | 4118.04 | 6829.92 | 4945.1634 | 412.0969
CLASS 35 PRIME WINDOW (Energy Star) | 28.04% | 18251.4 | 19964.47 | 18773.8864 | 1564.4905
UA of Retrofitted Components | 100% | 6776.175 | 7880.8317 | 7113.0953 | 592.7579
Incremental Savings - Zone 1
|  | 10920 | 12492 | 11399.46 | Weighted Avg. Savings/Unit
|  | 2496.644 | 1512.5645 | 2196.4997 | 183.0416
|  | 7978.6845 | 8589.3703 | 8164.9437 | 680.412
|  | 1421.4412 | 1528.1561 | 1453.9893 | 121.1658
|  | 10160.4129 | 17350.18 | 12353.2919 | 1029.441
|  | 26509.2505 | 30354.792 | 27682.1407 | 2306.8451
|  | 11473.1208 | 13928.5762 | 12222.0347 | 1018.5029
Incremental Savings - Zone 2
|  | 10920 | 12492 | 11399.46 | Weighted Avg. Savings/Unit
|  | 3279.9035 | 3906.63 | 3471.0551 | 289.2546
|  | 10311.1078 | 10962.8719 | 10509.8958 | 875.8247
|  | 1865.8474 | 1974.767 | 1899.0679 | 158.2557
|  | 13231.358 | 22348.5085 | 16012.0889 | 1334.3407
|  | 35312.2693 | 39812.6693 | 36684.8913 | 3057.0743
|  | 15160.5076 | 18608.0067 | 16211.9948 | 1350.9996
Incremental Savings - Zone 3
|  | 10920 | 12492 | 11399.46 | Weighted Avg. Savings/Unit
|  | 3847.8322 | 4629.5914 | 4086.2688 | 340.5224
|  | 12190.0877 | 12934.9649 | 12417.2753 | 1034.7729
|  | 2194.5851 | 2337.0112 | 2238.025 | 186.5021
|  | 15600.4138 | 26400.5957 | 18894.4692 | 1574.5391
|  | 41403.4256 | 46813.4895 | 43053.4951 | 3587.7913
|  | 17809.1901 | 21922.784 | 19063.8362 | 1588.653
Incremental Savings - PNW Region
|  | 10920 | 12492 | 11399.46 | Weighted Avg. Savings/Unit
|  | 2710.0745 | 3272.8177 | 2881.7112 | 240.1426
|  | 8634.3505 | 9276.2063 | 8830.1165 | 735.843
|  | 1542.7397 | 1653.7389 | 1576.5944 | 131.3829
|  | 11015.6152 | 18770.8636 | 13380.9659 | 1115.0805
|  | 28845.2555 | 32920.5141 | 30088.2094 | 2507.3508
|  | 12466.9977 | 15490.4362 | 13389.1464 | 1115.7622
Incremental Savings CASE => Heating Zone 3
|  | 10920 | 12492 | 11399.46 | Weighted Avg. Savings/Unit
|  | 3847.8322 | 4629.5914 | 4086.2688 | 340.5224
|  | 12190.0877 | 12934.9649 | 12417.2753 | 1034.7729
|  | 2194.5851 | 2337.0112 | 2238.025 | 186.5021
|  | 15600.4138 | 26400.5957 | 18894.4692 | 1574.5391
|  | 41403.4256 | 46813.4895 | 43053.4951 | 3587.7913
|  | 17809.1901 | 21922.784 | 19063.8362 | 1588.653

## Cost-Effectiveness Level
Select Climate Zone | [9 empty] | Weighted
Location Climate Data | Portland | Seattle | Boise | Spokane | Missoula |  | Avg. Unit Size | 910 | 1041 | 949.955
Selected Climate Weights => | 0% | 0% | 0% | 0% | 100% | 100% | Prototype Size => | 10920 | 12492 | 11399.46
Heating Zone Weight Data | [6 empty] | Prototype Weights => | 69.5% | 30.5% | 100%
Heating Zone 1 | 25% | 53% | 22% | 0% | 0% | 100%
Heating Zone 2 | 0% | 0% | 15% | 85% | 0% | 100%
Heating Zone 3 | 0% | 0% | 0% | 0% | 100% | 100%
PNW Region | 20% | 44% | 15% | 15% | 6% | 100%
Portland | 100% | 0% | 0% | 0% | 0% | 100%
Seattle | 0% | 100% | 0% | 0% | 0% | 100%
Boise | 0% | 0% | 100% | 0% | 0% | 100%
Spokane | 0% | 0% | 0% | 100% | 0% | 100%
Missoula | 0% | 0% | 0% | 0% | 100% | 100%
3 | 1 | 2 | 3 | 4 | 5 | [12 empty] | Prototype Measure Optimization
Heat Degree Days* | 4461 | 4867 | 6001 | 6888 | 7980 | 7980 | [11 empty] | C&RD Measure Reports
*After selecting "Case", Procost must be re-run to update cost-effectiveness calculation for selected case. | [17 empty] | 2
This section calculates the cost-effective UA for weatherization | [11 empty] | Select Cost and Saving Method =>
| Building UA |  | Annual Use/Unit (kWh/yr)) |  |  | Annual Savings/Unit (kWh/yr) |  |  | Cost/Unit Using UA vs Cumulative Cost Curve Fit |  |  | Remaining Potential in "UnWeatherized" Pre-1979 Stock, in 2025
Cost Effective UA & Use | 10920 | 12492 | 10920 | 12492 | Weighted Average 11399 | 10920 | 12492 | Weighted Average 11399 | 10920 | 12492 | Weighted Average 11399 | Location | Pre-Weatherization Use (kWh/yr) | Post Weatherization Use (kWh/yr) | Savings (kWh/yr) | Incremental Cost (2000$) | To Update this table, "Copy>Paste Special>Formulas" N30:Q30 to N21:Q29. Then select each climate zone/location in cell B1. Re-Run Procost and then "Copy>Paste Special>Values" across columns N:Q for data on the line for the climate zone/location case selected. Repeat process until all locations have been updated and changed to values.
Average UA & Use of UnInsulated Pre-1979 Stock in 2000 | 3835.0282 | 4669.7012 | 11864.0259 | 15307.7523 | 12914.3624 | [6 empty] | Heating Zone 1 | 3153.1643 | 2200.7261 | 952.4382 | 880.2633
Pre-Weatherization UA & Use w/100% Measures | 2840.2552 | 3408.6381 | 7600.7997 | 9812.4747 | 8275.3606 | 4263.2261 | 5495.2777 | 4639.0018 | 825.5449 | 822.291 | 824.5525 | Heating Zone 2 | 4154.838 | 2907.2809 | 1247.5571 | 1130.365
Pre-Weaherization UA & Use Adj. For C&RD | 2095.95 | 2638.3229 | 4583.1416 | 6590.555 | 5195.4027 | 3017.6581 | 3221.9197 | 3079.9579 | 2090.2351 | 2232.7953 | 2133.716 | Heating Zone 3 | 5195.4027 | 3721.9837 | 1473.419 | 1130.365
Case Cost Effective UA & Use of Weatherized Unit=> | 1732.888 | 2215.8648 | 3201.9264 | 4907.0323 | 3721.9837 | 1381.2152 | 1683.5226 | 1473.419 | 3167.0708 | 3485.1368 | 3264.0809 | PNW Region | 3580.4519 | 2544.2192 | 1036.2327 | 884.936
| 10920 |  | 12492 |  |  | Incremental Cost for ResWX => |  |  | 1076.8357 | 1252.3416 | 1130.365 | Portland | 2717.7177 | 1876.9003 | 840.8173 | 880.2633
| UA | CE? | UA | CE? | [7 empty] | Seattle | 3131.165 | 2178.6315 | 952.5335 | 880.2633
| 3460.1082 | FALSE | 4430.9222 | FALSE | [7 empty] | Boise | 3658.3902 | 2581.3089 | 1077.0813 | 895.1328
| 3223.6245 | FALSE | 4209.6782 | FALSE | [7 empty] | Spokane | 4337.9414 | 3053.9291 | 1284.0123 | 1130.365
| 2916.6952 | FALSE | 3962.7996 | FALSE | [7 empty] | Missoula | 5195.4027 | 3721.9837 | 1473.419 | 1130.365
| 2840.2552 | FALSE | 3453.7461 | FALSE | [7 empty] | CASE => Heating Zone 3 | 5195.4027 | 3721.9837 | 1473.419 | 1130.365
| 2796.5752 | FALSE | 3408.6381 | FALSE
| 1936 | FALSE | 3363.0381 | FALSE | [7 empty] | Remaining Potential in "UnWeatherized" Pre-1979 Stock, in 2025 with Cost and Savings based on Measures Reported in C&RD for FY02
| 1921.44 | FALSE | 2421.6896 | FALSE
| 1903.24 | FALSE | 2406.4896 | FALSE | [7 empty] | Location | Pre-Weatherization Use (kWh/yr) | Post Weatherization Use (kWh/yr) | Savings (kWh/yr) | Incremental Cost (2000$)
| 1732.888 | TRUE | 2395.7496 | FALSE | [7 empty] | Heating Zone 1 | 3220.5295 | 2200.7261 | 1019.8034 | 592.7579
| 1732.888 | FALSE | 2215.8648 | TRUE | [7 empty] | Heating Zone 2 | 4248.0611 | 2907.2809 | 1340.7802 | 592.7579
| 1624.588 | FALSE | 2215.8648 | FALSE | [7 empty] | Heating Zone 3 | 5310.6367 | 3721.9837 | 1588.653 | 592.7579
| 1590.988 | FALSE | 2097.3998 | FALSE | [7 empty] | PNW Region | 3648.3778 | 2544.2192 | 1104.1586 | 592.7579
|  |  | 2030.1998 | FALSE | [7 empty] | CASE => Heating Zone 3 | 5310.6367 | 3721.9837 | 1588.653 | 592.7579
|  |  | 2020.9448 | FALSE
|  |  | 2015.3918 | FALSE
This section calculates the cumulative incremental cost/unit of achieving the cost-effective UA.
Prototype | 10920 |  | 12492 |  | Weighted Average
Incremental Cost over "UnInsulated Pre-1979" Unit @ CE UA | 3172.4533 |  | 3518.5842 |  | 3278.0232
Incremental Cost over "UnWeatherized Pre-1979" Unit @ CE UA | 2346.9084 |  | 2696.2932 |  | 2453.4707
| 3130.4 | FALSE | 1591.86 | FALSE
| 6042.4 | FALSE | 3439.14 | FALSE
| 10160.44 | FALSE | 6479.14 | FALSE
| 11361.64 | FALSE | 13309.06 | FALSE
| 12089.64 | FALSE | 14017.9 | FALSE
| 30341.04 | FALSE | 14777.9 | FALSE
| 30814.24 | FALSE | 34742.37 | FALSE
| 31469.44 | FALSE | 35236.37 | FALSE
| 38069.44 | TRUE | 35623.01 | FALSE
| 38069.44 | FALSE | 42223.01 | TRUE
| 43541.44 | FALSE | 42223.01 | FALSE
| 45342.64 | FALSE | 48208.61 | FALSE
|  |  | 51811.01 | FALSE
|  |  | 52421.84 | FALSE
|  |  | 52829.06 | FALSE
Prototype Weights => |  | 69.5% |  | 30.5%
| 10920 |  | 12492 |  | Weighted Average
| UA | Building Use (kWh/yr) | UA | Building Use (kWh/yr) | UA | Use /Bldg | Use /Unit
| 5000 | 204061.295 | 5000 | 201233.9291 | 5000 | 203198.9484 | 16933.2457
| 4950 | 201392.9095 | 4950 | 198572.2824 | 4950 | 200532.6182 | 16711.0515
| 4900 | 198725.8717 | 4900 | 195914.3569 | 4900 | 197868.3597 | 16489.03
| 4850 | 196061.1778 | 4850 | 193258.8632 | 4850 | 195206.4719 | 16267.206
| 4800 | 193397.8904 | 4800 | 190605.5962 | 4800 | 192546.2407 | 16045.5201
| 4750 | 190736.5954 | 4750 | 187952.7688 | 4750 | 189887.5283 | 15823.9607
| 4700 | 188077.9373 | 4700 | 185300.2051 | 4700 | 187230.729 | 15602.5607
| 4650 | 185419.4843 | 4650 | 182647.993 | 4650 | 184574.1795 | 15381.1816
| 4600 | 182761.7052 | 4600 | 179994.4916 | 4600 | 181917.7051 | 15159.8088
| 4550 | 180105.8599 | 4550 | 177344.5063 | 4550 | 179263.6471 | 14938.6373
| 4500 | 177453.5306 | 4500 | 174698.8573 | 4500 | 176613.3553 | 14717.7796
| 4450 | 174803.6039 | 4450 | 172057.4861 | 4450 | 173966.0379 | 14497.1698
| 4400 | 172153.7357 | 4400 | 169420.4805 | 4400 | 171320.0929 | 14276.6744
| 4350 | 169504.395 | 4350 | 166787.3718 | 4350 | 168675.7029 | 14056.3086
| 4300 | 166855.5816 | 4300 | 164154.2045 | 4300 | 166031.6616 | 13835.9718
| 4250 | 164205.5377 | 4250 | 161520.627 | 4250 | 163386.6399 | 13615.5533
| 4200 | 161560.3282 | 4200 | 158891.0636 | 4200 | 160746.2025 | 13395.5169
| 4150 | 158921.213 | 4150 | 156263.2874 | 4150 | 158110.5457 | 13175.8788
| 4100 | 156287.4011 | 4100 | 153638.7929 | 4100 | 155479.5756 | 12956.6313
| 4050 | 153656.4899 | 4050 | 151020.8907 | 4050 | 152852.6321 | 12737.7193
| 4000 | 151026.8386 | 4000 | 148405.5669 | 4000 | 150227.3507 | 12518.9459
| 3950 | 148397.8904 | 3950 | 145797.4216 | 3950 | 147604.7474 | 12300.3956
| 3900 | 145774.1283 | 3900 | 143190.6241 | 3900 | 144986.1595 | 12082.18
| 3850 | 143152.3879 | 3850 | 140583.2699 | 3850 | 142368.8069 | 11864.0672
| 3800 | 140533.8705 | 3800 | 137981.3947 | 3800 | 139755.3654 | 11646.2804
| 3750 | 137919.5429 | 3750 | 135384.0023 | 3750 | 137146.203 | 11428.8503
| 3700 | 135311.4562 | 3700 | 132786.8444 | 3700 | 134541.4496 | 11211.7875
| 3650 | 132709.4345 | 3650 | 130193.0267 | 3650 | 131941.9301 | 10995.1608
| 3600 | 130107.9402 | 3600 | 127603.4867 | 3600 | 129344.0819 | 10778.6735
| 3550 | 127509.2587 | 3550 | 125019.3085 | 3550 | 126749.8239 | 10562.4853
| 3500 | 124915.9684 | 3500 | 122443.1878 | 3500 | 124161.7703 | 10346.8142
| 3450 | 122323.9086 | 3450 | 119871.843 | 3450 | 121576.0286 | 10131.3357
| 3400 | 119736.5661 | 3400 | 117306.5045 | 3400 | 118995.3973 | 9916.2831
| 3350 | 117153.5892 | 3350 | 114744.6528 | 3350 | 116418.8636 | 9701.572
| 3300 | 114577.2048 | 3300 | 112188.7489 | 3300 | 113848.7258 | 9487.3938
| 3250 | 112008.409 | 3250 | 109641.1661 | 3250 | 111286.3999 | 9273.8667
| 3200 | 109448.1395 | 3200 | 107102.7542 | 3200 | 108732.797 | 9061.0664
| 3150 | 106893.8471 | 3150 | 104571.4914 | 3150 | 106185.5286 | 8848.794
| 3100 | 104342.9534 | 3100 | 102045.1509 | 3100 | 103642.1236 | 8636.8436
| 3050 | 101800.2051 | 3050 | 99522.2678 | 3050 | 101105.4342 | 8425.4529
| 3000 | 99263.9027 | 3000 | 97004.0434 | 3000 | 98574.6456 | 8214.5538
| 2950 | 96736.2145 | 2950 | 94496.6598 | 2950 | 96053.1503 | 8004.4292
| 2900 | 94215.8805 | 2900 | 92001.4064 | 2900 | 93540.4659 | 7795.0388
| 2850 | 91699.3847 | 2850 | 89515.3824 | 2850 | 91033.264 | 7586.1053
| 2800 | 89186.317 | 2800 | 87033.8705 | 2800 | 88529.8208 | 7377.4851
| 2750 | 86685.3794 | 2750 | 84558.0428 | 2750 | 86036.5418 | 7169.7118
| 2700 | 84194.6967 | 2700 | 82099.0917 | 2700 | 83555.5372 | 6962.9614
| 2650 | 81713.8881 | 2650 | 79655.523 | 2650 | 81086.0867 | 6757.1739
| 2600 | 79244.5942 | 2600 | 77219.7187 | 2600 | 78627.0072 | 6552.2506
| 2550 | 76782.3909 | 2550 | 74786.9616 | 2550 | 76173.7849 | 6347.8154
| 2500 | 74332.9329 | 2500 | 72363.6976 | 2500 | 73732.3161 | 6144.3597
| 2450 | 71900.2637 | 2450 | 69951.8898 | 2450 | 71306.0097 | 5942.1675
| 2400 | 69474.2748 | 2400 | 67562.8479 | 2400 | 68891.2896 | 5740.9408
| 2350 | 67059.5957 | 2350 | 65186.1998 | 2350 | 66488.2099 | 5540.6842
| 2300 | 64649.1943 | 2300 | 62826.7507 | 2300 | 64093.349 | 5341.1124
| 2250 | 62258.5995 | 2250 | 60479.0507 | 2250 | 61715.8371 | 5142.9864
| 2200 | 59882.1272 | 2200 | 58143.2464 | 2200 | 59351.7685 | 4945.9807
| 2150 | 57527.2781 | 2150 | 55822.7073 | 2150 | 57007.384 | 4750.6153
| 2100 | 55185.8775 | 2100 | 53515.5289 | 2100 | 54676.4212 | 4556.3684
| 2050 | 52862.6721 | 2050 | 51213.0091 | 2050 | 52359.5249 | 4363.2937
| 2000 | 50552.593 | 2000 | 48925.4908 | 2000 | 50056.3268 | 4171.3606
| 1950 | 48251.714 | 1950 | 46650.6885 | 1950 | 47763.4013 | 3980.2834
| 1900 | 45965.5435 | 1900 | 44382.596 | 1900 | 45482.7445 | 3790.2287
| 1850 | 43694.726 | 1850 | 42129.5634 | 1850 | 43217.3515 | 3601.446
| 1800 | 41433.2259 | 1800 | 39887.2253 | 1800 | 40961.6957 | 3413.4746
| 1750 | 39187.2253 | 1750 | 37661.5294 | 1750 | 38721.8881 | 3226.824
| 1700 | 36954.5561 | 1700 | 35463.0823 | 1700 | 36499.6566 | 3041.6381
| 1650 | 34735.3941 | 1650 | 33281.9514 | 1650 | 34292.0941 | 2857.6745
| 1600 | 32539.8769 | 1600 | 31133.4017 | 1600 | 32110.902 | 2675.9085
| 1550 | 30367.0964 | 1550 | 29011.2218 | 1550 | 29953.5546 | 2496.1296
| 1500 | 28233.5482 | 1500 | 26909.1122 | 1500 | 27829.5952 | 2319.1329
Note on A22: Tom Eckman: This row assumes that the baseline home is missing all measures.
Note on A23: Tom Eckman: This row assumes that the home is only missing the proportion of measures observed as the "pre" weatherization level of insulation based on the square footage reported in C&R D for FY02

## LookupTable
Technology, Measure or Practice | Delivery Mechanism or Program | Application | Location
Multifamily Weatherization - Heating Zone 1 | Measures must be installed in substantial compliance with WeatherWise specifications for site built dwellings | Existing multifamily buildings with five or more dwelling units with electric heat as defined by WeatherWise Specifications | Heating Zone 1
Multifamily Weatherization - Heating Zone 2 | Measures must be installed in substantial compliance with WeatherWise specifications for site built dwellings | Existing multifamily buildings with five or more dwelling units with electric heat as defined by WeatherWise Specifications | Heating Zone 2
Multifamily Weatherization - Heating Zone 3 | Measures must be installed in substantial compliance with WeatherWise specifications for site built dwellings | Existing multifamily buildings with five or more dwelling units with electric heat as defined by WeatherWise Specifications | Heating Zone 3
Multifamily Weatherization - PNW Average Climate | Measures must be installed in substantial compliance with WeatherWise specifications for site built dwellings | Existing multifamily buildings with five or more dwelling units with electric heat as defined by WeatherWise Specifications | PNW Average Climate

## ResWX Base Case
C&R D Total Units (sq.ft.) | Share of Area | Measure Description
23529.2 | 28.04% | Energy Star Prime Window Replacement (Cost & Savings are per square foot of windows replaced) - Heating Zone 1
17747.5 | 21.15% | R0 - R11 Wall Insulation (Cost & Savings are per square foot of area insulated) - Heating Zone 1
11578 | 13.8% | R0 - R19 Floor insulation (Cost & Savings are per square foot of floor area insulated) - Heating Zone 1
10488 | 12.5% | R19 - R30 Floor insulation (Cost & Savings are per square foot of floor area insulated) - Heating Zone 1
20566 | 24.51% | R19 - R38 Attic insulation (Cost & Savings are per square foot of attic area insulated) - Heating Zone 1
83908.7 | 100%