## Slide 1: Peak Capacity Cost & Demand Response Pacific Northwest demand Response planning committee bill dickens Tacoma Power February 23, 2012

## Slide 2: Demand Response: overview

## Slide 3
Cost
$.MWh
Capacity
Load
With DR
Load
Power Supply
With DR
No DR
-----------------------------------------------------
Cost
With DR
------------------------------------------------------------------------------------
Cost
No DR
ECONOMICS of DEMAND RESPONSE
Peak Demand
Reduction
Cost
Reduction

## Slide 4: Tacoma’s capacity margin: winter 1-hour
Chart: 
Tacoma Power Resources | 590 | 593.5 | 593.5 | 593.5 | 593.5 | 593.5 | 593.5 | 593.5 | 593.5 | 593.5 | 593.5 | 593.5 | 593.5 | 593.5 | 593.5 | 593.5 | 593.5 | 593.5 | 593.5 | 593.5
BPA Block | 211.5347 | 223.1183 | 228.6083 | 238.8889 | 234.5726 | 238.8889 | 233.9316 | 238.8889 | 234.5726 | 238.8889 | 233.9316 | 238.8889 | 234.5726 | 238.8889 | 233.9316 | 238.8889 | 234.5726 | 238.8889 | 233.9316 | 238.8889
BPA Slice | 451 | 451 | 451 | 451 | 451 | 451 | 451 | 451 | 451 | 451 | 451 | 451 | 451 | 451 | 451 | 451 | 451 | 451 | 451 | 451
Other Contracts | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12
Peak Loads | 989.7357 | 986.6039 | 1000.1748 | 1006.4383 | 1015.8335 | 1010.614 | 1018.9653 | 1029.4044 | 1036.7118 | 1042.9753 | 1048.1949 | 1052.3705 | 1055.5022 | 1057.5901 | 1059.6779 | 1062.8096 | 1064.8975 | 1066.9853 | 1069.0731 | 1077.4244

## Slide 5
Period | Peak Load | Peak Supply | Peak Load Planning Reserve Margin
1-hour | 1003 MW | 1266 MW | 26%
18-hour | 948 MW | 1266 MW | 36%
72-hour | 833 MW | 1178 MW | 41%
PEAK LOAD-RESOURCE BALANCE SUMMARY

## Slide 6
Chart: $/MWh
| 39478 | 39479 | 39480 | 39481 | 39482 | 39483 | 39484 | 39485 | 39486 | 39487 | 39488 | 39489 | 39490 | 39491 | 39492 | 39493 | 39494 | 39495 | 39496 | 39497 | 39498
HLH ($/MWh) | 23.69 | 24.97 | 24.2 | 24.2 | 24.92 | 24.48 | 25.45 | 24.92 | 23.51 | 23.51 | 24.91 | 24.2 | 23.84 | 24.25 | 24.25 | 22.2 | 24.73 | 24.73
LLH ($/MWh) | 21.13 | 22.18 | 22.66 | 22.66 | 22.92 | 22.92 | 21.36 | 22.63 | 22.45 | 20.97 | 20.97 | 22.91 | 22.91 | 21.77 | 21.72 | 22.13 | 22.13 | 20.87 | 21.08 | 21.77 | 21.77
MID-C DOW JONES POWER PRICE INDEX

## Slide 7
Chart: WECC Forecast
| 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
2012 Preliminary | 25.2663 | 29.8225 | 35.8736 | 39.1047 | 43.9556 | 48.3395 | 52.1962 | 53.9801 | 55.018 | 57.7583 | 61.7681 | 64.9863 | 65.3204 | 68.6143 | 71.9757 | 74.5636 | 77.3359 | 80.725 | 82.5264
Off-Peak WECC | 23.4077 | 27.4252 | 32.8639 | 35.7522 | 40.2982 | 45.0297 | 48.7431 | 50.2647 | 51.3613 | 54.2384 | 58.4121 | 62.0505 | 62.5509 | 65.7148 | 69.2072 | 71.8442 | 74.7336 | 77.8801 | 79.8472
On-Peak WECC | 27.125 | 32.2198 | 38.8834 | 42.4571 | 47.6131 | 51.6493 | 55.6493 | 57.6955 | 58.6747 | 61.2782 | 65.1241 | 67.9222 | 68.0899 | 71.5139 | 74.7442 | 77.2831 | 79.9382 | 83.5698 | 85.2056
WHOLE-SALE POWER PRICE FORECAST

## Slide 8: conclusion Stars do not align
no thermal resources
No capacity constraints
No flexible rates
No rto/iso
Opportunities – wind integration
Qed