## 7PSourceSummary
Municipal Water Supply | [6 empty] | File Versions
[7 empty] | V3 | Created forRPM tab
Municipal Water Supply | [6 empty] | V4 | Corrected bug in accomplishments
Item | Methods & Sources | Note
Measures Described | Municipal water supply savings primarily from reduced pumping energy. Measures include more efficient pumps/drives, water end-use efficiency improvements, and leak reduction. Some water treatment and compressed air improvements.
Energy Savings Calculation Basis | The savings estimate is a share (12%) of total facility consumption, based on the BACGen study. This rate is adjusted based on achievements since then. Facility consumption data (kWh/MGD flow) are obtained primarily from Energy Center of Wisconsin case studies. ECW surface water energy consumption was calibrated with data from Seattle and Portland. | When achievements are considered, the new shavings share is approximately 7%.
Source of Savings Estimates | Primary source is the BACGen studies conducted in 2006, 2007. This was used in 6th plan and will be used again here after adjustments for achievements. | An EPA source indicated that 10% savings for water supply systems is relatively easy to achieve. A few regional data points from program data show savings in the 10 to 30% range. Therefore, we will continue with the 12% value (adjusting for achievements).
Applicable Stock | The applicable stock is the current flow of water in Million Gallons per Day (MGD), for both surface and groundwater sources. Primarily from the EPA report: 2008 EPA Clean Watersheds Needs Survey. Number of plants and baseline and capacity flow rates. | 2013 EPA "population served" data, and 2005 USGS "withdrawals" data, adjusted for current population. | http://water.epa.gov/scitech/datait/databases/cwns/2008reportdata.cfm
Baseline | Baseline is comprised of EPA flow data (MGD), combined with the ECW and local consumption (kWh/MGD) | Baseline is largely based on 2006 data, but is adjusted with recent project achievements.
Baseline Saturation | Saturation based on achievements since 6P. 34.8%
Permutations | None. Whole facility
Costs | Recent project experience. From the BPA ESI program provided by Cascade: "ESI Data for NWPCC_v01.xls" | New cost data are being used.
Measure Life | From Sixth Plan - 12 years
Non-Energy Benefits | 6P assumed O&M same as WWT. 7P assumes zero (no data) | Possible NEB for water savings, but no data
Savings Shape | Commercial-Ref.warehouse-Vent | Picked this shape because it peaks slightly in the summer and also afternoon/evening
Achievable Ramp Rate | Recent achievements from the BPA Six Going on Seven project.
File Version
|  |  |  | v2 | Posted for initial review
|  |  |  | v3 | Added the forRPM tab
|  |  |  | V4 | Corrected Achievements, changed ramp rate
|  |  |  | V5 | Added high/low forecast option
Sixth Plan Source Summary for reference:
Variable | Source(s) | Data Description | "Raw" Data from Source(s) |  | Data Used in 6th Plan
|  |  | Groundwater | Surface Water | Groundwater | Surface Water
Population served | USGS - Est. Use of Water in the U.S. in 2000 | Water use and population by state and by water source | 857 MGD 235 g/p/d | 1117 MGD 200 g/p/d | 1037 MGD 202 g/p/d | 1350 MGD 172 g/p/d
| EPA Community Water Systems Database (Apr 2008) | Plant specific population served and water source
Growth | Council Population Projections | Assumed 50% of growth needs will be met by new plants
| Assumed | Per person water use will decrease 0.5% per year
Baseline Energy Consumption | EPRI (1996) | Engineering estimates (?) | 1810 kWh/MG | 1440-1470 kWh/MG | (not used)
| Energy Center of Wisconsin (2003) | Energy use and flow for each plant in WI | 1800 kWh/MG | 1400 kWh/MG | 1800 kWh/MG | 1309 kWh/MG | Used these values again
| Seattle Public Utilities (2008) | Plant-specific energy use and flow (accounts for 5% of PNW surface water use) | - | 435 kWh/MG
| City of Portland (2008) | Plant-specific energy use and flow (accounts for 5% of PNW surface water use) | - | 730 kWh/MG
| BacGen Installs/USGS | Plant-Specific Energy Use (BacGen n=16 plants) & USGS plant specific population and gal/person by source type | 1478 kWh/MG | 1868 kWh/MG | (not used)
Energy Savings Potential | BacGen Projects (NEEA) | pre-upgrade kWh plant use and kWh savings from 20 plants in PNW | 11.8%
Measure Installation Cost | BacGen Projects (NEEA) | Costs for 4 projects | $0.19/kWh saved |  | $0.77/kWh saved
| ETO Projects | Aggregated costs for 20 projects | $0.92/kWh saved
O&M Cost and Savings | 6th Plan for Wastewater | NYSERDA Wastewater study of 11 sites | $0.03/kWh saved
Achieved Energy Savings | BacGen Projects (NEEA) | kWh savings from reported from 30 plants in PNW (2001-2006) | 1.4 aMW
g/p/d = gallons per person per day
Basic Formula:
Flow - SW, GW (MGD) X Consumption Rate - SW, GW (kWh/MGD) = TOTAL CONSUMPTION (kWh) x Savings Rate (%) x Population Growth = Tech Potential in 2035

## Summary (hidden)
Summary of Measure Assessment Methodology and Data Sources
Measure Properties
Market Sector
Market Segment
Measure
Measure Specifications
Baseline
Estimation Method
Category
Estimation Procedure
Sunset Date
Sunset Factors
Primary Workbook | COM-WaterSupply-7P_V5.xlsm
Linked Workbooks | No External links
Number of Measure Applications | 0 measure application defined by...
Measure Identifiers
Identifier | Possible Values |  |  | Further Explanation and Sources
Constant Parameters
Parameter | Possible Values |  |  | Further Explanation and Sources
Energy Savings Estimation Method, Parameters and Data Sources
Measure Identifiers | Savings Component | Analysis approach | Primary Parameter / Adjustment Factor | Baseline | Baseline Possible Values | Efficient Case Possible Values | Baseline Further Explanation and Sources | Efficient Case Further Explanation and Sources
0
Measure Incremental Costs and Benefits
Measure Identifiers | Cost or Benefit | Analysis Approach | Baseline | Data Sources | Source Type | Year of the Dollars | Uncertainty Estimate
All | Capital |  | 0 |  |  |  | ?%
All | Maintenance | [5 empty] | ?%
All | Operations - Fuel | [5 empty] | ?%
All | Operations - Non-Energy Consumables | [5 empty] | ?%
All | Other Non-Energy Impacts
Measure Lifetime
Measure Identifiers |  | Analysis Approach | Baseline | Data Sources |  |  | Uncertainty Estimate
All |  |  | 0 |  |  |  | ?%
Note on A15: These workbooks are available on the RTF website. If you cannot find them contact RTF staff.
Note on B25: Show the actual values used, unless they are too numerous. In those cases, cite the sheet, plot or table where the values can be found. When practical, use an expression to link values to the source cell used in computing savings, so that it will automatically update if the values used in computing savings change. Add text needed to clarify the scope, e.g., "single-wide" and units, e.g., "square feet" for each value.
Note on B34: Separate and additive Savings Components should be used if the savings come from more than one component of the affected systems, e.g., cooling and heating, and it is technically practical. Some estimation methods, such as experimental designs (comparing participant and non-participant energy use) may not allow this.
Note on C34: For simple methods, describe the equation(s) using the exact spelling of the constants and parameters defined above and format as bold. If weighted average values are used describe the weighting method. If model calibration is performed, summarize the calibration procedure.
Note on A40: Costs may vary across applications of the measure defined by the measure identifiers (shown above), e.g., housing type. If so, use this column to list the identifiers associated with each Analysis Approach. At least one CostDataAnalysis sheet must be included that shows the derivation of each unique cost (capital and O&M) value, consistent with the analysis approach(es).
Note on H40: Analyst's best judgment about the level of uncertainty for each cost/benefit by measure identifier. Can be expressed as +/- % or as high, medium, low.
Note on B41: Added to the ProCost input "Capital Cost"
Note on B44: Added to the ProCost input "Annual O&M"
Note on B47: Added to the ProCost input "Annual O&M"
Note on B50: Basis for the ProCost input "Non-E Val ($/yr)"
Note on B53: By default, these are not considered. Provide justification if you are considering their inclusion within the analysis
Note on A56: Measure lifetime may vary across applications of the measure defined by the measure identifiers (shown above), e.g., climate zone. If so, use this column to list the identifiers associated with each Analysis Approach. At least one LifetimeDataAnalysis sheet must be included that shows the derivation of each unique lifetime value, consistent with analysis approach(es).
Note on H56: Analyst's best judgment about the level of uncertainty for each measure identifier. Can be expressed as +/- % or as high, medium, low.

## MeasureTable (hidden)
|  | 2 | 3 | 4 | 5 | 6 | 7 | 8 | [7 empty] | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
[9 empty] | 4 | 12 | 6 | 7 | 3 | 82
[9 empty] | 0 | 0 | 2 | 2 | 0 | 1
ID_App | ProcostMeasureName | ID_Sector | ID_EndUse | ID_Cat | ID_TAP | Lost Opportunity | Heating Zone | Cooling Zone | Annual Savings @ Site (kWh/yr) | Annual Savings @ Busbar (kwh/yr) | Incremental Capital Cost ($/unit) | Incremental O&M Costs and Schedule ($/unit) | Measure Life (years) | Regional Benefit / Cost Ratio | Cost Effective? | ID_Unit | ID_BldgType | ID_Vintage | ID_Application | General Attributes 1 | General Attributes 2 | Delivery Mechanism or Program | Comments
Measure and Program Data | [9 empty] | Power System Benefits and Costs |  |  |  |  | Program Data
Application ID | ProCost Full Measure Name | Sector | End-Use | Category | Technology, Activity, or Practice | Lost Opportunity? | Heating Zone | Cooling Zone | Annual Savings @ Site (kwh/yr) | Annual Savings @ Generator Busbar (kwh/yr) | Incremental Capital Cost ($/unit) | Incremental O&M Costs ($/unit) | Measure Life (years) | Total Societal Benefit / Cost Ratio (TRC B/C Ratio) | Cost-Effective | Unit Type | Building Type | Vintage | ID_Application | General Attributes 1 | General Attributes 2 | Delivery Mechanism or Program | Comments
1 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Note on B7: Tom Eckman: Name used for measure in ProCost model. Name may be different (usually parsed) in BPA reporting system.
Note on G7: Tom Eckman: Lost opportunity = Measure's that have limited window for installation (e.g., new construction shell measures); Non-lost opportunity = retrofit measures
Note on H7: Tom Eckman: Set limits on location (climate zone) where measure is applicable.
Note on I7: Tom Eckman: Set limits on location (climate zone) where measure is applicable.
Note on J7: Tom Eckman: Annual gross savings on customer side of meter. Does not include line losses or "net-to-gross" adjustments for free-ridership/spillover. May include adjustment for differences between ex ante and ex post savings estimates (i.e., "realization rates" if for deemed and deemed calculated measures when savings are based on prior program evaluations.
Note on K7: Tom Eckman: Site savings "grossed up" to account for marginal transmission and distribution system line losses. These are the power system savings.
Note on L7: Tom Eckman: Difference in first cost between baseline efficiency and energy efficient measure, regardless of who pays those cost. Does not include marketing or administrative cost.
Note on M7: Tom Eckman: Difference in annual operation and maintenance cost between baseline efficiency and energy efficient measure, regardless of who pays those cost. Does not include marketing or administrative cost.
Note on N7: Tom Eckman: Expected mean functional life of measure, sometimes referred to as "Effective Useful Life (EUL)
Note on O7: Tom Eckman: Ratio of discounted present value of societal benefits to discounted present value societal costs. Also referred to as "Total Resource Cost" (TRC) benefit-to-cost ratio.
Note on P7: Tom Eckman: If Societal Benefit-to-Cost Ratio (TRC B/C ratio) is equal to or exceeds 1.0 measure is cost-effective.
Note on Q7: Tom Eckman: Tracking unit (e.g. per sq. ft., per appliance, per home, per heat pump)
Note on R7: Tom Eckman: Description of building type in which measure is applicable
Note on S7: Tom Eckman: Vintage of building or application in which measure is applicable
Note on T7: Nick O'Neil: Area to enter measure specification and eligibility requirements.
Note on U7: Nick O'Neil: Left for user input on various measure attributes (e.g. fuel type, motor size, volume, efficiency level, etc.)
Note on V7: Nick O'Neil: Left for user input on various measure attributes (e.g. fuel type, motor size, volume, efficiency level, etc.)
Note on W7: Tom Eckman: Description of mechanism by which measure is delivered. Specifies conditions under which measure savings can be claimed as UES including program technical specification.
Note on X7: Tom Eckman: Special notes regarding factors that might impact a particular technology, measure or practices cost, savings or use. For example, potential changes in federal standards or local codes or anticipated improvements in technology.

## forRPM
Ramp Rate | Resource Type | Measure Category | Sector | End Use | kW per unit | kWh per unit | TRC Net Levelized Cost (Net of All Benefits) | segment | measure | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | MAX | Savings Allocation by Category and Month for Segments 1 | [12 empty] | Savings Allocation by Category and Month for Segments 2
[5 empty] | Wholesale KW | Busbar Savings | lvlcost |  |  | aMW_2016 | aMW_2017 | aMW_2018 | aMW_2019 | aMW_2020 | aMW_2021 | aMW_2022 | aMW_2023 | aMW_2024 | aMW_2025 | aMW_2026 | aMW_2027 | aMW_2028 | aMW_2029 | aMW_2030 | aMW_2031 | aMW_2032 | aMW_2033 | aMW_2034 | aMW_2035 | MAX | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec |  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Retro5Med | Retro | Municipal Water Supply | Commercial | Process Loads | 8.9111 | 56712.1444 | 24.2635 |  | Municipal Water Supply-Retro | 0.5803 | 0.71636 | 0.88128 | 1.0283 | 1.1786 | 1.3843 | 1.5251 | 1.5644 | 1.4798 | 1.2766 | 0.99119 | 0.68242 | 0.40962 | 0.21035 | 0.090501 | 0.03188 | 0.0089665 | 0.0019591 | 0.00032278 | 3.8833e-05 | 14.4551 | 2873.9128 | 2723.2725 | 3268.3898 | 3105.7865 | 3456.6986 | 3862.7159 | 4079.5548 | 4387.9996 | 3748.4668 | 3660.2482 | 2902.5446 | 2869.0192 | 0 | 1086.628 | 939.9409 | 1000.8289 | 1199.9343 | 1341.3403 | 1496.4434 | 1843.1428 | 1712.0514 | 1749.7125 | 1290.2801 | 1024.7738 | 1088.4589
Note on A1: Charlie Grist: Lookup in ComMaster
Note on B1: Charlie Grist: New, NR, Retro
Note on C1: Charlie Grist: Measure Index Name
Note on E1: Charlie Grist: Use Massoud's Names
Note on F1: Charlie Grist: From Shaped Savings column 14
Note on G1: Charlie Grist: From SC or from Shaped Savings column 3.
Note on H1: Charlie Grist: From SC or from Shaped Savings column K (column 11)
Note on I1: Charlie Grist: From SC
Note on J1: Charlie Grist: From SC
Note on K1: Charlie Grist: From SC
Note on AF1: Charlie Grist: From Shaped Savings. Copy whole row down since column increment is hardwired into formula.

## SC-Retro
Units Methodology | Methodology: Use MDG flow as the driver. Population forecasts for growth, and kWh/MGD for savings. Adjusted regional flows and achievements from 6th plan.
Forecast Version
|  | Retro | Stock
End-Use: | Measure Bundle: | Municipal Water Supply-Retro | Region
Process Loads | Report Year | 2035 | Base
| Total Potential (aMW) | 14.0423 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
UNITS FOR EXISTING STOCK |  |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
|  |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
| Pop | Pop | Population: | 13520.6811 | 13661.8403 | 13803.6914 | 13944.2765 | 14082.8013 | 14218.7156 | 14351.9189 | 14482.4375 | 14610.4211 | 14736.2463 | 14860.3209 | 14983.0789 | 15104.7013 | 15225.1957 | 15344.6249 | 15463.089 | 15580.6884 | 15697.5091 | 15813.6263 | 15929.2545
| 0.5% | MGD Flow per Thousand Population | 0.18229 | 0.18138 | 0.18048 | 0.17957 | 0.17868 | 0.17778 | 0.17689 | 0.17601 | 0.17513 | 0.17425 | 0.17338 | 0.17251 | 0.17165 | 0.17079 | 0.16994 | 0.16909 | 0.16824 | 0.1674 | 0.16657 | 0.16573 | 0.16491
|  | Total Regional Flow (MGD Flow) |  | 2452.4158 | 2465.6295 | 2478.774 | 2491.4992 | 2503.669 | 2515.1929 | 2526.0619 | 2536.2891 | 2545.9092 | 2554.9954 | 2563.6252 | 2571.8787 | 2579.7917 | 2587.3696 | 2594.627 | 2601.5849 | 2608.2635 | 2614.6806 | 2620.8518 | 2626.8152
APPLY MEASURE APPLICABILITY, TURNOVER RATE AND ACHIEVABLE PENETRATION RATE FOR MAX ANNUAL RATE |  |  | 4 2019 2019: Acheivabile => | MAX
Measure Applicability Factor |  | Municipal Water Supply-Retro | Retro5Med | 4.3% | 5.28% | 6.461% | 7.5% | 8.555% | 10% | 10.97% | 11.21% | 10.56% | 9.079% | 7.026% | 4.822% | 2.885% | 1.477% | 0.6339% | 0.2227% | 0.06247% | 0.01362% | 0.002238% | 0.0002686% | 85%
100% | In MGD Flow | Non-Building Stock |  | 89.6358 | 110.6515 | 136.1269 | 158.8331 | 182.0542 | 213.8229 | 235.5807 | 241.6366 | 228.5773 | 197.1827 | 153.1037 | 105.41 | 63.2722 | 32.4919 | 13.9792 | 4.9244 | 1.385 | 0.30261 | 0.049858 | 0.0059983 | 2232.7929
INCREMENTAL IN SUIPPLY CURVE |  | Municipal Water Supply-Retro
|  | In MGD Flow |  | 89.6358 | 110.6515 | 136.1269 | 158.8331 | 182.0542 | 213.8229 | 235.5807 | 241.6366 | 228.5773 | 197.1827 | 153.1037 | 105.41 | 63.2722 | 32.4919 | 13.9792 | 4.9244 | 1.385 | 0.30261 | 0.049858 | 0.0059983
SUPPLY CURVE SAVINGS BY BUNDLE |  | Cumulative | 1 2016 2016: aMW
| TRC Net Levelized Cost (Net of All Benefits) in mills/kWh | 1 |  | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Busbar Savings | lvlcost | Municipal Water Supply-Retro |  | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
56712.1444 | 24.2635 | Municipal Water Supply-Retro |  | 0.5803 | 0.71636 | 0.88128 | 1.0283 | 1.1786 | 1.3843 | 1.5251 | 1.5644 | 1.4798 | 1.2766 | 0.99119 | 0.68242 | 0.40962 | 0.21035 | 0.090501 | 0.03188 | 0.0089665 | 0.0019591 | 0.00032278 | 3.8833e-05
SUPPLY CURVE SAVINGS BY BUNDLE |  | Incremental |  | aMW 2016 2016: aMW
| TRC Net Levelized Cost (Net of All Benefits) in mills/kWh | 1 |  | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | Max
Busbar Savings | lvlcost | Municipal Water Supply-Retro |  | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | Max
56712.1444 | 24.2635 | Municipal Water Supply-Retro |  | 0.5803 | 0.71636 | 0.88128 | 1.0283 | 1.1786 | 1.3843 | 1.5251 | 1.5644 | 1.4798 | 1.2766 | 0.99119 | 0.68242 | 0.40962 | 0.21035 | 0.090501 | 0.03188 | 0.0089665 | 0.0019591 | 0.00032278 | 3.8833e-05 | 14.4551
RECOMBINE MEASURE BUNDLES INTO SUPPLY CURVE
|  |  |  | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | Max
| lvlcost | lvlcost |  | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | Max
Block 1: <= 0 mills/kWh | >=-9999 | <=0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Block 2: <= 10 mills/kWh | >0 | <=10 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Block 3: 10-20 mills/kWh | >10 | <=20 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Block 4: 20-30 mills/kWh | >20 | <=30 |  | 0.5803 | 0.71636 | 0.88128 | 1.0283 | 1.1786 | 1.3843 | 1.5251 | 1.5644 | 1.4798 | 1.2766 | 0.99119 | 0.68242 | 0.40962 | 0.21035 | 0.090501 | 0.03188 | 0.0089665 | 0.0019591 | 0.00032278 | 3.8833e-05 | 14.4551
Block 5: 30-40 mills/kWh | >30 | <=40 |  | 0.5803 | 0.71636 | 0.88128 | 1.0283 | 1.1786 | 1.3843 | 1.5251 | 1.5644 | 1.4798 | 1.2766 | 0.99119 | 0.68242 | 0.40962 | 0.21035 | 0.090501 | 0.03188 | 0.0089665 | 0.0019591 | 0.00032278 | 3.8833e-05 | 14.4551
Block 6: 40-50 mills/kWh | >40 | <=50 |  | 0.5803 | 0.71636 | 0.88128 | 1.0283 | 1.1786 | 1.3843 | 1.5251 | 1.5644 | 1.4798 | 1.2766 | 0.99119 | 0.68242 | 0.40962 | 0.21035 | 0.090501 | 0.03188 | 0.0089665 | 0.0019591 | 0.00032278 | 3.8833e-05 | 14.4551
Block 7: 50-60 mills/kWh | >50 | <=60 |  | 0.5803 | 0.71636 | 0.88128 | 1.0283 | 1.1786 | 1.3843 | 1.5251 | 1.5644 | 1.4798 | 1.2766 | 0.99119 | 0.68242 | 0.40962 | 0.21035 | 0.090501 | 0.03188 | 0.0089665 | 0.0019591 | 0.00032278 | 3.8833e-05 | 14.4551
Block 8: 60-70 mills/kWh | >60 | <=70 |  | 0.5803 | 0.71636 | 0.88128 | 1.0283 | 1.1786 | 1.3843 | 1.5251 | 1.5644 | 1.4798 | 1.2766 | 0.99119 | 0.68242 | 0.40962 | 0.21035 | 0.090501 | 0.03188 | 0.0089665 | 0.0019591 | 0.00032278 | 3.8833e-05 | 14.4551
Block 9: 70-80 mills/kWh | >70 | <=80 |  | 0.5803 | 0.71636 | 0.88128 | 1.0283 | 1.1786 | 1.3843 | 1.5251 | 1.5644 | 1.4798 | 1.2766 | 0.99119 | 0.68242 | 0.40962 | 0.21035 | 0.090501 | 0.03188 | 0.0089665 | 0.0019591 | 0.00032278 | 3.8833e-05 | 14.4551
Block 10: 80-90 mills/kWh | >80 | <=90 |  | 0.5803 | 0.71636 | 0.88128 | 1.0283 | 1.1786 | 1.3843 | 1.5251 | 1.5644 | 1.4798 | 1.2766 | 0.99119 | 0.68242 | 0.40962 | 0.21035 | 0.090501 | 0.03188 | 0.0089665 | 0.0019591 | 0.00032278 | 3.8833e-05 | 14.4551
Block 11: 90-100 mills/kWh | >90 | <=100 |  | 0.5803 | 0.71636 | 0.88128 | 1.0283 | 1.1786 | 1.3843 | 1.5251 | 1.5644 | 1.4798 | 1.2766 | 0.99119 | 0.68242 | 0.40962 | 0.21035 | 0.090501 | 0.03188 | 0.0089665 | 0.0019591 | 0.00032278 | 3.8833e-05 | 14.4551
Block 12: 100-110 mills/kWh | >100 | <=110 |  | 0.5803 | 0.71636 | 0.88128 | 1.0283 | 1.1786 | 1.3843 | 1.5251 | 1.5644 | 1.4798 | 1.2766 | 0.99119 | 0.68242 | 0.40962 | 0.21035 | 0.090501 | 0.03188 | 0.0089665 | 0.0019591 | 0.00032278 | 3.8833e-05 | 14.4551
Block 13: 110-120 mills/kWh | >110 | <=120 |  | 0.5803 | 0.71636 | 0.88128 | 1.0283 | 1.1786 | 1.3843 | 1.5251 | 1.5644 | 1.4798 | 1.2766 | 0.99119 | 0.68242 | 0.40962 | 0.21035 | 0.090501 | 0.03188 | 0.0089665 | 0.0019591 | 0.00032278 | 3.8833e-05 | 14.4551
Block 14: 120-130 mills/kWh | >120 | <=130 |  | 0.5803 | 0.71636 | 0.88128 | 1.0283 | 1.1786 | 1.3843 | 1.5251 | 1.5644 | 1.4798 | 1.2766 | 0.99119 | 0.68242 | 0.40962 | 0.21035 | 0.090501 | 0.03188 | 0.0089665 | 0.0019591 | 0.00032278 | 3.8833e-05 | 14.4551
Block 15: 130-140 mills/kWh | >130 | <=140 |  | 0.5803 | 0.71636 | 0.88128 | 1.0283 | 1.1786 | 1.3843 | 1.5251 | 1.5644 | 1.4798 | 1.2766 | 0.99119 | 0.68242 | 0.40962 | 0.21035 | 0.090501 | 0.03188 | 0.0089665 | 0.0019591 | 0.00032278 | 3.8833e-05 | 14.4551
Block 16: 140-150 mills/kWh | >140 | <=150 |  | 0.5803 | 0.71636 | 0.88128 | 1.0283 | 1.1786 | 1.3843 | 1.5251 | 1.5644 | 1.4798 | 1.2766 | 0.99119 | 0.68242 | 0.40962 | 0.21035 | 0.090501 | 0.03188 | 0.0089665 | 0.0019591 | 0.00032278 | 3.8833e-05 | 14.4551
Block 17: 150-160 mills/kWh | >150 | <=160 |  | 0.5803 | 0.71636 | 0.88128 | 1.0283 | 1.1786 | 1.3843 | 1.5251 | 1.5644 | 1.4798 | 1.2766 | 0.99119 | 0.68242 | 0.40962 | 0.21035 | 0.090501 | 0.03188 | 0.0089665 | 0.0019591 | 0.00032278 | 3.8833e-05 | 14.4551
Block 18: 160-170 mills/kWh | >160 | <=170 |  | 0.5803 | 0.71636 | 0.88128 | 1.0283 | 1.1786 | 1.3843 | 1.5251 | 1.5644 | 1.4798 | 1.2766 | 0.99119 | 0.68242 | 0.40962 | 0.21035 | 0.090501 | 0.03188 | 0.0089665 | 0.0019591 | 0.00032278 | 3.8833e-05 | 14.4551
Block 19: 170-180 mills/kWh | >170 | <=180 |  | 0.5803 | 0.71636 | 0.88128 | 1.0283 | 1.1786 | 1.3843 | 1.5251 | 1.5644 | 1.4798 | 1.2766 | 0.99119 | 0.68242 | 0.40962 | 0.21035 | 0.090501 | 0.03188 | 0.0089665 | 0.0019591 | 0.00032278 | 3.8833e-05 | 14.4551
Block 20: 180-190 mills/kWh | >180 | <=190 |  | 0.5803 | 0.71636 | 0.88128 | 1.0283 | 1.1786 | 1.3843 | 1.5251 | 1.5644 | 1.4798 | 1.2766 | 0.99119 | 0.68242 | 0.40962 | 0.21035 | 0.090501 | 0.03188 | 0.0089665 | 0.0019591 | 0.00032278 | 3.8833e-05 | 14.4551
Block 21: 190-200 mills/kWh | >190 | <=200 |  | 0.5803 | 0.71636 | 0.88128 | 1.0283 | 1.1786 | 1.3843 | 1.5251 | 1.5644 | 1.4798 | 1.2766 | 0.99119 | 0.68242 | 0.40962 | 0.21035 | 0.090501 | 0.03188 | 0.0089665 | 0.0019591 | 0.00032278 | 3.8833e-05 | 14.4551
Block 22: 200-210 mills/kWh | >200 | <=210 |  | 0.5803 | 0.71636 | 0.88128 | 1.0283 | 1.1786 | 1.3843 | 1.5251 | 1.5644 | 1.4798 | 1.2766 | 0.99119 | 0.68242 | 0.40962 | 0.21035 | 0.090501 | 0.03188 | 0.0089665 | 0.0019591 | 0.00032278 | 3.8833e-05 | 14.4551
Block 23: 210-220 mills/kWh | >210 | <=220 |  | 0.5803 | 0.71636 | 0.88128 | 1.0283 | 1.1786 | 1.3843 | 1.5251 | 1.5644 | 1.4798 | 1.2766 | 0.99119 | 0.68242 | 0.40962 | 0.21035 | 0.090501 | 0.03188 | 0.0089665 | 0.0019591 | 0.00032278 | 3.8833e-05 | 14.4551
Block 24: 220-230 mills/kWh | >220 | <=230 |  | 0.5803 | 0.71636 | 0.88128 | 1.0283 | 1.1786 | 1.3843 | 1.5251 | 1.5644 | 1.4798 | 1.2766 | 0.99119 | 0.68242 | 0.40962 | 0.21035 | 0.090501 | 0.03188 | 0.0089665 | 0.0019591 | 0.00032278 | 3.8833e-05 | 14.4551
Block 25: 230-240 mills/kWh | >230 | <=240 |  | 0.5803 | 0.71636 | 0.88128 | 1.0283 | 1.1786 | 1.3843 | 1.5251 | 1.5644 | 1.4798 | 1.2766 | 0.99119 | 0.68242 | 0.40962 | 0.21035 | 0.090501 | 0.03188 | 0.0089665 | 0.0019591 | 0.00032278 | 3.8833e-05 | 14.4551
Block 26: 240-250 mills/kWh | >240 | <=250 |  | 0.5803 | 0.71636 | 0.88128 | 1.0283 | 1.1786 | 1.3843 | 1.5251 | 1.5644 | 1.4798 | 1.2766 | 0.99119 | 0.68242 | 0.40962 | 0.21035 | 0.090501 | 0.03188 | 0.0089665 | 0.0019591 | 0.00032278 | 3.8833e-05 | 14.4551
Block 27: 250-260 mills/kWh | >250 | <=260 |  | 0.5803 | 0.71636 | 0.88128 | 1.0283 | 1.1786 | 1.3843 | 1.5251 | 1.5644 | 1.4798 | 1.2766 | 0.99119 | 0.68242 | 0.40962 | 0.21035 | 0.090501 | 0.03188 | 0.0089665 | 0.0019591 | 0.00032278 | 3.8833e-05 | 14.4551
Block 28: 260-270 mills/kWh | >260 | <=270 |  | 0.5803 | 0.71636 | 0.88128 | 1.0283 | 1.1786 | 1.3843 | 1.5251 | 1.5644 | 1.4798 | 1.2766 | 0.99119 | 0.68242 | 0.40962 | 0.21035 | 0.090501 | 0.03188 | 0.0089665 | 0.0019591 | 0.00032278 | 3.8833e-05 | 14.4551
Block 29: 270-280 mills/kWh | >270 | <=280 |  | 0.5803 | 0.71636 | 0.88128 | 1.0283 | 1.1786 | 1.3843 | 1.5251 | 1.5644 | 1.4798 | 1.2766 | 0.99119 | 0.68242 | 0.40962 | 0.21035 | 0.090501 | 0.03188 | 0.0089665 | 0.0019591 | 0.00032278 | 3.8833e-05 | 14.4551
Block 30: 280-290 mills/kWh | >280 | <=290 |  | 0.5803 | 0.71636 | 0.88128 | 1.0283 | 1.1786 | 1.3843 | 1.5251 | 1.5644 | 1.4798 | 1.2766 | 0.99119 | 0.68242 | 0.40962 | 0.21035 | 0.090501 | 0.03188 | 0.0089665 | 0.0019591 | 0.00032278 | 3.8833e-05 | 14.4551
Block 31: 290-300 mills/kWh | >290 | <=300 |  | 0.5803 | 0.71636 | 0.88128 | 1.0283 | 1.1786 | 1.3843 | 1.5251 | 1.5644 | 1.4798 | 1.2766 | 0.99119 | 0.68242 | 0.40962 | 0.21035 | 0.090501 | 0.03188 | 0.0089665 | 0.0019591 | 0.00032278 | 3.8833e-05 | 14.4551
Block 32: >300 mills/kWh | >300 | <=999 |  | 0.5803 | 0.71636 | 0.88128 | 1.0283 | 1.1786 | 1.3843 | 1.5251 | 1.5644 | 1.4798 | 1.2766 | 0.99119 | 0.68242 | 0.40962 | 0.21035 | 0.090501 | 0.03188 | 0.0089665 | 0.0019591 | 0.00032278 | 3.8833e-05 | 14.4551
RECOMBINE MEASURE BUNDLES INTO SUPPLY CURVE INCREMENTAL
|  | SC_Retro |  | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | Max
|  | Municipal Water Supply-Retro |  | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | Max
|  | Block 1: <= 0 mills/kWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Block 2: <= 10 mills/kWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Block 3: 10-20 mills/kWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Block 4: 20-30 mills/kWh |  | 0.5803 | 0.71636 | 0.88128 | 1.0283 | 1.1786 | 1.3843 | 1.5251 | 1.5644 | 1.4798 | 1.2766 | 0.99119 | 0.68242 | 0.40962 | 0.21035 | 0.090501 | 0.03188 | 0.0089665 | 0.0019591 | 0.00032278 | 3.8833e-05 | 14.4551
|  | Block 5: 30-40 mills/kWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Block 6: 40-50 mills/kWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Block 7: 50-60 mills/kWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Block 8: 60-70 mills/kWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Block 9: 70-80 mills/kWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Block 10: 80-90 mills/kWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Block 11: 90-100 mills/kWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Block 12: 100-110 mills/kWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Block 13: 110-120 mills/kWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Block 14: 120-130 mills/kWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Block 15: 130-140 mills/kWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Block 16: 140-150 mills/kWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Block 17: 150-160 mills/kWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Block 18: 160-170 mills/kWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Block 19: 170-180 mills/kWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Block 20: 180-190 mills/kWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Block 21: 190-200 mills/kWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Block 22: 200-210 mills/kWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Block 23: 210-220 mills/kWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Block 24: 220-230 mills/kWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Block 25: 230-240 mills/kWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Block 26: 240-250 mills/kWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Block 27: 250-260 mills/kWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Block 28: 260-270 mills/kWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Block 29: 270-280 mills/kWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Block 30: 280-290 mills/kWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Block 31: 290-300 mills/kWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Block 32: >300 mills/kWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Total per Year | 0 | 0.5803 | 0.71636 | 0.88128 | 1.0283 | 1.1786 | 1.3843 | 1.5251 | 1.5644 | 1.4798 | 1.2766 | 0.99119 | 0.68242 | 0.40962 | 0.21035 | 0.090501 | 0.03188 | 0.0089665 | 0.0019591 | 0.00032278 | 3.8833e-05
|  | Total Cumulative | 0 | 0.5803 | 1.2967 | 2.1779 | 3.2062 | 4.3848 | 5.7691 | 7.2943 | 8.8586 | 10.3384 | 11.615 | 12.6062 | 13.2886 | 13.6982 | 13.9086 | 13.9991 | 14.031 | 14.0399 | 14.0419 | 14.0422 | 14.0423 | 14.4551
Note on B14: Kevin Smit: Use same value as Wastewater. Same as 6P. May adjust if new data available.

## Measure InputOutput_Out
Shaped Savings Results; By Category and sorted by TRC BC ratio
[14 empty] | Savings Allocation by Category and Month for Segments 1 | [11 empty] | Savings Allocation by Category and Month for Segments 2
Category | Measure | Busbar Savings | First Cost | Admin Cost | First Year Program Cost | PV Cost | PV Benefits | Unit Program Cost: First Year Program Cost in $/average annual kW saved | Utility System Net Levelized Cost (Net of T&D Capacity Benefits, Act Credit & Risk-Mitigation) in mills/kWh | TRC Net Levelized Cost (Net of All Benefits) in mills/kWh | TRC B/C Ratio | Net Electric & Gas System CO2 Avoided (Lifetime Tons) | Wholesale KW | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Municipal Water Supply-Retro |  | 56712.1444 | 14262.5256 | 2852.5051 | 17115.0307 | 25576.6306 | 36207.5149 | 2643.6607 | 6.9974 | 24.2635 | 1.4156 | 538.7709 | 8.9111 | 2873.9128 | 2723.2725 | 3268.3898 | 3105.7865 | 3456.6986 | 3862.7159 | 4079.5548 | 4387.9996 | 3748.4668 | 3660.2482 | 2902.5446 | 2869.0192 | 1086.628 | 939.9409 | 1000.8289 | 1199.9343 | 1341.3403 | 1496.4434 | 1843.1428 | 1712.0514 | 1749.7125 | 1290.2801 | 1024.7738 | 1088.4589

## Measure InputOutput
Data Set Name | [13 empty] | #REF!
Measure Index Name | Municipal Water Supply-Retro |  |  |  | Beta04
Costs must be denominated in the same year as 'Input Cost Reference Year' = |  | 2012
Savings and Costs per MGD
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 72 | 73 | 74 | 75 | 76 | 77 | 78 | 79 | 80 | 81 | 82 | 83 | 84 | 85 | 86 | 87 | 88 | 89 | 90 | 91 | 92 | 93 | 94 | 95 | 96 | 97 | 98 | 99 | 100 | 101 | 102 | 103 | 104 | 105
Input Data | [7 empty] | Periodic Replacement Costs and Savings and Replacement Period | [5 empty] | Gas Inputs |  | Retro or LO | Early Retrofit Parameters
Category Name | Measure Name | Savings (kwh/yr) | Life (yrs) | Capital Cost | Annual O&M | Shape Pointer | Non-E Val ($/yr) | Cost 1 ($) | Period 1 | Cost 2 ($) | Period 2 | Cost 3 ($) | Period 3 | Savings (therms/yr) | Shape Pointer | R or L | Savings 2 (kWh) | Remaining Life (yrs) | Salvage Value ($)
Municipal Water Supply-Retro | Municipal Water Supply-Retro | 52810.5406 | 12 | 14262.5256 |  | C-W-Ref-Vent-All-All-C | [9 empty] | R
ProCost Results
Version: | ProCost 3.0 - Beta04
Run Time: | Thursday, 19 March , 2015 at 9:20 AM
Regurgitation of ProData input parameters which were used for this run
| Run Parameters |  | Run Parameters |  |  | Marginal Cost & Conservation Load Shape Parameters | [9 empty] | Sponsor Parameters | [5 empty] | Program Parameters |  |  | Utility System Parameters
| Run Type | Electric | Run Type | Electric |  | Marginal Costs and Savings Shape File | Q:\SeventhPlan\Conservation Analysis\Global EE Inputs\MC Files\MC_AND_LOADSHAPE_v3.0_24segment-7P-D9 - NewSegValues.xlsx |  |  | 6P MidC Final (with carbon) | [6 empty] | Customer | Wholesale Elec | Retail Elec | Nat Gas |  | Program Life (yrs) | 20 |  |  | Electric | Gas
| Negative B/C Ratios | Off | Negative B/C Ratios | Off |  | Marginal Elec Avoided Cost Input Worksheet | 7P Mid |  |  | Conservation Load Shapes | [5 empty] | Real After-Tax Cost of Capital | 0.068013 | 0.043878 | 0.053289 | 0.054479 |  | Program Start Date | 2016 |  | Bulk System T&D Loss Factor | 0.0040389 | 0.01
| Admin Cost @ Category Level | On | Admin Cost @ Category Level | On |  | Elec Savings Shape Input Worksheet | GLSShapes |  |  | 6P_Gas_Final | [5 empty] | Financial Life (years) | 12 | 12 | 1 | 1 |  | Present Value Time Zero | 2016 |  | Bulk System T&D Credit ($/kw-yr)($/dailytherm-yr) | 26 | 0
| Repeat Periodic Replacement | On | Repeat Periodic Replacement | On |  | Marginal Gas Avoided Cost Input Worksheet | 7P Gas |  |  | Conservation Load Shapes | [6 empty] | Customer | Wholesale Elec | Retail Elec | Nat Gas |  | Input Cost Reference Year | 2012 |  | Bulk System T&D I2R Loss Component (%) | 0.9 | N/A
[6 empty] | Gas Savings Shape Input Worksheet | GLSShapes | [8 empty] | Sponsor Share of Initial Capital Cost | 0.35 | 0.195 | 0.455 | 0 |  | Real Discount Rate | 0.04 |  | Local System Dist Loss Factor | 0.047399 | 0
| Run Type: | Electric |  |  |  | Marginal Elec CO2 per kWh Input Worksheet | CO2 lbs per kWh .95 |  |  | CO2 lbs per therm | [5 empty] | Sponsor Share of Annual O&M | 1 | 0 | 0 | 0 |  | Capital Real Escalation Rate | 0 |  | Local System Dist Credit ($/kw-yr)($/dailytherm-yr) | 31 | 0
| Negative B/C Ratios: | False: (Converts Negative B/C Ratios) |  |  |  | Marginal Gas CO2 per therm Input Worksheet | CO2 lbs per therm |  |  | Zero Dollars per ton CO2 | [5 empty] | Sponsor Share of Periodic Replacement Cost | 1 | 0 | 0 | 0 |  | Admin Cost (as % of Initial Capital Cost) | 0.2 |  | Local System Dist I2R Loss Component (%) | 0.7 | N/A
| Admin Cost / Category Level: | True: Admin Costs added at Category Results |  |  |  | Marginal Avoided Cost CO2 Input Worksheet | Zero Dollars per ton CO2 |  |  | LineLossShapes | [5 empty] | Sponsor Share of Admin Cost |  | 0.3 | 0.7 | 0 |  | Regional Act Conservation Credit (%) | 0 |  | Risk-Mitigation Credit (mills/kWh)(mills/therm) - Retro. | 0 | 0
| Periodic O&M Treatment: | True: (Periodic O&M Repeats over measure life) |  |  |  | Line Loss Shape Input Worksheet | LineLossShapes | [8 empty] | Last Year of Non-Customer O&M & Period Replacement |  | 20 |  |  |  | Report Annual Carbon Saved for Year | 2018 |  | Risk-Mitigation Credit (mills/kWh)(mills/therm) - Lost Op. | 0 | 0
Measure Results; Sorted in same order as input
Total Results |  | Measure Input Data | [8 empty] | Savings | [5 empty] | PV Capital |  |  |  | PV Admin |  |  |  | PV O&M |  |  |  | PV Periodic Repl. |  |  |  | Total PV Capital, O&M and Periodic Repl Costs |  |  |  |  | PV Wholesale Electric Utility Costs & Benefits | [6 empty] | PV Retail Electric Utility Costs & Benefits | [6 empty] | PV Electric Utility System Costs & Benefits | [5 empty] | Electric Utility System Economics |  | Sponsor Levelized Cost (mills/kwh) |  |  |  |  | PV Regional Costs & Benefits | [15 empty] | TRC Economics |  | Physical CO2 | [6 empty] | Gas Inputs |  |  |  | PV Gas Utility System Costs & Benefits |  |  |  |  | Gas Utility System Economics
Category | Measure | Measure Life | Site Savings (kWh) | Site Savings (therms) | Capital Cost ($/unit) | Annual O&M Cost ($/unit) | PV Per. Repl. Cost ($/unit) | Load Shape (electric) | Diversified Load Factor (electric) | Wholesale Power Coincidence Factor (electric) | Wholesale Electric Energy (kWh) | Wholesale Electric Demand (kw) | Retail Electric Demand (kW) | Wholesale Gas Energy (therms/yr) | Wholesale Gas Demand (therms/day) | Retail Gas Demand (therms/day) | Wholesale Electric | Retail Electric | Natural Gas | Customer | Wholesale Electric | Retail Electric | Natural Gas | Customer | Wholesale Electric | Retail Electric | Natural Gas | Customer | Wholesale Electric | Retail Electric | Natural Gas | Customer | Wholesale Electric | Retail Electric | Natural Gas | Customer | Total | Wholesale Utility System Energy | Wholesale Utility System T&D Def. Cap. | Wholesale Utility System Act C-E Credit | Wholesale Utility System Risk Mitigation Benefit | Wholesale Utility System Total System Benefit | Wholesale Utility System Total Non-Consumer Cost | Wholesale Utility System B/C Ratio | Retail Utility System Energy | Retail Utility System T&D Def. Cap. | Retail Utility System Act C-E Credit | Retail Utility System Risk Mitigation Benefit | Retail Utility System Total System Benefit | Retail Utility System Total Non-Consumer Cost | Retail Utility System System B/C Ratio | Utility System Energy | Utility System T&D Def. Cap. | Utility System Act C-E Credit | Utility System Total Risk Mitigation Benefit | Utility System Total System Benefit | Utility System Total Non-Consumer Cost | Utility System Net Levelized Cost (Net of Elec T&D Capacity Benefits, Act Credit & Risk-Mitigation Benefit) in mills/kwh | Utility System System B/C Ratio | Wholesale Electric Levelized Cost | Retail Electric Levelized Cost | Natural Gas Levelized Cost | Customer Levelized Cost | Total Levelized Cost | PV Regional Electric Energy | PV Regional Gas Energy | PV Regional Electric T&D Def. Cap. | PV Regional Gas T&D Def. Cap. | PV Regional Electric System CO2 | PV Regional Gas System CO2 | PV Regional Electric System Risk-Mitigation Benefit | PV Regional Gas System Risk-Mitigation Benefit | PV Regional Non-E Value | PV Regional Act Credit | PV Regional Capital Cost | PV Regional Admin Cost | PV Regional Annual O&M Cost | PV Regional Periodic Replacement Cost | PV Total Regional Benefit | PV Total Regional Cost | TRC B/C Ratio | TRC Net Levelized Cost (Net of All Benefits) in mills/kWh | Electric System CO2 Avoided (Lifetime Tons) | Gas System CO2 Avoided (Lifetime Tons) | Total System CO2 Avoided (Lifetime Tons) | Electric System CO2 Avoided (Annual Tons in 2018) | Gas System CO2 Avoided (Annual Tons in 2018) | Total System CO2 Avoided (Annual Tons in 2018) |  | Gas Site Savings (therms) | Load Shape (gas) | Diversitfied Load Factor (gas) | Wholesale Coincidence Factor (gas) | Total Gas Utility System Energy | Gas Utility System T&D Def. Cap. | Gas Utility System Risk Mitigation Benefit | Gas Utility System Total System Benefit | Gas Utility System Total Non-Consumer Cost | Gas Utility System Net Levelized Cost (Net of Gas T&D Capacity Benefits & Risk-Mitigation Benefits) in cents/therm | Gas Utility System System B/C Ratio
Municipal Water Supply-Retro | Municipal Water Supply-Retro | 12 | 52810.5406 | 0 | 14262.5256 | 0 | 0 | C-W-Ref-Vent-All-All-C |  |  | 56712.1444 | 8.9111 | 8.8467 | 0 | 0 | 0 | 2844.1381 | 6572.3706 | 0 | 13307.6167 | (na) | (na) | (na) | (na) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2844.1381 | 6572.3706 | 0 | 13307.6167 | 22724.1255 | 29331.6667 | 3148.7115 | 0 | 0 | 32480.3783 | 2844.1381 | 11.4201 | 29331.6667 | 3727.1366 | 0 | 0 | 33058.8034 | 6572.3706 | 5.03 | 29331.6667 | 6875.8482 | 0 | 0 | 36207.5149 | 9416.5088 | 3.2964 | 3.8451 | 3.6902 | 8.5274 | 0 | 17.2661 | 29.4836 | 29331.6667 | 0 | 6875.8482 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22724.1255 |  | 0 | 0 | 36207.5149 | 22724.1255 | 1.5934 | 20.5625 | 538.7709 | 0 | 538.7709 | 26.9383 | 0 | 26.9383 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9999 | 9999
Category Results; Sorted by TRC Levelized Cost
Total Results |  | Measure Input Data | [8 empty] | Savings | [5 empty] | PV Capital |  |  |  | PV Admin |  |  |  | PV O&M |  |  |  | PV Periodic Repl. |  |  |  | Total PV Capital, O&M and Periodic Repl Costs |  |  |  |  | PV Wholesale Electric Utility Costs & Benefits | [6 empty] | PV Retail Electric Utility Costs & Benefits | [6 empty] | PV Electric Utility System Costs & Benefits | [5 empty] | Electric Utility System Economics |  | Sponsor Levelized Cost (mills/kwh) |  |  |  |  | PV Regional Costs & Benefits | [15 empty] | TRC Economics |  | Physical CO2 | [6 empty] | Gas Inputs |  |  |  | PV Gas Utility System Costs & Benefits |  |  |  |  | Gas Utility System Economics
Category | Measure | Measure Life | Site Savings (kWh) | Site Savings (therms) | Capital Cost ($/unit) | Annual O&M Cost ($/unit) | PV Per. Repl. Cost ($/unit) | Load Shape (electric) | Diversified Load Factor (electric) | Wholesale Power Coincidence Factor (electric) | Wholesale Electric Energy (kWh) | Wholesale Electric Demand (kw) | Retail Electric Demand (kW) | Wholesale Gas Energy (therms/yr) | Wholesale Gas Demand (therms/day) | Retail Gas Demand (therms/day) | Wholesale Electric | Retail Electric | Natural Gas | Customer | Wholesale Electric | Retail Electric | Natural Gas | Customer | Wholesale Electric | Retail Electric | Natural Gas | Customer | Wholesale Electric | Retail Electric | Natural Gas | Customer | Wholesale Electric | Retail Electric | Natural Gas | Customer | Total | Wholesale Utility System Energy | Wholesale Utility System T&D Def. Cap. | Wholesale Utility System Act C-E Credit | Wholesale Utility System Risk Mitigation Benefit | Wholesale Utility System Total System Benefit | Wholesale Utility System Total Non-Consumer Cost | Wholesale Utility System B/C Ratio | Retail Utility System Energy | Retail Utility System T&D Def. Cap. | Retail Utility System Act C-E Credit | Retail Utility System Risk Mitigation Benefit | Retail Utility System Total System Benefit | Retail Utility System Total Non-Consumer Cost | Retail Utility System System B/C Ratio | Utility System Energy | Utility System T&D Def. Cap. | Utility System Act C-E Credit | Utility System Total Risk Mitigation Benefit | Utility System Total System Benefit | Utility System Total Non-Consumer Cost | Utility System Net Levelized Cost (Net of Elec T&D Capacity Benefits, Act Credit & Risk-Mitigation Benefit) in mills/kwh | Utility System System B/C Ratio | Wholesale Electric Levelized Cost | Retail Electric Levelized Cost | Natural Gas Levelized Cost | Customer Levelized Cost | Total Levelized Cost | PV Regional Electric Energy | PV Regional Gas Energy | PV Regional Electric T&D Def. Cap. | PV Regional Gas T&D Def. Cap. | PV Regional Electric System CO2 | PV Regional Gas System CO2 | PV Regional Electric System Risk-Mitigation Benefit | PV Regional Gas System Risk-Mitigation Benefit | PV Regional Non-E Value | PV Regional Act Credit | PV Regional Capital Cost | PV Regional Admin Cost | PV Regional Annual O&M Cost | PV Regional Periodic Replacement Cost | PV Total Regional Benefit | PV Total Regional Cost | TRC B/C Ratio | TRC Net Levelized Cost (Net of All Benefits) in mills/kWh | Electric System CO2 Avoided (Lifetime Tons) | Gas System CO2 Avoided (Lifetime Tons) | Total System CO2 Avoided (Lifetime Tons) | Electric System CO2 Avoided (Annual Tons in 2018) | Gas System CO2 Avoided (Annual Tons in 2018) | Total System CO2 Avoided (Annual Tons in 2018) |  | Gas Site Savings (therms) | Load Shape (gas) | Diversitfied Load Factor (gas) | Wholesale Coincidence Factor (gas) | Total Gas Utility System Energy | Gas Utility System T&D Def. Cap. | Gas Utility System Risk Mitigation Benefit | Gas Utility System Total System Benefit | Gas Utility System Total Non-Consumer Cost | Gas Utility System Net Levelized Cost (Net of Gas T&D Capacity Benefits & Risk-Mitigation Benefits) in cents/therm | Gas Utility System System B/C Ratio
Municipal Water Supply-Retro |  | 12 | 52810.5406 | 0 | 14262.5256 | 0 | 0 |  |  |  | 56712.1444 | 8.9111 | 8.8467 | 0 | 0 | 0 | 2844.1381 | 6572.3706 | 0 | 13307.6167 | 855.7515 | 1996.7536 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3699.8897 | 8569.1242 | 0 | 13307.6167 | 25576.6306 | 29331.6667 | 3148.7115 | 0 | 0 | 32480.3783 | 3699.8897 | 8.7787 | 29331.6667 | 3727.1366 | 0 | 0 | 33058.8034 | 8569.1242 | 3.8579 | 29331.6667 | 6875.8482 | 0 | 0 | 36207.5149 | 12269.0139 | 6.9974 | 2.9511 | 4.8005 | 11.1181 | 0 | 17.2661 | 33.1847 | 29331.6667 | 0 | 6875.8482 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22724.1255 | 2852.5051 | 0 | 0 | 36207.5149 | 25576.6306 | 1.4156 | 24.2635 | 538.7709 | 0 | 538.7709 | 26.9383 | 0 | 26.9383 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9999 | 9999
Supply Curve Results; Categories sorted by TRC Net Levelized Cost
Totals for Categories with Benefits Exceeding Costs. Levelized cost is TRC Net Levelized Cost (Net of Benefits) | [12 empty] | Savings Allocation by Cost Bin and Month for Segments 1 | [12 empty] | Savings Allocation by Cost Bin and Month for Segments 2
| Totals Basis | Busbar Electric Savings in kWh | First Cost | Admin Cost | First Year Program Cost | PV Cost | PV Benefits | Unit Program Cost: First Year Program Cost in $/average annual kW saved | Utility System Net Levelized Cost (Net of T&D Capacity Benefits, Act Credit & Risk-Mitigation) in mills/kWh | TRC Net Levelized Cost (Net of All Benefits) in mills/kWh | TRC B/C Ratio | Net Electric & Gas System CO2 Avoided (Lifetime Tons) | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec |  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
| Measures with B/C > 1.00 | 56712.1444 | 14262.5256 | 0 | 14262.5256 | 22724.1255 | 36207.5149 | 2203.0506 | 3.2964 | 20.5625 | 1.5934 | 538.7709 | 2873.9128 | 2723.2725 | 3268.3898 | 3105.7865 | 3456.6986 | 3862.7159 | 4079.5548 | 4387.9996 | 3748.4668 | 3660.2482 | 2902.5446 | 2869.0192 |  | 1086.628 | 939.9409 | 1000.8289 | 1199.9343 | 1341.3403 | 1496.4434 | 1843.1428 | 1712.0514 | 1749.7125 | 1290.2801 | 1024.7738 | 1088.4589
| Categories with B/C > 1.00 | 56712.1444 | 14262.5256 | 2852.5051 | 17115.0307 | 25576.6306 | 36207.5149 | 2643.6607 | 6.9974 | 24.2635 | 1.4156 | 538.7709 | 2873.9128 | 2723.2725 | 3268.3898 | 3105.7865 | 3456.6986 | 3862.7159 | 4079.5548 | 4387.9996 | 3748.4668 | 3660.2482 | 2902.5446 | 2869.0192 |  | 1086.628 | 939.9409 | 1000.8289 | 1199.9343 | 1341.3403 | 1496.4434 | 1843.1428 | 1712.0514 | 1749.7125 | 1290.2801 | 1024.7738 | 1088.4589
Supply Curve Results: By TRC Net Levelized Cost - Net of Benefits
| Block 1: <= 0 mills/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 2: <= 10 mills/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 3: 10-20 mills/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 4: 20-30 mills/kWh | 56712.1444 | 14262.5256 | 2852.5051 | 17115.0307 | 25576.6306 | 36207.5149 | 2643.6607 | 6.9974 | 24.2635 | 1.4156 | 538.7709 | 2873.9128 | 2723.2725 | 3268.3898 | 3105.7865 | 3456.6986 | 3862.7159 | 4079.5548 | 4387.9996 | 3748.4668 | 3660.2482 | 2902.5446 | 2869.0192 |  | 1086.628 | 939.9409 | 1000.8289 | 1199.9343 | 1341.3403 | 1496.4434 | 1843.1428 | 1712.0514 | 1749.7125 | 1290.2801 | 1024.7738 | 1088.4589
| Block 5: 30-40 mills/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 6: 40-50 mills/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 7: 50-60 mills/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 8: 60-70 mills/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 9: 70-80 mills/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 10: 80-90 mills/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 11: 90-100 mills/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 12: 100-110 mills/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 13: 110-120 mills/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 14: 120-130 mills/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 15: 130-140 mills/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 16: 140-150 mills/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 17: 150-160 mills/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 18: 160-170 mills/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 19: 170-180 mills/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 20: 180-190 mills/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 21: 190-200 mills/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 22: > 200 mills/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Shaped Savings Results; By Category and sorted by TRC BC ratio
[13 empty] | Savings Allocation by Cost Bin and Month for Segments 1 Feb: Savings Allocation by Category and Month for Segments 1 |  |  | Savings Allocation by Category and Month for Segments 2
Category | Measure | Busbar Savings | First Cost | Admin Cost | First Year Program Cost | PV Cost | PV Benefits | Unit Program Cost: First Year Program Cost in $/average annual kW saved | Utility System Net Levelized Cost (Net of T&D Capacity Benefits, Act Credit & Risk-Mitigation) in mills/kWh | TRC Net Levelized Cost (Net of All Benefits) in mills/kWh | TRC B/C Ratio | Net Electric & Gas System CO2 Avoided (Lifetime Tons) | Wholesale KW | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec |  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Municipal Water Supply-Retro |  | 56712.1444 | 14262.5256 | 2852.5051 | 17115.0307 | 25576.6306 | 36207.5149 | 2643.6607 | 6.9974 | 24.2635 | 1.4156 | 538.7709 | 8.9111 | 2873.9128 | 2723.2725 | 3268.3898 | 3105.7865 | 3456.6986 | 3862.7159 | 4079.5548 | 4387.9996 | 3748.4668 | 3660.2482 | 2902.5446 | 2869.0192 |  | 1086.628 | 939.9409 | 1000.8289 | 1199.9343 | 1341.3403 | 1496.4434 | 1843.1428 | 1712.0514 | 1749.7125 | 1290.2801 | 1024.7738 | 1088.4589
Fix this categories row so there is output in it.
Fix this categories row so there is output in it.
Fix this categories row so there is output in it.
Fix this categories row so there is output in it.
Fix this categories row so there is output in it.
Fix this categories row so there is output in it.
Fix this categories row so there is output in it.
Fix this categories row so there is output in it.
Fix this categories row so there is output in it.
Fix this categories row so there is output in it.
Fix this categories row so there is output in it.
Fix this categories row so there is output in it.
Fix this categories row so there is output in it.
Fix this categories row so there is output in it.
Fix this categories row so there is output in it.
Fix this categories row so there is output in it.
Fix this categories row so there is output in it.
Fix this categories row so there is output in it.
Fix this categories row so there is output in it.
Fix this categories row so there is output in it.
Fix this categories row so there is output in it.
Fix this categories row so there is output in it.
Fix this categories row so there is output in it.
Fix this categories row so there is output in it.
Fix this categories row so there is output in it.
Fix this categories row so there is output in it.
Fix this categories row so there is output in it.
Note on I6: :ProCost Perioodic replacement costs and savinsg of the measure. These are costs and savings that occur periodicially, but at different periods than annually. Can be positive or negative. Periodic replacement costs for both the measure and the baseline measure should be included if applicable. ProCost can analysze these costs in two ways dependent on the 'Repeat Periodic Replacemetn' switch in the ProData page. When set to 'On', ProCost repeats replacement costs for multiple times over the life of a measure depending on the input period and measure life. For example fluorescent lamps may have a 4-year replacement cycle that repeats 3 times in a 15-year measure life. When set to 'Off', ProCost reads the period as the year after installation that the replacement cost occurs and does not subsequently reinstall or repeat the replacement costs. For example a compressor may be replaced only once in the life of a heat-pump system. Example: A new fluorescent lighting systems may have a measure life of 15 years, and a lamp life of five years. Two lamps lamps per fixture must be replaced at years 6 and 11. Lamp and labor costs, expressed as positive costs, are entered as a cost and the period would be enetered as 5. The baseline measure may have a four year lamp life and would have required a three-lamp replacement at years 5, 9 and 13. Lamp and labor replacement costs would be entered as annual savings in dollars with a 4-year period. ProCost determines the net present value of the two cost streams.
Note on O6: :ProCost If the measure has gas savings for incfreases, enter the annual savings and shape of the savings here. Example: Clothes washer saves electric motor and dryer energy and gas water heat.
Note on A7: :Procost Category for the measure. Individual measures can be grouped into categories. Procost output is reported by measure and by category. All measures must belong to at least one category. Category name can be the same as measure name. Example: Measures can be combined into one category if they have components with different load shapes or measure lives. On wash machines there may be one load shape for the electric motor savings component, a second load shape for the electric water heat savings component and a third shape for electric dryer savings component.
Note on B7: :ProCost Name of Measure. User-defined. For PTR measures, defined naming conventions apply.
Note on C7: :ProCost Annual electric savings for the measure in kWh at the site. May be positive, negative or zero. Savings are incremental to the baseline alternative.
Note on D7: :ProCost Physical life of the measure in years. Must be >=1.
Note on E7: :ProCost Initial cost to install the measure in dollars. Costs are incremental to the baseline alternative. Dollars must be denominated in the same year as 'Input Cost Reference Year' input on the ProData page.
Note on F7: :ProCost Annaul opperations and maintenace cost for the measure in dollars. Must be incremental cost over the baseline alternative. May be positive, negative or zero. Dollars must be denominated in the same year as 'Input Cost Reference Year' input on the ProData page. O&M costs are enetered as positive values. Negative values represent O&M savings compared to the baseline alternative. Example: Annualized maintenace cost for a heat pump heating system compared to a baseline electric resistance heating system.
Note on G7: :ProCost Name of the pointer to the shape of the savings. The shapes represent the daily and monthly shape of the savings in four time segments for each month of the year. Shape of the savings is relative to the baseline alternative. These shaps are in the MC_AND_Loadshape file.
Note on H7: :ProCost Annual value of any non-energy benefits of the measure, relative to the baseline alternative. Expressed in dollars per year and denominated in dollars of the 'Cost Reference Year'. Positive value represents dollar savings. Negative value represents dollar cost. Example: Water, detergent and sewer savings from efficient clothes washer.
Note on I7: : Cost in dollars that is incurred for Period 1. Positive value if cost. Negative value if savings. Dollars must be denominated in the same year as 'Input Cost Reference Year' input on the ProData page.
Note on J7: :ProCost Duration of Period1. The time at which Period 1 costs, or savings, occur. In years.
Note on K7: : Cost in dollars that is incurred for Period 2 Positive value if cost. Negative value if savings. Dollars must be denominated in the same year as 'Input Cost Reference Year' input on the ProData page.
Note on L7: :ProCost Duration of Period 2. The time at which Period 2 costs, or savings, occur. In years.
Note on M7: : Cost in dollars that is incurred for Period 3. Positive value if cost. Negative value if savings. Dollars must be denominated in the same year as 'Input Cost Reference Year' input on the ProData page.
Note on N7: :ProCost Duration of Period 3. The time at which Period 3 costs, or savings, occur. In years.
Note on O7: : Annual gas savings, or increases, in therms.
Note on P7: :ProCost Name of the pointer to the shape of the savings. The shapes represent the daily and monthly shape of the savings in four time segments for each month of the year. Shape of the savings is relative to the baseline alternative. These shaps are in the MC_AND_Loadshape file.
Note on BH35: Direct and program administrative costs incurred by the utility system minus benefits that accrue to the utility system.There are separate Utility System Net Levelized Costs for the electric and the gas system. Utility system benefits include deferred transmission and distribution system capacity, risk-mitigation and Regional Act credit all of which are user-determined inputs.Utility System benefits do not include any non-energy benefits such as, other-fuel benefits, O&M benefits or periodic replacement benefits which generally accrue to the customer or to non-utility sponsors. Utility System Net Levelized Costs correspond to Utility System B/C ratio with regard to the costs and benefits included. Benefits are subtracted from costs, then levelized over the life of the measure The Risk-Mitigation credit is used to determine program cost-effectiveness and impacts both the Utility System B/C ratio and the Utility System Net Levelized Cost. If the Risk-Mitigation credit is non-zero, the Utility System Net Levelized Cost will be reduced by the Risk-Mitigation benefit. When using ProCost to build conservation supply curves, the user should set the Risk-Mitigation Credit to zero so the credit is not reflected in the supply curves.
Note on BM35: Direct and program administrative costs of the measure to sponsor. Separate costs for each sponsor. Depends on share of costs incurred by sponsor, sponsor cost of capital, and financing term which are user-defined inputs. Includes applicable Capital, O&M, Periodic Replacement and Program Administrative costs. Sponsor costs are levelized over program life. Does not include any adjustments for benefit. NOTE: Units are per kWh for 'Electric' runs and per therm for 'Gas' runs for all sponsors.
Note on CE35: All costs minus all benefits regardless of which sponsor incurs the cost or accrues the benefits. TRC Net Levelized Cost includes all applicable costs and all benefits. In addition to energy system costs and benefits, TRC Net Levelized Cost includes non-energy, other-fuel, O&M, periodic-replacement and risk-mitigation benefits and costs. TRC Net Levelized Cost corresponds to TRC B/C ratios with regard to the costs and benefits included. Benefits are subtracted from costs, then levelized over the life of the measure. The Risk-Mitigation credit is used to determine program cost-effectiveness and impacts both the TRC B/C ratio and the TRC Net Levelized Cost. If Risk-Mitigation credit is non-zero, TRC Levelized Cost will be reduced by the risk-mitigation benefit. When using ProCost to build conservation supply curves, the user should set the Risk-Mitigation Credit to zero so the credit is not reflected in the supply curves.
Note on CW35: Direct and program administrative costs incurred by the utility system minus benefits that accrue to the utility system.There are separate Utility System Net Levelized Costs for the electric and the gas system. Utility system benefits include deferred transmission and distribution system capacity, risk-mitigation and Regional Act credit all of which are user-determined inputs.Utility System benefits do not include any non-energy benefits such as, other-fuel benefits, O&M benefits or periodic replacement benefits which generally accrue to the customer or to non-utility sponsors. Utility System Net Levelized Costs correspond to Utility System B/C ratio with regard to the costs and benefits included. Benefits are subtracted from costs, then levelized over the life of the measure The Risk-Mitigation credit is used to determine program cost-effectiveness and impacts both the Utility System B/C ratio and the Utility System Net Levelized Cost. If the Risk-Mitigation credit is non-zero, the Utility System Net Levelized Cost will be reduced by the Risk-Mitigation benefit. When using ProCost to build conservation supply curves, the user should set the Risk-Mitigation Credit to zero so the credit is not reflected in the supply curves.
Note on BH41: Direct and program administrative costs incurred by the utility system minus benefits that accrue to the utility system.There are separate Utility System Net Levelized Costs for the electric and the gas system. Utility system benefits include deferred transmission and distribution system capacity, risk-mitigation and Regional Act credit all of which are user-determined inputs.Utility System benefits do not include any non-energy benefits such as, other-fuel benefits, O&M benefits or periodic replacement benefits which generally accrue to the customer or to non-utility sponsors. Utility System Net Levelized Costs correspond to Utility System B/C ratio with regard to the costs and benefits included. Benefits are subtracted from costs, then levelized over the life of the measure The Risk-Mitigation credit is used to determine program cost-effectiveness and impacts both the Utility System B/C ratio and the Utility System Net Levelized Cost. If the Risk-Mitigation credit is non-zero, the Utility System Net Levelized Cost will be reduced by the Risk-Mitigation benefit. When using ProCost to build conservation supply curves, the user should set the Risk-Mitigation Credit to zero so the credit is not reflected in the supply curves.
Note on BM41: Direct and program administrative costs of the measure to sponsor. Separate costs for each sponsor. Depends on share of costs incurred by sponsor, sponsor cost of capital, and financing term which are user-defined inputs. Includes applicable Capital, O&M, Periodic Replacement and Program Administrative costs. Sponsor costs are levelized over program life. Does not include any adjustments for benefit. NOTE: Units are per kWh for 'Electric' runs and per therm for 'Gas' runs for all sponsors.
Note on CE41: All costs minus all benefits regardless of which sponsor incurs the cost or accrues the benefits. TRC Net Levelized Cost includes all applicable costs and all benefits. In addition to energy system costs and benefits, TRC Net Levelized Cost includes non-energy, other-fuel, O&M, periodic-replacement and risk-mitigation benefits and costs. TRC Net Levelized Cost corresponds to TRC B/C ratios with regard to the costs and benefits included. Benefits are subtracted from costs, then levelized over the life of the measure. The Risk-Mitigation credit is used to determine program cost-effectiveness and impacts both the TRC B/C ratio and the TRC Net Levelized Cost. If Risk-Mitigation credit is non-zero, TRC Levelized Cost will be reduced by the risk-mitigation benefit. When using ProCost to build conservation supply curves, the user should set the Risk-Mitigation Credit to zero so the credit is not reflected in the supply curves.
Note on CW41: Direct and program administrative costs incurred by the utility system minus benefits that accrue to the utility system.There are separate Utility System Net Levelized Costs for the electric and the gas system. Utility system benefits include deferred transmission and distribution system capacity, risk-mitigation and Regional Act credit all of which are user-determined inputs.Utility System benefits do not include any non-energy benefits such as, other-fuel benefits, O&M benefits or periodic replacement benefits which generally accrue to the customer or to non-utility sponsors. Utility System Net Levelized Costs correspond to Utility System B/C ratio with regard to the costs and benefits included. Benefits are subtracted from costs, then levelized over the life of the measure The Risk-Mitigation credit is used to determine program cost-effectiveness and impacts both the Utility System B/C ratio and the Utility System Net Levelized Cost. If the Risk-Mitigation credit is non-zero, the Utility System Net Levelized Cost will be reduced by the Risk-Mitigation benefit. When using ProCost to build conservation supply curves, the user should set the Risk-Mitigation Credit to zero so the credit is not reflected in the supply curves.

## LookupTable (hidden)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | LOOKUP TABLES FOR BPA REPORTING SYSTEM
Original Measure Name | Sector | End-Use | Category | Technology, Activity, or Practice | Lost Opportunity? | Heating Zone | Cooling Zone | Unit Type | Building Type | Vintage | Application | General Attributes 1 | General Attributes 2 | Delivery Mechanism or Program | Comments | Sector Name | End-Use Name | Category Name | Technology/Activity/Practice (TAP) | Heating Zone | Cooling Zone | Unit Type | Building Type | Vintage | Delivery Mechanism
F | Residential | Electronics | Motors | Televisions | No | Heating Zone All | Cooling Zone All | per Piece of Equipment | Single Family | Existing |  |  |  | All delivery channels | Measure is a small saver due to limited remaining potential. | Agricultural | Compressed Air | Capacitors | Aerators | Heating Zone 1 | Cooling Zone 1 | Other | < 4 stories | Existing | All delivery channels
G | Residential | Food Preparation | Cooking | Other | Yes | Heating Zone All | Cooling Zone All | per Piece of Equipment | Single Family | Existing |  |  |  | All delivery channels |  | Commercial | Electronics | Center Pivot System and Equipment | Air Conditioners | Heating Zone 2 | Cooling Zone 2 | per Apartment/Unit | Anchor Retail | Existing or New | Direct Install
[16 empty] | Industrial | Facility Distribution System | Compressed Air System Controls | Air Sealing | Heating Zone 3 | Cooling Zone 3 | per CFM50 reduction | Any Commercial Building | New | Direct Mail
[16 empty] | Other | Food Preparation | Compressed Air System Improvements | Air-Source Heat Pumps | Heating Zone All | Cooling Zone All | per Computer Controlled | Any Industrial Building | Other | Give-away
[16 empty] | Residential | HVAC | Computer Technologies | Air-Source Heat Pumps w/Duct Sealing | Heating Zones 1&2 | Cooling Zones 1&2 | per Lineal foot of LED tube controlled | Any Residential (SF, MF or Manuf) |  | Give-away & mail non-request
[16 empty] | Utility System Efficiency | Irrigation | Conductors | Air-Source Heat Pumps w/o Duct Sealing | Heating Zones 2&3 | Cooling Zones 2&3 | per Linear Feet of LED | Assembly |  | Mail by-Request
[17 empty] | Lighting | Cooking | Auto Closers | Other | Other | per Piece of Equipment | Big Box Retail |  | Mail by-request & mail non-request
[17 empty] | Motors/Drives | Dairy System Improvements | Behavioral |  |  | per Residence | College or University |  | Mail by-request & mail non-request & give-away
[17 empty] | Other | Delamping | Bi-Radiant Oven |  |  | per sq ft of floor area for each 0.1 ach reduction | Convenience Store |  | Mail non-Request
[17 empty] | Process Loads | Discharge Fitting Equipment | Blower System Improvements |  |  | per Square feet | Dairy |  | Other distribution method
[17 empty] | Refrigeration | Elevators | Building Commissioning Improvements |  |  | per Square feet of area insulated | Exterior 24 Hour Operation |  | Over-the-counter
[17 empty] | Utility Distribution System | Entertainment | Built Green Home |  |  | per Square Feet of door area | Food Service |  | Retail
[17 empty] | Utility Generation System | Envelope | Case Lighting |  |  | per Square feet of window replaced | Grocery
[17 empty] | Utility Transmission System | Escalators | Case Lighting Delamping |  |  | per Tank | Health Care
[17 empty] | Water Heating | Freezers | Cases |  |  | per Ton | High End Retail
[17 empty] | Whole Bldg/Meter Level | Handmove and Sideroll System and Equipment | Center Pivot Conversions |  |  |  | Hospital
[18 empty] | Hardware | Centrifugal Chiller Improvements |  |  |  | Hospitality
[18 empty] | Heat Recovery | Centrifugal Pump System Improvements |  |  |  | Industrial Facility
[18 empty] | Homes | Change in Water Source |  |  |  | Industrial Plant with One Shift
[18 empty] | HVAC System | Chiller Improvements |  |  |  | Industrial Plant with Three Shifts
[18 empty] | HVAC System Controls | Clothes Washers |  |  |  | Industrial Plant with Two Shifts
[18 empty] | HVAC System Improvements | Commissioning Controls Sizing |  |  |  | Invalid
[18 empty] | Insulators | Compressed Air Control Improvements (non-VFD) |  |  |  | K-12 School
[18 empty] | Irrigation System Improvements | Compressed Air Control Improvements (VFD) |  |  |  | Large Office
[18 empty] | Lamps/Ballasts/Fixtures | Compressed Air System Compressor Improvements (non-VFD) |  |  |  | Laundromat
[18 empty] | Lamps/Fixtures | Compressed Air System Compressor Improvements (VFD) |  |  |  | Lodging
[18 empty] | Lighting Controls | Compressed Air System Demand Side Improvements |  |  |  | Manufactured Home
[18 empty] | Livestock Tanks | Compressed Air System Dryer Improvements |  |  |  | Medium Office
[18 empty] | Mainline System and Equipment | Compressed Air System Regulation Improvements |  |  |  | MiniMart
[18 empty] | Motors | Compressed Air System Storage Improvements |  |  |  | Modular Classroom
[18 empty] | Motors/Drives Controls | Compressed Air System Supply Side Improvements |  |  |  | Multifamily
[18 empty] | Operation | Compressors |  |  |  | Non building measure
[18 empty] | Other | Condenser Fan System Improvements |  |  |  | Non building measure (Motors)
[18 empty] | Packaged Refrigeration | Condensers |  |  |  | Office
[18 empty] | Pipe Insulation | Conservation Voltage Reduction (CVR) |  |  |  | Office <20,000 sf
[18 empty] | Plug Load | Control Panels |  |  |  | Office >100,000 sf
[18 empty] | Pool System Improvements | Cooking Equipment |  |  |  | Office 20,000 to 100,000 sf
[18 empty] | Power Factor Improvements | Dairy Milking Machine Control Improvements (VFD) |  |  |  | Other
[18 empty] | Process Loads System Controls | Daylighting |  |  |  | Other Commercial
[18 empty] | Process Loads System Improvements | De-Energization |  |  |  | Other Health, Nursing, Medical Clinic
[18 empty] | Pumps and Fans | Defrost Control Improvements |  |  |  | OtherHealth
[18 empty] | Refrigeration System Controls | Delamping |  |  |  | Potato/Onion Shed
[18 empty] | Refrigeration System Improvements | Dishwashers |  |  |  | Restaurant
[18 empty] | Refrigerators | Doors |  |  |  | Retail
[18 empty] | Signs and Signals | Drain Replacement |  |  |  | Retail 5,000 to 50,000 sf
[18 empty] | Suction Fittings Equipment | Drop Installation for Spray Heads and Pressure Regulators |  |  |  | Retail Anchor Store >50,000 sf Multistory
[18 empty] | System Efficiency Improvements | Drop Tube/Hose Extension |  |  |  | Retail Big Box >50,000 sf One-Story
[18 empty] | Transformers | Duct Insulation |  |  |  | Retail Boutique <5,000 sf
[18 empty] | Utility Station Service Loads | Duct Sealing |  |  |  | Retail Mini Mart
[18 empty] | Voltage Management | Ductless Heat Pumps |  |  |  | Retail Supermarket
[18 empty] | Wastewater System Improvements | Economizer System Improvements |  |  |  | School K-12
[18 empty] | Water Heaters | EcoRated Home |  |  |  | Schools
[18 empty] | Water Heating Controls | Electric Combination Ovens |  |  |  | Single Family
[18 empty] | Water Management | Electric Commercial Steam Cookers |  |  |  | Single Family or MultiFamily
[18 empty] | Water Using Devices | Electric Convection Ovens |  |  |  | Small Box Retail
[18 empty] | Whole Bldg/Meter Level System Improvements | Electric Fryers |  |  |  | Small Office
[19 empty] | Electronically Commutated Motor (ECM) |  |  |  | Small Retail
[19 empty] | Elevators |  |  |  | Street & Area Lighting (Photo Sensor Controlled)
[19 empty] | Energy Management Systems/System Controls |  |  |  | Supermarket
[19 empty] | Energy Star Home |  |  |  | University
[19 empty] | Escalators |  |  |  | Warehouse
[19 empty] | Evaporator Coil Fan System Improvements |  |  |  | Winery
[19 empty] | Evaporator Fan System Improvements |  |  |  | Wood Frame
Fan System Improvements
Fast Acting Doors
Fixed and Switched Shunt Capacitor
Fixed and Switched Shunt Capacitor
Fixtures
Flow Control Nozzles and Diffuser
Freeze Resistant Stock Tanks
Freezer Decommissioning
Freezers
Gasket Replacement
Goose Necks
Ground-source Heat Pump
Ground-Source Heat Pumps w/ Duct Sealing
Ground-Source Heat Pumps w/o Duct Sealing
Heat Pump Water Heaters
Heat Recovery Improvements
Hot Food Holding Cabinets
Hub Replacement
Humidification/Dehumidification Improvements
HVAC Control Improvements (non-VFD)
HVAC Control Improvements (VFD)
Ice Makers
Impact Sprinkler Heads
Insulation
Insulators
Interactive Compressed Air System Supply/Demand Improvements
Interactive HVAC System Improvements
Interactive Mainline System and Equipment Improvements
Interactive Process Loads System Improvements
Interactive Refrigeration System Improvements
Interactive Wastewater System Improvements
Interactive Whole Bldg/Meter Level System Improvements
Irrigation System Improvements
Lamps
Lamps/Ballasts
Lamps/Ballasts w/Controls
Lamps/Ballasts w/Delamping
Lamps/Ballasts w/Delamping and Controls
Lamps/Ballasts/Fixtures
Lamps/Ballasts/Fixtures w/Controls
Lamps/Ballasts/Fixtures w/Delamping
Lamps/Ballasts/Fixtures w/Delamping and Controls
LED Exit Signs
LED Traffic Signals
Leveler Rebuild
Lighting Controls
Line Repairs
Low Angle Heads
Low Pressure End guns/Big guns
Mainline System Pump Improvements
Montana House
Motion Sensors
Motor Rewind
Motors
Motors/Drives Control Improvements (non-VFD)
Motors/Drives Control Improvements (VFD)
Motors/Drives Installation on Blower System
Motors/Drives Installation on Compressed Air System
Motors/Drives Installation on Fan System
Motors/Drives Installation on Pump System
Motors/Drives Installation on Vacuum Pumps
Multiplex
Multi-Trajectory Sprays
NEEA Net Savings
NEEM Certified Home
Network Computer Power Management
Night Covers
Non-reportable to BPA
Nozzle Replacement
Occupancy Sensors
Operation System Improvements
Other
Packaged Refrigeration System Improvements
Photocells
Pipe Insulation
Pipe Repair
Plate Milk Pre-cooler
Pneumatic to DDC Control Improvements
Pool Blankets
Pool System Improvements
Power Strips
Power Supplies
Pre Rinse Spray Valves
Process Loads Control Improvements (non-VFD)
Process Loads Control Improvements (VFD)
Pump System Improvements
Pump Testing Service
Reciprocating Chiller Improvements
Reduce Cavitation
Reduce Delivery System Leakage
Reduce Friction Loss
Reduce System Friction Head
Reduce System Leakage
Reduce System Lift
Refrigeration Control Improvements (non-VFD)
Refrigeration Control Improvements (VFD)
Refrigerator Decommissioning
Refrigerators
Regulator Replacement
Rooftop Units
Rotary Screw Chiller Improvements
Scientific Irrigation Scheduling
Scroll Chiller Improvements
Sealing and Commissioning
Sealing Commissioning and Controls
Server Virtualization/Load Reduction
Servers
Service Conductor Replacement
Service Station System Improvements
Set Top Boxes
Showerheads
Small Office Package
Spray Heads
Sprinkler Replacements
Stall Lighting
Storage Tank Insulation Improvements
Strip Curtains
Suction Line Insulation
System Water Delivery Improvements
Televisions
Thermostats
Timers
Transformer Load Management
Transformers (NEMA TP-1 or Higher)
Turbine Pump System Improvements

## Savings and Cost
Embedded Energy
Measure Savings (kWh/MGD) | Year 2015 |  |  | Measure Life | Measure Cost | O&M cost |  | Weightd Consumption Rate
| MGD Usage | aMW |  | (Years) | ($/kWh) | ($/kWh) |  | (kWh/1000 gal)
Groundwater Source | 928.9473 | 69.671 |  | 12 | 0.27007 |  |  | 1.5421
Surface Water Source | 1025.5078 | 55.9122
Total | 1954.4551 | 125.5832 | [5 empty] | 1.54
Assumed savings potential = | 11.76% | 14.7667 | 66185.5034 | kWh/MGD | 66.1855
Accomplishments |  | 2.9841
Net Tech Potential in 2015 |  | 11.7826 | Net of accopmplishments
New Measure Savings (kWh/MGD) |  | 52810.5406 | kWh/MGD
|  |  | 9.382% | New Share
Savings Estimates: | [6 empty] | Cost Data:
|  |  |  | Accomplishments |  |  | Capital Cost | Capital Cost |  | This is for Wastwater and not applicable to Water Supply
| Year 2035 |  |  | From BACGen | From 6 Going on 7 |  | Recent Projects | from BACGen | O&M Cost savings
| MGD Usage | aMW |  | aMW | aMW |  | ($/kWh saved) | $/kWh saved | from NYSERDA study (6th plan)
Groundwater Source | 1002.4556 | 73.7658 |  | 0.68431 | 0.73403 |  | 0.24389 | 0.76745 | 0.027717 | per kWh saved
Surface Water Source | 1106.6571 | 58.7708 |  | 0.75544 | 0.81033 | 2012$ | 0.27007
Total | 2109.1127 | 132.5366 |  | 1.4397 | 1.5444 |  |  |  | 1.1074 | GDP Inflator from SIW v2.0
Assumed savings potential = | 11.76% | 15.5844 | [6 empty] | 0.030693
|  |  |  | 10.44% | 10.46% | Baseline Saturation
kWh Per MGD Usage | 0.55048
kWh Per MGD Savings |  | 64728.1285 | kWh/MGD | 49675.8907 | $/MDG
[9 empty] | In 2035 |  |  | Flow
Source: Energy Use at Wisconsin's Drinking Water Facilities. 2003. Energy Center of Wisconsin | [8 empty] | aMW | aMW/MGD | kWh/MGD | MGD
from 1997-2000: | [7 empty] | Elect used by GW sources | 73.7658 | 0.073585 | 644605.8006 | 1002.4556
Energy consumption | 345000000 | kWh/year |  | 1.6121 | kWh/1000 gallons |  |  | Elect used by SW sources | 58.7708 | 0.053107 | 465213.8646 | 1106.6571
Water produced | 214000000000 | gallons/year | [5 empty] | Total electricity use in PNW | 132.5366 | 0.06284 | 550478.3715
Water lost | 23500000000 | gallons/year | [5 empty] | Savings Share (BACGen) | 11.76%
[8 empty] | Total Potential (aMW) | 15.5844 | 0.0073891 | 64728.1285
loss rate | 10.98%
Figure 3.8:
Groundwater | 1.8 | kWh/1000 gal (approx) |  | Per year
Surface water | 1.4 | kWh/1000 gal (approx)
| PNW Surface Adj | kWh/1000 gal | MGD
| Seattle | 0.435 | 70 | 5%
| Portland | 0.72991 | 62.7619 | 5%
| Other | 1.4 | 1065.3207
Adjusted Surface Water | 1.3085 | kWh/1000 gal (approx)
Source: Seattle Public Utilities Memo. "Water Use Energy Intensities 2006 – Preliminary Estimates." September 5, 2008
Energy use per flow | 435 | kWh/MG
| 0.435 | kWh/1000 gal
Source: Portland Water Bureau - Rod Allen 503.823.1564
Portland Water Bureau
Recent Annual Water Delivery and Power Use
Calendar Year | Days | Avg Demand (mgd) | Avg Demand (MGD) to Wholesalers | Avg Retail Demand (MGD) | Annual Water Delivered (gallons) | Retail Water Delivered (gallons) | Total Billed Power Use (kWh) | Retail billed power use (kWh) | Power Accounts | Gallons Delivered per kWh | Notes | kWh/1000 gal
2004 | 366 | 102.2311 | 42.7 | 59.5311 | 37416600000 | 21788400000 | 23933089 | 13936694.3113 | 221 | 1563.3836 | GW Run | 0.63964
2005 | 365 | 96.469 | 35.6 | 60.869 | 35211189010.989 | 22217189010.989 | 20099286 | 12682037.9712 | 228 | 1751.8627 |  | 0.57082
2006 | 365 | 104.0326 | 34.9 | 69.1326 | 37971890000 | 25233390000 | 36430956 | 24209395.9721 | 229 | 1042.2974 | GW Run | 0.95942
2007 | 365 | 101.6148 | 40.1 | 61.5148 | 37089400000 | 22452900000 | 27335981 | 16548449.0931 | 230 | 1356.7978 | GW Run | 0.73703
TOTAL |  |  |  |  | 147689079010.989 | 91691879010.989 | 107799312 | 67376577.3478 |  | 1370.0373 |  | 0.72991 | kWh/1000 gal
Note on F3: Kevin Smit: Assumed 12 years, same as 6P
Note on G3: Kevin Smit: Selected recent project experience over the BACGEN data
Note on H3: Kevin Smit: No data for O&M savings. Probably zero for water supply.
Note on I16: Kevin Smit: From the file "ESI Data for NWPCC_v01.xls"
Note on B44: Adam Hadley, PE: Incorporate actual data from Seattle and Portland plants, while assuming the remainder have an average of 1.4 kWh/1000gal. (per Oct 2008 RTF meeting recommendation)
Note on E58: Adam Hadley, PE: since these data are from fiscal year, the dates don't match up exactly with the calendar year data
Note on J58: Adam Hadley, PE: Weighted by water delivered to wholesale versus retail. The weighting is likely different, but data are not readily available.

## Data
http://water.usgs.gov/watuse/data/2005/index.html
Estimated Use of Water in the United States in 2005 |  |  |  | An Update to this table is due in late 2014
Table 5. Public supply water withdrawals, 2005.
This table based on USGS 2005 DATA | [9 empty] | This table based on 2013 EPA "population served" data, and 2005 EPA data "withdrawls" data, adjusted for current population
STATE | POPULATION |  |  | WITHDRAWALS
| (in thousands) |  |  | (in million gallons per day)
| Total | Served by |  |  |  | Total
|  | public supply |  | By source | [9 empty] | Withdrawals (MGD)
|  | Population | Population | Ground | Surface | [5 empty] | Population | Population |  | Ground | Surface
|  |  | (in percent) | water | water | [5 empty] | Total | Served |  |  |  |  | gw | sw
Idaho | 1430 | 1010 | 70.63% | 220 | 26.7 | 246.7 |  |  |  | Idaho | 1597.952 | 776.212 | 48.58% | 245.8388 | 14.4929 | 260.3317 | 667455 | 62710
Montana | 936 | 635 | 67.84% | 67.3 | 74.8 | 142.1 |  |  |  | Montana | 1006.807 | 684.253 | 67.96% | 72.3911 | 54.6818 | 127.0729 | 177288 | 383550
Oregon | 3640 | 2930 | 80.49% | 80.9 | 449 | 529.9 |  |  |  | Oregon | 3903.465 | 3321.164 | 85.08% | 86.7556 | 409.6711 | 496.4266 | 443670 | 2742949
Washington | 6290 | 5380 | 85.53% | 539 | 451 | 990 |  |  |  | Washington | 6904.906 | 6665.77 | 96.54% | 591.6923 | 477.9431 | 1069.6354 | 2414206 | 3928500
TOTAL | 12296 | 9955 | 80.96% | 907.2 | 1001.5 | 1908.7 |  |  |  | TOTAL | 13413.13 | 11447.399 | 85.34% | 996.6778 | 956.7888 | 1953.4666 | 3702619 | 7117709 | 10820328
|  |  |  | 47.53% | 52.47% | [8 empty] | 51.02% | 48.98% |  | 34.22% | 65.78%
Consumption per person | 191.7328 | gallons/day |  | 38.48% | 42.48% | Population share |  |  |  |  | 170.6472 | gallons/day/pp |  | 43.54% | 41.8%
Reduction in Consumption per person/year | 0.5%
Regional Capacity Expansion (Assumptions)
New Plants | 50%
Increased Plant Utilization (up to max) | 50%
|  | 2005 | 2008 | 2010 | 2015 | 2020 | 2025 | 2030 | 2035
| % | 2005: # People
Population on public groundwater source | 38.48% | 4731584.8483 | 4718291.0151 | 4850359.9495 | 5095873.1368 | 5365852.9006 | 5622189.9076 | 5858759.376 | 6085191.5046
Population on public surface water source | 42.48% | 5223415.1517 | 5208739.4749 | 5354536.4743 | 5625569.8264 | 5923612.963 | 6206595.2298 | 6467755.1973 | 6717724.0871
| % | 2005: MGD
Public water from groundwater source | 47.53% | 907.2 | 891.0814 | 906.8633 | 928.9473 | 953.7089 | 974.2876 | 989.9014 | 1002.4556
Public water from surface water source | 52.47% | 1001.5 | 983.7059 | 1001.1282 | 1025.5078 | 1052.8433 | 1075.5611 | 1092.7979 | 1106.6571
gal/day/person
Public groundwater usage rate |  | 191.7328 | 188.8568 | 186.9682 | 182.294 | 177.7367 | 173.2933 | 168.9609 | 164.7369
Public surface water usage rate |  | 191.7328 | 188.8568 | 186.9682 | 182.294 | 177.7367 | 173.2933 | 168.9609 | 164.7369
| 2015 | 2020 | 2025 | 2030 | 2035 | Total New
New Plant Capacity (added from previous 5 yrs) | MGD | MGD | MGD | MGD | MGD | MGD
Public water from groundwater source | 11.042 | 12.3808 | 10.2894 | 7.8069 | 6.2771 | 41.5191
Publice water from surface water source | 12.1898 | 13.6678 | 11.3589 | 8.6184 | 6.9296 | 45.8348
Note on B22: Adam Hadley, PE: A simple assumption.
Note on B25: Adam Hadley, PE: % of the region's expansion needs met by building new plants.
Note on B26: Adam Hadley, PE: % of Region's expansion needs met by increasing plant throughput.

## Accomplishments
From 6 going on 7 project. 2010 through 2013
savingsYear | Sector | EndUse | MeasureCategory | MeasureIndex | savingsType | AchievedKWhBusbar | AchievedaMWBusbar | ForecastkWhBusbar | ForecastaMWBusbar
2013 | Commercial | Water_Wastewater | Water Treatment | Municipal Sewage Treatment-Retro | lost opportunity | 2261020.97 | 0.25811
2010 | Commercial | Water_Wastewater | Water Treatment | Municipal Sewage Treatment-Retro | retrofit |  |  | 15630775.5585 | 1.7843
2011 | Commercial | Water_Wastewater | Water Treatment | Municipal Sewage Treatment-Retro | retrofit | 1216067.697 | 0.13882 | 15731345.7349 | 1.7958
2012 | Commercial | Water_Wastewater | Water Treatment | Municipal Sewage Treatment-Retro | retrofit |  |  | 15829811.4951 | 1.8071
2013 | Commercial | Water_Wastewater | Water Treatment | Municipal Sewage Treatment-Retro | retrofit | 2395982.4 | 0.27351 | 15924022.4728 | 1.8178
2010 | Commercial | Water_Wastewater | Water Treatment | Municipal Water Supply-Retro | retrofit |  |  | 7104330.1263 | 0.811
2011 | Commercial | Water_Wastewater | Water Treatment | Municipal Water Supply-Retro | retrofit |  |  | 7104330.1263 | 0.811
2012 | Commercial | Water_Wastewater | Water Treatment | Municipal Water Supply-Retro | retrofit |  |  | 7104330.1263 | 0.811
2013 | Commercial | Water_Wastewater | Water Treatment | Municipal Water Supply-Retro | retrofit | 1657485.9469 | 0.18921 | 7104330.1263 | 0.811
2011 | Commercial | Water_Wastewater | Water Treatment | unknown | lost opportunity | 1373543 | 0.1568
2010 | Commercial | Water_Wastewater | Water Treatment | unknown | retrofit | 919480.24 | 0.10496
2011 | Commercial | Water_Wastewater | Water Treatment | unknown | retrofit | 7854219.92 | 0.8966
2012 | Commercial | Water_Wastewater | Water Treatment | unknown | retrofit | 2772123.75 | 0.31645
Correcte 2/27/2015 | [5 empty] | Wastewater treatment savings 2010-2013 | 0.18921
0.73741
0.92662
Water Treatment
Year | Achievement (aMW)
2010-2013 | 0.92662
Total | 1.5444
aMW
Total, Including 2013 & 214 | 1.5444

## To Do 7P
Q:\SeventhPlan\Conservation Analysis\Com\[COM-WaterSupply-7P_V5.xlsm]Measure InputOutput
Item | Description | Notes | Date Done | Result
Review 6P workbooks
| Get BPA Achievments data | From 6 going on 7 project | 2014-08-01 | 1 aMW per year; tracks well with Sixth Plan Targets
| Get ETO Achievments data | Sent request to Ted Light
Check with NEEA
| Update Population forecasts | Linked to units file | 2014-09-09
| Update Number of Plants from EPA report (2008 version) |  | 2014-09-08
| Update Savings Values if possible | Checked against project data
| Update costs if possible. | New costs from project results |  | Lower costs that 6P
Need to include state-specific capability
Revise supply curve format
Remove embedded ProCost

## Load Shape
Note: the refrigerated warehouse ventilation load shape was selected to match the limited available load shape data. More work could be done do develop a better load shape
From SIW
Seattle Average Bi-Monthly Water Usage (used to weight winter and summer rates)
nov-dec | 9 | 8.6667 | 9.3889 | winter | 40.92% | nov-dec | 8.6667 | 12.59% |  | nov-dec | 12.59%
Jan-feb | 9.5 | 9.1667 |  | summer | 59.08% | Jan-feb | 9.1667 | 13.32% |  | Jan-feb | 13.32%
mar-apr | 10 | 10.3333 |  |  |  | mar-apr | 10.3333 | 15.01% |  | mar-apr | 15.01%
may-june | 15 | 15 | 13.5556 |  |  | may-june | 15 | 21.79% |  | may-june | 21.79%
jul-aug | 14 | 15.3333 |  |  |  | jul-aug | 15.3333 | 22.28% |  | jul-aug | 22.28%
sep-oct | 10 | 10.3333 |  |  |  | sep-oct | 10.3333 | 15.01% |  | sep-oct | 15.01%
nov-dec | 9 | [5 empty] | 68.8333
Jan-feb | 9
mar-apr | 11
may-june | 15
jul-aug | 15 | [8 empty] | y = -0.0012x4 + 0.009x3 - 0.0098x2 - 0.0152x + 0.1441
sep-oct | 11
nov-dec | 8 | [6 empty] | 1 | 12.69%
Jan-feb | 9 | [6 empty] | 2 | 12.73%
mar-apr | 10 | [6 empty] | 3 | 15.61%
may-june | 15
jul-aug | 17
sep-oct | 10 | [8 empty] | Plant Data | Ref. Warehouse Vent
[6 empty] | 1 | 9.1667 | 6.659% | Jan | 6.659% | 6.887%
[6 empty] | 2 | 9.75 | 7.082% | Feb | 7.082% | 6.407%
[6 empty] | 3 | 10.3333 | 7.506% | Mar | 7.506% | 7.52%
[6 empty] | 4 | 12.6667 | 9.201% | Apr | 9.201% | 7.627%
[6 empty] | 5 | 15 | 10.9% | May | 10.9% | 8.5%
[6 empty] | 6 | 15.1667 | 11.02% | June | 11.02% | 9.491%
[6 empty] | 7 | 15.3333 | 11.14% | July | 11.14% | 10.45%
[6 empty] | 8 | 12.8333 | 9.322% | Aug | 9.322% | 10.78%
[6 empty] | 9 | 10.3333 | 7.506% | Sept | 7.506% | 9.752%
[6 empty] | 10 | 9.5 | 6.901% | Oct | 6.901% | 8.775%
[6 empty] | 11 | 8.6667 | 6.295% | Nov | 6.295% | 6.903%
[6 empty] | 12 | 8.9167 | 6.477% | Dec | 6.477% | 6.906%
137.6667

## ValidationLists (hidden)
CostDataSourceTypes | Guideline | Method | Category | Procedure | Response | Baseline
Program Tracking Data | Savings | Unit Energy Savings | Proven | Statistical | Yes | Pre-Conditions
In-Store Retail | Cost | Standard Protocol | Provisional | Meta-Statistical | No | Current Practice
Contractor and Project Invoices | Lifetime | Custom | Small Saver | Calibrated Engineering | NA | Pre-Conditions and Current Practice
Contractor Price Sheets | Small and Rural | Program Impact Evaluation | Planning | All
Online Retail | ProCost | All | All
DOE / Other Standard Setting Process | Roadmap
Contractor Interview | All
Distributor Interview
Market Actor Interviews
Maintenance Staff Interviews
Professional Judgment