## MLIST
Measure Bundle
Distribution System Efficiency
End Use | Category Name | Measure Name | Measure Details | Baseline | Segment | Vintage | LO/Retro | New from 6P?
Utility Distribution Sytem | Voltage Management | LDC Voltage Control | 1 - Reduce system voltage w/ LDC voltage control method | Standard Practice |  |  | Retro
Utility Distribution Sytem | Power Factor Improvements | Minor System Improvements | 2 - Light system improvements (var mgmt, phase load balancing, and feeder load balancing) | Standard Practice |  |  | Retro
Utility Distribution Sytem | Conductors | Major System Improvements | 3 - Major system improvements (voltage regulators on 1 of 4 substations, and select reconductoring on 1 of every 2 substations) | Standard Practice |  |  | Retro
Utility Distribution Sytem | Voltage Management | EOL Voltage Control | 4 - EOL voltage control method | Standard Practice |  |  | Retro
End Use | Category | TAP
Utility Distribution System | Capacitors | Fixed and Switched Shunt Capacitor
Utility Distribution System | Conductors | Service Conductor Replacement
Utility Distribution System | Insulators | Insulators
Utility Distribution System | Power Factor Improvements | Operation System Improvements
Utility Distribution System | Power Factor Improvements | VAR management/Controls
Utility Distribution System | Transformers | Transformer Load Management
Utility Distribution System | Transformers | Transformers (NEMA TP-1 or Higher)
Utility Distribution System | Utility Station Service Loads | Utility Remote Feedback
Utility Distribution System | Utility Station Service Loads | Utility Service Connection Standards
Utility Generation System | Utility Station Service Loads | Service Station System Improvements
Utility Transmission System | Operation | Fixed and Swtiched Shunt Capacitor
Utility Transmission System | Capacitors | Fixed and Swtiched Shunt Capacitor
Utility Transmission System | Conductors | Service Conductor Replacement
Utility Transmission System | Insulators | Fixed and Swtiched Shunt Capacitor
Utility Transmission System | Power Factor Improvements | VAR management/Controls
Utility Transmission System | Transformers | Transformer Load Management
Utility Transmission System | Transformers | Transformers (NEMA TP-1 or Higher)
Utility Transmission System | Voltage Management | Conservation Voltage Reduction (CVR)