## 7P
Estimated Value of Deferred Transmission and Distribution Cost
From RTF Presentation July 2008 | [6 empty] | Price Deflator Year 2006$ to Year 2012$
1.1074
| Transmission |  |  | Distribution
| Utility/Area | Average 2006$/KW-yr | 2012$/kW-Year | Utility/Area | Average 2006$/KW-yr | 2012$/kW-Year
| SDG&E | 18.8 | 20.8192 | CPL | 44.27 | 49.0248
| SCE | 51.7 | 57.2528 | KCP&L | 7.48 | 8.2834
| PG&E | 13.56 | 15.0164 | PG&E | 21.26 | 23.5434
| CA - Avg. | 18.03 | 19.9665 | PSI | 5.81 | 6.434
| S. Cal | 16.6 | 18.3829 | PSE - Average | 9.67 | 10.7086
| N. Cal | 21.3 | 23.5877 | PacifiCorp | 76.17 | 84.351
| PacifiCorp | 29.42 | 32.5798 | PGE | 20.37 | 22.5578
| PGE | 9.87 | 10.9301 | SnohPUD 2013 |  | 42
| Average | 23.1 | 25.5811 | Average | 24.7 | 30.8629

## SnoPUD 2013 T&D Avoided Cost
SYSTEM AVOIDED COSTS
IRP 2013
Assumptions:
| Peak Load Growth | 305 | MW
| Lifetime | 35 | Years
| Inflation | 2.5%
| Borrowing Rate | 5%
ELECTRIC SYSTEM COSTS
|  | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | TOTAL
In 2013 $000's
| Major Expansion | 15190 | 12067 | 18744 | 16494 | 16150 | 19509 | 20546 | 118700
| Major Upgrades | 13328 | 14598 | 12472 | 16596 | 22736 | 11676 | 4372 | 95778
214478
T&D DEFERRED VALUE
| Dollar per kW | 2013: 703.2066
| Annual Debt Service | 2013: 42.946; 2014: per kW
| Year | 2013: Delay Value ($ / kW-Yr)
| 2014 | 2013: 37.5778
| 2015 | 2013: 38.5172
| 2016 | 2013: 39.4801
| 2017 | 2013: 40.4672
| 2018 | 2013: 41.4788
| 2019 | 2013: 42.5158
| 2020 | 2013: 43.5787
| 2021 | 2013: 44.6682
| 2022 | 2013: 45.7849
| 2023 | 2013: 46.9295
| 2024 | 2013: 48.1027
| 2025 | 2013: 49.3053
| 2026 | 2013: 50.5379
| 2027 | 2013: 51.8014
| 2028 | 2013: 53.0964
| 2029 | 2013: 54.4238
| 2030 | 2013: 55.7844
| 2031 | 2013: 57.179
| 2032 | 2013: 58.6085
| 2033 | 2013: 60.0737
| 2034 | 2013: 61.5756
| 2035 | 2013: 63.1149
| 2036 | 2013: 64.6928
| 2037 | 2013: 66.3101
| 2038 | 2013: 67.9679
CALCULATION TABLE
|  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
| 1 | 42.946 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2 | 42.946 | 44.0197 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 3 | 42.946 | 44.0197 | 45.1202 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 4 | 42.946 | 44.0197 | 45.1202 | 46.2482 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 5 | 42.946 | 44.0197 | 45.1202 | 46.2482 | 47.4044 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 6 | 42.946 | 44.0197 | 45.1202 | 46.2482 | 47.4044 | 48.5895 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 7 | 42.946 | 44.0197 | 45.1202 | 46.2482 | 47.4044 | 48.5895 | 49.8042 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 8 | 42.946 | 44.0197 | 45.1202 | 46.2482 | 47.4044 | 48.5895 | 49.8042 | 51.0493 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 9 | 42.946 | 44.0197 | 45.1202 | 46.2482 | 47.4044 | 48.5895 | 49.8042 | 51.0493 | 52.3256 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 10 | 42.946 | 44.0197 | 45.1202 | 46.2482 | 47.4044 | 48.5895 | 49.8042 | 51.0493 | 52.3256 | 53.6337 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 11 | 42.946 | 44.0197 | 45.1202 | 46.2482 | 47.4044 | 48.5895 | 49.8042 | 51.0493 | 52.3256 | 53.6337 | 54.9745 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 12 | 42.946 | 44.0197 | 45.1202 | 46.2482 | 47.4044 | 48.5895 | 49.8042 | 51.0493 | 52.3256 | 53.6337 | 54.9745 | 56.3489 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 13 | 42.946 | 44.0197 | 45.1202 | 46.2482 | 47.4044 | 48.5895 | 49.8042 | 51.0493 | 52.3256 | 53.6337 | 54.9745 | 56.3489 | 57.7576 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 14 | 42.946 | 44.0197 | 45.1202 | 46.2482 | 47.4044 | 48.5895 | 49.8042 | 51.0493 | 52.3256 | 53.6337 | 54.9745 | 56.3489 | 57.7576 | 59.2016 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 15 | 42.946 | 44.0197 | 45.1202 | 46.2482 | 47.4044 | 48.5895 | 49.8042 | 51.0493 | 52.3256 | 53.6337 | 54.9745 | 56.3489 | 57.7576 | 59.2016 | 60.6816 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 16 | 42.946 | 44.0197 | 45.1202 | 46.2482 | 47.4044 | 48.5895 | 49.8042 | 51.0493 | 52.3256 | 53.6337 | 54.9745 | 56.3489 | 57.7576 | 59.2016 | 60.6816 | 62.1986 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 17 | 42.946 | 44.0197 | 45.1202 | 46.2482 | 47.4044 | 48.5895 | 49.8042 | 51.0493 | 52.3256 | 53.6337 | 54.9745 | 56.3489 | 57.7576 | 59.2016 | 60.6816 | 62.1986 | 63.7536 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 18 | 42.946 | 44.0197 | 45.1202 | 46.2482 | 47.4044 | 48.5895 | 49.8042 | 51.0493 | 52.3256 | 53.6337 | 54.9745 | 56.3489 | 57.7576 | 59.2016 | 60.6816 | 62.1986 | 63.7536 | 65.3475 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 19 | 42.946 | 44.0197 | 45.1202 | 46.2482 | 47.4044 | 48.5895 | 49.8042 | 51.0493 | 52.3256 | 53.6337 | 54.9745 | 56.3489 | 57.7576 | 59.2016 | 60.6816 | 62.1986 | 63.7536 | 65.3475 | 66.9811 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 20 | 42.946 | 44.0197 | 45.1202 | 46.2482 | 47.4044 | 48.5895 | 49.8042 | 51.0493 | 52.3256 | 53.6337 | 54.9745 | 56.3489 | 57.7576 | 59.2016 | 60.6816 | 62.1986 | 63.7536 | 65.3475 | 66.9811 | 68.6557 | 0 | 0 | 0 | 0 | 0 | 0
| 21 | 42.946 | 44.0197 | 45.1202 | 46.2482 | 47.4044 | 48.5895 | 49.8042 | 51.0493 | 52.3256 | 53.6337 | 54.9745 | 56.3489 | 57.7576 | 59.2016 | 60.6816 | 62.1986 | 63.7536 | 65.3475 | 66.9811 | 68.6557 | 70.3721 | 0 | 0 | 0 | 0 | 0
| 22 | 42.946 | 44.0197 | 45.1202 | 46.2482 | 47.4044 | 48.5895 | 49.8042 | 51.0493 | 52.3256 | 53.6337 | 54.9745 | 56.3489 | 57.7576 | 59.2016 | 60.6816 | 62.1986 | 63.7536 | 65.3475 | 66.9811 | 68.6557 | 70.3721 | 72.1314 | 0 | 0 | 0 | 0
| 23 | 42.946 | 44.0197 | 45.1202 | 46.2482 | 47.4044 | 48.5895 | 49.8042 | 51.0493 | 52.3256 | 53.6337 | 54.9745 | 56.3489 | 57.7576 | 59.2016 | 60.6816 | 62.1986 | 63.7536 | 65.3475 | 66.9811 | 68.6557 | 70.3721 | 72.1314 | 73.9346 | 0 | 0 | 0
| 24 | 42.946 | 44.0197 | 45.1202 | 46.2482 | 47.4044 | 48.5895 | 49.8042 | 51.0493 | 52.3256 | 53.6337 | 54.9745 | 56.3489 | 57.7576 | 59.2016 | 60.6816 | 62.1986 | 63.7536 | 65.3475 | 66.9811 | 68.6557 | 70.3721 | 72.1314 | 73.9346 | 75.783 | 0 | 0
| 25 | 42.946 | 44.0197 | 45.1202 | 46.2482 | 47.4044 | 48.5895 | 49.8042 | 51.0493 | 52.3256 | 53.6337 | 54.9745 | 56.3489 | 57.7576 | 59.2016 | 60.6816 | 62.1986 | 63.7536 | 65.3475 | 66.9811 | 68.6557 | 70.3721 | 72.1314 | 73.9346 | 75.783 | 77.6776 | 0
| 26 | 42.946 | 44.0197 | 45.1202 | 46.2482 | 47.4044 | 48.5895 | 49.8042 | 51.0493 | 52.3256 | 53.6337 | 54.9745 | 56.3489 | 57.7576 | 59.2016 | 60.6816 | 62.1986 | 63.7536 | 65.3475 | 66.9811 | 68.6557 | 70.3721 | 72.1314 | 73.9346 | 75.783 | 77.6776 | 79.6195
| 27 | 42.946 | 44.0197 | 45.1202 | 46.2482 | 47.4044 | 48.5895 | 49.8042 | 51.0493 | 52.3256 | 53.6337 | 54.9745 | 56.3489 | 57.7576 | 59.2016 | 60.6816 | 62.1986 | 63.7536 | 65.3475 | 66.9811 | 68.6557 | 70.3721 | 72.1314 | 73.9346 | 75.783 | 77.6776 | 79.6195
| 28 | 42.946 | 44.0197 | 45.1202 | 46.2482 | 47.4044 | 48.5895 | 49.8042 | 51.0493 | 52.3256 | 53.6337 | 54.9745 | 56.3489 | 57.7576 | 59.2016 | 60.6816 | 62.1986 | 63.7536 | 65.3475 | 66.9811 | 68.6557 | 70.3721 | 72.1314 | 73.9346 | 75.783 | 77.6776 | 79.6195
| 29 | 42.946 | 44.0197 | 45.1202 | 46.2482 | 47.4044 | 48.5895 | 49.8042 | 51.0493 | 52.3256 | 53.6337 | 54.9745 | 56.3489 | 57.7576 | 59.2016 | 60.6816 | 62.1986 | 63.7536 | 65.3475 | 66.9811 | 68.6557 | 70.3721 | 72.1314 | 73.9346 | 75.783 | 77.6776 | 79.6195
| 30 | 42.946 | 44.0197 | 45.1202 | 46.2482 | 47.4044 | 48.5895 | 49.8042 | 51.0493 | 52.3256 | 53.6337 | 54.9745 | 56.3489 | 57.7576 | 59.2016 | 60.6816 | 62.1986 | 63.7536 | 65.3475 | 66.9811 | 68.6557 | 70.3721 | 72.1314 | 73.9346 | 75.783 | 77.6776 | 79.6195
| 31 | 42.946 | 44.0197 | 45.1202 | 46.2482 | 47.4044 | 48.5895 | 49.8042 | 51.0493 | 52.3256 | 53.6337 | 54.9745 | 56.3489 | 57.7576 | 59.2016 | 60.6816 | 62.1986 | 63.7536 | 65.3475 | 66.9811 | 68.6557 | 70.3721 | 72.1314 | 73.9346 | 75.783 | 77.6776 | 79.6195
| 32 | 42.946 | 44.0197 | 45.1202 | 46.2482 | 47.4044 | 48.5895 | 49.8042 | 51.0493 | 52.3256 | 53.6337 | 54.9745 | 56.3489 | 57.7576 | 59.2016 | 60.6816 | 62.1986 | 63.7536 | 65.3475 | 66.9811 | 68.6557 | 70.3721 | 72.1314 | 73.9346 | 75.783 | 77.6776 | 79.6195
| 33 | 42.946 | 44.0197 | 45.1202 | 46.2482 | 47.4044 | 48.5895 | 49.8042 | 51.0493 | 52.3256 | 53.6337 | 54.9745 | 56.3489 | 57.7576 | 59.2016 | 60.6816 | 62.1986 | 63.7536 | 65.3475 | 66.9811 | 68.6557 | 70.3721 | 72.1314 | 73.9346 | 75.783 | 77.6776 | 79.6195
| 34 | 42.946 | 44.0197 | 45.1202 | 46.2482 | 47.4044 | 48.5895 | 49.8042 | 51.0493 | 52.3256 | 53.6337 | 54.9745 | 56.3489 | 57.7576 | 59.2016 | 60.6816 | 62.1986 | 63.7536 | 65.3475 | 66.9811 | 68.6557 | 70.3721 | 72.1314 | 73.9346 | 75.783 | 77.6776 | 79.6195
| 35 | 42.946 | 44.0197 | 45.1202 | 46.2482 | 47.4044 | 48.5895 | 49.8042 | 51.0493 | 52.3256 | 53.6337 | 54.9745 | 56.3489 | 57.7576 | 59.2016 | 60.6816 | 62.1986 | 63.7536 | 65.3475 | 66.9811 | 68.6557 | 70.3721 | 72.1314 | 73.9346 | 75.783 | 77.6776 | 79.6195
| 36 | 0 | 44.0197 | 45.1202 | 46.2482 | 47.4044 | 48.5895 | 49.8042 | 51.0493 | 52.3256 | 53.6337 | 54.9745 | 56.3489 | 57.7576 | 59.2016 | 60.6816 | 62.1986 | 63.7536 | 65.3475 | 66.9811 | 68.6557 | 70.3721 | 72.1314 | 73.9346 | 75.783 | 77.6776 | 79.6195
| 37 | 0 |  | 45.1202 | 46.2482 | 47.4044 | 48.5895 | 49.8042 | 51.0493 | 52.3256 | 53.6337 | 54.9745 | 56.3489 | 57.7576 | 59.2016 | 60.6816 | 62.1986 | 63.7536 | 65.3475 | 66.9811 | 68.6557 | 70.3721 | 72.1314 | 73.9346 | 75.783 | 77.6776 | 79.6195
| 38 | 0 |  |  | 46.2482 | 47.4044 | 48.5895 | 49.8042 | 51.0493 | 52.3256 | 53.6337 | 54.9745 | 56.3489 | 57.7576 | 59.2016 | 60.6816 | 62.1986 | 63.7536 | 65.3475 | 66.9811 | 68.6557 | 70.3721 | 72.1314 | 73.9346 | 75.783 | 77.6776 | 79.6195
| 39 | 0 |  |  |  | 47.4044 | 48.5895 | 49.8042 | 51.0493 | 52.3256 | 53.6337 | 54.9745 | 56.3489 | 57.7576 | 59.2016 | 60.6816 | 62.1986 | 63.7536 | 65.3475 | 66.9811 | 68.6557 | 70.3721 | 72.1314 | 73.9346 | 75.783 | 77.6776 | 79.6195
| 40 | 0 |  |  |  |  | 48.5895 | 49.8042 | 51.0493 | 52.3256 | 53.6337 | 54.9745 | 56.3489 | 57.7576 | 59.2016 | 60.6816 | 62.1986 | 63.7536 | 65.3475 | 66.9811 | 68.6557 | 70.3721 | 72.1314 | 73.9346 | 75.783 | 77.6776 | 79.6195
| 41 | 0 | [5 empty] | 49.8042 | 51.0493 | 52.3256 | 53.6337 | 54.9745 | 56.3489 | 57.7576 | 59.2016 | 60.6816 | 62.1986 | 63.7536 | 65.3475 | 66.9811 | 68.6557 | 70.3721 | 72.1314 | 73.9346 | 75.783 | 77.6776 | 79.6195
| 42 | 0 | [6 empty] | 51.0493 | 52.3256 | 53.6337 | 54.9745 | 56.3489 | 57.7576 | 59.2016 | 60.6816 | 62.1986 | 63.7536 | 65.3475 | 66.9811 | 68.6557 | 70.3721 | 72.1314 | 73.9346 | 75.783 | 77.6776 | 79.6195
| 43 | 0 | [7 empty] | 52.3256 | 53.6337 | 54.9745 | 56.3489 | 57.7576 | 59.2016 | 60.6816 | 62.1986 | 63.7536 | 65.3475 | 66.9811 | 68.6557 | 70.3721 | 72.1314 | 73.9346 | 75.783 | 77.6776 | 79.6195
| 44 | 0 | [8 empty] | 53.6337 | 54.9745 | 56.3489 | 57.7576 | 59.2016 | 60.6816 | 62.1986 | 63.7536 | 65.3475 | 66.9811 | 68.6557 | 70.3721 | 72.1314 | 73.9346 | 75.783 | 77.6776 | 79.6195
| 45 | 0 | [9 empty] | 54.9745 | 56.3489 | 57.7576 | 59.2016 | 60.6816 | 62.1986 | 63.7536 | 65.3475 | 66.9811 | 68.6557 | 70.3721 | 72.1314 | 73.9346 | 75.783 | 77.6776 | 79.6195
| 46 | 0 | [10 empty] | 56.3489 | 57.7576 | 59.2016 | 60.6816 | 62.1986 | 63.7536 | 65.3475 | 66.9811 | 68.6557 | 70.3721 | 72.1314 | 73.9346 | 75.783 | 77.6776 | 79.6195
| 47 | 0: 0; 12: 57.7576; 13: 59.2016; 14: 60.6816; 15: 62.1986; 16: 63.7536; 17: 65.3475; 18: 66.9811; 19: 68.6557; 20: 70.3721; 21: 72.1314; 22: 73.9346; 23: 75.783; 24: 77.6776; 25: 79.6195
| 48 | 0: 0; 13: 59.2016; 14: 60.6816; 15: 62.1986; 16: 63.7536; 17: 65.3475; 18: 66.9811; 19: 68.6557; 20: 70.3721; 21: 72.1314; 22: 73.9346; 23: 75.783; 24: 77.6776; 25: 79.6195
| 49 | 0: 0; 14: 60.6816; 15: 62.1986; 16: 63.7536; 17: 65.3475; 18: 66.9811; 19: 68.6557; 20: 70.3721; 21: 72.1314; 22: 73.9346; 23: 75.783; 24: 77.6776; 25: 79.6195
| 50 | 0: 0; 15: 62.1986; 16: 63.7536; 17: 65.3475; 18: 66.9811; 19: 68.6557; 20: 70.3721; 21: 72.1314; 22: 73.9346; 23: 75.783; 24: 77.6776; 25: 79.6195
| 51 | 0: 0; 16: 63.7536; 17: 65.3475; 18: 66.9811; 19: 68.6557; 20: 70.3721; 21: 72.1314; 22: 73.9346; 23: 75.783; 24: 77.6776; 25: 79.6195
| 52 | 0: 0; 17: 65.3475; 18: 66.9811; 19: 68.6557; 20: 70.3721; 21: 72.1314; 22: 73.9346; 23: 75.783; 24: 77.6776; 25: 79.6195
| 53 | 0: 0; 18: 66.9811; 19: 68.6557; 20: 70.3721; 21: 72.1314; 22: 73.9346; 23: 75.783; 24: 77.6776; 25: 79.6195
| 54 | 0: 0; 19: 68.6557; 20: 70.3721; 21: 72.1314; 22: 73.9346; 23: 75.783; 24: 77.6776; 25: 79.6195
| 55 | 0: 0; 20: 70.3721; 21: 72.1314; 22: 73.9346; 23: 75.783; 24: 77.6776; 25: 79.6195
| 56 | 0: 0; 21: 72.1314; 22: 73.9346; 23: 75.783; 24: 77.6776; 25: 79.6195
| 57 | 0: 0; 22: 73.9346; 23: 75.783; 24: 77.6776; 25: 79.6195
| 58 | 0: 0; 23: 75.783; 24: 77.6776; 25: 79.6195
| 59 | 0: 0; 24: 77.6776; 25: 79.6195
| 60 | 0: 0; 25: 79.6195
|  | NPV Difference | 37.5778 | 38.5172 | 39.4801 | 40.4672 | 41.4788 | 42.5158 | 43.5787 | 44.6682 | 45.7849 | 46.9295 | 48.1027 | 49.3053 | 50.5379 | 51.8014 | 53.0964 | 54.4238 | 55.7844 | 57.179 | 58.6085 | 60.0737 | 61.5756 | 63.1149 | 64.6928 | 66.3101 | 67.9679
I believe Marie Morrison in Anna Berg’s shop put it together. Attached is the worksheet in question …
I’d imagine that it’s primarily D and less T. It was developed with input from our System Planning group and they may have an incremental reconductoring or substation upgrade in there but my understanding is that it is mostly Distribution.
From: Grist, Charlie [mailto:cgrist@nwcouncil.org] Sent: Wednesday, September 17, 2014 11:06 AM To: Liska, Dan Subject: RE: T&D Expansion Cost
Thank you Dan. I appreciate this. I like being edified. Do you have work papers on how you estimated that? Is it both T and D? Just D?
From: Liska, Dan [mailto:DLLiska@SNOPUD.com] Sent: Wednesday, September 17, 2014 11:00 AM To: Grist, Charlie Subject: T&D Expansion Cost
Hi Charlie-
Just closing the loop on a 7th Plan Input comment from yesterday. In the RTF presentation, SnoPUD is listed (slide 28) with a T&D deferred expansion value under $20. Our most recent figure (2013$) is $43/kW-yr… for your edification.
Best, Dan
Dan Liska
Senior Utility Analyst – Energy Efficiency
Customer Strategy and Analytics – Planning & Evaluation
Snohomish County Public Utility District No. 1
2320 California Street, Everett, WA 98206
425-783-1705 | DLLiska@snopud.com
Note on E6: From Small Area Electric System Forecast 2013-2021

## PSE D Cost
Levelized Cost Calculator
Input Assumptions
Enter Measure Capital Cost | 141.5776
Enter Finance Life | 30
Enter Interest Rate | 4.335%
Enter Discount Rate | 5%
Enter Measure Life | 30 |  | Average Loading
Enter Site Savings (kWh/yr) | 4380 |  | 50%
Enter Line Losses | 0%
Results
Annual Payment for Capital | 8.5236
Bus-Bar Savings (kWh/yr) | 4380
Present Value Capital Cost | 131.0292
Levelized Cost ($/kWh) | 0.001946
Levelized Cost (Mills/kWh) | 1.946
Alternative Distribution Cost
| Base | Low | High | Note
PSE | 141.5776 | 87.4573 | 195.6978 | 2000$, Low/High based on 1-standard deviation from average cost over 10-yr period.
| 8.5236 | 5.2653 | 11.7819 | Annualized Cost ($/kW-yr)
WACC | 4.335%
Years for Recovery of D | 30
Capital Recovery Factor D | 6.02%
Share
Muni/PUD | 3.137% | 40%
Coop | 4.46% | 5%
IOU | 5.195% | 55%
BPA | 4.46% | 0%
Weighted | 4.335% | 100%
GDP | 1.166
E^3 /PEA Paper | 2000$ | 2006$
CPL | 556 | 648.296 | 39.0305
KCP&L | 94 | 109.604 | 6.5987
PG&E | 267 | 311.322 | 18.743
PSI | 73 | 85.118 | 5.1245
CPL | 49.3493
KCP&L | 8.3432
PG&E | 23.6983
PSI | 6.4793
PSE - Low | 5.6892
PSE - Average | 9.2098
PSE - High | 12.7304
2006-2012 Deflator | 1.11
| Transmission | Distribution
2006$ | 25 | 23
2012$ | 27.75 | 25.53
Note on A7: Tom Eckman: Assumed to be same as discount period
Note on B34: grist: Inflator for 2000 to 2006 from Morlan

## CA T&D Cost
| Transmission |  | Distribution
Area | Average $/KW | Average $/KW-yr | Average $/KW | Average $/KW-yr
Northeast CA | 262.7265 | 20.438 | 614.4893 | 47.8023
Geysers/Lake | 64.5067 | 5.0181 | 127.9591 | 9.9542
Bay Delta | 241.7798 | 18.8085 | 127.9591 | 9.9542
Tehachapi | 987.3789 | 76.81 | 167.5978 | 13.0377
San Bernardino | 655.5805 | 50.9988 | 167.5978 | 13.0377
Mono/Inyo | 617.4256 | 48.0307 | 71.8276 | 5.5876
San Diego | 211.699 | 16.4685 | 112.963 | 8.7876
Imperial | 968.454 | 75.3378 | 152.7253 | 11.8808
Riverside | 226.504 | 17.6202 | 210.8317 | 16.401
Santa Barbara | 158.1429 | 12.3022 | 687.1978 | 53.4584
CA - Distributed | 60.6636 | 4.7191 | 112.963 | 8.7876
CFE | 968.454 | 75.3378 | 265.0755 | 20.6207
Reno Area/Dixie Valley | 892.5768 | 69.4352 | 355.1703 | 27.6294
Average |  | 20.438 |  | 13.0377
Source: E^3 Evaluation of CA - PNW Transmission System Expansion, based on NTAC work
Utility/Area | Average $/KW | Average $/KW-yr
SDG&E | 312.2143 | 24.2877
SCE | 858.7574 | 66.8043
PG&E | 225.2834 | 17.5252
Cal | 299.5316 | 23.3011
S. Cal | 275.7511 | 21.4512
N. Cal | 353.834 | 27.5254
PacifiCorp |  | 24.95
PGE |  | 8.37
Current RTF |  | 3.5
WACC | 6.652%
Years for Recovery of T&D | 30
Capital Recovery Factor T&D | 7.779%
| WACC | Share of Financing
Public | 5.22% | 5%
BPA | 6.57% | 75%
IOU | 7.32% | 20%
WACC | 6.652% | 100%

## References
Related Papers
1 | PEA 2000 CostMethodFinal.pdf
2 | Distribution System Benefits.doc